TARIFF ORDER

2012-2013

For

Electricity Department, Imphal

Government of Manipur

JOINT ELECTRICITY REGULATORY COMMISSION

FOR MANIPUR AND MIZORAM

D-31, M.G. Road, Upper Khatla, Aizawl, Mizoram

C O N T E N T S

1.	Introduction

1.1	JERC for Manipur and Mizoram (JERC M&M)			2

1.2	ARR and Tariff Petition						4

1.3	Admission of Petition							5

1.4	Public Hearing Process						5

1.5	Notices for Public Hearing						6

1.6	Public Hearing								6

1.7	Meeting of State Advisory Committee				6

1.8	Compliance of Directives						6

2.	Summary of ARR and Tariff Petition

2.1	Aggregate Revenue Requirement (ARR)				7

2.2	Tariff									8

3.	Power Sector in Mizoram

3.1	Geographical Reality							9

3.2	Power Supply								9

3.3	Transmissions and Distribution					11

3.4	Transmissions and Distribution (T&D) Losses			12

3.5	Consumer Profile							12

3.6	Demand								12

3.7	Energy Audit								13

3.8 	Energy Metering							13

3.9	Continuity of Power Supply						13

4.	Review of the year 2010-11

4.1	Background								14

4.2	Energy Demand (Sales)						14

4.3	Transmission and Distribution Losses (T&D losses)			15

4.4	Own Generation							15

4.5	Power Purchase							16

4.6	Energy Balance							16

4.7	Fuel Cost								17

4.8	Power Purchase Cost							17

4.9	Employee Cost							17

4.10	Repairs and Maintenance expenses					18

4.11	Administration and General (A&G) expenses			18

4.12	Depreciation								18

4.13	Interest and Finance charges						19

4.14	Interest on working capital						19

4.15	Non-Tariff income							20

4.16	Review of ARR for FY 2010-11					20

4.17	Revenue gap for 2010-11						21

5.	Proceedings of Public Hearing

5.1	Public Response to the Petition					22

5.2	Public Hearing								22

5.3	Objections / Suggestions and Response of EDM			22

5.4	Commission’s Observation and Ruling				29

6.	Analysis of Aggregate Revenue Requirement

6.1	Energy Sales								31

6.2	Consumer Categories							31

  - Additional Information and Data					31

6.4	Growth of Consumers and Connected Load				32

6.5	Overall Approach to Sales Projection					33

6.6	Projected Energy Sales 2012-13					34

6.7	Detailed Analysis of Energy Sales Projected				35

6.8	Category wise Energy Sales Approved				39

6.9	T&D Losses								39

6.10	Energy Requirement and Availability					40

6.11	Source of Power							41

6.12	Energy Balance							44

6.13	Gross Fixed Assets							45

6.14	Capital Expenditure Plan for FY 2012-13				47

6.15	Revenue Requirement for FY 2012-13				50

6.16	Fuel Cost								50

6.17	Power Purchase Cost							50

6.18	Operation and Maintenance Expenses				54

6.19	Depreciation								57

6.20	Interest and Finance Charges					58

6.21	Interest on Working Capital						59

6.22	Provision for Bad Debts						61

6.23	Return on Equity							61

6.24	Non-Tariff Income							62

6.25	Aggregate Revenue Requirement					62

6.26	Expected Revenue from Existing Tariff				63

6.27	Government subsidy							64

6.28	Revenue Gap for FY 2012-13					64

6.29	Revenue from Revised Tariffs					65

6.30	Revised gap for 2012-13						65

6.31	Regulatory asset / Government subsidy				66

7.	Transmission and Wheeling charges

7.1	Transmission charges							67

7.2	Wheeling charges							67

8.	Directives

8.1	General								68

8.2	Status and compliances of directives issued in Tariff Order for 	69

FY 2010-11

8.3	Fresh directives							77

9.	Tariff Principles and Design

9.1	Background								78

9.2	Tariff Proposed by the EDM and Approved by the Commission	80

10.	APPENDIX Tariff Schedule

1.	LT Supply								85

2.	HT Supply 								91

3.	Miscellaneous charges 						94

4.	Important Conditions of Supply (for all Category of Consumers)	97

11.	Annexure

1.	Annexure –I: Expected Revenue from Energy Sale within		100

the state with Existing Tariff of FY2010-11

2.	Annexure –II: Expected Revenue from Energy Sale within 		101

the state with Approved Tariff of FY2012-13

3.	Annexure – III: ARR for FY 2012-13					102

4.	Annexure – IV	: List of persons who participated in the Public 	110

Hearing on ARR and Tariff Proposal

List of Tables

Table – 2.1:	Aggregate Revenue Requirement for FY 2012-13			7

Table – 2.2:	Proposed Tariff Structure for FY 2012-13 against the 		8

existing tariff 2010-11

Table – 3.1:	Own Generation plant							9

Table – 3.2:	Share from Central Generation Station (CGS) for FY 2010-11	10

Table – 3.3:	Energy Drawals from Central Generating Stations & Tripura	11

Table – 3.4:	Transmission and Distribution Network as on 31.3.2011		12

Table – 3.5:	Consumer Profile and Energy Sales 2010-11			12

Table – 4.1:	Energy Sales for 2010-11						14

Table – 4.2:	Own Generation during 2010-11(Net)				15

Table – 4.3:	Energy Balance 2010-11						16

Table – 4.4:	Interest and Finance charges for FY 2010-11			19

Table – 4.5:	Interest on working capital for FY 2010-11				19

Table – 4.6:	Revenue requirement for 2010-11					20

Table – 4.7:	Revenue gap for 2010-11						21

Table – 6.1:	No. of consumers and connected load				32

Table – 6.2:	No. of consumers & connected load approved by Commission	33

for FY 2012-13

Table – 6.3:	Category wise growth rates of Energy Sold 				34

Table – 6.4:	Category wise Energy Sales						34

Table – 6.5:	Category wise Energy Sales approved by the Commission 		39

for FY 2012-13

Table – 6.6:	Energy Requirement							40

Table – 6.7:	Energy requirement approved by the Commission for FY 2012-13	41

Table – 6.8:	Own Generation 							41

Table – 6.9:	Share from Central Generating Stations				42

Table – 6.10:	Power purchase projected by EDM					43

Table – 6.11:	Energy drawal approved by the Commission for FY 2012-13	44

Table – 6.12:	Energy Balance projected by EDM					44

Table – 6.13:	Energy Balance approved by the Commission for FY 2012-13	45

Table – 6.14:	Computation of Opening GFA for FY 2010-11			45

Table – 6.15:	Gross Fixed Assets upto the FY 2012-13				46

Table – 6.16:	Proposed Capital Expenditure					48

Table – 6.17:	Capital Working in progress						48

Table – 6.18:	Year wise Capital Working in progress upto 2012-13		49

Table – 6.19:	Expenses projected by EDM for FY 2012-13				50

Table – 6.20:	Power Purchase Cost projected by EDM for FY 2012-13		51

Table – 6.21:	EDM – Power Purchase Cost approved by Commission		53

for FY 2012-13

Table – 6.22:	Employee Cost furnished by EDM for FY 2012-13			54

Table – 6.23:	Number of Employees furnished by EDM				54

Table – 6.24:	Actual employees cost of previous year				55

Table – 6.25:	Consumption of employee cost for 2012-13 				55

Table – 6.26:	R&M Expenses furnished by EDM for FY 2012-13			55

Table – 6.27:	A&G Expenses projected by EDM for FY 2012-13			56

Table – 6.28:	Computation of Opening GFA for 2009-10				57

Table – 6.29:	Depreciation projected by EDM for FY 2012-13			57

Table – 6.30:	Interest and Finance Charges furnished by EDM for FY 2012-13	58

Table – 6.31:	Interest and Finance Charges approved by the Commission 	59

for FY 2012-13

Table – 6.32:	Interest on Working Capital projected by the EDM for FY 2012-13	60

Table – 6.33:	Interest on Working Capital for the FY 2012-13			60

Table – 6.34:	Arrears due as on 31.3.2012						61

Table – 6.35:	Non-Tariff Income projected by EDM for FY 2012-13		62

Table – 6.36:	Aggregate Revenue Requirement for FY 2012-13			62

Table – 6.37:	Revenue with Existing Tariff projected by EDM for FY 2012-13	63

Table – 6.38:	Revenue from Approved Sales for 2012-2013 with Existing 	64

Tariff for FY 2010-11

Table – 6.39:	Gap for FY 2012-13							64

Table – 6.40:	Revenue from revised Tariffs approved by Commission 		65

for FY 2012-13

Table – 9.1:	Proposed Tariff Structure for FY 2012-13				81

Table – 9.2:	Category wise Tariff approved by the Commission for FY 2012-13	83

Abbreviations

| Abbreviations | Description |
| --- | --- |
| A&G | Administrative and General |
| AAD | Advance Against Depreciation |
| ARR | Aggregate Revenue Requirement |
| CEA | Central Electricity Authority |
| CERC | Central Electricity Regulatory Commission |
| CWIP | Capital Work in Progress |
| DPS | Delayed Payment Surcharge |
| EDM | Electricity Department Manipur |
| EA/Act | Electricity Act, 2003 |
| FSA | Fuel Surcharge Adjustment |
| FY | Financial Year |
| GFA | Gross Fixed Assets |
| GOI | Government of India |
| HEP | Hydro Electric Project |
| HT | High Tension |
| IEX | Indian Energy Exchange |
| kV | Kilovolt |
| kVA | Kilovolt-ampere |
| Kw | kilowatt |
| Kwh | kilowatt-hour |
| LT | Low Tension |
| MDI | Maximum Demand Indicators |
| MUs | Million Units |
| NEEPCO | North Eastern Electric Power Corporation |
| NHPC | National Hydro Electric Power Corporation |
| NTI | Non-Tariff Income |
| O&M | Operation and Maintenance |
| PGCIL | Power Grid Corporation of India Ltd |
| PLF | Plaint Load Factor |
| PLR | Prime Lending Rate |
| PPA | Power Purchase Agreement |
| PWW | Public Water Works |
| R&M | Repair and Maintenance |
| RoE | Return of Equity |
| SLDC | State Load Despatch Centre |
| T&D | Transmission and Distribution |
| UI | Unscheduled Interchange |

Before

The Joint Electricity Regulatory Commission (JERC) for

Manipur and Mizoram, Aizawl

Present

Mr. H.Bihari Singh, Chairperson

Petition No. 2/2012

In the matter of

Aggregate Revenue Requirement (ARR) and Retail Tariff for the State of Manipur for the FY 2012-13

AND

In the matter of

Electricity Department,

Government of Manipur, Imphal, 					Petitioner

(herein referred to as EDM)

O R D E R

Date: 14th August, 2012

# 1.  Introduction

## 1.1	JERC for Manipur and Mizoram (JERC, M&M)

In exercise of the powers conferred by the Electricity Act 2003, (hereinafter referred to as Act) the Government of India constituted a Joint Electricity Regulatory Commission for the States of Manipur and Mizoram to be known as “Joint Electricity Regulatory Commission for Manipur and Mizoram” vide GOI. Gazette (Extra Ordinary) Notification No. 23/3/2002 R&R dated 18/01/2005, (hereinafter referred to as Commission) as per the authorization given by the Government of Manipur and the Government of Mizoram vide Memorandum of Agreement dated 23/07/2004. The Commission constituted is a two-member body designated to function as an autonomous authority responsible for regulation of the power sector in States of Manipur and Mizoram. The powers and functions of the Commission are as prescribed in the Act. The head office of the Commission is presently located at Aizawl, the capital town of Mizoram. The Commission became functional w.e.f. January 24th, 2008.

(a) 	In accordance with the Act, the Commission discharges the following functions:

(i)	Determine the tariff for generation, transmission distribution and wheeling of electricity, wholesale, bulk or retail, as the case may be, within the State:

Provided that where open access has been permitted to a category of consumers under Section 42 of the Act, the State Commission shall determine only the wheeling charges and surcharge thereon, if any, for the said category of consumers;

(ii)	Regulate electricity purchase and procurement process of distribution licensees including the price at which electricity shall be procured from the generating companies or licensees or from other sources through agreements for purchase of power for distribution and supply within the State;

(iii)	Facilitate intra-State trans mission and wheeling of electricity;

(iv)	Issue licenses to persons seeking to act as transmission licensees, distribution licensees and electricity traders with respect to their operations within the State;

(v)	Promote co-generation and generation of electricity from renewable sources of energy by providing suitable measures for connectivity with the grid and sale of electricity to any person, and also specify, for purchase of electricity from such sources, a percentage of the total consumption of electricity in the area of a distribution licensee;

(vi)	adjudicate upon the disputes between the licensees and generating companies; and to refer any dispute for arbitration;

(vii)	Levy fee for the purposes of this Act;

(viii)	Specify State Grid Code consistent with the Grid Code specified under Clause (h) of sub-section (1) of Section 79 of the Act;

(ix)	Specify or enforce standards with respect to quality, continuity and reliability of service by licensees;

(x)	Fix the trading margin in the intra-State trading of electricity, if considered, necessary;

(xi)	Discharge such other functions as may be assigned to it under the Act.

(b) 	Further, the Commission also advises the State Government on all or any of the following matters namely:

(i)	Promotion of competition, efficiency and economy in activities of the electricity industry;

(ii)	Promotion of investment in electricity industry;

(iii)	Reorganization and restructuring of electricity industry in the State;

(iv)	Matters concerning generation, transmission, distribution and trading of electricity or any other matter referred to the State Commission by that State Government.

(1) 	The State Commission ensures transparency while exercising its powers and in discharging its functions.

(2) 	In discharge of its functions, the State Commission is guided by the national Tariff Policy (NTP) as brought out by GOI in compliance to Section 3 of the Act. The objectives of the NTP are to:

      - Ensure availability of electricity to consumers at reasonable and competitive rates;

- Ensure financial viability 	of the sector and attract investments;

- Promote transparency, consistency and predictability in regulatory approaches across jurisdictions and minimize perceptions of regulatory risks;

- Promote competition, efficiency 	in operations and improvement in quality of supply.

## ARR and Tariff Petition

The Electricity Department, Government of Manipur (EDM), being an integrated utility, is responsible for generation, transmission & distribution and it also discharges trading and SLDC of the Commission for the State Utility functions of electricity in the State of Manipur. EDM is a deemed licensee.

As per the Joint Electricity Regulatory Commission, Manipur and Mizoram (Terms and Conditions for Determination of Tariff) Regulations 2010, the utility was required to submit the ARR and file the Tariff Petition in the Month of November, 2011 along with the requisite data for generation, transmission and distribution business separately in the prescribed formats for determination of respective tariffs (viz) generation, transmission and retail tariff for the next financial year 2012-13 for sale of energy within the state. However, the licensee has filed petition only for fixation of retail tariff for sale of energy within the state for the year 2012 - 13 on 03/05/2012. The first tariff order of the Commission for the FY 2010-11 is still force.

At present, as the petitioner does not own any major generating plant and is not in a position to sell power to other licensees, the question of fixation of generation tariff may not arise. But transmission tariff is essential for providing open access to HT consumers and evacuation of power generated by IPPs through licensee’s transmission network. Hence, it is necessary for the licensee to furnish data for fixation of transmission tariff along with the next ARR and Tariff petition. In the petition EDM, estimated an ARR of ` 392.04 crore for Distribution Sector and considered a tariff support of ` 151 crore from the Government of Manipur thereby showing a revenue gap of ` 94.61 crore.

## 1.3	Admission of Petition

There is inordinate delay in filing of the ARR & tariff petition for the FY 2012-13 and it is not pertinent to admit it after the commencement of the year. However, after careful consideration of the loss being incurred by the utility and the government, the distress caused to the consumers with the existing tariffs and consequences of further delay, the Commission considers it appropriate to admit the ARR and tariff petition for the FY 2012-13 filed by the EDM.

The Commission also observed that the ARR filed by the petitioner was incomplete and lacking critical and vital information required as specified in Commission’s Regulations on Terms and Conditions for Determination of Tariff. Therefore, EDM was asked to submit the required information vide Commission’s letter No.H.20011/5/12JERC dt 22.5.2012

Pending receipt of additional information, the ARR and Tariff Petition was admitted on 23.5.2012 and marked as Petition No. 2/2012 to avoid delay in processing of ARR.

Subsequently, the EDM was asked to submit further information in addition to the information called for in the above reference vide Commission’s references listed below:

JERC letter No. H. 20011/5/12-JERC dated 24/5/2012 and letters of even numbers dated 28/05/2012 and 05/06/2012

The Electricity Department, Government of Manipur has submitted some data / information / clarifications etc vide its letters listed below:

(1) 	ED/Manipur letter No. 5/11/2011/TP/12-13/IPED/3184-86 dt. 04/07/2012.

(2) 	ED/Manipur letter No. 5/11/2011/TP/12-13/IPED/3187-89 dt. 04/07/2012.

(3) 	ED/Manipur letter No. 5/11/2011/TP/12-13/IPED/3190-92 dt. 04/07/2012.

(4) 	ED/Manipur letter No. 5/11/2011/TP/12-13/IPED/3195-97 dt. 04/07/2012.

(5)	ED/Manipur letter No. 5/11/2011/TP/12-13/IPED(Pt.-II)/1053-54 dt. 9.8.2012

## 1.4	Public Hearing Process

The Commission directed the EDM, to publish the summary of the ARR and tariff proposal in the abridged form and manner as approved in accordance with Section 64 of the Act to ensure public participation.

The public notice was published by the Chief Engineer, EDM in the following newspapers inviting, the public to forward their objections and suggestions on the petition on or before 30/06/2012.

| S. N. | Name of the Newspaper | Language | Date of Publication |
| --- | --- | --- | --- |
| 1 | The Sangai Express | English | 09/06/2012 |
| 2 | Poknapham | Manipuri | 10/06/2012 |

The Commission received one objection / suggestion by all Manipur Power Consumers’ Association on the petition filed by the EDM. The Commission passed on the objection received to EDM for communicating their response to the objections raised.

## Notices for Public Hearing

A Public Notice was again published by the Commission in the following leading newspapers on 20/06/2012 giving due intimation to the general public, interested parties, objectors and the consumers about the public hearing to be held at Imphal on 11/07/2012.

| S. No. | Name of the news paper | Language | Date of Publication |
| --- | --- | --- | --- |
| 1 | Poknapham | Manipuri | 23/06/2012 |
| 2 | Imphal free press | English | 24/06/2012 |

## Public Hearing

The Public hearing was held as scheduled on 11/07/2012 at the Conference Hall of Hotel, Imphal from 11.00AM to 2.00 PM. During the public hearing, each objector was provided a time slot for presenting before the Commission his views on the petition of the EDM. The main issues raised by the objectors during the public hearing and corresponding response of the EDM are briefly narrated in Chapter - 5.

## Meeting of State Advisory Committee

The State Advisory Committee, which met on 10/07/2012, discussed the ARR & Tariff proposal for FY 2012-13 of the EDM.

## 1.8	Compliance of Directives

In its previous Tariff order the Commission had issued certain directives to the EDM in the public interest. A summary of directives issued along with the comments of the Commission and new directives are given in Chapter 8 of this Tariff Order.

# 2. Summary of ARR and Tariff Petition

## 2.1	Aggregate Revenue Requirement (ARR)

The EDM, in its petition, has submitted the Aggregate Revenue Requirement for the year 2012-13 for meeting its expenses and the estimated revenue with the existing tariff. The proposed ARR and revenue gap are shown in Table below.

#### Table-2.1: Aggregate Revenue Requirement for FY 2012-13 (Table-24 of ARR Petition)

|  |  |  | (` Crore) |
| --- | --- | --- | --- |
| Particulars | FY 10-11 | FY 11-12 | FY 12-13 |
|  | Actuals | Estimated | Projected |
| Power Purchase Cost | 151.23 | 159.63 | 261.23 |
| Fuel Cost | 1.12 | 0.93 | 1.50 |
| Employee Cost | 72.21 | 80.87 | 90.61 |
| Repairs & Maintenance Cost | 9.36 | 10.25 | 11.24 |
| Admin & General Cost | 0.55 | 0.66 | 0.73 |
| Depreciation | 6.22 | 7.31 | 8.52 |
| Interest Cost | 10.30 | 10.54 | 13.67 |
| Interest on Working Capital | 2.39 | 3.10 | 4.49 |
| Provision for Bad Debts | 0.84 | 2.90 | 3.00 |
| Total Costs | 254.21 | 276.21 | 394.99 |
| Add: Return on Equity | 0.00 | 0.00 | 0.00 |
| Less: Non-Tariff Income | 2.34 | 2.60 | 3.12 |
| Annual Revenue Requirement | 251.87 | 273.61 | 391.87 |

Prayer

The EDM has requested the Hon’ble Commission to:

	Admit the Aggregate Revenue Requirement of FY 2012-13 and the Tariff Revision Proposal for FY 2012-13 as submitted herewith.

	Approve the Projected Aggregate Revenue Requirement of FY 2012-13 as well as the estimates for FY 2011-12.

	Condone any inadvertent omissions/ errors/ shortcomings and permit the Petitioner to add/ change/ modify/ alter this filing and make further submissions as may be required at a future date.

	Permit submission of any additional information required by the Commission during the processing of this petition.

	And pass such other and further orders as are deemed fit and proper in the facts and circumstances of the case.

## Tariff

The EDM, Govt. of Manipur in its petition has submitted the proposed tariff for the FY 2012-13 as per the table below:

#### Table – 2.2:  Proposed Tariff Structure for FY 2012-13 against the existing tariff 2010-11

| Particulars | Existing Tariff | Proposed Tariff |
| --- | --- | --- |
|  | Fixed Charges (`./kW/kVA/Month) | Energy Charges (`./kWh) | Fixed Charges (`./kW/kVA/Month) | Energy Charges (`./kWh) |
| LT SUPPLY |  |  |  |  |
| Kutir Jyoti |  |  |  |  |
| 1-15 kWh | 20 | 1.00 | 20 | 1.00 |
| Above 15 kWh | 20 | 1.50 | 20 | 1.50 |
| Domestic Light & Power |  |  |  |  |
| 1-100 kWh | 60 | 2.20 | 60 | 2.50 |
| 101-200 kWh | 60 | 2.70 | 60 | 3.10 |
| Above 200 kWh | 60 | 3.20 | 60 | 3.85 |
| Commercial |  |  |  |  |
| 1-100 kWh | 80 | 3.00 | 80 | 3.30 |
| 101-200 kWh | 80 | 3.50 | 80 | 4.00 |
| Above 200 kWh | 80 | 4.00 | 80 | 4.80 |
| Public Lighting | 60 | 4.00 | 60 | 4.30 |
| Public Water Works | 100 | 4.00 | 60 | 4.30 |
| Agriculture | 60 | 2.50 | 60 | 2.50 |
| Cottage & Small Industry | 60 | 2.50 | 60 | 2.85 |
| Temporary Supply | 50 | 4.00 | 50 | 4.35 |
| HT SUPPLY |  |  |  |  |
| Commercial | -- | -- | 100 | 4.00 |
| Public Water Works | 100 | 3.50 | 100 | 3.90 |
| Agriculture | 100 | 2.50 | 100 | 2.50 |
| Medium Industry | 60 | 3.00 | 100 | 3.30 |
| Large Industry | 100 | 3.50 | 100 | 3.85 |
| Bulk Supply | 100 | 3.20 | 100 | 3.50 |

# 3. Power Sector in Manipur

## 3.1 	Geographical Reality

The EDM is responsible for generation, transmission and distribution of electricity in the State of Manipur, which has a total area of 22,347 Sq KM with its nine districts namely, Bishnupur, Churachandpur, Chandel, Imphal East, Imphal West, Senapati, Tamenglong, Thoubal and Ukhrul. Manipur occupies an area of great strategic importance in North East corner of India. Manipur is bounded by States of Nagaland in the North, Mizoram in the South, Assam in the West and sharing international boundary with Myanmar in the East. The total population of Manipur State is 27.22 lakhs as per 2011 census. EDM serves about 1.99 lakhs consumers of various categories. Per capita consumption is about 100 kwh for the year 2010-11.

## Power Supply

(a) 	Local Generation

The EDM has own generation plants (both hydel and diesel) with installed capacity of 45.11 MW. Actual generation during 2010-11 is 0.95 MU (Net) while the energy requirement is about 505 MU. Balance energy requirement was met from power purchase from CGS and other sources of the State owned generating stations as detailed in Table below:

#### Table-3.1: Own generation

(MW)

| Sl. No. | Station | Installed Capacity |
| --- | --- | --- |
|  |  | 2006-07 | 2007-08 | 2008-09 | 2009-10 | 2010-11 |
| I | Hydel | 3.20 | 3.20 | 3.20 | 3.20 | 0.60 |
| 1 | Leimakhong Stage-I | 0.60 | 0.60 | 0.60 | 0.60 | 0.60 |
| 2 | Leimakhong Stage-II | 0.30 | 0.30 | 0.30 | 0.30 |  |
| 3 | Nungshangkhong | 1.50 | 1.50 | 1.50 | 1.50 |  |
| 4 | Lokchao | 0.40 | 0.40 | 0.40 | 0.40 |  |
| 5 | Gelnel | 0.40 | 0.40 | 0.40 | 0.40 |  |
| II | Diesel Gen. Set | 6.52 | 6.37 | 5.63 | 8.51 | 8.51 |
| 6 | Imphal East &West | 6.52 | 6.37 | 5.63 | 5.63 | 5.63 |
| 7 | Others Districts Hospitals |  |  |  | 2.88 | 2.88 |
| III | Heavy Fuel | 36.00 | 36.00 | 36.00 | 36.00 | 36.00 |
| 8 | Leimakhong | 36.00 | 36.00 | 36.00 | 36.00 | 36.00 |
|  | Total | 45.72 | 45.57 | 44.83 | 47.71 | 45.11 |

The EDM further stated that the diesel generating sets with a total capacity of 8.51MW cater to the immediate requirement of Imphal Power House and district hospitals. The heavy fuel plant of 36 MW (6X6 MW) at Leimakhong is kept on stand by mode for the purpose of meeting emergency requirements in the State.

(b) 	Power Purchase

The EDM is mostly dependent on Central Generating Stations (CGS) located in different parts of the North Eastern Region for meeting its energy requirement. The total firm share from the Central Sector Generating Stations of NEEPCO and NHPC and Tripura is 132 MW as depicted in the Table below. The actual peak and off-peak availabilities are however always less because of low plant load factors.

#### Table-3.2: Share from Central Generating Stations (CGS) for FY 2010-11

| Station | Installed Capacity | FY 2010-11 (Actuals) |
| --- | --- | --- |
|  |  | Manipur Allocation (MW) | Average Allocation in % |
| NEEPCO(Hydro) |  |  |  |
| Kopili I HEP | 200 | 14.78 | 7.39% |
| Kopili II HEP | 25 | 1.74 | 6.95% |
| Khandong HEP | 50 | 3.28 | 6.56% |
| Ranganadi HEP | 405 | 33.91 | 8.37% |
| Doyang HEP | 75 | 5.90 | 7.87% |
| Sub total | 755 | 59.60 |  |
| NEEPCO(Gas Based) |  |  |  |
| Assam Gas based Power Project | 291 | 23.59 | 8.11% |
| Agartala Gas Turbine Power Project | 84 | 6.98 | 8.31% |
| Sub total | 375 | 30.57 |  |
| NHPC(Loktak HEP) |  |  |  |
| Purchased | 105 | 32.00 | 30.12% |
| Sub total | 105 | 32.00 |  |
| TRIPURA |  |  |  |
| Baramura(Gas Based)(Unit IV) | 21 | 5.25 | 25% |
| Baramura(Gas Based)(Unit V) | 21 | 5.25 | 25% |
| Sub total | 42 | 10.50 |  |
| Total | 1277 | 132.00 |  |

The peak load demand of the State for the year 2011-12 as per 18th Load Survey Report of Central Electricity Authority (CEA) is about 153 MW. The State has not purchased power from other sources. As a result, widespread heavy load shedding prevails in the State

The energy drawals from various central generating stations and Tripura during 2010-11 is given in Table below:

Table - 3.3: Energy Drawals from Central Generating Stations & Tripura (Table 7 of ARR)

(MU)

| Station | FY 2010-11 Actuals |
| --- | --- |
| NEEPCO (Hydro) |  |
| Kopili I HEP | 51.00 |
| Kopili II HEP | 6.00 |
| Khandong HEP | 10.00 |
| Ranganadi HEP | 117.00 |
| Doyang HEP | 19.00 |
| Sub total | 203.89 |
| NEEPCO (Gas Based) |  |
| Assam Gas based Power Project | 146.00 |
| Agartala Gas Turbine Power Project | 51.00 |
| Sub total | 197.23 |
| NHPC (Loktak HEP) |  |
| Purchased | 107.00 |
| Free Power | 71.00 |
| Sub total | 177.95 |
| TRIPURA |  |
| Baramura (Gas Based)- (Unit IV) | 40.40 |
| Baramura (Gas Based)- (Unit V) |  |
| Sub total | 40.40 |
| Power purchase from Other Sources |  |
| UI | 19.00 |
| Sub total | 19.00 |
| Gross Power Purchase | 638.00 |
| External Losses | 23.00 |
| Net Power Purchase | 615.00 |

## 3.3 	Transmissions and Distribution

For the purpose of drawing power from the Central Sector generating stations and other sources in the North Eastern Region, the EDM has utilized 4 Nos single circuit 132 kV inter state transmission lines, two being owned by PGCIL and two by ED, Manipur, as detailed below

Owned by ED, Manipur

- Leimatak-Ningthoukhong-Karong-Kohima-132 kV line

- Leimatak-Jiribam-132 kV line

Owned by PGCIL

- Leimatak – Imphal - Dimapur – 132 kV line

- Leimatak - Jiribam – 132 kV line

Manipur, being a hilly state with its population unevenly dispersed and spread over remote corners, it is having large network of Sub-Transmission and Distribution system. The details of Transmission, Sub- Transmission and Distribution network, owned & operated by EDM as on 31/03/2011, are given in Table below.

#### Table-3.4: Transmission and Distribution Network as on 31.3.2011

| S. No. | Voltage | Transmission lines (Ckt. Km) | Sub-stations (nos.) | MVA |
| --- | --- | --- | --- | --- |
|  |  | Double Ckt. | Single Ckt. |  |  |
| 1 | 132kV | 115.924 | 376.216 | 8 | 243.80 |
| 2 | 33kV | 25.658 | 835.058 | 41 | 275.00 |
| 3 | 11kV lines | 16.090 | 5773.787 |  |  |
| 4 | LT lines |  | 7685.000 |  |  |
| 5 | Distribution transformers |  |  | 3732 | 3891.74 |
|  | 11 kV (UG) |  | 0.010 |  |  |
| 7 | LT cable (UG) |  | 0.280 |  |  |

## 3.4	Transmission and Distribution (T&D) Losses

The Transmission and Distribution losses of EDM system are given as 46.47% during the year 2010-11 and as 40.87% during the year 2011-12 excluding external pool losses. The technical and commercial losses are not segregated.

## 3.5	Consumer Profile

The category wise consumers and corresponding energy sales during the year 2010-11 are given in Table below:

Table-3.5: Consumer Profile and Energy Sales – 2010-11

| S. No. | Consumer Category | 2010-11 |
| --- | --- | --- |
|  |  | No. of Consumers (%) | Energy Sales (MU) (%) |
| 1 | Domestic including BPL | 19580 (93.00%) | 152 (56.00%) |
| 2 | Commercial | 10406 (5.00%) | 22.75 (8.00%) |
| 3 | Small industry | 1764 (1.00%) | 8.40 (3.00%) |
| 4 | Medium industry | 416 (0.20%) | 3.03 (1.00%) |
| 5 | Large industry | 16 (0.01%) | 2.05 (0.80%) |
| 6 | Bulk supply | 467 (2.00%) | 58.79 (22.00%) |
| 7 | Public lighting | 740 (0.40%) | 5.39 (2.00%) |
| 8 | Irrigation | 61 (0.03%) | 0.49 (0.20%) |
| 9 | Public waterworks | 140 (0.07%) | 17.62 (7.00%) |
| 10 | Temporary supply | 71 (0.04%) | 0.58 (0.20%) |
|  | Grant Total | 193661 | 271.10 |

## Demand

The energy demand for the EDM is met by supply of power from own generation, central generating stations of North Eastern Region and Baramura Gas Based Plants in Tripura State. The annual energy requirement was 505 MU.

3.7	Energy Audit

The EDM is not doing Energy Audit effectively- neither at the incoming stage nor at the consumer end. At present, the EDM is arriving at the losses by taking the input at 11kV point and compare it with energy sales at consumer end and showing the difference as distribution loss and this exercise can not be termed as energy audit. The energy audit should be conducted Voltage wise and computed with standard norms.

Any abnormalities in loss level should be analysed and effective measures to be taken to bring down the losses to the permissible limits. To achieve this all the line feeders, transformer and consumers should be provided with standard meters.

## 3.8 	Energy Metering

Out of 193661 service connections as on 31.3.2011, 26953 connections are reportedly without meters. During the year 2011-12 alone, 5793 new service connections are released without meters out of which 332 are HT service connections. Added to this 35,413 service connections are with defective meters as on 31.3.2012. More than 70% of the meters are electromechanical type and these remain untested for several years. Metering of 33 KV feeders, 11 KV feeders is not completed and DTRs are not provided with meters.

## 3.9 	Continuity of Power Supply

The Power supply in the state is in a very precarious condition. Nowhere in the state, barring a few privileged consumers, the power supply is continuous. The duration of power supply to the general consumers including the State capital is 4 to 8 hours a day.

# 4. Review of the year 2010-11

## 4.1	Background

4.1.1	The Tariff Order of the Commission for FY 2010-11 contained its approvals of costs and revenue projections based on EDM’s estimates for different items of cost to be incurred and revenue likely to be earned by it during the year. The EDM in its ARR petition for the year 2012-13 has furnished actuals for FY 2010-11.

4.1.2	There are differences in certain items of costs as well as revenues between the approvals granted by the Commission and the actuals now furnished by the EDM. Since the EDM has not submitted audited accounts for FY 2010-11, true up of tariff order for 2010-11 is not done.

However the Commission considers it appropriate and fair to revisit and review the approvals granted by it in the tariff order 2010-11 with reference to the actuals now made available by the EDM but without altering the principles and norms adopted earlier. These matters are discussed in the succeeding paragraphs.

## Energy Demand (Sales)

4.2.1	The energy sales projected by EDM in ARR 2010-11, sales approved by the Commission in Tariff Order of 2010-11 and actuals for FY 2010-11 are given in Table below:

#### Table-4.1: Energy sales for 2010-11

| S. No. | Category | Energy sales projected by the EDM | Energy sales approved by the Commission | Actuals for FY 2010-11 | Now approved by the Commission |
| --- | --- | --- | --- | --- | --- |
| 1 | Domestic | 139.31 | 158.00 | 152.00 | 152.00 |
| (a) | Kutir Jyoti |  | 5.00 |  |  |
| (b) | Domestic |  | 153.00 |  |  |
| 2 | Commercial | 17.52 | 18.00 | 22.75 | 22.75 |
| 3 | Industrial | 9.39 | 11.07 | 13.48 | 13.48 |
| (a) | Cottage & small industry | 5.32 | 7.00 | 8.40 | 8.40 |
| (b) | Medium industry (HT) | 2.53 | 2.53 | 3.03 | 3.03 |
| (c) | Large industry (HT) | 1.54 | 1.54 | 2.05 | 2.05 |
| 4 | Bulk supply | 47.05 | 52.69 | 58.79 | 58.79 |
| (a) | LT |  | 4.50 |  |  |
| (b) | HT |  | 48.19 |  |  |
| 5 | Public lighting | 4.69 | 5.45 | 5.39 | 5.39 |
| 6 | Irrigation & Agriculture | 0.70 | 0.70 | 0.49 | 0.49 |
| (a) | LT |  | 0.42 |  |  |
| (b) | HT |  | 0.28 |  |  |
| 7 | Public Water Works | 14.11 | 14.11 | 17.62 | 17.62 |
| (a) | LT |  | 5.00 |  |  |
| (b) | HT |  | 9.11 |  |  |
| 8 | Temporary supply |  |  | 0.58 | 0.58 |
|  | Total | 232.77 | 260.02 | 271.10 | 271.10 |

The Commission therefore approves energy sales within the state at 271.10 MU for the year 2010-11as per actuals.

## 4.3	Transmission and Distribution Losses (T&D losses)

4.3.1	The Commission in its order of 2010-11 has fixed the T&D losses with in the State at 47% for FY 2010-11 as against 45 % projected by EDM. The EDM has now furnished the actual T&D loss during the FY 2010-11 as 46.34% with a reduction of 0.66% over the target fixed by the Commission in Tariff Order for 2010-11.

The Commission, therefore, approves T&D losses at 46.34% as per actuals for the year 2010-11.

## 4.4	Own generation

5.4.1	The EDM is having its own generation plants such as micro hydel, diesel and H.F.O. with an installed capacity of 45.11MW. Break up of individual plants are not furnished. Net generation projected by EDM for FY 2010-11 in the tariff petition for 2010-11 and approved by the Commission in the Tariff Order for 2010-11 and actuals now furnished by the EDM in tariff petition for 2012-13 and now approved by the Commission for 2010-11 are furnished in Table below:

#### Table-4.2: Own generation during 2010-11 (Net)

| S. No. | Station | Installed capacity | Projected by EDM for 2010-11 (MU) | Approved by the Commission in Tariff Order | Actuals now furnished by EDM for FY 2010-11 | Now approved by the Commission for 2010 -11 |
| --- | --- | --- | --- | --- | --- | --- |
| I | Hydel |  |  |  |  |  |
| 1 | Leimakhong | 0.6 | 1 | 1 | 0.46 | 0.46 |
| II | Diesel Generating sets |  |  |  |  |  |
| 2 | Imphal | 5.63 |  |  |  |  |
| 3 | District hospitals | 2.88 |  |  |  |  |
|  | Sub-total | 8.51 |  |  |  |  |
| III | Heavy fuel |  |  |  |  |  |
| 4 | Leimakhong (6X6) | 36 |  |  |  |  |
|  | Total (I+II+III) | 45.11 | 4.83 | 4.83 | 0.95 | 0.95 |

The Commission approves the own generation at 0.95 MU for FY 2010-11 as per actuals.

## 4.5	Power purchase

The EDM Projected for purchase of 550.36 MU with an external loss of 3.6 %. The Commission has approved power purchase of 616.75 MU including UI purchases of 11.97 MU and free power of 51.77 MU from Loktakh HEP of NHPC for FY 2010-11. Considering external losses at 3.5% net power available at State Periphery is approved at 600.41 MU. The EDM has now furnished actual power purchase at 638 MU including UI purchases of 19 MU. External losses are shown as 3.6% and the net power available at State Periphery is arrived at 616 MU. This is further discussed in subsequent para 4.8.

## 4.6	Energy balance

4.6.1	The details of energy requirement and availability approved by the Commission in Tariff order 2010-11 and actuals now furnished by the EDM and approved by the Commission are furnished in Table below:

Table-4.3: Energy balance 2010-11

| S. No. | Particulars | Approved by the Commission in T.O. 2010-11 | Actuals for FY 2010-11 | Now approved by the Commission |
| --- | --- | --- | --- | --- |
| A | Energy requirement |  |  |  |
| 1 | Energy sales (MU) | 260.02 | 271.1 | 271.1 |
| 2 | T&D loss (%) | 47% | 46.34% | 46.34% |
| 3 | T&D loss (MU) | 230.48 | 234 | 234 |
| 4 | Energy requirement (MU) | 490.5 | 505 | 505 |
| B | Energy availability |  |  |  |
| 5 | Own generation (MU) | 4.83 | 0.95 | 0.95 |
| 6 | Power purchase | 604.78 | 619 | 619 |
| 7 | External loss (%) | 3.50% |  |  |
| 8 | Less External loss (MU) | 21.17 | 23 | 23 |
| 9 | UI purchases | 11.97 | 19 | 19 |
| 10 | Total energy availability at State periphery | 600.41 | 616 | 616 |
| 11 | Energy requirement | 490.5 | 505 | 505 |
| 12 | Energy Surplus | 109.91 | 111 | 111 |

The Commission approves total energy requirement for 2010-11 at 505 MU with T&D loss at 46.34% as per actuals furnished by EDM.

## 4.7	Fuel cost

The Commission in its Tariff order for FY 2010-11, has approved the fuel cost of ` 1.66 crore for a net generation of 3.83 MU with diesel and heavy fuel. The EDM has furnished actual diesel generation at 0.49 MU at cost of ` 1.12 crore with an average cost of generation of ` 22.86/kWh which is on very high side. The EDM should analyse the reasons for such a very high cost of generation and take remedial measures to reduce the cost to the barest minimum. With the above observation the fuel cost of ` 1.12 crore is considered for FY 2010-11.

## 4.8	Power purchase cost

5.8.1. The Commission in its Tariff order for 2010-11 approved ` 116.88 crore for power purchase of 616.75 MU (Gross) including UI purchases of 11.97 MU and free power 51.17 MU from Loktak HEP for FY 2010-11.

5.8.2. The actual power purchase cost for FY 2010-11 now reported by the EDM is `  151.23 crore for purchase of 638 MU (Gross) including UI purchases of 19 MU and free power of 71 MU from Loktak HEP

The increase in cost is about 30 %. The main reasons for the increase are purchase of power from costlier gas based power projects and excessive increase in transmission tariff of PGCIL.

The Commission approves power purchase cost of ` 151.23 crore for purchase of power of 638 MU as per actuals for the FY 2010-11.

## 4.9	Employee costs

4.9.1	The Commission in the Tariff Order for FY 2010-11 had approved employee cost at ` 63.99 crore for FY 2010-11.

4.9.2	The actual employee cost now reported by the EDM is at ` 72.21 crore for FY 2010-11.

4.9.3	The Commission notes that the employee cadre strength has been reduced from 3725 to 3621 during 2010-11. However, the EDM reports that the increase in employee cost is done to implementation of 6th pay commission pay scales.

The Commission approves the employee cost at `. 72. 21crore for FY 2010-11, as per actuals.

## Repairs and Maintenance expenses

4.10.1	The Commission had approved R&M expenses at ` 10.67 crore in the Tariff order of 2010-11.

4.10.2	The actual expenses now furnished by the EDM for FY 2010-11 are ` 9.36 crore.

The Commission accordingly approves ` 9.36 crore towards R & M expenses for FY 2010-11.

## 4.11	 Administration and General (A&G) expenses

4.11.1	The Commission in the Tariff order of 2010-11 had approved A&G expenses at ` 0.60 crore for FY 2010-11.

4.11.2	 The actual expenses now furnished by the EDM for FY 2010-11 are ` 0.55 crore.

The Commission accordingly now approved `. 0.55 crore towards A&G expenses for FY 2010-11.

## 4.12	 Depreciation

4.12.1	The Commission had approved depreciation at ` 6.00 crore equivalent to the amount of loan repayment during FY 2010-11 in the Tariff order.

4.12.2	The EDM has now furnished depreciation for FY 2010-11 at ` 6.22 crore, calculated on GFA.

Commission’s Analysis

As the EDM has not maintained asset/depreciation registers nor the audited accounts are furnished, the value of GFA furnished is not considered by the Commission. However, the EDM has paid principle amount of loan to an extent of ` 6.00 crore. As such depreciation is allowed to the extent of repayment of loan.

The Commission, therefore, retains its approval of depreciation at ` 6.00 crore for FY 2010-11.

## 4.13	 Interest and Finance charges

4.13.1	The Commission had approved interest and finance charges at ` 9.03 crore for FY 2010 -11.

4.13.2	The EDM has stated that it has paid ` 10.30 crore towards interest and finance charges during FY 2010-11 as detailed in Table below:

#### Table-4.4: Interest and Finance charges for FY 2010-11

(` crore)

| S. No. | Particulars | Amount |
| --- | --- | --- |
| 1 | Opening loans | 82.09 |
| 2 | Additions during the year | 5.00 |
| 3 | Repayments | 6.00 |
| 4 | Closing loans | 81.09 |
| 5 | Average loans | 81.59 |
| 6 | Interest paid | 10.30 |
| 7 | Rate of interest | 12.62% |

Commission’s Analysis

As verified from the annual resources plan for 2012-13 and other documents the EDM availed loan of ` 5.00 crore, from REC and repaid principal amount of ` 6.00 crore and interest amount of ` 10.30 crore during the year 2010-11.

The Commission accordingly approves ` 10.30 crore towards interest and finance charges for FY 2010-11

## 4.14	Interest on working capital

4.14.1	The Commission in its Tariff order for 2010-11 had approved interest on working capital at ` 1.98 crore for FY 2010-11.

4.14.2	The EDM has now furnished interest on working capital at ` 2.39 crore for FY 2010-11 with an interest rate of 12.25%

4.14.3	The interest on working capital is worked out on the new approved costs of fuel, power purchase and O&M as detailed in Table below:

#### Table-4.5: Interest on working capital for FY 2010-11

(`  crore)

| S. No. | Particulars | Approved by Commission for FY 2010-11 | One month requirement |
| --- | --- | --- | --- |
| 1 | Fuel cost | 1.12 | 0.09 |
| 2 | Power purchase cost | 151.23 | 12.60 |
| 3 | Employee cost | 72.21 | 6.02 |
| 4 | R&M expenses | 9.36 | 0.78 |
| 5 | A&G expenses | 0.55 | 0.05 |
| 6 | Total |  | 19.54 |
| 7 | SBI –PLR as on 1.4.2010 |  | 11.75 |
| 8 | Int on working capital |  | 2.30 |

The Commission accordingly approves interest on working capital at ` 2.30 crore for FY 2010-11.

## 4.15	Non-Tariff income

4.15.1	The Commission in its Tariff order for FY 2010-11 had approved non-tariff income at ` 3.47 crore for FY 2010-11.

5.15.2	Now the EDM in its ARR & Tariff petition for 2012-13 has furnished non-tariff income at ` 2.34 crore for FY 2010-11.

The Commission accordingly approves ` 2.34 crore towards non-tariff income for FY 2010 - 11.

## 4.16	Review of ARR for FY 2010-11

In view of the above analysis the review of revenue requirement for FY 2010-11 is as detailed in Table below:

#### Table-4.6: Revenue requirement for 2010-11

(` crore)

| Sl. No. | Particulars | Approved by the Commission in Tariff Order FY 2010-11 | Actuals by EDM in tariff petition 2012-13 | Now approved by the Commission |
| --- | --- | --- | --- | --- |
| 1. | Energy sales (MU) | 260.02 | 271.10 | 271.10 |
| 2. | Fuel cost | 1.66 | 1.12 | 1.12 |
| 3. | Power purchase cost | 116.88 | 151.23 | 151.23 |
| 4. | Employee cost | 63.99 | 72.21 | 72.21 |
| 5. | R&M expenses | 10.67 | 9.36 | 9.36 |
| 6. | A&G expenses | 0.60 | 0.55 | 0.55 |
| 7. | Depreciation | 6.00 | 6.22 | 6.00 |
| 8. | Interest & Finance charges | 9.03 | 10.30 | 10.30 |
| 9. | Interest on working capital | 1.98 | 2.39 | 2.30 |
| 10. | Bad debts | 0.15 | 0.84 | - |
| 11. | ROE | - | - | - |
| 12. | Total ARR | 210.96 | 254.21 | 253.07 |
| 13. | Less: Non-tariff income | 3.47 | 2.34 | 2.34 |
| 14. | Net ARR | 207.49 | 251.87 | 250.73 |
| 15 | Revenue from revised tariff | 144.49 | 110.99 | 110.99 |
| 16 | Gap | 63.00 | 140.88 | 139.74 |
| 17 | Budgetary support from Govt. of Manipur | 55.56 | 92.42 | 92.42 |
| 18 | Net gap | 7.44 | 48.46 | 47.32 |

Review of the ARR for FY 2010-11 indicates that there is an abnormal increase of 30% on the expenditure for purchase of power and increase of 12.8% on the employee cost. The revenue collection shortfall is also to the extent of 23%.

  - Revenue gap for 2010-11

Because of the factors stated at para 4.16 above there is a wide gap of 139.96 Crore (55.77%) as indicated at table 4.7 below. As the utility is a Government Department and the expenditures are already met, the gap is considered covered fully under the budgetary support of the State Government and as such no pass through of the gap (loss) in the next tariff is allowed.

Table 4.7: Revenue gap for 2010-11

| Sl. No. | Particulars | Approved by the Commission | Actuals by EDM in ARR 2012-13 | Now approved |
| --- | --- | --- | --- | --- |
| 1. | Revenue Requirement | 207.49 | 251.04 | 250.95 |
| 2. | Revenue from revised tariff and UI sale | 144.49 | 110.99 | 110.99 |
| 3. | Gap | 63.00 | 140.05 | 139.96 |
| 4. | Budget for support from government of Manipur | 55.56 | 92.42 | 139.96 |
| 5. | Net gap | 7.44 | 47.63 | Nil |

# 5. Proceedings of Public Hearing

5.1	Public Response to the Petitions

After the ARR and Tariff Petition for the FY 2012-13 was admitted, the Joint Electricity Regulatory Commission for Manipur and Mizoram, directed the Electricity Department, Government of Manipur (EDM) to make copies of the petition available to the general public, post the petition on its website and also publish the same in local newspapers in abridged form inviting comments/ objections from them.

Accordingly, public notice was published in local Dailys on 23rd and 24th June, 2012.

5.2	Public Hearing

With a view to ensuring transparency and accessibility in the process of determination of tariff as envisaged in the EA 2003, public hearing was held at Hotel Imphal, on 11th July, 2012 as scheduled.

5.3	Objections/ Suggestions and Response of EDM

The Commission received only one written objection/ suggestion from the General Secretary, All Manipur Power Consumers Association. The same was passed on to the EDM for necessary reply/ clarification. EDM gave the reply/ clarification in writing on the date of public hearing.

During the public hearing, the General Secretary, AMPCA, who submitted the written objections earlier, presented the objections and suggestions personally before the Commission. Other participants and from the general public representatives of entities who did not submit written objections earlier but attended the public hearing were also given equal opportunity to offer their views in respect of the ARR and Tariff Proposal of the EDM. The list of the stakeholders and other interests groups who were present in the Public Hearing is given in Annexure –IV. The EDM was represented by a couple of Officers who responded to the issues raised by the objectors. The objections/ suggestions from the public and response of the EDM are mentioned in the succeeding paras of this Chapter.

5.3.1.	Objection/ Suggestion by Shri K. Sanatomba Singh, General Secretary, AMPCA.

1.	The Commission had already directed the EDM to properly maintain assets & depreciation registers, prepare annual audited statement of A/Cs and to submit the same to the Commission along with the next ARR & Tariff Petition and also to regulate the affairs to the Department in good shape. The petitioner has not submitted these important statements in the petition.

2.	Separate item-wise due assessment of GFA for the estimated and projected amount of ` 1264.50 crores and ` 1504.54 crores for the FYs 2011-2012 and 2012-2013 respectively is needed for easy reference of the same.

3.	The tariff for Major Capital Expenditure Schemes (MCES) such as Loktak Down-Stream Hydro Electric Project is supposed to be fixed by the project authority and not by the EDM and therefore the expenditure is not to be included in the ARR.

4.	The D.G. sets installed at the Raj Bhavan, RIMS, JNIMS etc. may be converted to captive power house for the individual/ institution and as such the expenses incurred to be disowned by the EDM.

5.	The incomplete formats (para No. 10 & 11, table 18 & 19 etc.) as enclosed in the petition may be duly filled up with a view to enlighten the persons concerned to have a ready reference of the same and also to keep the formats in good taste and shape.

6.	The proposed tariff does not reflect the efficient cost of supply of electricity. The budgetary support from the Government of Manipur needs to be increased in view of the financial conditions of the consumers. Therefore, the proposal for increase in tariff needs turned down by the Commission.

Reply of EDM

1.	M/S SBI Caps has been appointed for consultancy work of evaluation and finalization of assets and liability of the Department. Such statements of accounts are possible only after the finalization of assets. Prior to the appointment of M/S SBI Cap the Department has also proposed to the Government for hiring a Chartered Accountant for the preparation of Annual Statement of Accounts etc. vide the Department letter No.2/8/CoFm/IPED/2009/15714     dt. 20th March, 2012.

2.	Item wise statement of GFA is under process. It being a meticulous process; involving a number of modules, immediate assessment may not be possible.

3.	It is mandatory to reflect all the capital expenditure incurred by the Department including the equity share contribution for Loktak Down-Stream which is taken up as a Joint Venture with NHPC.

4.	The DG sets at RAJ BHAWAN & JNIMS are installed as back up for supplying power in the event of grid failure. These are the assets of the Department and are required to be installed at such vital places for ensuring uninterrupted power supply. However, the DG sets at RIMS is owned by RIMS authority.

5.	The same is being corrected accordingly.

6.	The budgetary support shown in the ARR is approved by the State Government.

5.3.2.	Objection/Suggestion by Shri S. Chaoba Singh, President, AMPCA

Power Supply is extremely poor in the State and so also the maintenance. Therefore, the electricity tariff shall not be increased till the supply is reasonably improved.

Reply of EDM

The Department is making all out efforts to improve supply system within a short possible time.

5.3.3.	Objection/Suggestion by Shri E. Dolendro Singh, Advisor, AMPCA

Referring to the Public Notice, Shri Dolendro Singh wanted clarification on the following:

1.	Budgetary support to the extent of ` 151.00 cr. from the Government of Manipur.

2.	Revenue Gap for an amount of ` 19.98 cr.

3.	Attempts made to generate income/ revenue by collecting substantial amount from the unauthorized consumers through a mass regularization process.

Reply of EDM

1.	The average cost of supply of energy, works out to more than ` 7 per unit. The consumers may not be ready to accept and pay at this rate under any circumstances.

The State Government therefore comes to the rescue and provides a budgetary support or tariff subsidy to the extent of ` 151.00. By providing this support the cost of supply comes down to an affordable rate of ` 3.60 per unit or so.

2.	If the Department continues to collect revenue at the existing tariff inspite of the tariff subsidy from the Government, it may not be able to collect the total required expense of the year. Rather there will be a short fall of ` 19.98 cr. as revenue gap. It therefore, implies that there is a need for increase in the tariff.

3.	Revenue drive as well as disconnection of un-authorised consumers are the steps taken up by the EDM to reduce the losses. These are in progress and regularization will follow soon.

5.3.4.	Objection/Suggestion by Shri K. Sanatomba Singh, General Secretary, AMPCA

If disconnection is continued, the number of consumers shall also decrease considerably and target sale within the State cannot be achieved. Therefore, a mass regularization will be a welcome approach to the desired common goal for all the stakeholders.

Reply of EDM

The defaulting/disconnected consumers shall be given connection after outstanding dues are realized.

5.3.5.	Objection/Suggestion by Shri Th. Ngouba Singh, Chief Trustee, Leiyaibi Memorial Trust, Langmeidong, Thoubal District

Power Supply is awfully irregular and as a result, the consumers are not interested to pay even at the existing tariff not to talk of a revised one. Therefore, tariff should not be increased.

Reply of EDM

Power supply shall improve only after the un-authorised & theft of power cases are eliminated and for that the Department is launching various programmes.

5.3.6.	Objection/Suggestion by Shri T. Rameshwor Singh, Advisor, Leiyaibi Memorial Trust, Langmeidong, Thoubal District

1.	Connected load (so also the contract Demand) is not properly assessed but calculated based on assumptions. The result is that bill amount is very high and burden on consumer is more.

2.	The consumers in Manipur belong to a welfare state of the country and they cannot afford to bear more burden. Therefore, the tariff subsidy needs to be increased by the Government so that the tariff remains unchanged.

Reply of EDM

1.	The Department has initiated a proposal for conducting a consumer survey all over the State. The actual picture will be available only after completion of the survey.

2.	The Government takes decision only after giving due considerations to several factors.

5.3.7.	 Objection/Suggestion by Shri Manindra Konsam, ASDO

1.	It has been proposed in the petition that the margin money of ` 16.84 cr. is to be collected/ realized through efficiency improvement of the service provider.  However, the consumers would prefer that a sum of ` 36.82 cr.                [i.e. ` 16.84 cr. + ` 19.98 cr. (revenue gap)] is realized through efficiency improvement of the service provider.

2.	Power supply is available for 24 hours in most of the hill areas of the State, while the same is restricted to a few hours in the valley. How is this kind of discrimination allowed to take place?

3.	Is the revenue collection commensurate with the availability of power in the hill areas?

4.	When can the consumers in the valley expect non-discriminatory power supply?

Reply of EDM

1.	It may not be possible.

2.	Department has not done anything that may cause discrimination among consumers.

3.	Steps like devolution of power to Hill District Councils and Village Electricity Board to collect revenue from the consumers under its jurisdiction, have been taken up.

4.	Because of transmission constraints, the State is unable to draw more thatn 90-100 MW from the NE Grid. The Department needs to do away with these constraints first.

5.3.8.	 Objection/Suggestion by Shri U. Himmat, Green Foundation, Kwakeithel

1.	Is the trading of electricity possible?

2.	Service Provider needs to sell more energy to the consumers so as to earn more profit. This will enable it to keep the tariff as it is.

Reply of EDM

1.	No.

2.	It is possible only after the hole through which leakage (loss) takes place is plugged in.

5.3.9.	 Objection/Suggestion by Shri Kh. Budha Singh, Former Member,   Bishnupur District, Rural Social Welfare Society, Thanga

While fixing the tariff, special consideration may be granted to the fishing community of Loktak Lake who are really poor and living a hand to mouth life.

Reply of EDM

The Department has not made such a proposal. However, they can be categorized under Kutir Jyoti Consumer if their consumption is less than 45 units in three months.

5.3.10.	Objection/Suggestion by Shri P. Arunkumar Singh, President, Consumers’ Union, Imphal

The Electricity Department used to serve Bills to the Consumers of Monsangei, Kongba  & Lamlong, at different rates, like ` 350, ` 410, and ` 308 without following any specific norms. Why these things happen when the tariff order is common for all?

Reply of EDM

The existing Tariff Order is yet to be implemented uniformly throughout the State.

5.3.11.Objection/Suggestion by Shri K. Sanatomba Singh, General Secretary, AMPCA

Power Sector Reformation that entails staff re-organisation & restructuring is not yet done, service improvement is also not visible and therefore, consumer’s satisfaction is terribly missing. Hence, tariff may not be increased before all the consumers expectations are fully expedited.

Reply of EDM

The Department endeavours to do everything as required by the EA 2003. But it needs more time.

5.3.12.	Objection/Suggestion by Dr. Binota Meinam, Imphal College

1.	The Consumers shall not pay for the poor service rendered by the inefficient staff of the service provider.

2.	All the stakeholders, namely Government, Service Provider and the Consumers are equally responsible for making the power supply system healthy and wealthy. But, the present trend shows that the consumers are always blamed & penalized. Why is punitive action not initiated against defaulting staffs & officers of the service provider?

Reply of EDM

1.	The old and ineffecient staffs of the Department cannot be thrown out at one go.

2.	Regulations that enable aggrieved consumers to claim compensation from the service provider are in place. Action against Government employee may be initiated by the Government only.

5.3.13. Objection/Suggestion by Shri S. Chaoba Singh, President, AMPCA

“Surcharge” and its accounting may be explained clearly in the bills in order to avoid wrong billing.

Reply of EDM

Tariff Order explains it.

5.3.14.	Objection/Suggestion by Shri Dr. L. Sadananda Singh, General Secretary, Senior Citizens for Society

1.	Bills are not served timely to the consumers. This is sheer injustice. Burden on the consumer becomes unbearable when the bill is served late by several months.

2.	Manipur is industrially deprived State. We should not allow the cottage and small industries which are already struggling for survival, to take more burden in the form of higher tariff.

Reply of EDM

1.	The Department is introducing various kinds of energy meters for its consumers. Everything can be streamlined once it is completed.

2.	Regulatory Commission is well aware of it.

5.3.15.	Objection/Suggestion by Shri P. Arunkumar Singh, President, Consumers’ Union, Imphal

The commercial units and the cottage & small industries in the State have been facing serious technical problems because of low voltage, erratic & irregular power supply and their survival are really at stake. The Department has to come forward first to take remedial measures and remove technical snags.

Therefore, it is not the proper time to increase the tariff for this category of consumers.

Reply of EDM

System improvement is going to take some more time. The Department is on the job now.

5.4	Commission’s Observation and Ruling

The Commission has carefully noted down the objections, comments and suggestions made by the stakeholders comprising senior citizens, academicians, entrepreneurs, non-profit making organizations and industrialists etc.

It is observed that the action taken by the petitioner on asset management and preparation of the Statement of A/c is inordinately delayed. Realizing the volume of work involved in it and limitation of time for determination of Tariff for FY 2012-13, the Commission has considered the figures approved in the tariff order of 2010-11 and additions during 2011-12. On the capitalization of Loktak Down Stream Hydro Electric Project, the Commission agrees to the views of the objector and reiterated that it does not form a part of the ARR. On the suggestion of increase in Government subsidy to retain the existing rates of tariff the Commission is of the view that the amount of subsidy committed by the State Government is already large and Tariff subsidy will adversely affect other development works of the State including that of the EDM itself. The Commission, therefore, considers to look for any possibilities of reducing the Government subsidy while determining the ARR and rationalizing the tariff. The minimun requirement will be known after the ARR is approved and the revenue gap is ascertained. A normal increase in tariff is however necessary so that the tariff progressively reflects the cost of supply.

During the public hearing many objectors objected increase in tariff on various grounds. The Commission is of the view that recently there has been a steep rise in power purchase cost due to increase in fuel cost, transmission charges and substantial increase in employee cost. These changes are uncontrollable and the increases cannot be absorbed by improving the efficiency of the utilities alone. A major portion of the increase is borne by the State Government in the form of subsidy. It is considered reasonable that the consumers are also to bear for the increase. The Commission therefore considers to increase the tariff to an extent affordable to the consumers.

It has also been observed that some of the replies of EDM, viz, revenue collection in hill areas, trading, billing, special consideration for fishing community etc. are not satisfactory. The Commission is of the view that EDM will follow the relevant guidelines on these issues which are already in place.

While giving importance to the general impression of the consumers on the below standard performance of the service provider, the Commission has decided to issue appropriate directives to the Electricity Department on improvement of its overall efficiency.

# 6. 	Analysis of Aggregate Revenue Requirement

## 6.1	Energy Sales

Proper estimation of category wise energy sales is essential to determine the quantum of power purchase and the likely revenue. This section examines in detail the consumer category wise sales projected by the EDM in its petition for assessment of ARR.

## Consumer Categories

The EDM serves about 1.99 lakh consumers in its licensed area and the consumers are categorized as under:

(a) 	Domestic

(b) 	Commercial

(c) 	Public Lighting

(d) 	Agricultural

(e) 	Public water works

(f) 	Cottage & Small industry

(g) 	Medium industry

(h)    	Large industry

(i)     	Bulk supply

(j)   	Temporary supply

The EDM serves the consumers at different voltages according to the consumer’s requirement. In the categories, of Agriculture and public water works there are LT consumers as well as HT consumers, while medium Industry, Large Industry and Bulk Supply categories are under HT only.

## Additional Information and Data

The ARR and Tariff Petition for the year 2012-13 filed by EDM was incomplete as many of the specified formats required under JERC (Terms and Conditions for Determination of Tariff) Regulations 2010 were not submitted. However, the EDM has submitted some additional data / information / clarifications etc through the following references.

1.	ED/Manipur letter No 5/11/2011/TP/12-13/IPED/3184-86  dt 4.7.12

2.	ED/Manipur letter No 5/11/2011/TP/12-13/IPED/3187-89 dt 4.7.12

3.	ED/Manipur letter No 5/11/2011/TP/12-13/IPED/3190-92 dt 4.7.12

4.	ED/Manipur letter No 5/11/2011/TP/12-13/IPED/3195-97 dt 4.7.12

5.	ED/Manipur letter No. 5/11/2011/TP/12-13/IPED(Pt.-II)/1053-54 dt. 9.8.2012

Additional information and revised / corrected data submitted by the EDM in the above references are taken into consideration while analyzing the ARR for determination of Tariffs. In the petition, many information gaps still remain. However, to avoid further delay the commission has processed the same with the available data.

## 6.4	Growth of Consumers and Connected Load

The EDM has projected the category wise growth of consumers and their connected load as detailed below.

6.4.1 Consumers and connected load

The EDM has projected the category wise number of consumers and the connected load for the years 2010-11 to 2012-13 as detailed in Table below:

#### Table-6.1: No. of consumers and connected load (Format 1 of ARR & Addl information)

| S. No. | Category of consumers | 2010-11 | 2011-12 | 2012-13 |
| --- | --- | --- | --- | --- |
|  |  | No. of Consumers | Connected Load (KW) | No. of Consumers | Connected Load (KW) | No. of Consumers | Connected Load (KW) |
| 1 | Domestic | 179580 | 166727 | 185111 | 191736 | 190698 | 220496 |
| 2 | Commercial | 10406 | 19903 | 10498 | 21893 | 10760 | 24083 |
| 3 | Small industry | 1764 | 15000 | 1837 | 15583 | 1957 | 16188 |
| 4 | Medium industry | 416 |  | 431 |  | 446 |  |
| 5 | Large industry | 16 | 5095 | 19 | 6114 | 21 | 7337 |
| 6 | Bulk supply | 467 | 41538 | 500 | 41959 | 533 | 42385 |
| 7 | Street lighting | 740 | 3080 | 740 | 3097 | 747 | 3114 |
| 8 | Irrigation | 61 | 757 | 64 | 781 | 66 | 805 |
| 9 | Public water works | 140 | 7631 | 150 | 7715 | 159 | 7800 |
| 10 | Temporary supply | 71 | 703 | 71 | 717 | 75 | 731 |
|  | Total | 193661 | 260434 | 199421 | 289595 | 205462 | 322939 |

Commission Analysis

As seen from the above Table 6.1 the connected load is not commensurate with the number of service connections especially in respect of domestic, commercial, small / medium industry. As fixed charges have to be worked out on connected load there is need for physical verification of the connected load of all LT category service connections and HT unmetered connections to bill the fixed charges based on actual connected load after regularization of unauthorized loads if any. Directive No. 11 was already issued in Tariff order 2010-11 inter alia for detailed survey and investigation of load assessment. The licensee has not understood the impact of this directive fully. A plan of action should be chalked out in all divisions, for physical verification of connected load of all service connections section wise by mobilising all staff including AEs/JEs sub division wise. A quarterly progress report in this regard may be submitted to the Commission starting from 01/10/2012.

As per 2011 census there are 6, 09, 964 house holds in Manipur. And Manipur has declared that about 80 % of villages are already electrified as on November, 2011. It shows that the category wise consumers and connected load projected by EDM are quit inadequate. As such the category wise consumers and connected loads are suitably revised and approved as detailed in table below:

Table-6.2:No. of consumers & connected load approved by Commission  for FY 2012-13

| Sl.No | Category | No of Consumers | Connected Load(Kw) |
| --- | --- | --- | --- |
| 1 | Domestic | 2,35,000 | 3,52,500 |
| 2 | Commercial | 11, 000 | 33, 000 |
| 3 | Street Light | 750 | 3, 750 |
| 4 | Public Water Works | 165 | 8, 250 |
| 5 | Irrigation & Agriculture | 66 | 805 |
| 6 | Small Industry | 2, 000 | 10, 000 |
| 7 | Medium Industry | 450 | 13, 500 |
| 8 | Large Industry | 21 | 7, 337 |
| 9 | Bulk supply | 533 | 42, 834 |
| 10 | Temporary Supply | 80 | 800 |
|  | Total | 2, 50, 065 | 4, 72, 776 |

## 6.5	Overall Approach to Sales Projection

The EDM has projected the category wise energy sales for the year 2010-11 (actuals) and estimated sales for the year 2011-12 based on actual sales for six months, which have been taken as basis for projecting sales during 2012-13. The EDM has also stated that from the past experience, historical trend method is found to be reasonably accurate and is a well- accepted method for estimating the load, number of consumers and energy consumption.

The following methodology is applied while forecasting sales for FY 2012-13.

(a)	For domestic category which is the main consumption category in Manipur contributing 60% of sales (approx.) in the state, year on year growth rate of 2010-11 over 2009-10 of 19.2% is adopted on the sales of 2011-12 to get the sales for FY 2012-13.

(b)	For commercial, small industry, medium industry, large industry, and bulk supply categories two year CAGR (FY 2009 to FY 2011) has been applied over the sales of FY 2011-12.

(c)	For irrigation and agriculture, public water works and public lighting three year CAGR (FY 2008 to FY 2011) has been applied over the sales of FY 2011-12 to get the sales for 2012-13.

## 6.6	Projected Energy Sales 2012-13

The EDM has furnished the category wise sales during earlier years along with growth rates and estimates for the year 2012-13. These are given in Table 6.3 and 6.4 below.

#### Table-6.3: Category wise growth rates of energy sold

| Sl. No. | Category | 2007-08 | 2008-09 | 2009-10 | 2010-11 | 3 Yr CAGR 2007-08 to 2010-11 | 2 Yr CAGR 2008-09 to 2010-11 | YoY (2009-10 to 2010-11) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Domestic including BPL | 117.92 | 120.12 | 127.48 | 152.00 | 8.83 | 12.49 | 19.23 |
| 2 | Commercial | 12.67 | 14.22 | 16.01 | 22.75 | 21.54 | 26.49 | 42.10 |
| 3 | Small industry | 4.62 | 4.85 | 4.96 | 8.40 | 22.05 | 31.60 | 69.35 |
| 4 | Medium industry | 2.60 | 2.49 | 2.42 | 3.03 | 5.23 | 10.31 | 25.21 |
| 5 | Large industry | 1.64 | 1.34 | 1.42 | 2.05 | 7.72 | 23.69 | 44.37 |
| 6 | Bulk supply | 44.22 | 40.75 | 44.60 | 58.79 | 9.96 | 20.11 | 31.82 |
| 7 | Public lighting | 3.31 | 3.20 | 4.23 | 5.39 | 17.65 | 29.78 | 27.42 |
| 8 | Irrigation | 0.09 | 0.12 | 0.71 | 0.49 | 75.92 | 102.07 | -30.99 |
| 9 | PWS | 10.01 | 9.64 | 18.20 | 17.62 | 20.74 | 35.20 | -3.19 |
| 10 | Temporary | 0.33 | 0.49 | 0.61 | 0.58 | 20.68 | 8.80 | -4.92 |
|  | Total | 197.41 | 197.22 | 220.64 | 271.10 | 11.15 | 17.24 | 22.87 |

#### Table-6.4: Category wise energy sales (Table 2. of ARR)

| Energy Sales (MU) | FY 10-11 | FY 11-12 | FY 12-13 |
| --- | --- | --- | --- |
|  | Actuals | Estimated | Projected |
| Domestic | 152.00 | 164.42 | 196.04 |
| Commercial | 22.75 | 25.10 | 31.74 |
| Small Industry | 8.40 | 12.19 | 16.04 |
| Medium Industry | 3.03 | 3.31 | 3.66 |
| Large Industry | 2.05 | 4.87 | 6.03 |
| Bulk | 58.79 | 63.15 | 75.85 |
| Street Lighting | 5.39 | 5.51 | 6.48 |
| Irrigation & Water Works | 0.49 | 0.52 | 0.90 |
| Public Water Works | 17.62 | 18.99 | 22.93 |
| Temporary | 0.58 | 0.58 | 0.63 |
| Total Energy Sales | 271.10 | 298.07 | 359.68 |

## 6.7	Detailed Analysis of Energy Sales Projection

The EDM has projected the energy sales for different categories of consumers for FY 2012-13 as given in Table 6.4 above. As per the tariff schedule, public water works, and agricultural (irrigation) categories are mix of HT and LT categories and domestic, commercial, public lighting and cottage and small industries are under LT category, while medium Industry, Large Industry and Bulk Supply are under HT category only. The proposed sales are based on past trend of restricted supply. The energy sales are not following any definite trend. The projection of EDM is based on the past trend of the unfulfilled demand for the last 5 years. The EDM has declared that the state is energy surplus. However, by increasing the duration of power supply, and optimizing the use and distribution of the available energy, the sale of energy in the state will be increased many fold. Keeping the above issues in view, the consumption by each category of consumers is discussed hereunder.

(a) 	Domestic

EDM has projected energy sales of 196.04 MU for FY 2012-13 based on YoY growth rate of 19.2% (FY-10 to FY-11) over the estimated sales for 2011-12. Domestic category is the main consumption category in Manipur, contributing about 60% of total sales of energy in the State. There is no definite trend in energy sales growth rate. The three years CAGR (FY-08 to FY-11) is 8.83% while two year CAGR (FY-09 to FY-11) is 12.49% and YoY growth rate (FY-10 to FY-11) is 19.20%. However, considering the normal increase in per capita consumption level and increased utilization of electrical appliances, the EDM expects a growth rate of 19.2 % in energy consumption for the year 2012-13 over the year 2011-12 under restricted demand.

The Commission has considered two important issues in the assessment of energy of sales by this category of consumer. One issue is heavy load shedding in the State for about 16 hours a day. The second issue is the extremely low level of consumers number. On the analysis of the data for the last 3 (three) years the Commission has observed that the power shortage in the State at any point of time is within 40% whereas the load shedding is continuous for hours together. It is observed that the demand of the consumers can be met without restriction with the additional availability of power in the NE region from thermal projects and improved working conditions of the utility. Therefore, a much higher sale of energy in the domestic category during the year 2012-13 over the year 2011-12 is considered reasonable.

Considering the improved power supply position and consumer growth, the Commission approves the energy sales to the domestic category at 220 MU for the year 2012-13 as against 196.04 MU projected by EDM.

(b) 	Commercial

The EDM projected energy sales of 31.74 MU for this category for the year 2012-13 at a growth of 26.50% over 2011-12. The growth of energy sales in commercial category has been 21.50% over the 3 year CAGR (FY-08 to FY-11) and it was 26.56% over the 2 year CAGR (FY-09 to FY-11) and YoY growth rate is 42.10%.

Considering the past growth and improvement in availability of power, it is considered reasonable to assume YoY growth rate of 42.1% to project the energy sales for commercial category which works out to 35.66 MU.

The Commission approves the energy sales for commercial category at a rounded figure of 36 MU for the year 2012-13 as against 31.74 MU projected by EDM.

(c) 	Cottage and Small Industry

The EDM has projected energy sales in this category at 16.04 MU at a two year growth rate of 31.6% for the year 2012-13. The three-year CAGR (FY-08 to FY-11) is 22.10% while YoY growth (FY-10 to FY-11) is 69.40%. EDM has not furnished reasons for abnormal increase during 2010-11. However the EDM has considered two year growth of 31.60%, which is reasonable in view of more availability of power and increase in supply duration.

The Commission approves the energy sales of 16.00 MU for this category for the year 2012-13 as projected by EDM.

- Medium Industry

The EDM has projected energy sales of 3.66 MU for 2012-13 for this category at two year CAGR of 10.30% over 2011-12. There was negative growth during 2008-09 and 2009-10. The EDM has not furnished reason for such negative growth. The three year CAGR (FY-08 to FY-11) is 5.20% while YoY growth (FY-10 to FY-11) is 25.20%. As seen from the above the industry picked up since 2010-11 with the improvement of law and order situation in the State. Hence the normalized two year growth rate proposed by EDM for projection of sales during 2012-13 over 2011-12 is quite reasonable, which works out to 3.66 MU.

The Commission approves the energy sales of 4.00 MU for this category for the year 2012-13 as against EDM projection of 3.66 MU.

- Large Industry

The EDM has projected energy sales of this category at 6.03MU for the year 2012-13 with a two year CAGR (09 to 11) of 23.70% over 2011-12. There was negative growth during 2008-09 and 2009-10. The three years CAGR (FY-08 to FY-11) is 7.70% while YoY growth (FY-10 to FY-11) is 44.40%. Hence, the assumption of 23.70% growth is considered reasonable.

The Commission approves the energy sales of 6.00 MU for this category for the year 2012-13 as projected by the EDM.

(f) 	Bulk Supply

The EDM projected energy sales of 75.85 MU for Bulk Supply category for the year 2012-13 at two year CAGR of 20.10% over 2011-12. The sales during 2008-09 showed a negative growth. The EDM has not furnished reasons for such negative growth. The 3(Three) years CAGR (FY 2007-08 to 2010-11) is 10.00% while YoY growth (FY 2009-10 to 2010-11) is 31.80%. Substantial growth is observed since 2010-11. As such it is felt reasonable to adopt two years CAGR of 20.10% to project energy sales for 2012-13 over 2011-12, which works out to 75.85 MU.

The Commission approves the energy sales of 76 MU for the year 2012-13 as  projected by EDM.

(g)	Public Lighting

The EDM projected energy sales for this category at 6.48 MU for the year 2012-13. There is no definite trend in energy consumption for this category over the last four years. However, EDM has considered a three year CAGR (FY 2007-08 to 2010-11) of 17.70% % for sales projection for 2012-13 over FY 2011-12. It is observed that there is decreasing trend during the year 2008-09 and an increase of 32.20% in 2009-10 over 2008-09. The EDM has not explained the reason for such a wide fluctuation. There is no reason for negative growth in view of better public lighting in all towns and villages. Hence it is considered reasonable to adopt two years CAGR of 29.78% over sales during 2011-12, which works out to about 6.48 MU.

The Commission approves the energy sales for Public lighting at 7.00 MU for the year 2012-13 as projected by EDM.

(h) 	Irrigation & Agriculture

The EDM has projected energy sales of 0.90 MU for FY-2012-13 at 3(three) year CAGR (FY-2007-08 to 2010-11) of 75.90% over 2011-12.There is no definite trend in energy consumption for this category. Negative growth observed during 2010-11 and the EDM has not furnished reasons for such negative growth during 2010-11.  The EDM has considered 3 year CAGR (FY 2007-08 to 2010-11) of 75.90%for 2012-13 over 2011-12. This is considered reasonable in view of improved Power Supply and hence, the projected consumption for Irrigation & Agriculture is accepted.

The Commission approves the energy sales for irrigation & agricultural category at 1.00MU for the year 2012-13 as projected by EDM.

(i)	Public Water Works

The EDM has projected energy sales of 22.90% MU for this category for the year 2012-13. The three year CAGR (FY-08 to FY-11) is about 20.70% and 2(two) year CAGR (FY-09 to FY-11) is about 35.20 % and YoY growth (FY-10 to FY-11) is – 3.20%. A negative growth observed during FY-2008-09 and a growth of 88.80% is observed during 2009-10 and again a negative growth is observed during 2010-11, the EMD has not furnished any reasons for such fluctuated consumption. Considering the growing demand, the EDM has considered an increase of 20.70% over the sales in 2011-12 for the year 2012-13. The projection of 20.70% growth is reasonable, in view of growing need and to provide potable water supply in all towns and villages. The growth of 20.70% proposed by EDM is accepted.

The Commission approves the energy sales of 23.00 MU for public water works category for the year 2012-13 as projected by EDM.

- Temporary supply

The EDM has projected 0.63 MU for this category for the year 2012-13 with a 2(two)-year CAGR of 8.8% (FY-09 to FY-11) over 2011-12. The 3 year CAGR (FY-08 to FY-11) is 20.70% while YoY growth (FY-10 to FY-11) is – 4.9%. There was a negative growth during 2010-11. This being a temporary supply there is no definite trend is consumption. However 3 year CAGR (FY-08 to FY -11) appears to be reasonable.

The Commission approves energy sales of 1.00 MU for FY 2012-13 as against 0.63 MU projected by EDM.

## Category wise Energy Sales Approved

The category wise energy sales for the year 2012-13 as discussed above and approved by the Commission segregating Kutir Jyoti, LT & HT categories as against the projected sales by the EDM are given in Table below:

#### Table-6.5: Category-Wise Energy Sale approved by the Commission for 2012-13

(MU)

| S. No. | Name of Category | Energy Sales projected by EDM | Energy sales approved by Commission |
| --- | --- | --- | --- |
| 1 | Domestic | 196.04 | 220.00 |
|  | (a) Kutir Jyoti |  | 5.00 |
|  | (b) Domestic |  | 215.00 |
| 2 | Commercial | 31.74 | 36.00 |
| 3 | Industrial |  |  |
|  | (a) Cottage & Small industry | 16.04 | 16.00 |
|  | (b) Medium Industry (HT) | 3.66 | 4.00 |
|  | (c) Large Industry (HT) | 6.03 | 6.00 |
| 4 | Bulk Supply (HT) | 75.85 | 76.00 |
| 5 | Public Lighting | 6.48 | 7.00 |
| 6 | Public Water Works | 22.93 | 23.00 |
|  | (a) LT |  | 5.00 |
|  | (b) HT |  | 18.00 |
| 7 | Irrigation & Agriculture | 0.90 | 1.00 |
|  | (a) LT |  | 0.42 |
|  | (b) HT |  | 0.58 |
| 8 | Temporary supply | 0.63 | 1.00 |
|  | Total | 359.68 | 390.00 |

## 6.9	T&D Losses

The EDM has submitted the T&D losses within the State for previous, current and ensuing years with a proposed plan for 6% to 8% reduction during FY 2011-12 and FY 2012-13 as detailed below:

#### T&D Losses Projected by EDM (Table 8 of ARR)

| Year | % Loss |
| --- | --- |
| 2010-11 (A) | 46.47 |
| 2011-12 (E) | 40.87 |
| 2012-13 (P) | 32.00 |

The EDM further stated that it is aggressively making initiatives to bring down the loss levels. The EDM has considered a pool loss in regional network at 3.6%.

Commission’s Analysis

(a)	The regional pool loss level of 3.6% has been considered as proposed by EDM.

(b) 	Regarding T & D losses the EDM has achieved 46.34% (reviewed) during 2010-11 as against target of 47% and reduced to 40.87 % @ 5.6 %. The Commission considered that EDM’s proposal of 8 % plus reduction during 2012-13 is high. A reduction within 6 % is reasonable.

The Commission approves the T&D loss within the state at 35% for FY 2012-13 as against 32% projected by EDM.

(c)	Trajectory of T&D loss

The trajectory loss reductions for FY 2013-14 to 2015-16 are fixed as follows:

| Year | % Loss |
| --- | --- |
| 2013-14 | 32 |
| 2014-15 | 29 |
| 2015-16 | 26 |

This is subject to system study and energy audit. Based on the study, the loss levels will be re-fixed. The EDM shall complete the study by December 2012 duly conducting voltage wise energy audit and report.

Segregation of Technical and Commercial loses shall also be completed by March 2013.

## 6.10	Energy Requirement and Availability

The EDM has projected energy requirement as per its sale and availability as detailed in Table below:

Table-6.6: Energy Requirement (Table 8 of ARR)

| Energy Requirement | FY10-11 | FY11-12 | FY12-13 |
| --- | --- | --- | --- |
|  | Actuals | Estimated | Projected |
| Sales (MUs) | 271.10 | 298.10 | 359.70 |
| Add: Losses (MUs) | 235.00 | 206.00 | 169.00 |
| T&D Losses | 46.34% | 40.87% | 32.00% |
| Energy Required at Periphery (MUs) | 506.00 | 504.00 | 529.00 |

Commission’s Analysis

The Commission after considering T & D losses at 35% has computed energy requirement based on energy sales approved for FY 2012-13 as given in table below:

#### Table-6.7: Energy requirement approved by the Commission for FY 2012-13

| S. No. | Particulars | Projected by the EDM | Approved by the Commission |
| --- | --- | --- | --- |
| 1 | Energy Sales (MU) | 359.70 | 390 |
| 2 | Distribution Loss ( %) | 32.00 | 35% |
| 3 | Distribution Loss (MU) | 169.00 | 210 |
| 4 | Energy requirement at state Periphery (1+3) | 529.00 | 600 |

The Commission approves the energy requirement at states periphery (input in state transmission system) of 600 MU for FY 2012-13 as against 529 MU projected by EDM.

## 6.11	Sources of Power

(a) 	Own generation

The EDM is having its own generation plants such as small hydel, diesel and HFO and their installed capacity and gross generation are detailed in Table below:

#### Table-6.8: Own Generation (Table -5 of ARR)

| Sl. No. | Generating Station | Installed capacity (MW) | Net generation (MU) |
| --- | --- | --- | --- |
|  |  |  | 2010-11 | 2011-12 | 2012-13 |
| I. | Hydel |  |  |  |  |
| 1 | Leim akhong Stage 1 | 0.60 |  |  |  |
|  | Sub-total for hydel | 0.60 | 0.46 | 0.82 | 1.20 |
| II. | Diesel Gen Set |  |  |  |  |
| 2 | Imphal | 5.63 |  |  |  |
| 3 | District Hospitals | 2.88 |  |  |  |
|  | Sub-Total for Diesel | 8.51 | 0.49 | 0.58 | 1.10 |
| III. | Heavy Fuel |  |  |  |  |
| 4 | Leimakhong | 36.00 |  |  |  |
| IV | Total (I+II+III) | 45.11 | 0.95 | 1.40 | 2.30 |

Thus, the total energy from its own generation, as projected by the EDM for the year 2012-13 is 2.30 MU.

Commission’s Analysis

As seen from the above table 6.8 the heavy fuel plant at Leimakhong is kept idle since 2010-11. Unless the plant is put to use at least during emergency it will deteorate. As such the EDM should run the plant during peak hours and generate at least 2.7 MU

The Commission approves the own generation at 5 MU (Net) for the year 2012-13 as against 2.3 MU projected by EDM.

(b) 	Purchase of Power from Central Generating Station.

The EDM has been allocated power from various central generating stations in North Eastern Region (viz. NEEPCO, NHPC etc) for power purchase under long term PPA basis, as detailed in Table below.

#### Table-6.9: Share from Central Generating Stations (Table -6 of ARR)

| Source | Installed Capacity (MW) | FY 11-12 (Estimates) | FY 12-13 (Projected) |
| --- | --- | --- | --- |
|  |  | Manipur Allocation (MW) | Avg. Allocation in % | Manipur Allocation (MW) | Avg. Allocation in % |
| NEEPCO(Hydro) |  |  |  |  |  |
| Kopili I HEP | 200 | 14.78 | 7.39% | 14.78 | 7.39% |
| Kopili II HEP | 25 | 1.74 | 6.95% | 1.74 | 6.95% |
| Khandong HEP | 50 | 3.28 | 6.56% | 3.28 | 6.56% |
| Ranganadi HEP | 405 | 33.91 | 8.37% | 33.91 | 8.37% |
| Doyang HEP | 75 | 5.90 | 7.87% | 5.90 | 7.86% |
| Subtotal | 755 | 59.60 |  | 59.60 |  |
| NEEPCO (Gas Based) |  |  |  |  |  |
| Assam Gas based Power Project | 291 | 23.59 | 8.11% | 23.59 | 8.11% |
| Agartala Gas Turbine Power Project | 84 | 6.98 | 8.31% | 6.98 | 8.31% |
| Subtotal | 375 | 30.57 |  | 30.57 |  |
| NHPC (Loktak HEP) |  |  |  |  |  |
| Purchased | 105 | 32 | 30.12% | 32 | 30.12% |
| Subtotal | 105 | 32 |  | 32 |  |
| TRIPURA |  |  |  |  |  |
| Baramura (Gas Based)(Unit IV) | 21 | 5.25 | 25% | 5.25 | 25% |
| Baramura(Gas Based) (Unit V) | 21 | 5.25 | 25% | 5.25 | 25% |
| Subtotal | 42 | 10.50 |  | 10.50 |  |
| Total | 1277 | 132 |  | 132 |  |

The EDM has stated that during the first seven months of FY 2011-12 power purchase from various sources was 409.38 MU at a cost of `. 96.72 crore. The availability of power for remaining five months is Nov 2011 to March 2012 has been estimated based on past trend. Thus the power purchase during 2011-12 is estimated as 635.52%. Projected power purchase during 2012-13 at 658.61 MU and power availability at 634.90 MU at State periphery including UI purchase of10 MU and taking into account external transmission loss of 23.71 MU at 3.6% as detailed in Table below.

#### Table-6.10: Power purchase projected by EDM (Table - 7 of petition)

| Source (MUs) | FY 10-11 Actuals | FY 11-12 Estimated | FY 12-13 Projected |
| --- | --- | --- | --- |
| NEEPCO (Hydro) |  |  |  |
| Kopili I HEP | 51 | 74.18 | 62.96 |
| Kopili II HEP | 6 | 6.65 | 5.74 |
| Khandong HEP | 10 | 12.58 | 11.90 |
| Ranganadi HEP | 117 | 87.25 | 109.68 |
| Doyang HEP | 19 | 17.54 | 17.75 |
| Subtotal | 203.89 | 198.20 | 208.02 |
| NEEPCO(Gas Based) |  |  |  |
| Assam Gas based Power Project | 146 | 143.65 | 144.87 |
| Agartala Gas Turbine Power Project | 51 | 52.74 | 52.03 |
| Subtotal | 197.23 | 196.39 | 196.90 |
| NHPC (Loktak HEP) |  |  |  |
| Purchased | 107 | 94.58 | 100.81 |
| Free Power | 71 | 64.30 | 70.91 |
| Subtotal | 177.95 | 158.88 | 171.72 |
| TRIPURA |  |  |  |
| Baramura (Gas Based)(Unit IV) | 40 | 38.46 | 38.74 |
| Baramura (Gas Based)(Unit V) |  | 33.23 | 33.23 |
| Subtotal | 40.40 | 71.69 | 71.97 |
| Power purchase from Other Sources |  |  |  |
| UI | 19 | 10.36 | 10.00 |
| Subtotal | 19 | 10.36 | 10.00 |
| Gross Power Purchase | 638 | 635.52 | 658.61 |
| External Losses | 23 | 22.88 | 23.71 |
| Total Power Purchase | 615 | 612.64 | 634.90 |

Commission’s Analysis

The Commission has examined the generation and allocation of power available for EDM from the Central generating stations for the year 2012-13. The allocation is the same as in FY 2011-12. The new gas based generating station at Palatana scheduled to be commissioned in September, 2012 has also been considered. EDM has informed that allocation from one unit of this project is 21 MW. The Commission has considered to purchase at least 50 MU of energy from their project during FY-2012-13. EDM has calculated external losses on UI purchases also which is not correct. As the UI purchases will be effected at state periphery no external transmission losses on UI purchases. However, the Commission has not considered any UI purchases as there is surplus power. If any contingency arises the same will be considered at the time of true up. The EDM shall draw the entire share from various central generating stations and sale the surplus power outside the state after totally meeting the demand of its consumers. The first priority is to meet the demand of its consumers without any restrictions and surplus only to be sold outside the state to generate additional revenue.

With the above observations the station wise power purchase approved by the Commission is furnished in table below.

#### Table-6.11: Energy drawal approved by the Commission for 2012-13

(MU)

| Sl. No. | Station | Installed capacity (MW) | Projected by EDM | Approved by the Commission |
| --- | --- | --- | --- | --- |
|  | NEEPCO |  |  |  |
| A | Hydro |  |  |  |
| 1 | Koppili I | 200 | 62.96 | 63 |
| 2 | Koppilli II | 25 | 5.74 | 6 |
| 3 | Khandarg | 50 | 11.90 | 12 |
| 4 | Ranganadi | 405 | 109.68 | 110 |
| 5 | Doyang | 75 | 17.75 | 18 |
|  | Sub total |  | 208.02 | 209 |
| B | Gas based |  |  |  |
| 6 | AGPP | 291 | 144.87 | 145 |
| 7 | AGTP | 84 | 52.03 | 52 |
|  | Sub total |  | 196.90 | 197 |
| C | NHPC – Loktak-Power | 105 | 100.81 | 101 |
| 8 | Free power |  | 70.91 | 71 |
|  | Sub total |  | 171.72 | 172 |
| 9 | Baramura IV |  | 38.74 | 39 |
| 10 | Baramura V |  | 33.23 | 33 |
|  | Sub total |  | 71.97 | 72 |
| 11 | Palatana (Gas based) |  | - | 50 |
| 12 | UI |  | 10.00 | - |
|  | Total |  | 658.61 | 700 |
| 13 | Less: Existing losses @ 3.6% |  | 23.71 | 25 |
| 14 | Power availability at State periphery (excluding local Gen.) |  | 634.90 | 675 |

## The Commission approves power purchase at 700 MU including free power 71 MU for the FY 2012-13

## 6.12	Energy Balance

The actual energy balance for the year 2010-11 estimated for 2011-12 and projections for the year 2012-13 as furnished by EDM are shown in Table below.

#### Table-6.12: Energy balance projected by EDM (Table - 8 of ARR)

(MU)

| Energy Requirement | FY10-11 | FY11-12 | FY12-13 |
| --- | --- | --- | --- |
|  | Actuals | Estimated | Projected |
| Sales (MUs) | 271.1 | 298.1 | 359.7 |
| Add: Losses (MUs) | 235 | 206 | 169 |
| T&D Losses | 46.34% | 40.87% | 32.00% |
| Energy Required at Periphery (MUs) | 506 | 504 | 529 |
| Energy Available (MUs) | 617 | 614 | 637 |
| Surplus Power Available/Sold (MUs) | 111 | 110 | 108 |

Commission’s Analysis

Summary of energy balance projected by the EDM and approved by the Commission for FY 2012-13 is furnished in Table below:

#### Table-6.13: Energy balance approved by the Commission for FY 2012-13

| Particulars | Unit | Projected by EDM | Approved by the Commission |
| --- | --- | --- | --- |
| Energy requirement |  |  |  |
| Energy sales | MU | 359.70 | 390 |
| T&D losses | % | 32% | 35% |
| T&D losses | MU | 169.00 | 210 |
| Energy requirement | MU | 529.00 | 600 |
| Energy availability | MU |  |  |
| Own generation (Net) | MU | 2.30 | 5 |
| Power purchase | MU | 577.70 | 700 |
| UI purchases | MU | 10.00 | - |
| Less: External losses | % | 3.60% | 3.60% |
| Less: External losses | MU | 23.71 | 25 |
| Net energy available | MU | 637.00 | 680 |
| Energy requirement | MU | 529.00 | 600 |
| Energy surplus | MU | 108.00 | 80 |

## 6.13	Gross Fixed Assets

The EDM has stated that in the absence of detailed information related to the past years, the gross fixed assets have been assessed based on certain assumptions. In that course, the value of GFA as on 1.4.2009 has been considered at `. 972.02 as equivalent to the capital employed as on 1.4.2009 from the revised resources for FY 2012-13. Considering this as the opening value of GFA as on 1/4/2010, 30% of the total capital expenditure during the year 2009-10 has been added to arrive at GFA at the beginning of the year 2010-11 as detailed in Table below:

#### Table-6.14: Computation of Opening GFA for FY 2010-11

(`. crore)

| S. No. | Particulars | 2010-11 |
| --- | --- | --- |
| 1 | Capital employed as on 01/04/2009 | 972.02 |
| 2 | Capital additions during 2009-10 | 117.92 |
| 3 | Opening GFA for FY 2010-11 | 1089.94 |

The same methodology has been adopted to arrive at year wise gross fixed assets up to the FY 2012-13 as detailed in Table below:

#### Table-6.15: Gross Fixed Assets up to the FY 2012-13 (Format 25 of ARR)

| Particulars | Amount (` crore) |
| --- | --- |
| GFA as on 01/04/2010 | 1089.94 |
| Additions during the year 2010-11 | 174.56 |
| Closing GFA as on 03/03/2011 | 1264.50 |
| Additions during the year 2011-12 | 240.04 |
| Closing GFA as on 03/03/2012 | 1504.04 |
| Additions during the year 2012-13 | 217.87 |
| Closing GFA as on 03/03/2012 | 1722.41 |

Commission’s Analysis

The GFA projected by EDM is based on assumption only. In the tariff petitions for FY 2010-11 EDM stated that 50% of CWIP is capitalized. But as verified from the capitalization data furnished, during the year 2009-10 43.91% of capital expenditure was capitalized and during 2010-11 67.72% capitalized. In the tariff petition for FY 2012-13 the EDM stated that 30% of capital expenditure is considered for capitalization. But as verified from the data furnished by the EDM the proposed capitalization during 2011-12 is 112.5% while in 2012-13 it is 118.4%. As per the procedure in vogue capitalization has to be done only when the assets are put to beneficial use. But the statement of EDM indicated that irrespective of the assets put to use some amount of capital expenditure is brought into assets value which is not in order. Further, the EDM has not prepared any proforma accounts such as profit and loss account, balance sheet etc, nor maintained asset registers.

Regulation 96(2) of JERC (M&M) (Terms and Conditions for Determination of Tariff) Regulations, 2010 read as follows.

“Investments made prior to and up to the year of the notification of these regulations shall be considered on the basis of audited accounts or approvals already granted by the Commission”.

The EDM admitted that there are no detailed information related to the past years.

In the absence of audited assets/depreciation registers and audited annual accounts, the gross fixed assets projected by the EDM with certain assumptions in the ARR and tariff petition and the subsequent submission with reference data gaps, pointed out, can not be considered for the purpose of arriving depreciation, return on equity etc.

The Commission directs the EDM to prepare and maintain assets/depreciation registers, the annual statement of accounts for regulatory business in complete shape and get them audited and submit the same to the Commission along with next ARR and tariff petition.

## 6.14	Capital Expenditure Plan for FY 2012-13

The EDM has projected capital expenditure to a tune of `.184 crore FY 2012-13 for generation, transmission and distribution functions mainly focusing on increasing generation capacity, augmenting existing generating plants, strengthening electricity network and augment new networks for ensuring reliable power to its consumers

Capital expenditure plan

1.	Considering the increase in demand from HT & LT consumers, EDM would be required to undertake significant capital expenditure for system augmentation and strengthening. System augmentation would not only help EDM in handling increased load but would also ensure better quality of supply and network reliability to the consumers.  EDM’s T&D loss levels are very high. The capital expenditure would help in reduction in the T&D loss level.

2.	Every year EDM prepares an Annual resources Plan for the capital investment for new schemes and continuing schemes, which it plans to incur in the ensuing year. The EDM, Manipur has to undertake various capital projects for generation, transmission/sub-transmission and distribution functions mainly focusing on the increasing generation capacity, augmenting existing generating plants, strengthening electricity network and augment new networks for ensuring reliable power to its consumers.

Details of ongoing capital schemes are furnished hereunder:

Major Capital Expenditure Schemes

- Loktak Down Stream Hydro Electric Project – (2 x 33 MW)

- 132 kV Sub-Station at Jiribam

- 132 kV S/C line from Yurembam to Yaingangpokpi

- 132/33 kV Sub-Station at Ukhrul with associated 132 kV Line

- 132/33 kV Sub-Station at Chandel with associated 132 kV Line

- Augmentation of various 33/11 kV Sub-Stations at Yurembam, Mongsangei, Kongba, Keishampat, Lamphel, Iroisemba and Nilakuth

- Upgradation of the installed capacities of 33/11 kV and Distribution Sub-Stations

- Improvement of Distribution system in Greater Imphal and other Towns

3.	Apart from the above schemes, ED, Manipur has also undertaken large scale rural   electrification and development, augmentation and improvement of electricity infrastructure under Rajiv Gandhi Gramin Vidyutikaran Yojana (RGGVY) and Accelerated Power Development Reforms Programme (APDRP) respectively. Scheme wise details of actual expenditure during 2010-11 and estimated for 2011-12 and projected for 2012-13 are given in Annexure- III. Function wise abstract of expenditure is furnished in Table below.

#### Table-6.16:  Proposed Capital Expenditure (Table 16 of ARR)

(` crore)

| Capital Expenditure | FY 10-11 (Actuals) | FY 11-12 (Estimated) | FY 12-13 (Projected) |
| --- | --- | --- | --- |
|  | Plan | Outside Plan | Plan | Outside Plan | Plan |
| Generation Schemes | 10.00 |  | 10.05 |  | 20.00 |
| Transmissions Schemes | 77.93 |  | 35.22 |  | 40.00 |
| Distributions Schemes | 22.13 |  | 113.18 |  | 105.00 |
| Rural Electrification Schemes | 7.00 |  | 9.98 |  | 10.00 |
| Miscellaneous Schemes | 11.89 |  | 8.50 |  | 9.00 |
| Total | 128.95 | 128.77 | 176.93 | 36.46 | 184.00 |

The capitalization of new schemes from FY 08-09 onwards has been considered at 30% of the planned capital expenditure in the same year, 40% in the second year and the balance 30% has been capitalized during third year. A summary of the capital expenditure and capitalization for FY 11-12 and FY 12-13 is summarized in Table below:

#### Table-6.17: Capital Work in Progress

(`crore)

| S. No. | Particulars | FY 2010-11 (Actuals) | FY 2011-12 (RE) | FY 2012-13 (Projections) |
| --- | --- | --- | --- | --- |
| 1 | Opening balance | 170.18 | 253.35 | 226.7 |
| 2 | Add: New Investments | 257.72 | 213.39 | 184.00 |
| 3 | Total (1+2) | 427.91 | 466.74 | 410.7 |
| 4 | Less Investment Capitalized | 174.56 | 240.04 | 217.87 |
| 5 | Closing Balance | 253.35 | 226.70 | 192.83 |

Commission’s Analysis

As verified from the scheme wise investment vide Annexure- III, the following expenditure is not considered for the reasons noted again each

| S. N. | Particulars | FY 2010-11 | FY 2011-12 | FY2012-13 | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Consultancy Fee for Corpotisation |  |  | 2.50 | Does not come under CAPEX hence not considered |
| 2 | Construction of Administration Building | 2.59 | 2.00 | 2.00 | Through CAPEX in nature doesn’t yield additional revenue. Hence not considered for ARR purpose. |
| 3 | Construction of Dn./Sub Dn. Offices Buildings | 1.99 | 3.60 | 3.00 |  |
|  | Total | 4.58 | 5.60 | 7.50 |  |

As such the net expenditure considered is as follows:

(` crore)

| S. No. | Particulars | FY 2010-11 | FY 2011-12 | FY 2012-13 |
| --- | --- | --- | --- | --- |
| 1 | Expenditure furnished by EDM as format 21 | 257.72 | 213.39 | 184.00 |
| 2 | Less Expenditure not considered | 4.58 | 5.60 | 7.50 |
| 3 | Net CAPEX | 253.14 | 207.79 | 176.50 |

Further since the EDM has taken the total capital employed as on 1.4.2009 as opening GFA, the opening CWIP as on 1.4.2009 shall be NIL. So the opening CWIP of ` 170.18 crore as on 1.4.2010 furnished by the EDM in format 26 is balance CWIP for the year 2009-10 after capitalizing `117.92 crore during 2009-10. The actual capital expenditure during FY 2009-10 as furnished by EDM is ` 268.53 crore. Hence the balance CWIP during FY 2009-10 after Capitalisation of ` 117.92 crore is ` 150.61crore (268.53 – 117.92). Accordingly, Year wise capital expenditure and amount capitalized and closing CWIP is revised as depicted in the Table below:

#### Table-6.18: Year wise Capital Work in Progress up to 2012-13

(` crore)

| S. No. | Particulars | 2010-11 | 2011-12 | 2012-13 |
| --- | --- | --- | --- | --- |
| 1 | Opening balance | 150.61 | 229.19 | 196.94 |
| 2 | CWIP | 253.14 | 207.79 | 176.50 |
| 3 | Total | 403.75 | 436.98 | 373.44 |
| 4 | Capitalized during the year | 174.56 | 240.04 | 217.87 |
| 5 | Closing balance | 229.19 | 196.94 | 155.57 |

The EDM has stated that it has capitalized the CWIP on percentage basis   irrespective, whether the work is completed or not and asset put to use which is not in order.

The EDM is directed to reconcile the GFA with reference to physical verification. Then the CWIP may also be reconciled and correct data be furnished along with future tariff petitions.

## 6.15	 Revenue Requirement for FY 2012-13

The EDM has projected a total ARR of ` 334.25 crore for the year 2012-13 as given in Table below

#### Table-6.19: Expenses Projected by EDM for FY 2012-13 (Table 24 of ARR)

(` crore)

| Particulars | FY 10-11 | FY 11-12 | FY 12-13 |
| --- | --- | --- | --- |
|  | Provisional | Estimates | Projected |
| Power Purchase Cost | 151.23 | 159.63 | 299.41 |
| Fuel Cost | 1.12 | 0.93 | 1.50 |
| Employee Cost | 72.21 | 80.87 | 90.61 |
| Repairs & Maintenance expenses | 9.36 | 10.25 | 11.24 |
| Admin & General expenses | 0.55 | 0.66 | 0.73 |
| Depreciation | 6.22 | 7.31 | 9.40 |
| Interest Cost | 10.30 | 10.54 | 13.67 |
| Interest on Working Capital | 2.39 | 3.10 | 3.78 |
| Provision for Bad Debts | 0.84 | 2.90 | 3.00 |
| Total Costs | 254.21 | 276.21 | 433.34 |
| Add: Return on Equity | 0.00 | 0.00 | 0.00 |
| Less: Non-Tariff Income | 2.34 | 2.60 | 3.12 |
| Annual Revenue Requirement | 251.87 | 273.61 | 430.22 |

The expenses projected by EDM under each head and the Commission’s analysis are discussed below.

## 6.16	Fuel Cost

The EDM has projected fuel cost of ` 1.50 crore for the year 2012-13.

Commission’s  Analysis

In para 6.11 on the Commission directed the EDM to run the heavy fuel plant at Leimakhong to generate at least 2.7 MU during the year 2012-13. The fuel cost to generate 2.7 MU works out to ` 1.43. Thus, the total fuel cost is ` 2.93 (1.50 + 1.43)

The Commission approves the fuel cost of ` 2.93 core for FY 2012-13 as against  ` 1.5 cores projected by the EDM.

## Power Purchase Cost

The EDM has projected power purchase cost of ` 261.23 crore for FY 2012-13 including transmission charges and arrears to a tune of ` 80.01 crore to purchase 658.61 MU including free power of 70.91 MU as detailed in Table below:

#### Table-6.20: Power Purchase Cost Projected by EDM for FY 2012-13  (Format 7 of ARR)

| Source | Units Purchased (MUs) | Fixed Charges (` crore) | Variable Charges (` crore) | Total Charges (` crore) | Average Cost (`/kwh) |
| --- | --- | --- | --- | --- | --- |
| NEEPCO(Hydro) |  |  |  |  |  |
| Kopili I HEP | 62.96 | 3.13 | 2.36 | 5.49 | 0.87 |
| Kopili II HEP | 5.74 | 0.73 | 0.61 | 1.34 | 2.33 |
| Khandong HEP | 11.90 | 1.08 | 0.57 | 1.65 | 1.39 |
| Ranganadi HEP | 109.68 | 19.12 | 10.30 | 29.42 | 2.68 |
| Doyang HEP | 17.75 | 3.47 | 2.66 | 6.14 | 3.46 |
| Sub total | 208.02 | 27.54 | 16.49 | 44.03 | 2.12 |
| NEEPCO(Gas Based) |  |  |  |  |  |
| Assam Gas based Power Project | 144.87 | 19.86 | 24.05 | 43.91 | 3.03 |
| Agartala Gas Turbine Power Project | 52.03 | 6.59 | 11.71 | 18.30 | 3.52 |
| Sub total | 196.90 | 26.45 | 35.76 | 62.21 | 3.16 |
| NHPC (Loktak HEP) |  |  |  |  |  |
| Purchased | 100.81 | 8.42 | 9.37 | 17.79 | 1.76 |
| Free Power | 70.91 |  |  |  | 0.00 |
| Sub total | 171.72 | 8.42 | 9.37 | 17.79 | 1.04 |
| TRIPURA |  |  |  |  |  |
| Baramura (Gas Based)(Unit IV) | 38.74 |  | 12.37 | 12.37 | 3.19 |
| Baramura(Gas Based)(Unit V) | 33.23 |  | 15.49 | 15.49 | 4.66 |
| Sub total | 71.97 |  | 27.86 | 27.86 | 3.87 |
| Total |  |  |  |  |  |
| Power purchase from Other Sources |  |  |  |  |  |
| UI | 10.00 |  | 2.50 | 2.50 | 2.50 |
| Sub total | 10.00 | 0.00 | 2.50 | 2.50 | 2.50 |
| Gross Power Purchase | 658.61 | 62.41 | 91.98 | 154.39 |  |
| External Losses | 23.71 |  |  |  |  |
| Total Power Purchase | 634.90 | 62.41 | 91.98 | 154.39 | 2.43 |
| PGCIL charges |  |  |  | 23.70 |  |
| SLPC charges |  |  |  | 3.13 |  |
| Arrears |  |  |  | * 80.01 |  |
| Grant Total |  |  |  | 261.23 |  |

* Revised figure vide EDM letter dt. 9.8.2012

1.	EDM stated that the cost of purchase from the central generating stations for FY 11-12 and FY 12-13 is estimated based on the following assumptions:

- The cost of power purchase for FY 11-12 are based on actual power purchase bills, received by the ED, Manipur during the first seven months of FY 11-12. Each element of the power purchase cost i.e. fixed and variable have been estimated for each generating station by considering 7 months (Apr 11 to Oct 11) actual cost incurred by the ED, Manipur. The projection for remaining five months has been done by considering the fixed cost for seven months of FY 2011-2012 and the average fixed cost for the last three years.

- For NEEPCO hydro plants the fixed cost for FY 2012-13 has been projected by escalating the fixed cost estimated for FY 11-12 by 15%. The variable cost for the NEEPCO hydro plants has been projected by escalating the variable cost estimated for FY 11-12 by 10%.

- For NEEPCO gas based plants the fixed cost for FY 2012-13 has been projected by escalating the fixed cost estimated for FY 11-12 by 8%. The variable cost for the NEEPCO gas based plants has been projected by escalating the variable cost estimated for FY 11-12 by 20%.

- For the NHPC Loktak hydro power plant the fixed cost for FY 2012-13 has been projected by escalating the fixed cost estimated for FY 11-12 by 15% and the variable cost has been projected by escalating the variable -cost estimated for FY 11-12 by 10%.

2.	Variable cost (inclusive of FPA Charges) for the Tripura based Baramura gas turbine power project for FY 11-12 has been estimated based on the actual average variable cost and fuel price adjustment per unit for the first seven months of FY 11-12. For FY 12-13, the variable cost has been projected by escalating the variable cost estimated for FY 11-12 by 20%.

3.	In the petition EDM has kept a provision of ` 22.23 crore towards the payment of arrears in the total ARR for the FY 2012-13 against the Supplementary bills received from the generation plants. On further querry EDM has intimated vide their letter dt. 9.8.2012that the total arrear amount as on June, 2012 is ` 80.01 crores

Commission’s Analysis

As already discussed in para 6.11(b) ante, the Commission has finalized and approved the quantum of power to be purchased by EDM during the year 2012-13. The power purchase cost constitutes 71.5% of the ARR.

As verified from the power purchase cost projected by the EDM in table 6.20 supra, the fixed charges and variable charges are projected directly with out furnishing the station wise annual fixed charges and the rate of variable cost. To a query the EDM has furnished actual bills paid during FY 2011-12 vide EDM Manipur L.No. 5/11/2011/TP/12-13/IPED/3184-86 dt. 4/7/2012. The variable charges during 2011-12 are adopted to arrive at variable charges during 2012-13. For calculation of fixed charges station wise AFC approved by CERC for the FY 2012-13 is considered. Transmission charges and arrears are considered as proposed by the EDM. EDM has stated that it has kept a provision of ` 22.23 crores only torward the payment of arrear in the FY 2012-13 and therefore this limited amount is included in the ARR. The actual amount of bills received is, however, reported to be ` 80.01 crore. The Commission has observed that the arrear amount is accrued due to retrospective effect of tariff revision of Generation and Transmission companies for the past many years and is of the view that the timely payment will be necessary to avoid regulation of power. The Commission also realizes the great impact of the arrear to the consumers. This issue is addressed separately in the subsequent para 6.31. Thus, the power purchase cost for FY 2012-13 is computed as detailed in table - 6.21.

Table - 6.21: Power purchase cost approved by the Commission for FY 2012-13

| Sl. No. | Station | Purchase | AFC | Manipur’s share % | Variable charge | Fixed charge | Variable charge | Total Cost |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | (MU) | (Crs) |  | (`./Unit) | (` .Crore) | (`. Crore) | (`. Crore) |
| I | NEEPCO(Hydro) |  |  |  |  |  |  |  |
| 1 | Kopili-I | 63 | 81.2979 | 7.39 | 0.38 | 6.01 | 2.39 | 8.40 |
| 2 | Kopili - II | 6 | 13.3856 | 6.95 | 0.92 | 0.93 | 0.55 | 1.48 |
| 3 | Khandong | 12 | 44.7731 | 6.56 | 0.73 | 2.94 | 0.88 | 3.82 |
| 4 | Ranganadi | 110 | 291.3941 | 8.37 | 1.16 | 24.39 | 12.76 | 37.15 |
| 5 | Doyang | 18 | 58.50 | 7.87 | 1.48 | 4.6 | 2.66 | 7.26 |
|  | Sub-Total (I) | 209 | 489.35 |  |  | 38.87 | 19.24 | 58.11 |
| II | NEEPCO(Gas Based) |  |  |  |  |  |  |  |
| 6 | AGBPP, Kathalguri | 145 | 238.82 | 8.11 | 1.54 | 19.37 | 22.33 | 41.70 |
| 7 | AGTPP, Tripura | 52 | 69.8278 | 8.31 | 2.10 | 5.8 | 10.92 | 16.72 |
|  | Sub-Total (II) | 197 | 308.65 |  |  | 25.17 | 33.25 | 58.42 |
| III | NHPC(Loktak HEP) |  |  |  |  |  |  |  |
| 8 | Purchased | 101 | 101.2114 | 18.12 | 1.22 | 18.34 | 12.32 | 30.66 |
| 9 | Free Power | 71 |  | 12.00 |  |  |  |  |
|  | Sub-Total (III) | 172 | 101.21 |  |  | 18.34 | 12.32 | 30.66 |
| IV | Tripura(Gas Based) |  |  |  |  |  |  |  |
| 10 | Baramura-IV | 39 |  |  | 3.01 | 0 | 11.74 | 11.74 |
| 11 | Baramura-IV | 33 |  |  | 3.01 | 0 | 9.93 | 9.93 |
|  | Sub-Total (IV) | 72 |  |  |  | 0.00 | 21.67 | 21.67 |
| V | OTPC(Gas Based) |  |  |  |  |  |  |  |
| 12 | Palatana | 50 |  |  | 4.74 |  | 23.70 | 23.70 |
| 13 | PGCIL Trans.charges |  |  |  |  |  | 23.70 | 23.70 |
| 14 | SLDC charges |  |  |  |  |  | 3.13 | 3.13 |
| 15 | Arrears |  |  |  |  |  | 80.01 | 80.01 |
|  | Grand Total | 700 | 899.21 |  |  | 82.38 | 217.03 | 299.41 |

The Commission accordingly approves the power purchase cost at ` 299.41 core (including arrears) for purchase of 700 MU (including 71 MU free power from Loktak HEP) for FY 2012-13.

#### 6.18 	Operation and Maintenance Expenses

(a)	Employee cost

The EDM has projected employee cost at `. 90.61 crore for the year 2012-13. Employee cost includes basic pay, dearness allowance, house rent allowances etc. EDM has stated that the employee cost has suddently increased w.e.f. 2010-11 due to the implementation of 6th Pay Commission. The employee cost for 2012-13 is projected by escalating actual expenses during 2010-11 at 12% P.A. Component of DA is made as per recommendation of 6th Pay Commission at 22% (Apr to June) 27% (July to December) and 32% (Jan to Mar) during 2011-12 and 32% (Apr to June), 37% (July to Dec) and 40% (Jan to Mar) during 2012-13. Year wise expenses furnished by the EDM for the FY 2010-11 to 2012-13 are detailed in Table below:

#### Table-6.22: Employee cost furnished by EDM for FY 2012-13 (Table 13 of ARR)

(` Crore)

| Employees Cost | FY 10-11 | FY 11-12 | FY 12-13 |
| --- | --- | --- | --- |
|  | Actuals | Estimates | Projected |
| Basic Pay | 41.45 | 46.43 | 52.00 |
| Dearness Pay | 0.00 | 0.00 | 0.00 |
| Dearness Allowance | 18.65 | 20.89 | 23.40 |
| House Rent Allowance | 4.14 | 4.64 | 5.20 |
| Other Allowances (SCA & TA) | 7.96 | 8.91 | 9.98 |
| Grand Total | 72.21 | 80.87 | 90.61 |

Employee cadre strength for the years 2009-10, 2010-11 and 2011-12 are furnished in Table below.

#### Table-6.23: Number of Employees furnished by EDM

| S. No. | Particulars | 31/03/2010 (A) )(Actulas) | 31/03/2011(A) | 31/ 03/ 2012 (P) |
| --- | --- | --- | --- | --- |
| 1 | Regular employees | 3292 | 3191 | 3191 |
| 2 | Works contract | 391 | 387 | 380 |
| 3 | Muster Roll | 42 | 43 | 40 |
|  | Total | 3725 | 3621 | 3611 |

Commission’s Analysis

Table 6.24: Actual employee costs of previous years are as follows:

(` crore)

| 2008-09 | 46.92 |
| --- | --- |
| 2009-10 | 47.53 |
| 2010-11 | 72.21 |

The increase in employee cost during 2010-11 over the previous year 2009-10 is `. 24.68 crore which works out to 52%. The Commission is of the view that the employee cost for the FY 2010-11 includes a substantial amount of arrear. The EDM has not furnished the component of arrears paid during 2010-11. Hence total expenditure during 2010-11 cannot be taken for processing employee cost for 2012-13 with the proposed escalated formula. Considering 12% of escalation as reasonable the actual expenditure during 2009-10 is escalated at 12% P.A. and another 25% for Sixth Pay Commission impact, the employee cost for the year 2012-13 is worked out as ` 84.47 crore as detailed in table below. It constitutes 20% of the ARR

Table 6.25: Computation of employee cost for 2012-13

|  | (`crore) |
| --- | --- |
| Actual expenses during 2009-10 | 47.53 |
| With 12% escalation for 2010-11 | 53.23 |
| 25% escalation for 6th Pay Commission | 66.54 |
| With 12% escalation for 2011-12 | 74.53 |
| With 12% escalation for 2012-13 | 84.47 |

The Commission, accordingly, approves the employee cost of `. 84.47crore for the year 2012-13 as against the projection of `. 90.61 crore by the EDM.

(b) 	Repairs and Maintenance expenses

The EDM has projected R&M expenses at ` 11.24 crore for the year 2012-13. Year wise expenses for the year are furnished in the Table below.

Table-6.26: R & M Expenses furnished by the EDM for FY 2012-13 (Table 14 of ARR)

(`crore)

| S. No. | Particulars | 2010-11 (Actuals) | 2011-12 (Estimated) | 2012-13 (Projected) |
| --- | --- | --- | --- | --- |
| 1 | Hydel | 1.30 | 1.43 | 1.56 |
| 2 | Diesel | 0.59 | 0.65 | 0.71 |
| 3 | Thermal (Heavy fuel) | 0.82 | 0.89 | 0.98 |
| 4 | T&D | 6.57 | 7.20 | 7.89 |
| 5 | R&M of motor vehicle | 0.08 | 0.09 | 0.10 |
| 6 | Total | 9.36 | 10.25 | 11.24 |

Commission’s Analysis

It is observed that the expenditure estimated for the year 2011-12 is 9.5% over the actual expenditure of the year 2010-11 and same percentage of increase is projected for the year 2012-13

EDM stated that the R&M expenditure is projected considering the average increase in Whole Sale Price Index (WPI) and hence requested to approve into increase the operational efficiency of the existing asset base.

The Commission accordingly approves ` 11.24 crore towards R&M expenses for the year 2012-13 as projected by EDM.

(c) 	Administrative and General Expenses

The EDM has projected A&G Expenses of `. 0.73 crore for the year 2012-13. A&G expenses include rent, rates, office expenses, advertisement and legal charges etc. EDM stated that while making projections, it has tentatively accounted for the fee payable to the Hon’ble Commission and to the consultants hired for implementation of various important activities. However, adjustment for actual expenses on fee payable to the Commission and consultants etc, will be undertaken at the time of truing up exercise for FY 2012-13. The details of expenses furnished by the EDM are shown in Table below:

#### Table-6.27: A&G Expenses projected by EDM for FY 2012-13 (Table 15 of ARR)

(` crore)

|  | FY 10-11 | FY 11-12 | FY 12-13 |
| --- | --- | --- | --- |
|  | Provisional | Estimates | Projected |
| Regulatory Fees | 0.12 | 0.14 | 0.15 |
| Publication |  | 0.01 | 0.01 |
| Legal & Consultancy Charges | 0.20 | 0.25 | 0.27 |
| Office Expenses | 0.19 | 0.20 | 0.22 |
| Domestic Travel expenses | 0.09 | 0.10 | 0.11 |
| Other Expenses | 0.07 | 0.10 | 0.11 |
| Grand Total | 0.55 | 0.66 | 0.73 |

Commission’s Analysis

Consultancy fee for corporatisation amounting to ` 2.50 crore included in Capital Investment Plan for FY 2012-13 and disallowed vide para 6.14 ante is allowed under Administration and general expenses. Thus, the total expenses under this head works out to ` 3.23 crore.

The Commission approves ` 3.23 crore towards A&G expenses for FY 2012-13 as against ` 73 crore projected by the EDM.

## 6.19	 Depreciation

The EDM has projected depreciation at ` 8.52 crore for the year 2012-13. The EDM stated that in the absence of detailed information related to the past years, the value of GFA has been ascertained by undertaking certain assumptions. The value of GFA as on 01/04/2009 has been taken as equivalent to the total capital employed as on 01/04/2009. Considering this as opening value of GFA as on 01/04/2009, 50% of the total capital expenditure incurred in the FY 2007-08 has been added to arrive at the GFA at the beginning of the FY 2009-10 as detailed in Table below:

#### Table-6.28: Computation of Opening GFA for 2009-10

(` crore)

| Capital employed as on 01/04/2009 | 972.02 |
| --- | --- |
| 50% capital expenditure of ` 393 crore during 2009-10 is considered as capital addition during the year. | 117.92 |
| GFA as on 31/03/2010 | 1089.94 |

The same methodology is adopted for the FY 2010-11 to 2012-13.

Depreciation is calculated at 5.28% for the years 2010-11 to 2012-13 as per CERC (Terms and Conditions for Determination of Tariff), Regulations, 2009. The EDM further stated that the State of Manipur has been granted a special status similar to that of other North Eastern States. GOI provides special assistance for the development of infrastructure facilities in these States. Accordingly, the infrastructure projects of the State of Manipur including those of EDM are being supported by issue of grants through various Central Government Ministries and Agencies like MOP through schemes of APDRP, RGGVY, MNRE, DONER and NEC. In majority of the cases, the quantum of grant is 90% of the total project cost. However, due to unavailability of complete data, the grants received by EDM for funding GFA are assumed at 90% of the total value of GFA. Accordingly, the proportionate amount to the extent of 90% of the total depreciation computed is deducted from the total depreciation chargeable to the ARR as detailed in Table below.

Table-6.29: Depreciation projected by EDM for FY 2012-13 (Table 19 of ARR)

(` crore)

| Particulars | FY 10-11 | FY 11-12 | FY 12-13 |
| --- | --- | --- | --- |
|  | Provisional | Estimates | Projected |
| GFA – Opening balance | 1089.94 | 1264.50 | 1504.54 |
| Net Additions during the year | 174.56 | 240.04 | 217.87 |
| GFA - Closing Balance | 1264.50 | 1504.54 | 1722.41 |
| I) Average Gross Fixed Assets | 1177.22 | 1384.52 | 1613.48 |
| II) Total Depreciation during the year | 62.16 | 73.10 | 85.19 |
| III) Depreciation on Assets presumed to be created out of Grants (90% of II) | 55.94 | 65.79 | 76.67 |
| IV) Depreciation claimed (10% of II) | 6.22 | 7.31 | 8.52 |
| Depreciation Rate % | 5.28% | 5.28% | 5.28% |

Commission’s Analysis

As per Regulation 98 (3) of JERC for MM (Terms and Conditions for Determination of Tariff) Regulations, 2010, the depreciation shall be computed on the historical cost of the assets including additional capitalization during the year at the CERC approved depreciation rates. The average rate of depreciation effective from 01/04/2009 is 5.28%. The total depreciation during the life of the asset shall not exceed 90% of the original cost.

The EDM has admitted that in the absence of assets/depreciation registers the value of GFA is arrived based on certain assumptions. Further, ` 117.92 crore have been capitalized during 2009-10 being the 50% of capital expenditure of ` 393 crore during 2009-10. Subsequently the EDM has furnished actuals expenditure during 2009-10 as ` 268.53 crore. As such it is not proper to allow depreciation on assumed and incorrect value of GFA. This issue has been discussed in detail in para 6.13 of this order. However, the EDM has projected loan repayment of ` 6.05 crore during the FY 2012-13. As such, depreciation to the extent of loan repayment is allowed.

The Commission accordingly approves depreciation of ` 6.05 crore for the year 2012-13 as against ` 8.52 crore projected by EDM.

## 6.20	 Interest and Finance Charges

The EDM has projected the interest and finance charges at `. 13.67 crore for FY 2012-13. It is stated that the EDM is availing various loans through State Government from REC to fund its capital schemes. The EDM further stated that the loans from REC under RGGVY schemes which are convertible into grants at a later date subject to fulfillment of certain stipulations have not been included in the loans mentioned in the Table below:

#### Table-6.30: Interest and Finance Charges furnished by EDM for FY 2012-13 (Table 20 ARR)	                               	 			                                                                                (` crore)

|  | FY 10-11 | FY 11-12 | FY 12-13 |
| --- | --- | --- | --- |
|  | Provisional | Estimates | Projected |
| Opening Loans | 82.09 | 81.09 | 85.05 |
| Addition during the year | 5.00 | 10.00 | 45.00 |
| Repayments | 6.00 | 6.05 | 6.05 |
| Closing Loans | 81.09 | 85.05 | 124.00 |
| Interest Paid during the year | 10.30 | 10.54 | 13.67 |
| Rate of Interest | 12.62% | 13.08% | 13.08% |

Commission’s Analysis

As verified from Format-15, the EDM proposes to avail loan of ` 45 crore from REC. However, the EDM has not furnished the rate of interest. As per the data furnished by the EDM, the average rate of interest works out to 13.01% for FY 2012-13 while the average rate of interest during the year 2010-11 (actuals) works out to 12.62%. To a query, EDM has stated that it has availed loans from REC at 13% p.a. Meanwhile, the Annual Resources Plan for the year 2012-13 provided by EDM has been verified and the interest for 2012-13 has been recast as detailed in Table below:

#### Table-6.31: Interest and Finance Charges approved by the Commission for FY 2012-13

(` Crore)

| S. No. | Particulars | 2010-11 | 2011-12 | 2012-13 |
| --- | --- | --- | --- | --- |
| 1 | Opening loan | 82.09 | 81.09 | 80.04 |
| 2 | Loan additions | 5.00 | 5.00 | 45.00 |
| 3 | Repayment | 6.00 | 6.05 | 6.05 |
| 4 | Closing loan | 81.09 | 80.04 | 118.99 |
| 5 | Average loan | 81.59 | 80.57 | 99.52 |
| 6 | Rate of Interest | 12.62 | 13.08 | 13.00 |
| 7 | Interest amount | 10.30 | 10.54 | 12.94 |

The Commission approves the interest charges of ` 12.94 crore for the year 2010-11 as against ` 13.67 crore projected by the EDM.

## 6.21	 Interest on Working Capital

The EDM has projected interest on working capital at ` 3.78 crore for FY 2012-13 on normative basis as detailed in Table-6.35 below as per the provisions of Regulation 98 (6) of the JERC (Terms and Conditions of Determination of Tariff), Regulations 2010, towards one-month requirement of the following categories (viz)

- Fuel cost

- Power purchase cost

- Employee cost

- Repairs & Maintenance expenses

- Adm. & Gen expenses

#### Table-6.32: Interest on Working Capital projected by the EDM for FY 2012-13 (Table 21 of ARR)

(` crore)

| Interest on Working Capital | FY 10-11 | FY 11-12 | FY 12-13 |
| --- | --- | --- | --- |
|  | Actuals | Estimates | Projected |
| Fuel Cost (1 month) | 0.09 | 0.08 | 0.13 |
| Power Purchase Cost (1 month) | 12.60 | 13.30 | 21.77 |
| O&M Cost (1month) | 6.84 | 7.65 | 8.55 |
| Total Working Capital requirement | 19.54 | 21.03 | 30.45 |
| Rate of Interest on Working Capital | 12.25% | 14.75% | 14.75% |
| Total Interest on Working Capital | 2.39 | 3.10 | 4.49 |

Commission’s Analysis

The EDM has stated that it has computed the interest on working capital for the year 2012-13 on normative basis as per the provisions of Regulation 98(6) of JERC (Terms and Conditions for Determination of Tariff) Regulations, 2010 and the rate at which the EDM has claimed the interest is 14.75%.

As per the Regulation 98 (6) (c) of Joint Electricity Regulatory Commission (Terms and Conditions for Determination of Tariff) Regulations, 2010, the rate of interest on working capital shall be equal to the Short Term Prime Lending Rate of SBI as on 1st April of the relevant year and the present rate of interest as on 1.4.2012 is 14.75%. The interest on working capital is recast on the approved expenses as detailed in Table below.

#### Table-6.33: Interest on Working Capital for the FY 2012-13

(` crore)

| S. No. | Particulars | Total Cost | One month requirement |
| --- | --- | --- | --- |
| 1 | Fuel cost | 2.93 | 0.24 |
| 2 | Power purchase cost | 299.41 | 24.95 |
| 3 | Employee cost | 84.47 | 7.06 |
| 4 | R&M expenses | 11.24 | 0.94 |
| 5 | Adm. & Gen expenses | 3.23 | .27 |
| 6 | Total working capital |  | 33.46 |
| 7 | Rate of interest |  | 14.75% |
| 8 | Interest on working capital |  | 4.94 |

The Commission, accordingly, approves the Interest on Working Capital at ` 4.94 crore for FY 2012-13 as against ` 4.49 crore proposed by the EDM.

## Provision for Bad Debts

The EDM has projected the provision for bad debts at Rs. 3.00 crore for FY 2012-13. The EDM has stated that it has considered provision for bad debts at 1% of receivables as per Regulation 98 (5) of the JERC (Terms and Conditions of Determination of Tariff), Regulations 2010 issued by the Commission. But the amount of receivables as on 31/03/2011 is not furnished by the EDM.

To a query, the EDM has furnished Annual resources Plan for FY 2012-13 As per Annual Plan for FY 2012-13, arrears due from consumers as on 31/03/2011 are as follows:

Table 6.34: Arrears due as on 31/3/2011

| S. No. | Particular | Amount (` crore) |
| --- | --- | --- |
| 1 | Private and general public | 245.94 |
| 2 | Government institutions | 33.16 |
| 3 | Total | 279.10 |

The arrears of ` 245.95 crore are too high and the EDM shall make special efforts for recovery of the arrears. Provisions for bad debts at 1% on such a huge arrears cannot be admitted. Since it is a default on the part of EDM in recovering the dues, a nominal amount of ` 0.15 crore is allowed towards bad debts.

The Commission accordingly approves provision of bad debts at ` 0.15 crore for FY 2012-13.

## 6.23	Return on Equity

The EDM has stated that it is dependent on the budgetary support from the Government of Manipur and therefore it is not claiming any ROE for FY    2012-13.

Commission’s Analysis

The basic requirement for consideration of return on equity is the audited annual accounts, register of assets. The EDM has not prepared the statement of accounts (viz) profit and loss account, balance sheet etc., nor maintained the register of assets. In the absence of relevant data, the value of equity can not be arrived to allow return on equity and as such the Commission has not considered for return on equity.

## 6.24	Non-Tariff Income

The EDM has projected the non-tariff income at ` 3.12 crore for FY 2012-13. Non-tariff income comprises meter rent, late payment charges, miscellaneous income such as interest on staff loans, cost of auctioned stores, rebate on timely payment of power purchase bills etc. The EDM has furnished details for the year 2010-11 (A), 2011-12 (E) and projected for 2012-13 as detailed in table below:

#### Table-6.35: Non-Tariff Income projected by EDM for FY 2012-13 (Table 23 of ARR)

(` crore)

| Particulars | FY 10-11 | FY 11-12 | FY 12-13 |
| --- | --- | --- | --- |
|  | Provisional | Estimates | Projected |
| Rebate on Power Purchase | 1.90 | 2.20 | 2.64 |
| Manipur Tax - NHPC Loktak | 0.24 | 0.20 | 0.24 |
| Departmental Charges | 0.10 | 0.10 | 0.12 |
| Misc. Income | 0.10 | 0.10 | 0.12 |
| Total | 2.34 | 2.60 | 3.12 |

Commission’s Analysis

Meter rent collected is not accounted for under this head. Barring unmeter connections, the metered connections are around 2 lakhs and at the rate of minimum ` 10/- per connection per month for FY 2012-13 works out to ` 2.4 crore.

Therefore, the Commission approves the non-tariff income of `. 5.52 crore for the year 2012-13 as against ` 3.12 crore projected by the EDM.

## 6.25	Aggregate Revenue Requirement

Based on the above analysis and approvals, the Aggregate Revenue Requirement projected by the EDM and approved by the Commission is furnished in Table below:

#### Table-6.36: Aggregate Revenue Requirement for FY 2012-13

(` crore)

| S. No. | Particulars | Projected by EDM | Approved by the Commission |
| --- | --- | --- | --- |
| 1 | Fuel cost | 1.50 | 2.93 |
| 2 | Power purchase cost | 261.23 | 299.41 |
| 3 | O&M expenses |  |  |
|  | (a) Employee costs | 90.61 | 84.47 |
|  | (b) Rep air & Maintenance expense | 11.24 | 11.24 |
|  | (c) Adm & Gen. expenses | 0.73 | 3.23 |
| 4 | Depreciation | 8.52 | 6.05 |
| 5 | Interest & Finance Charges | 13.67 | 12.94 |
| 6 | Interest on Working capital al | 4.49 | 4.94 |
| 7 | Provision for bad debt s | 3.00 | 0.15 |
| 8 | Return on Equity / ROR | - | - |
| 9 | Tot al expenditure | 394.99 | 425.36 |
| 10 | Less: Non Tariff income | 3.12 | 5.52 |
| 11 | Aggregate Revenue Requirement Requir em ent | 391.87 | 419.84 |

## 6.26	Expected Revenue from Existing Tariff

The EDM has projected the revenue from existing tariff at `146.43 for FY 2012-13 including the sales under UI as detailed in Table below.

#### Table-6.37: Revenue with Existing Tariff Projected by EDM for FY 2012-13(Table 25 of ARR)

(` crore)

| Category | FY 10-11 | FY 11-12 | FY 12-13 |
| --- | --- | --- | --- |
|  | Actuals | Estimated | Projected |
| Domestic | 41.62 | 46.04 | 58.248 |
| Commercial | 7.11 | 8.78 | 11.264 |
| Small Industry | 2.83 | 5.58 | 5.98 |
| Medium Industry |  |  |  |
| Large Industry | 0.95 | 2.05 | 2.176 |
| Bulk | 22.56 | 22.10 | 24.655 |
| Street Lighting | 1.82 | 2.20 | 2.631 |
| Irrigation & Water Works | 0.22 | 0.15 | 0.227 |
| Public Water Works | 6.51 | 7.60 | 8.496 |
| Temporary | 0.18 | 0.23 | 0.256 |
| Total | 83.80 | 94.74 | 113.95 |
| Outside State Sale | 27.20 | 28.38 | 32.48 |

Commission’s Analysis

As already discussed in para 6.12, that the surplus power to be sold under UI sales is 80 MU.  The EDM has projected a sale of ` 3.00 per kwh for UI sales. To a query the EDM in its letter No.5/11/2011/TP 12-13/IPED/3190-92 dt. 4.7.2012 has furnished details of UI sales and purchases during 2010-11 and 2011-12 as detailed below.

| Year | UI Sales | UI purchases |
| --- | --- | --- |
|  | Qrtly. (MU) | Amount (` Cr) | Average Cost (` /Kwh) | Qrtly. (MU) | Amount (` /Cr) | Average Cost (` /Kwh) |
| 2010-11 | 110.68 | 27.42 | 2.48 | 18.63 | 5.65 | 3.03 |
| 2011-12 | 102.90 | 26.71 | 2.60 | 17.28 | 9.16 | 5.30 |

As seen from the above the cost of UI purchase is on increasing side year by year.The EDM themselves purchased power under UI during 2011-12 ar ` 5.30 kwh. So the EDM’s projections of ` 3 per Kwh is very Low. Had there been planned trading the realiasation rate will be much more. The Commission considers a reasonable rate of ` 4 per Kwh at which EDM can sale surplus power of 80 MU.

Now, with the category wise sales approved vide para 6.8, the revenue from existing tariffs including UI sales works out to ` 186.27 crore as detailed in Table below.

#### Table-6.38:  Revenue from Approved sales for 2012-13 with Existing Tariff 2010-11

| S. No. | Consumer category | Energy sales approved by the Commission (MU) | Average Rate (`/ kWh) | Revenue (` crore) |
| --- | --- | --- | --- | --- |
| 1 | Domestic | 220 | 3.87 | 85.17 |
| 2 | Commercial | 36 | 4.57 | 16.47 |
| 3 | Public lighting | 7.00 | 4.39 | 3.07 |
| 4 | Public water works | 23.00 | 4.10 | 9.44 |
| 5 | Irrigation & Agriculture | 1.00 | 3.37 | 0.34 |
| 6 | Small Industries | 16.00 | 2.95 | 4.72 |
| 7 | Medium Industries | 4.00 | 5.43 | 2.17 |
| 8 | Large Industries | 6.00 | 4.97 | 2.98 |
| 9 | Bulk supply | 76.00 | 3.88 | 29.46 |
| 10 | Temp supply | 1.00 | 4.48 | 0.45 |
| 11 | Total | 390 | 3.96 | 154.27 |
| 12 | UI sales | 80 | 4.00 | 32.00 |
| 13 | Grand Total | 470 |  | 186.27 |

Detailed calculation of revenue from sale within the State is given in annexure – I.

The Commission, accordingly, approves the revenue from existing tariff and UI sales at ` 186.27 cr. for FY 2012-13 as against ` 146.46 crore projected by the EDM.

6.27	Government Subsidy

The EDM has stated that the State Government of Manipur has committed to pay a subsidy (subvention) of ` 151 crore for FY 2012-13.

## 6.28	Revenue Gap for FY 2012-13 with existing tariff

#### Table-6.39: Gap for FY 2012-13

| Particulars | Unit | Projected by EDM | Approved by the Commission |
| --- | --- | --- | --- |
| Revenue requirement | ` crore | 391.87 | 419.84 |
| Revenue from existing tariff | ` crore | 113.95 | 154.27 |
| Outside state sales | ` crore | 32.48 | 32.00 |
| Total revenue from sale of energy | ` crore | 146.43 | 186.27 |
| Revenue gap | ` crore | 245.44 | 233.57 |
| Govt. subsidy | ` crore | 151.00 | 151.00 |
| Net revenue gap | ` crore | 94.44 | 82.57 |
| Energy sales | MU | 467.68 | 470 |
| Average cost without Govt. subsidy | `/kWh | 8.38 | 8.93 |
| Average cost with Govt. subsidy | `/kWh | 5.15 | 5.72 |

The total energy available for sale is inclusive of the energy (71 MU) available free of cost from Loktak HEP (NHPC). Had it not been there, the average cost of supply would have been much more.

## 6.29	Revenue from Revised Tariff for FY 2012-13

As seen from Table-6.39, there is a gap of ` 82.57 crore between the aggregate revenue requirement and revenue from sale of power after appropriating Govt. subsidy of ` 151 crore. The percentage of gap works out to 19.6 %. The existing tariffs are already high for the economically backward State like Manipur. Increase of tariff to cover up the huge gap of ` 82.57 crore will result a tariff shock to the consumers. With the present power supply condition the Commission considers it reasonable to increase the average tariff from the existing rate of ` 3.96 to ` 4.26 per unit which is about 7.5%. Tariff designing and fixation of Tariffs are discussed in Chapter-9 of this order. The additional revenue from the revised tariff is ` 11.77 crore.

The Revenue from revised tariff is furnished in Table below:

#### Table-6.40: Revenue from revised tariffs approved by Commission for FY 2012-13

| S. No. | Consumer Category | Energy sales approved by the Commission (MU) | Av. Rate (`/kWh) | Revenue (` crore) |
| --- | --- | --- | --- | --- |
| 1 | Domestic | 220 | 4.18 | 91.85 |
| 2 | Commercial | 36 | 4.96 | 17.84 |
| 3 | Public lighting | 7.00 | 4.69 | 3.28 |
| 4 | Public water works | 23.00 | 4.53 | 10.43 |
| 5 | Irrigation & Agriculture | 1.00 | 3.37 | 0.34 |
| 6 | Small Industries | 16.00 | 2.95 | 4.72 |
| 7 | Medium Industries | 4.00 | 7.35 | 2.94 |
| 8 | Large Industries | 6.00 | 5.27 | 3.16 |
| 9 | Bulk supply | 76.00 | 4.08 | 30.98 |
| 10 | Temporary Supply | 1.00 | 5.07 | 0.51 |
| 11 | Total | 390 | 4.26 | 166.04 |
| 12 | UI sales | 80 | 4.00 | 32.00 |
| 13 | Grand Total | 470 |  | 198.04 |

Detailed calculation of revenue from sale within the State is given in annexure – II.

6.30.	Revised gap for 2012-13

Taking into consideration of revised tariff expected revenue from sale of power during 2012-13 is arrived at ` 198.04 crore inclusive of revenue from UI sales generating an additional revenue of ` 11.77 crore (i.e.198.04 – 186.27). EDM shall recover an additional amount of ` 80.00 lakhs by improving its performance. So the revised gap will be ` 70.00 crore (i.e. 82.57 -11.77 - 0.80)

6.31.	 Regulatory Asset/ Government Subsidy

The revenue gap of ` 70.00 crore is very large. It is mainly due to the uncontrollable cost of power purchase which has been analysed in detail at para 6.17 of this order. The Commission has approved an average hike of 7.5% during 2012-13. This hike is approved to minimise the revenue gap of EDM. Any further increase in tariff would have caused undue hardship to the consumers. Therefore the Commission has decided to retain net revenue gap of ` 70.00 crores for the FY 2012-13 to avoid sudden tariff shock. EDM while filing the tariff petition was expected to include all the probable expenditure during the FY 2012-13. Had the EDM considered the total arrear and additional purchases from Palatana in the proposed ARR the State Govt. should have come up with a higher amount of subsidy in the interest of the consumers and the gap could have been narrow. The State Govt. may still have to mobilize financial resources to maintain its cash flow to provide more subsidy for which EDM shall propose immediately. The gap with or without additional subsidy is considered as Regulatory Asset to be amortized in subsequent years.

7. Transmission and Wheeling Charges

  - Transmission Charges.

The EDM being an integrated utility, has to file separate petition for determination of transmission Tariff. Data made available to the Commission is not adequate for fixing transmission charges. The EDM is directed to file the separate petition with required data prescribed in JERC (Terms and Conditions for determination of tariff) Regulations, 2010.

  - Wheeling Charges.

Separate petition is also to be filed by EDM for determination of wheeling charges for implementation of open access in the state.

# 8. Directives

8.1. General

While examining the information and data contained in the proposed ARR and Tariff Petition for the FY 2012-13, it has been found that the computation and compilation of the data have been done based on assumptions only and as a result, there has been difficulties in finalization of the ARR and determination of retail tariff also. The above observation itself substantiates the fact that the administrative, technical and commercial performances of the Electricity Department require substantial improvement within a specified time frame.

Similar situation was noticed in the ARR & Tariff petition for the FY-2010-11. The Commission had observed that while there was ample scope for reducing cost and increasing efficiency in the operation of the department, serious efforts appear to be lacking. It is in the above context that 22 directives were given for compliance in the Tariff Order 2010-11. The Commission expected that EDM would take prompt action on the directives and monitor their implementation. Unfortunately, action is yet to be taken on most of the important directives, which could make significant difference to operational efficiency and cost. In some cases action has no doubt been initiated, but overall the seriousness with which the directives were issued by the Commission does not appear to have gone home. EDM does not appear to be as purposive in the persuit of efficiency as its obligation to its consumers.

In the above backround, the Commission is constrained to repeat most of the directives which were given in the last tariff order and which have not been fully complied with and also gives specific new directions.

8.2 Status and Compliance of directives issued in Tariff Order FY 2010-11

Directive 1: Filing of next Tariff Petition

EDM shall file the next Tariff Petition well in time i.e. on or before 30th November, 2011.

Compliance Status

EDM filed the ARR & Tariff petition for 2012-13 on 3/5/2012. The EDM stated that it will file the ARR & Tariff petition for 2013-14 by 30th November 2012.

Comments of the Commission

Because of late submission of the tariff petition the revised tariff now ordered will not be implemented for the whole year. The EDM should adhere to the due date in filing ARR & Tariff petition for 2013-14 and directed for strict compliance. The directive is not complied with.

Directive 2:  Annual Statement of Accounts

The EDM was directed to prepare separate Annual accounts statements such as balance sheet, profit and loss Account and relevant schedules and statements, every year for regulatory purpose and submit to the Commission duly got them audited.

Compliance Status

The EDM has replied that it has submitted proposals to Government of Manipur for hiring a chartered accountant firm for this purpose. Further, M/s SBI Caps has been appointed for consultancy work of finalisation and evaluation of assets and liability of the department.

Comment of the Commission

The Commission has observed that EDM has delayed in the action taken for compliance. EDM shall ensure that this is done on priority. The directives is partially complied.

Directive 3: Maintenance of Asset & Depreciation Registers

Compliance Status:

The EDM has stated that it has submitted proposals to Govt of Manipur for hiring Chartered Accountant vide lr. No 2/8/COFM/IPED/2009/15214-15 dt. 20.03.2012 and M/s SBI caps has been appointed for finalization of GFA.

Comment of the Commission

EDM submitted the proposal after one year. This is to be pursued to see that this is got done on priority.

Directive 4: Management Information System (MIS)

The EDM was directed to take appropriate steps to build up credible & accurate database and management information system (MIS) and regularly update the same for future record and reference. Arrangement may also be made for “On-line Payment” and “Payment through Bank” of the electricity bills.

Compliance Status

The EDM has stated that it has tied up with NIC vide letter No.1/2/CMTR/2K 11-12 ED (COMM) 1395-01 dt. 04.04.2012 for implementation of the MIS system.

Comments of the Commission

No specific programme and scheme to be taken up by NIC is intimated. Out come on implementation of MIS be reported by 31.12.2012. Not complied with.

Directive 5: Revenue Arrears

The EDM was directed to assess year wise Revenue Arrears due from consumers and submit a report by 30th September, 2011 to the Commission. The EDM was also further directed to initiate action to collect/ liquidate the arrears.

Compliance Status

The EDM has now furnished year wise closing balance of arrears due from consumers as follows:

As on 31.03.2009		-	` 263.32 crore

As on 31.03.2010		-	` 256.91 crore

As on 31.03.2011		-	` 279.09 crore

As on 31.03.2012		-	` 317.69 crore

Comments of the Commission

As seen from the above the arrears are increased from ` 263.32 crore as on 31.03.2009 to ` 317.69 crore as on 31.03.2012, which is a clear indication of inaction on the part of EDM in collection of dues from defaulting consumers.

The EDM is directed to analyze the arrears and take all measures under regulations and bring down the dues to barest minimum. A quarterly report on progress achieved may be reported. Partially complied.

Directive 6: Availability of Energy

The Commission has observed that there is a seasonal power shortage in the State, even though the available annual energy is adequate. Heavy Fuel Based Power Project at Leimakhong which is stated to be made available for standby generation may be operated during peak hours to minimize load shedding. The high cost of generation from this plant will not cause much impact on the tariff revision when mixed with the cheaper rate of the grid power and 12% free power received from Loktak Hydro Electric Plant by the State. The Department is therefore directed to generate 20 MU from the plant during peak hours.

Compliance Status

The EDM has stated that owing to meager budget required oil could not be purchased.

Further the operational cost is about ` 16 per kwh. As such plant is operationlised only on special occasions.

Comment of the Commission

The plant will face premature damage if it is not operated. The EDM shall operate for a few hours to mitigate the damage and to supplement the peak power shortages. Directives not complied with.

Directive 7: De-commissioning of Generating plants

The Compliance to this directive shall be reported to the Commission soon on written off the asset value of defunct generating plants which are lying idle for more than 15 years.

Compliance Status

EDM has stated that M/s SBI cap has been engaged for the job

Comment of the Commission

Directive not complied with. EDM is directed again to write off.

Directive 8: Sale of Power outside the State

The EMD was directed to ensure that only surplus power be sold under UI sales after fully meeting the state’s requirement without any staggeration of supply in the state. This may be ensured strictly

Compliance Status

EDM has not responded to this directive.

Comment of the Commission

Data furnished in the tariff petition indicates that there was sale of energy outside the State. EDM shall ensure compliance. The directive is not complied.

##### Directive 9: Transmission & Distribution Losses

To know the actual T&D losses in the system, EDM was directed to ensure 100% metering of all feeders, DTrs, and consumer connections and conduct voltage wise energy audit. To achieve this it was directed to chalk out an action plan for preliminary energy audit and submit the same to the Commission by May 2011.

Compliance Status

EDM has not reported action plan for energy audit. It has been reported that out of 62 numbers of 11Kv incoming feeders 32 are defectives and out of 126 out going feeders 30 feeders are with defective meters. For consumers, 34208 consumer connection are with defective meters and 26952 connections are without meters. EDM has also prepared voltagewise schemes for 100% metering and the status of metering as per the investment plan submitted is as given below.

- ` 5 lakhs spent during 2011-12 and another ` 50 lakhs proposed during 2012-13 for providing 132kv energy meters.

- ` 15 lakhs spent during 2011-12 and ` 50 lakhs proposed during 2012-13 for providing 33kv, 11kv feeder and consumer meters.

- And ` 700 lakhs proposed during 2012-13 for replacement of Electro Mechanical   meters with Static Energy Meters and

- ` 1900 lakhs were spent during 2011-12 and ` 500 lakhs is proposed during 2012-13 for providing prepaid energy meters at Imphal areas.

Comment of the Commission

The metering system of the EDM is extremely poor. The schemes proposed by EDM are in the nascent stage. The no. of consumers without meters and with defectives meters is as high as 30%. The directive is partially complied with.

The EDM is further directed to submit action plan for preliminary energy audit within 31.12.12. and ensure that no new service connection be released without meter. Quarterly report on the progress of the schemes be sent starting from quarter ending 30/09/2012.

Directive 10: Unauthorized Connection/ Theft of power Cases

&

Directive 11:  Detailed Survey & Investigation

In the above two directives the Commission had directed to carryout detailed survey & Investigation to -

1.	Identify un authorized connections.

2.	Physical verification of the connected load of all connections.

3.	Physical verification of the categories under which the consumers are availing supply.

- Verification & updation of names of the consumers etc. and

- regularize 30000 unauthorised consumers annually.

Compliance Status

The EDM submitted that proposals for engaging 147 private persons for survey & investigation of unauthorized connections, were submitted to Government of Manipur on 14/03/2012 in respect of directives (10). Regarding survey and investigation of consumer connections vide directives (11) EDM submitted proposals for engagement of private persons to Government of Manipur on 14/03/2012.

Comment of the Commission

EDM has submitted proposal to Govt. of Manipur after one year of tariff order. It indicates a lack of seriousness of the department to implement the orders of the Commission. Engagement of private persons for this works is not permissible under law except otherwise special permissions are granted by the State Govt. EDM should mobilized the existing staff as well as persue obtaining Govt. approval for early action. Directive are hardly complied with. These directions shall be complied with and progress made is submitted by 31.10.2012.

Directive 12: Replacement of Defective Meters and Installation of Meters to Un-Metered   Connections

The EDM was directed to provide meters to all un metered consumers and replace the defective meters within the time frame given in the commission order No. 24012/2/5/09 – JERC dt 7.1.2011 on 100% metering plan and submit quarterly report regularly.

Compliance status

The EDM has prepared schemes for 100% metering. EDM has 50000 energy meter in their ready stock as on 22nd May, 2012. It is reported that installations are in progress report. Quarterly progress reports are not submitted.

Comment of the Commission

The time frame set by JERC for 100% metering is 31/03/13. EDM shall submit the progress report as on 30/09/2012 by 31.10.2012.

Directive 13: Contribution of Consumers for Capital Investment

The amounts collected towards service line / distribution transformer cost   as per clause 3(m) of Tariff scheduled read with regulation 3.5 of JERC (supply Code) regulations 2010 comes under consumer contribution for investment, which has to be accounted for under a separate account head.

Compliance Status

EDM stated that than is no scheme where there is consumer contribution towards capital investment and as such it is not reflected in ARR.

Comment of the Commission

Directive is considered complied with.

Directive 14: Physical and Financial Status of RAPDRP & RGGVY Schemes

As per above directive EDM has to submit physical and financial progress of work done and the impact of the works on revenue performance and metering with details of work done, amount of revenue increase etc.

Compliance Status

On query EDM reported vide their letter of 22/05/2012 that 281 un-electrified villages are electrified against 436 and 278 de electrified villages are electrified against 446 as on 31/03/2012. EDM has reported that Rs.255.16 crore were spent as on 31.3.2012 against sanction amount of ` 381.83 crore. The amount released by Government of India as on 31/03/2012 is to ` 296.62 Crore.

Comments of the Commission:

EDM did not submit any report as directed. The report now furnished does not also certain about metering and performance. Partly complied.

Directive 15: Statement of Interest Analysis

Compliance Status

The EDM has furnished the loan details for the year 2010-11 as detailed below:

| S. No. | Details | Amount (` crore) |
| --- | --- | --- |
| 1 | Opening Loans | 82.09 |
| 2 | Addition during the year | 5.00 |
| 3 | Repayment during the year | 6.00 |
| 4 | Closing Loan | 81.09 |
| 5 | Interest Paid | 10.30 |

Comment of the Commission

The reply furnished by EDM is noted. Directive is complied with.

Directive 16: Timely Completion of Projects/ Schemes

Compliance Status

EDM endeavors to complete in time but got delayed due to force meajeure conditions like strikes etc.

Comment of the Commission

The Main intention of this directive is to ensure timely completion of Projects / Schemes within the schedule dates and to get benefits out of them.

Directive 17: Interest on Security Deposit

EDM was directed to furnish upto-date position of interest on security deposit as per regulation 6.10(5) of JERC (supply code) regulations 2010.

The above rule position may be followed scrupulously and not to commit breach of rule.

Compliance Status

No information has been furnished.

Comment of the Commission

The EDM shall work out the interest and furnish it to the Commission. Directive not complied with.

Directive 18: Power from Renewable Sources

The EDM was directed to procure power for renewable.

Compliance Status

The EDM did not procure energy from renewable and stated that there is no grid connected renewable energy in NE region. Efforts were made to purchase through energy exchange or PTC but failed.

Comment of the Commission

The EDM should make all efforts to procure more power from renewable sources available in the state. Purchase of renewable energy for a minimum of the RPO prescribed is mandatory to promote renewable energy generation. EDM is directed to purchase it through REC mechanism. Directive is not complied with.

Directive 19: Investment Plan and Capping of Capital expenditure

Annual Investment Plan shall be submitted to the Commission and necessary approval of Commission shall be obtained for all major capital works costing ` 5.00 crore and above before execution of the works.

Compliance Status

EDM submitted for only one project on perspective transmission plan after the process of execution is started.

Comment of the Commission

Complied with partially.

Directive 20: Maximum Demand Indicator Meters (MDI)

Maximum Demand Meters shall be provided for all the HT and bulk Consumers.

Compliance Status

Not provided yet.

Comment of the Commission

Directive is not complied with. EDM is directed to provide within the target date of 100% metering.

Directive 21: Tariff Support

State Government’s contribution of 26.80% towards tariff support shall be clearly   highlighted in the monthly energy bills.

Compliance Status

Printed on the bill body.

Comment of the Commission

Complied with.

Directive 22: Disconnection Date

Last date of payment for purposes of disconnection shall be fixed by EDM.

Compliance Status

EDM followed 15 days after demand note for which is no specific dates are fixed.

Comment of the Commission

Complied with.

8.3	Fresh directives

Directive – 1

Compliance of previous directives

EDM is directed to comply all those directives issued in tariff Order of FY 2010-11 which are not fully complied with within the time frame specified in para 8.2 above.

Directive – 2

Transmission Charges

EDM is directed to file tariff petition for determination of transmission charges by Feb. 2013.

Directive – 3

Wheeling Charges

EDM is directed to submit adequate data of 33 Kv and 11 Kv distribution system for determination of wheeling charges along with the retail tariff petition of 2013-14.

Directive – 4

Restructuring of Staff.

EDM has stated that the number of employee as on 31/03/2012 is 3611 and pleaded for shortage of staff for poor performance. The Commission has observed that deployment of the existing staff is not rational. EDM is directed to prepare a restructing plan by 31st December, 2012 and submit a report.

Directive – 5

Review petition

The Commission is to undertake review with the next tariff in the absence of audited accounts. EDM is directed to submit review petition along with the next tariff petition

# 9. Tariff Principles and Design

## 9.1 	Background

(a) 	The Commission, in determining the revenue requirement of Electricity Department, Manipur for the year 2012-13 and the retail tariff, has been guided by the provisions of the Electricity Act, 2003, the National Tariff Policy (NTP), Regulations on Terms and Conditions of Tariff issued by the Central Electricity Regulatory Commission (CERC) and Regulations on Terms and Conditions of Tariff notified by the JERC. Section 61 of the Act lays down the broad principles, which shall guide determination of retail tariff. As per these principles the tariff should “Progressively reflect cost of supply” and also reduce cross subsidies “within the period to be specified by the Commission”. The Act lays special emphasis on safeguarding consumer interests and also requires that the costs should be recovered in a reasonable manner. The Act mandates that tariff determination should be guided by the factors, which encourage competition, efficiency, economical use of resources, good performance and optimum investment.

The NTP, notified by Government of India in January 2006, provides comprehensive guidelines for determination of tariff as also working out the revenue requirement of power utilities. The Commission has endeavored to follow these guidelines as far as possible.

(b) 	The NTP mandates that the Multi-Year-Tariff (MYT) framework be adopted for determination of tariff from 1st April 2006. However, the Commission is not in a position to introduce MYT Regime in the State mainly because of lack of requisite and reliable data. The present MIS and regulatory reporting system of the EDM is very inadequate for any such exercise at this stage. There has been no study to assess voltage wise losses in the absence of metering of all feeders, distribution transformers and consumers. Technical and commercial losses are yet to be segregated and quantified voltage wise. The Commission has issued a directive to the EDM in the Tariff Order 2010-11 as well as in the present Tariff order for 2012-13  to chalk out a long-term action plan for reduction of T&D losses for both technical and non- technical with relevant load flow studies and energy audit and submit to the Commission by December 2012. Under these conditions, it would not be practicable to implement the MYT framework this year. The Commission, after taking into account all factors, has decided to introduce MYT in due course, when the data is available.

(c) 	The mandate of the NTP is that tariff should be within plus / minus 20% of the average cost of supply by 2010-11. It is not possible for the Commission at this stage to lay down the road map for reduction of cross subsidy within ±20% mainly because of consumers’ low paying capacity and relatively high cost of power. There has been a high level of the fluctuating revenue gap. The gap in the year 2010-11 was 36% and that of 2012-13 is 55%. However, in this tariff order an element of performance target has been indicated by setting target for T&D loss reduction and increasing in sales volume during the period from 2012-13 to 2014-15. The improved performance, by reduction of loss level, and increase in sale will result in substantial reduction in average cost of supply. The existing and proposed tariff of EDM is two part tariff. The Commission has considered for a nominal increase in tariff in view of the extremely poor conditions of power supply in the State.

(d) 	Clause 8.3 of National Tariff Policy lays down the following principles for tariff design:

- In accordance with the National Electricity Policy, consumers below poverty line who consume below a specified level, say 30 units per Month, may receive a special support through cross subsidy. Tariffs for such designated group of consumers will be at least 50% of the average cost of supply. This provision will be re-examined after five years.

- For achieving the objective that the tariff progressively reflects the cost of supply of electricity, the SERC would notify the roadmap, within six Months with a target that latest by the end of the year 2010-11 tariffs are within ± 20% of the average cost of supply. The road map would have intermediate milestones, based on the approach of a gradual reduction in cross subsidy.

For example, if the average cost of service is Rs.3 per unit, at the end of year 2012-13, the tariff for the cross subsidized categories excluding those referred to in para-1 above should not be lower than Rs. 2.40 per unit and that for any of the cross subsidizing categories should not go beyond Rs.3.60 per unit.

- While fixing tariff for agricultural use, the imperatives of the need of using       ground water resources in a sustainable manner would also need to be kept in mind in addition to the average cost of supply. The tariff for agricultural use may be set at different levels for different parts of the State depending on the condition of the ground water table to prevent excessive depletion of ground water.

  - Regulation 16 of JERC for M&M (Terms and Conditions for Determination of Tariff) Regulations specifies.

(i)    The cross subsidy for a consumer category means the difference between the average per unit rate based on tariff schedule of the Commission for that Category and the combine average cost of supply per unit expressed in percentage terms as a portion of the combined average cost of supply.

- In the first place, the Commission shall determine the tariff, so that it progressively reflects the combined average cost of supply of electricity and also reduce cross-subsidies within a reasonable period. In the second phase, the Commission shall consider moving towards category wise cost of supply as a basis for determination of tariff.

  - The Commission has considered special treatment to Kutir Jyoti connections and agricultural sector. It has also aimed at raising the per capita consumption of the State from 100 kwh in 2010-11 to 144 kwh in 2012-13 to 300 kWh by the end of 2015. The Commission endeavors that the tariff progressively reflects cost of supply in a shortest period and the Government subsidy is also reduced gradually. The tariff has been rationalized with regards to inflation, paying capacity and to avoid tariff shock.

## 9.2 	Tariff Proposed by the EDM and Approved by the Commission

(a) 	Existing & Proposed Tariff

EDM in its tariff petition for FY 2012-13 has proposed for revision of the existing retail tariffs to various categories of consumers to earn additional revenue to meet the expenses fully.

The EDM has proposed tariff revision as indicated in table - 9.1 placed below. The proposed increase in tariff by the EDM would result in an overall increase of about 15 % (from 7% to 18% vide Table 28 of ARR & Tariff Petition)

#### Table-9.1:  Proposed Tariff for FY 2012-13 against existing tariff 2010-11

| Particulars | Existing Tariff | Proposed Tariff |
| --- | --- | --- |
|  | Fixed Charges (`/kW/kVA/Month) | Energy Charges (`/kWh) | Fixed Charges (`/kW/kVA/Month) | Energy Charges (`/kWh) |
| LT SUPPLY |  |  |  |  |
| Kutir Jyoti |  |  |  |  |
| 1-15 kWh | 20 | 1.00 | 20 | 1.00 |
| Above 15 kWh | 20 | 1.50 | 20 | 1.50 |
| Domestic Light & Power |  |  |  |  |
| 1-100 kWh | 60 | 2.20 | 60 | 2.50 |
| 101-200 kWh | 60 | 2.70 | 60 | 3.10 |
| Above 200 kWh | 60 | 3.20 | 60 | 3.85 |
| Commercial |  |  |  |  |
| 1-100 kWh | 80 | 3.00 | 80 | 3.30 |
| 101-200 kWh | 80 | 3.50 | 80 | 4.00 |
| Above 200 kWh | 80 | 4.00 | 80 | 4.80 |
| Public Lighting | 60 | 4.00 | 60 | 4.30 |
| Public Water Works | 100 | 4.00 | 60 | 4.30 |
| Agriculture | 60 | 2.50 | 60 | 2.50 |
| Cottage & Small Industry | 60 | 2.50 | 60 | 2.85 |
| Temporary Supply | 50 | 4.00 | 50 | 4.35 |
| HT SUPPLY |  |  |  |  |
| Commercial | -- | -- | 100 | 4.00 |
| Public Water Works | 100 | 3.50 | 100 | 3.90 |
| Agriculture | 100 | 2.50 | 100 | 2.50 |
| Medium Industry | 60 | 3.00 | 100 | 3.30 |
| Large Industry | 100 | 3.50 | 100 | 3.85 |
| Bulk Supply | 100 | 3.20 | 100 | 3.50 |

(b) 	Tariff Categories

In the ARR and Tariff Petition of 2012-13 the EDM has proposed HT commercial category.

The approved tariff categories / sub-categories are given below. The un- metered supply includes consumers not provided with energy meters. The consumers will be billed based on assessed consumption arrived as per Annexure 8 of JERC - (supply code) 2010 at the relevant rates of metered Tariff of the respective categories.

LT Supply

(1) 	Power Supply for “Kutir Jyoti” – of Domestic Consumers.

A. 		Metered Supply

- Un-metered Supply

(2) 	Power Supply for Domestic

A. 	Metered Supply

B. 		Un-metered Supply

(3) 	Power Supply for Commercial

A. 	Metered Supply

B. 	Un-metered Supply

(4) 	Power Supply for Public Lighting

A. 	Metered Supply

B. 	Un-metered Supply

(5) 	Power Supply for Public Water Works (PWW)

A. 	Metered Supply

B. 	Un-metered Supply

(6) 	Power Supply for Irrigation & Agricultural

A. 	Metered Supply

B. 	Un-metered Supply

(7) 	Power Supply to Small Industries

A. 	Metered Supply

B. 	Un-metered Supply

(8) 	Temporary Power Supply

A. 	Metered Supply Only

HT Supply

- Commercial

Metered Supply Only

(2) 	Public Water Works

A. 	Metered Supply

B. 	Un-metered Supply

(3) 	Irrigation & Agriculture

A. 	Metered Supply

B. 	Un-metered Supply

(4) 	Medium Industry

A. 	Metered Supply

- Un-metered Supply

(5)	Large Industry

- Metered

- Un Metered

(6) 	Bulk supply within the State

A. 	Metered Supply

B. 	Un-metered Supply

- Tariff Approved by the Commission

Having considered the Petition No. 2/2012 of Electricity Department, Manipur, Imphal for approval of Annual Revenue Requirement (ARR) and determination of Retail Tariff for sale of energy and having approved the Annual Revenue Requirement (ARR) under Clause 6.25, the Commission approves two part retail tariff with an average increase in tariff by 7.5% as given below.

#### Table-9.2:  Category wise Tariff approved by the Commission for FY 2012-13

| S. No. | Category & Consumption Slab | Fixed Charges (`/kW/connection or kVA/Month) | Energy Charges (`/kwh) |
| --- | --- | --- | --- |
|  | LT SUPPLY |  |  |
| 1 | Kutir Jyoti |  |  |
|  | 0 - 15 kwh/Month | 20.00 | 1.00 |
|  | 0 - Above 15 kwh/Month | 20.00 | 1.50 |
| 2 | Domestic Light & Power |  |  |
|  | 0 - 100 kwh/Month | 60.00 | 2.40 |
|  | 0 - 200 kwh/Month | 60.00 | 3.00 |
|  | 0 - Above 200 kwh/Month | 60.00 | 3.60 |
| 3 | Commercial |  |  |
|  | 0 - 100 kwh/Month | 80.00 | 3.30 |
|  | 0 - 200 kwh/Month | 80.00 | 3.90 |
|  | 0 - Above 200 kwh/Month | 80.00 | 4.40 |
| 4 | Public Lighting | 60.00 | 4.30 |
| 5 | Public Water Works | 100.00 | 4.30 |
| 6 | Irrigation & Agriculture | 60.00 | 2.50 |
| 7 | Small Industry | 60.00 | 2.50 |
| 8 | Temporary Supply | 80.00 | 4.30 |
|  | HT SUPPLY |  |  |
| 1 | Commercial | 100.00 | 4.00 |
| 2 | Public Water Works | 100.00 | 4.00 |
| 3 | Irrigation & Agriculture | 100.00 | 2.50 |
| 4 | Medium Industry | 100.00 | 3.30 |
| 5 | Large Industry | 100.00 | 3.80 |
| 6 | Bulk Supply | 100.00 | 3.40 |

Details are given in the tariff schedule in the Appendix.

- Miscellaneous Charges	 and Important Conditions of Supply

The detailed Tariffs including rates for un-metered categories of consumer, Miscellaneous charges and Important Conditions of Supply furnished by EDM are examined and approved with minor changes. These are given in the Tariff Schedule appended as Appendix.

This order shall come into force from 01.09.2012and shall remain effective till revised / amended by the Commission. The Order shall be given wide publicity by the petitioner for information of the general pubic.

Place: Aizawl

Date:  14th August, 2012.																	(H. BIHARI SINGH)

Chairperson

# APPENDEX

## Tariff schedule

#### 1.	LT Supply

Category -1: Supply for Kutir Jyoti Scheme Connection Domestic Consumers

Applicability: Applicable to all households who have been given connection under Kutir Jyoti Scheme or similar connection under any scheme of the State Govt. or Central Govt. for the benefit of poorer section. As per existing norms unless supersedes by other new norms of KJS, if the total consumption in the last three months exceed 45 kWh, the connection should be converted to Category-2.

System of Supply:

AC 50 cycle, single phase, 230 V, initially single light point connection which can be extended by one or two light points or as per the norms specified by competent Authority from time to time.

A)	Metered Supply: The total energy consumed shall be charged at the corresponding slab rate as given below:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/Connection /Month) |
| --- | --- | --- |
| 0 - 15 kWh/Month | 1.00 | 20.00 |
| 0 - above 15 kWh/Month | 1.50 | 20.00 |

B)	Un – metered Supply

1) 	Energy Charges: Energy bill shall be computed as per Appendix, No.4(j) of this Tariff Order 2012-13.

2) 	Fixed Charges: ` 20/Connection/Month

##### Category-2: Supply for Domestic Light and Power

Applicability: The Tariff is applicable to all supplies for general domestic purposes such as Light, Fans, Heating devices, Television, VCR/VCP, Radio, Refrigerator, Air-conditioner, lift motors and all others appliances only for bona-fide residential used. This will also cover consumption of energy supplied for Government owned Educational and Research Institutions, Charitable Insituations, Government owned Hospital and Dispensaries, Farm houses, Religious premises like Churches, Temples, mosques, religious offices and any other institutions or Offices not engaged in any commercial activity or private gain, excluding those consumers specially covered under other Categories of this Tariff.

System of Supply:

(a) 	AC 50 cycles, single phase, 230 V upto 5 kW  of connected load.

(b) 	AC 50 cycles, three phases, 400 V above 5 kW and upto 20 kW of connected load.

A) 	Metered Supply: The total energy consumed shall be charged at the corresponding slab rate as given below:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kW/Month of contract demand) |
| --- | --- | --- |
| 0 - 100 kWh/Month | 2.40 | 60.00 |
| 0 - 200 kWh/Month | 3.00 | 60.00 |
| 0 - above 200 kWh/Month | 3.60 | 60.00 |

B) 	Un-metered Supply:

1)	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

2)	Fixed Charges:  ` 60/kW/Month of Contract demand

Note: Mixed domestic and commercial establishment shall be treated as commercial establishment if the load on commercial side is more than 200 W or 10% of the total connected load, whichever is less.

Category-3: Supply for Commercial Purposes

Applicability: This tariff is applicable to all lights, all types of fans, heating devices, Television, VCR/VCP, Radio, Refrigerator, Air Conditioner, lift motors, pump and all other appliances for the purpose of private gain including other small power. This category includes supply of power to all establishment and installations of commercial offices, Government undertakings, Public Sector undertakings, Commercial houses, Markets, Optical houses, Restaurants, Bars, Tailoring shops not using motive power, Refreshment and Tea Stalls, Show-Cases of advertisement, Theatres, Cinemas, Hotels, Lodging and Boarding, Private Nursing Homes and Hospitals, Religious Hospitals, Private run Schools and Hostels and Boarding facilities, any other educational institutions demanding fees, Photographic studio, Battery charging units, Repair Workshops, and Newspaper Press (Newspaper Printing press only), Petrol pump, etc. and other purposes which are not covered by any of the categories of this tariff order the connected load of which is upto 20 kW.

Note: Mixed domestic and commercial establishment shall be treated as commercial establishments if the load on commercial side is more than 200W or 10% of the total connected load, whichever is less.

System of Supply:

(a) 	AC 50 cycles, single phase, 230 V upto 5 kW  of connected load.

(b) 	AC 50 cycles, three phases, 400 V above 5 kW and upto 20 kW of connected load.

A)	Metered Supply: The total energy consumed shall be charged at the corresponding slab rate as given below:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/ kW/Month of contract demand)) |
| --- | --- | --- |
| 0 - 100 kWh/Month | 3.30 | 80.00 |
| 0 - 200 kWh/Month | 3.90 | 80.00 |
| 0 - above 200 kWh/Month | 4.40 | 80.00 |

B) 	Un-metered Supply:

1)	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

2) 	Fixed Charges: ` 80/kW/Month of Contract demand

Category-4: Supply for Public Lighting

Applicability: Applicable to Public Street Lighting System in municipality, Town, Committee, Sub-Town/Village, etc. including Signal system and Road & Park lighting in areas of Municipality Town/Committee, Sub - Town/Village, etc.

System of Supply:

(a) 	AC 50 cycles, single phase, 230 V.

(b) 	AC 50 cycles, three phases 400 V.

A) 	Metered Supply:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kW/Month of contract demand) |
| --- | --- | --- |
| All units | 4.30 | 60.00 |

B) 	Un-metered Supply:

1)	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

2)	Fixed Charges: ` 60/kW/Month of Contract demand

Category-5: Supply for Public Water Works(PWW)

Applicability:  Applicable to all public water supply system.

System of Supply:

(a) 	AC 50 cycles, single phase, 230 V upto 5 kW  of connected load.

(b) 	AC 50 cycles, three phases, 400 V above 5 kW and upto 20 kW of connected load.

A)	Metered Supply:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kW/Month of contract demand) |
| --- | --- | --- |
| All units | 4.30 | 100.00 |

B) 	Un-metered Supply:

1) 	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

2) 	Fixed Charges: ` 60/kW/Month of Contract demand

Category-6: Supply for Agricultural & Irrigational Purpose

Applicability: This tariff is applicable to irrigation/pumping for Agricultural purpose only.

System of Supply:

(a) AC 50 cycles, single phase, 230 V upto 5 kW  of connected load.

(b) AC 50 cycles, three phases, 400 V above 5 kW and upto 20 kW of connected load.

A) 	Metered Supply:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kW/Month of contract demand) |
| --- | --- | --- |
| All units | 2.50 | 60.00 |

B) 	Un-metered Supply:

1)	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

3)	Fixed Charges:  ` 60/kW/Month of Contract demand.

Category-7: Supply to Small Industry

Applicability:  Applicable to all Industrial power consumers with demand of power upto 20 kW which are not covered by Category No. 3 (Supply of Commercial Purposes), such as steel fabrications, motor body builders, power handloom industry, poultry farming, pisciculture, prawn culture, floriculture in green houses, mushroom production, cold storage unit of pisciculture, agriculture based industries, horticulture and any other type of industry where raw material is converted into finished products with the help of electrical motive power,  printing press, etc.  This will include domestic or commercial within the industrial complex.

System of Supply:

(a) 	AC 50 cycles, single phase, 230 V upto 5 kW  of connected load.

(b) 	AC 50 cycles, three phases, 400 V above 5 kW and upto 20 kW of connected load.

A) 	Metered Supply:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kW/Month of contract demand) |
| --- | --- | --- |
| All units | 2.50 | 60.00 |

B) 	Un-metered Supply:

1) 	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

2) 	Fixed Charges:  ` 60/kw/month of Contract demand

Category-8: Temporary Power Supply

Applicability:

a) 	For marriage, puja, religious/public function/gathering and all others domestics, festivals/ ceremony purposes which are of temporary nature upto 20 kW of connected load for a period not exceeding 180 days.

b) 	For commercial and Industrial purposes like cinemas, theatres, circus, carnivals, exhibition, concerts, etc., which are of temporary nature for private gain upto 20 kW, of, connected load for a period not exceeding 180 days.

System of Supply:  As may be decided by the Electricity Department, Government of Manipur.

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kW/month of contract demand) |
| --- | --- | --- |
| All units | 4.30 | 80.00 |

A)	Metered Supply:

Consumer shall be supplied with energy meter by the Department after receiving in advance from consumer, the full cost of energy meter as security, which shall be released to the consumer after period of connection is over provided energy meter is not defective/damage during the connection; otherwise security shall be forfeited. Connection and disconnection charges will be extra.

Materials for service connection shall be arranged by the Department on advance payment by consumer or the same may be arranged by the consumer as per the specifications required by the Department, which will be the property of the consumer after the connection period is over. In addition to this, usual Departmental charges for connection and disconnection should be paid in advance.

B) 	Terms & Conditions:

Temporary power supply may be provided in accordance with the delegation of powers as furnished below:

(i) 	S.D.O concerned 		- 	upto   30 days.

(ii)	E.E. concerned    		- 	upto 120 days.

(iii)	S.E. concerned   		- 	upto 180 days.

(a)	The energy cost as per tariff above along with connection &  disconnection charge will be collected in advance from the applicant before making the supply available to him.

(b)	The complete wiring for which temporary supply of power is  required, shall be arranged by applicant at his own expense. It will also be the responsibility of the applicant to ensure that the wiring conforms to the technical requirements as specified by the Electricity Department, Government of Manipur.

(c)	Supply will be given only after obtaining proper security for meter and prepayment of Rs.100 per kW of connected load or part thereof, in advance, which will finally be adjusted against consumption bill.

C) 	Payment:

Charges for temporary connection shall be paid in advance against bill to be served.

Bill based on actual consumption and fixed charges shall be served on to the consumer at reasonable intervals. The amount of each bill shall be adjusted from the amount of advance .

(a)	In the event that the total amount of advance paid is found short of the amount of the bills served as above, the Department shall be at liberty to request the consumer to pay additional payment in advance as required based on this tariff.

(b)	If the consumer fails to pay the additional payment, the Department shall be at liberty to discontinue the temporary power supply.

(c)	The advance amount paid and the consumption bill shall be adjusted in full immediately after the termination of the temporary power supply.

## HT Supply

##### General Conditions of HT Supply

(a)	The tariffs are applicable for supply of Electricity to HT Consumer with a Contract Demand of above 25 kVA  or Connected Load of above 20 kW.

(b)	Maximum Demand

Maximum demand shall be the highest value of average load measured in kVA or kW as the case may be, delivered at the point of commencement of supply of the consumer during any consecutive 15/30 minutes period of maximum used (depending upon a type of the meter being used) in the said Month.

(c)	Billing Demand

The billing demand shall be the maximum demand recorded during the month or 80% of the Contract demand whichever is higher.

Category – 1: Commercial

Applicability: This Tariff is applicable to similar purposes defined in LT Supply Category-3 Supply for Commercial Purposes.

System of Supply: AC, 50 cycles, 11000V and above.

A)	Metered Supply:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kVA/Month of billing demand) |
| --- | --- | --- |
| All units | 4.00 | 100.00 |

B) 	Un-metered Supply:

1)	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

2)	Fixed Charges:  ` 100/kVA/Month of Contract demand.

Category - 2: Public Water Works (HT- PWW)

Applicability: This tariff is applicable to similar purposes defined in LT Category-5 Supply for Public Water Works(PWW).

System of supply: AC 50 Cycles 11000 V and above

A)	Metered Supply:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kVA/Month of billing demand) |
| --- | --- | --- |
| All units | 4.00 | 100.00 |

B) 	Un-metered Supply:

1)	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

2)	Fixed Charges:  ` 100/kVA/month of Contract demand.

Category - 3: Irrigation & Agriculture

Applicability: This Tariff is applicable to irrigation / pumping for agricultural purposes only.

System of supply: AC 50 cycles 11000 V and above.

### Metered Supply:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kVA/Month of billing demand) |
| --- | --- | --- |
| All units | 2.50 | 100.00 |

B) 	Un-metered Supply:

1)	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

2) 	Fixed Charges: ` 100/kVA/month of Contract demand.

Category - 4: Medium Industry

Applicability: This Tariff is applicable to similar purpose defined in LT Category-7 Supply to Small with Contract Demand/Connected Load upto 125 kVA/100kW.

System of supply: AC, 50 cycles, 11000 V and above.

###### Metered Supply:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kVA/Month of billing demand) |
| --- | --- | --- |
| All units | 3.30 | 100.00 |

B)	Un-metered Supply:

1)	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

2)	Fixed Charges:  ` 100/kVA/month of Contract Demand.

Category- 5: Large Industry

Applicability: This Tariff is applicable for supply of power to industrial cosumers having license from designated authority of appropriate government and not covered under any other category, at a single point for industrial purposes with Contract Demand/Connected Load above 125 kVA/100 kW.

System of supply: AC, 50 cycles, 11000 V and above.

- Metered Supply:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kVA/Month of billing demand) |
| --- | --- | --- |
| All units | 3.80 | 100.00 |

B) 	Un-metered Supply:

1)	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

2)	Fixed Charges: ` 100/kVA/month of Contract Demand.

Category - 6: Bulk Supply within the State

Applicability: This tariff is applicable for all installations, including mixed loads similar to LT category 2 & 3 such as private sector installation, educational institution, defense installation, government & public sector offices & complexes and Hospital etc., that arrange their own distribution system of power within the premises with the approval of competent authority. This will not include industrial complexes consisting mixed load of LT category 2 & 3.

System of supply: AC 50 cycles 11000 V and above

A)	Metered Supply:

| Consumption | Energy/Variable Charge (`/kWh) | Fixed/Demand Charge (`/kVA/Month of billing demand) |
| --- | --- | --- |
| All units | 3.40 | 100.00 |

B)	Un-metered Supply:

1)	Energy Charges: Energy bill shall be computed as per Appendix, No.4 (j) of this Tariff Order 2012-13.

2)	Fixed Charges:  ` 100/kVA/Month of Contract Demand

3.	Miscellaneous Charges

(a)	Meter Rent:  Monthly charges for hiring of the meter and indicators where they are the property of Electricity Department, Government of Manipur payable by the consumers shall be as follows:

(i)  	Energy meter for AC single phase LT Supply  : ` 10.00 per meter per Month.

(ii)  Energy meter for AC three phases LT Supply  : ` 20.00 per meter per Month.

400 V between phases (without CT)

(iii) 	Energy meter for AC three phase LT Supply	   : ` 50.00 per meter per Month.

400 V between phases (with CT)

(iv) Energy meter for AC three phase HT supply : ` 500.00 per meter per Month.

(b)	Other charges for meter:

(i) 	Meter shifting charge:

(1)	` 100.00 per shifting if resulted from reconstruction/modification of building and at consumer’s request.

(2)	Free of cost if shifting is done in the interest of work.

(ii) 	The Cost of Replacement: Cost of the energy meter after initial installation   shall normally be borne by the consumers at the following rates:

(1)	Re-installation/Replacement charge by new meter: (exclusive of re-installation of existing meter sent for calibration/test): ` 75.00 each and material cost, if any will be charged extra.

(2)	Cost of Energy Meters supplied by Department:

As per the Department’s purchase rate plus 15% Departmental charge if supplied from the Department (energy meters approved / tested by the Department only shall be used).

Generally, the cost of energy meter for subsequent replacement will be borne by the consumer. However, when the cause leading to subsequent replacement is either manufacturing defect or Department's fault then, it shall be free of cost.

(c)	Charges for testing of Meters at the request of consumers:

(i)	For AC single phase LT energy meter: ` 50.00 per meter per testing.

(ii)	For AC three phase LT energy meter without CT: ` 75.00 per meter per testing.

(iii)	For AC three phase LT energy meter with CT: ` 100.00 per meter per testing.

(iv)	For energy meter AC three phase HT supply: ` 150.00 per meter per testing. In case    the meter installed at the consumer premises is found to be defective from initial installation, testing and replacement of meter will be done free of cost.

(d)	Testing of Consumer’s Installation:

The first test and inspection will be carried out free of cost. Should any further test or inspection is necessitated due to fault in the installation or due to non-compliance with the condition of supply by the consumer an extra charge of ` 100.00 per test, payable in advance, shall be levied. In the event of the consumer failing to pay the testing charge in advance within stipulated time, the Department will be at liberty to disconnect the consumer’s premise from the supplier’s main.

(e)	Disconnection and Reconnection:

Disconnection: Disconnection of an installation in all cases will be free of charges.

Reconnection:

(i) 	For AC single phase LT supply	:  ` 80.00

(ii) 	For AC three phase LT supply	:  ` 150.00

(iii) 	For AC HT supply			:  ` 400.00

(f)	Charges for change of category:

Charges for change of category will be done as stipulated in Joint   Electricity.

Regulatory Commission for Manipur & Mizoram (Electricity supply Code) Regulations 2010, chapter-6 clause-6.1.

(g)	Charges for Replacement of Connection Wire, Cut-out, Fuse, etc.:

Cost of replacement after initial fixation of connection wire, cut-out, fuses, etc. will be borne by the consumers and shall be payable by the consumer in advance as per purchase rate of the Department plus 15% Departmental charges if the Department supplies the materials or the consumer may arrange the required materials as per the required specifications of the Department.

The execution charge shall be as given below:

i) 	Single phase connection	  :  ` 400.00 per connection.

ii) 	LT three phase connection	  : ` 600.00 per connection.

iii) 	HT three phase connection   :  ` 900.00 per 100 meters of the HT line.

(h)	Re-rating of Installation:

Fees for re-rating of the consumer’s installation at the request of the consumer shall be ` 100.00 per connection.

The aforesaid charges do not include the charges payable by the consumer for other works that may be needed due to change of connected load.

(i)	Security Deposit:

Security Deposit against safe custody of supplier’s apparatus for new service connection shall be cost of energy meter and other apparatus of the supplier installed at the premises of the consumer. The cost of energy meter shall not be included in the Security Deposit in case the meter is supplied by the consumer at his own cost. The amount of Security deposit shall normally be the price of the meter and other appliances as fixed by the licensee from time to time.

(j)	Load Security:

The amount of Load security for new service connection will be calculated as per the procedure prescribed in Clause 6.10 of the Joint Electricity Regulatory Commission for Manipur & Mizoram (Electricity Supply Code) Regulations, 2010.

(k)	Charges for Replacement of tamper proof Meter Box:

For AC single phase LT or three phases LT without CT or with CT, the charge will be as per Department purchase rate plus 15% towards Departmental charge in case the energy meter box is replaced from the Department Store.

(l)	Service Lines & Service Connection:

(i)	Type of Service Connection:  Type of service connection and line length for service connection will be as per Joint Electricity Regulatory Commission for Manipur and Mizoram (Electricity Supply Code) Regulations, 2010 chapter-3.

(ii)	Cost of Service Connection: As stipulated in the Joint electricity Regulatory Commission for Manipur and Mizoram (Electricity Supply Code) Regulations 2010 chapter 3 clause 3.5, Appendix, cost of material is to be assessed based on the department purchase rate. If the consumer desires to arrange service connection materials, the Department (not below rank of Junior Engineer concerned) will check all the materials.

(m)	Mutation Fee: Mutation fee i.e. fee for change of name shall be ` 50.00.

(n)	Cost of Application Form: Application and Agreement for supply i.e. Energy Requisition form for supply of energy shall be obtainable on payment of  ` 20.00 at any one of the Divisional Offices of the Department on any working day during Office hours.

4.	Important Conditions of Supply (For all Categories of Consumers)

(a)	Rebate for advance payment: For payment of energy bill in advance, a rebate of 2 p.c. shall be allowed. It will be applicable to all consumers provided with prepaid energy meters.

(b)	Rebate for payment within due date: For payment of energy bill made within due date, Rebate of @ ` 0.05 per unit (will be allowed).

(c)	Payment: Payment against bills in full shall be made by Cash/Treasury Challan /DD/Local Cheque only unless otherwise accepted by the competent authority within the last date for payment. Bank commission/charges, if any should be borne by the consumers.

(d)	Surcharge for late Payment of Bills: If payment is not received within due date surcharge @ 2% at simple interest on the outstanding principal amount for each 30 days successive period or part thereof will be charged, until the amount is paid in full.

(e)	Single Point Delivery: This tariff is based on the supply being given through a single point of delivery and metering at one voltage. Supply at other points at other voltage shall be separately metered and billed for and shall be considered as separate connection.

(f)	Voltages and Frequency: All voltages mentioned in this tariff are only nominal voltages and alternating current (AC) with nominal frequency of 50 Hertz (i.e. 50 cycles per second) and may not be 100 % correct in practical.

(g)	Surcharge for Low Power Factor: Power factor for the Month shall be the ratio of (kWh and KVA) supplied to the consumer during the Month. The power factor of consumer’s installation shall not be less than 90%. If the power factor falls below 90% during any Month, the consumer shall pay surcharge as detailed below:

| Power factor range | Surcharge |
| --- | --- |
| For every 1% fall below 90% | Surcharge at 0.5% on energy charge and demand charges will be levied subject to a maximum of 2.5%. |

Should the power factor drop below 70% and to remain for a period of 2 consecutive Months it must be brought up to 90% within a period of 6 Months by methods approved by the licensee failing which without prejudice to the right of the licensee to collect surcharge and without prejudice to such other rights as having accused to the licensee or any other right of the licensee consumer may be discontinued.  All LT consumers whose connected load include Welding Transformers or induction meters of 3HP and above shall be required to have suitable shunt capacitors installed as per Chapter 4 clause 4.6(1) & (2) of JERC (Electricity Supply Code) Regulations 2010 to ensure power factor is not less than 85%. Failure to install required rated capacitors as indicated in the above regulations or the capacitors installed became defective, surcharge at 25% on the bill amount shall be levied till sound and adequate capacitors are installed. LT consumers who are provided with electronic meters, which can record power factor, will however become under the preview of clause 6 above and power factor surcharge will be levied accordingly.

(h)	Transformation Loss: The consumers getting their supply at HT and metered on the LT side shall be charged an additional 3% over the metered consumption as transformation loss.

(i)	Determination of Un-metered Energy, Fixed/Demand Charges: For the purpose of determination of Un-metered Energy, Fixed/Demand Charges in the monthly billing, the Contract Demand/Connected load shall be rounded to the next higher kVA/kW if the decimal is higher than 0.5 and to the nearest lower kVA/kW if the decimal is lower than 0.5. For consumers having connected load below 0.5 kW except KJ category, the connected shall be rounded off to 0.5 kW.

(j)	Billing for un-metered supply: Billing for un-metered supply shall be computed as per the procedure prescribed in the JERC for M&M (Electricity Supply Code) Regulations, 2010 as below:

(i)	For Regular consumers without Energy meters, energy consumed shall be computed as per Annexure-8, Para-A (1) of JERC for M&M(Electricity Supply Code) Regulations, 2010 and billed at corresponding rate of metered tariff.

(ii)	For defective Energy meters, energy consumed shall be computed as per Regulation No. 9.6 of JERC for M&M (Electricity Supply Code) Regulations, 2010 and billed at corresponding rate of metered tariff.

- For Un-authorized consumer/theft/pilferage, billing shall be made as per Annexure-8 (A), (B) & (C) of JERC for M&M (Electricity Supply Code) Regulations, 2010.

Annexure - I

Annexure - II

ANNEXURE – III

ANNUAL REVENUE REQUIREMENT FOR THE FY-2012-13

(Investment Plan - scheme-wise)

| Sl. No | Name of Scheme/Project | Expdr. During 2010-11 (Actual) | Expdr. During 2011-12)(R.E) | Expdr. During 2012-13 (Projected) |
| --- | --- | --- | --- | --- |
| 0 | 1 | 9 | 11 | 14 |
| I. | Generation |  |  |  |
| A | Hydro(Normal Plan) |  |  |  |
| A.1 | Ongoing |  |  |  |
| 1 | Loktak Down Stream Hydro Electric Project(2x33 MW) | 100.00 | 500.00 | 700.00 |
| 2 | Tipaimukh HE Project |  | 1.00 | 1.00 |
|  | Sub-Total : A.1 Ongoing | 1000.00 | 501.00 | 701.00 |
| A.2 | Hydro(Normal Plan)(New) |  |  |  |
| 1 | Irang Hydro Electric Project(60 MW) |  |  |  |
| 2 | Tuivai Hydro Electric Project(51 MW) |  |  |  |
| 3 | Nungleiband Hydro Electric Project(2x52.5 MW) |  |  |  |
|  | Sub-Total : A 2 New | 0 | 0 | 0 |
|  | Total: A Hydro | 1000.00 | 501.00 | 701.00 |
| B | Diesel/Thermal |  |  |  |
| II | Transmission & Distribution |  |  |  |
| A | 400 / 220 KV system |  |  |  |
| 1 | Erection of 220 KV D/C line from Dimapur to IMP and costn. Of 220/132 KV S/S at IMP |  |  |  |
| 2 | Equity participation at the North East Transmission Company for construction of Palatana – Silchar – Bongaigaon 400 KV D/C line | 94.00 |  | 375.00 |
|  | Sub-Total : A | 94.00 | 0.00 | 375.00 |
| B | 132 KV system |  |  |  |
| B.1 | 132 KV System(Ongoing) |  |  |  |
| 1 | Installation of line bay equipment at 132 KV terminals at Churachanpur and Kakching 132/33 KV sub-stations | 81.93 | 1.00 | 40.00 |
| 2 | Installation of 132 KV S/S at Jiribam with line | 64.40 | 30.00 | 30.00 |
| 3 | Augmentation 132/33 KV S/S at Churachanpur S/S | 52.84 | 21.73 | 1.00 |
| 4 | Augmentation 132/33 KV S/S at Karong S/S | 11.47 | 10.00 | 30.00 |
| 5 | Do at Ningthoukhong S/S | 10.17 | 5.00 | 0.00 |
| 6 | String of 2nd Circuit 132 KV line on the existing Double Circuit tower from Ningthoukhong- CCpur line | 97.97 | 5.00 | 100.00 |
| 7 | Construction of 132 KV S/C line Yurembam to Yaingpokpi | 64.40 | 70.00 | 50.00 |
| 8 | Installation of 132/33 KV S/S at Kongba(NEC support) | 200.55 | 40.00 | 100.00 |
| 9 | Installation of 132/33 KV S/S at Ukhrul & its associated line | 90.87 | 1.00 | 56.00 |
| 10 | Re-stringing of 132 KV line from Loktak to Jiribam | 245.41 | 100.00 | 75.00 |
| 11 | Installation of 132/33 KV S/S at Rengpang(NLCPR Support) | 251.17 | 60.00 | 20.00 |
| 12 | Augmentation of Ningthoukhong 132/33 S/S |  |  | 300.00 |
| 13 | Augmentation 132/33 S/S at Kakching(2nd Phase) |  |  | 0.00 |
| 14 | Renovation & Modernisation of 132/33 KV sub-station at Yurembam | 5.01 | 1.00 | 20.00 |
| 15 | 132 KV line(2nd circuit) from Yaingangpokpi to Kakching Via Kongba | 7.11 | 5.00 | 40.00 |
| 16 | Installation S/S at Chandel with associated 132 KV line(NLCPR Support) | 12.2.35 | 195.00 | 100.00 |
| 17 | 132 KV line(2nd circuit) from kakching to Churachanpur | 30.20 | 5.00 | 40.00 |
| 18 | UCPTT & Others | 919.50 | 1713.62 | 1500.00 |
| 19 | Providing of 132 KV Energy meter |  | 5.00 | 50.00 |
| 20 | Augmentation of 132/33 KV S/S at Yangangpokpi by installing additional 12.5 MVA transformer |  | 143.00 | 250.00 |
| 21 | Augmentation of 132/33 KV S/S at Rengpang by installing additional 12.5 MVA transformer |  | 10.00 | 1.00 |
| 4 | Renovation & modernization of two nos of 132/33 KV s/S at Yaingangpokpi & ningthoukhong |  |  | 5.00 |
|  | Total : B. 1 | 3335.35 | 2421.35 | 2808.00 |
|  | Total : B (B.1 + B.2) | 3335.35 | 2421.35 | 2808.00 |
| C | 33 KV System |  |  |  |
| C.1 | Ongoing Scheme |  |  |  |
| 1 | 33 KV Sub-Transmission system |  |  |  |
| 2 | Renovation of 33/11 KV S/S at Khoupum | 31.28 | 5.00 | 10.00 |
| 3 | Augmentation of existing 33/11 KV Sub-stations at Yurembam, Mongsangei, Kongba, Keisampat, Lamphel, Iroisemba and Nilakuthi by installing 2x10 MVA(14 nos) | 162.37 | 150.00 | 150.00 |
| 4 | Upgradation of the installed capacities of 33/11 KV and Distribution S Ss | 160.95 | 550.00 | 600.00 |
| 5 | Construction of 33 KV D/C line from Leimakhong to Iroisemba(NLCPR support) | 47.72 | 1.00 | 20.00 |
| 6 | Construction of 33 KV D/C line from Mongsangei to Khumanlampak via Kongba9NLCPR support) | 47.09 | 50.00 | 200.00 |
| 7 | 33 KV S/S at Moreh |  |  |  |
| 8 | Installation of 33 KV S/S at Shivapurikhan(NLCPR support) | 98.64 | 30.00 | 30.00 |
| 9 | Installation of 33 KV S/S at Singat(NLCPR support) | 53.46 | 30.00 | 50.00 |
| 10 | Installation of 33 KV S/S at Tousem(NLCPR support) | 49.14 | 90.00 | 50.00 |
| 11 | Installation of 33 KV S/S at Tamei(NLCPR support) | 24.12 | 20.00 | 50.00 |
| 12 | Installation of 33 KV S/S at Namare, Thinkew, Thanlon & Lakhamai (NLCPR support) | 255.69 | 5.00 | 50.00 |
| 13 | Installation of 33 KV S/S at Kangla | 20.00 | 1.00 | 5.00 |
| 14 | Installation of 33/11 KV S/S at Kakwa | 154.86 | 300.00 | 200.00 |
| 15 | Installation of 33/11 KV S/S at Henglep | 299.87 | 100.00 | 100.00 |
| 16 | Installation of 33/11 KV S/S at Chakpikarong | 334.83 | 100.00 | 100.00 |
| 17 | Installation of 33/11 KV(2x10 MVA) S/S at Mantripukhri | 100.00 | 300.00 | 200.00 |
| 18 | Installation of 33/11 KV(2x5 MVA) S/S at New Lamka CCpur | 66.44 | 90.00 | 30.00 |
| 19 | Installation of 33/11 KV(2x5 MVA) S/S at Chingaren | 100.00 | 173.00 | 150.00 |
| 20 | Installation of 33 KV S/S at Willong(NLCPR) | 289.17 | 100.00 | 75.00 |
| 21 | Augmentation of existing 33/11 KV Sub-stations at Thobal & Kakching by installing one addl. 5 MVA tansformer at each S/S | 30.95 | 1.00 | 10.00 |
| 22 | Strengthening of 33 KV transmission line from Nilakuthi to Kangpokpi via Leimakhong | 372.34 | 1.00 | 1.00 |
| 23 | Installation of 33/11 KV S/S at Pisum |  |  | 1.00 |
| 24 | Installation of 33/11 KV(2x1 MVA) S/S at Oinamlong |  | 146.00 | 150.00 |
| 25 | Installation of 33/11 KV(2x1 MVA) S/S at Gelnel |  | 1.00 | 1.00 |
| 26 | Installation of 33/11 KV(2x1 MVA) S/S at Sagolmang | 298.13 | 100.00 | 100.00 |
| 27 | Installation of 33/11 KV(2x1 MVA) S/S at Sekmaijin | 300.28 | 100.00 | 100.00 |
| 28 | Installation of 33/11 KV(2x1 MVA) S/S at Ukhrul Khunjao | 301.92 | 100.00 | 100.00 |
| 29 | Strengthenening of 33 KV transmission line from Yurembam to Mayang Imphal and Mayang Imphal to Kakching | 101.74 | 1.00 | 1.00 |
| 30 | Construction of 33/11 KV s/Ss under APDRP and RGGVY: Land acquisitions of the sub-stations at Yairipok, Wangkhei and Machi, Joupi, Phungyar, Kasomkhullen, Gamphajol, Sangaikot, Wangoo, Lilong, Keirao bitra and lamsang under RGG | 40.00 | 1.00 | 5.00 |
| 31 | Installation of 33/11 KV S/S at Yairipok9Andro) |  | 1.00 | 1.00 |
| 32 | Installation of 33/11 KV(2x1 MVA) S/S at Hiyangangthang |  | 1.00 | 1.00 |
| 33 | Installation of 33/11 KV(2x5 MVA) S/S at Chandel |  | 1.00 | 50.00 |
| 34 | Re-stringing & strengthening of 33 KV line from Yaingangpokpi to Hundung via Litan(32 km.) | 134.67 | 1.00 | 1.00 |
| 35 | Do from9i) Kakching to New Chayang918.4 KM) and (ii) Moirang to Moirang khunou(6.5 KM) | 148.83 | 1.00 | 1.00 |
| 36 | Re-stringing & strengthening of 33 KV line lines |  | 1.00 | 300.00 |
| 37 | Construction of Line bays, equipment foundation and civil works for machi and Joupi 33/11 KV sub-stations | 100.00 | 1.00 | 20.00 |
| 38 | Installation of 33/11 KV S/S at Jessami with associated 33 KV line | 819.69 | 320.00 | 150.0 |
| 39 | Installation of 33/11 KV S/S at Sinjol with associated 33 KV line | 150.00 | 100.00 | 150.00 |
| 40 | Installation of 33/11 KV S/S at Mao with associated 33 KV line | 10.00 | 1.00 | 30.00 |
| 41 | Re-stringing & strengthening of 33 KV line from Moirang to Churachanpur(19.43 km.) | 50.00 | 1.00 | 10.00 |
| 42 | Re-stringing & strengthening of 33 KV line from Irosiemba to Lamphel(5.2 km.) | 40.00 | 1.00 | 10.00 |
| 43 | Re-stringing & strengthening of 33 KV line from utlou to Ningtoukhong(20.30 km.) | 40.00 | 70.00 | 70.00 |
| 44 | Re-stringing & strengthening of 33 KV line from Kongba to Thobal(15 km.) | 40.00 | 160.00 | 1.00 |
| 45 | Re-stringing & strengthening of 33 KV line from Yaingangpokpi to Khumanlampak via napetpai(21.8 km.) |  | 163.00 | 1.00 |
| 46 | Re-stringing & strengthening of 33 KV line from Kakching to Thobal via Wangjing. |  | 200.00 | 50.00 |
| 47 | Re-stringing & strengthening of 33 KV line from Ningthoukhong to Moirang |  | 150.00 | 15 |
| 48 | Providing of 33 KV, 11 KV feeders and consumer meters. |  | 15.00 | 50.00 |
| 49 | Installation of 33/11 KV(2x1 MVA) S/S at Nungbi Khullen with associated 33 KV line |  | 5.00 | 1.00 |
| 50 | Installation of 33/11 KV(2x5 MVA) S/S at JNIMS with associated 33 KV line |  | 150.00 | 200.00 |
| 51 | Installation of 33/11 KV(2x1 MVA) S/S at Gumnom with associated 33 KV line |  | 1.00 | 1.00 |
| 52 | Installation of 33/11 KV(2x5 MVA) S/S at capitol Project with associated 33 KV line |  | 1.00 | 150.00 |
| 53 | Erection of 33 KV feeders from Yurembam POWERGRID S/S |  | 1.00 | 1.00 |
| 54 | Installation of 33/11 KV S/S at Thobal Leishangthem with associated 33 KV line |  | 50.00 | 42.00 |
|  | Total : C.1 | 5274.18 | 3942.00 | 3845.00 |
|  | Total : C (C. 1 + C.2) | 5274.18 | 3942.00 | 3845.00 |
| D | 11 KV & below system Improvement |  |  |  |
| 1 | Improvement of Distribution System of Greater Imphal | 603.39 | 863.00 | 650.00 |
| 2 | Improvement of Distribution System of other towns and district head quarters of hill districts | 553.08 | 800.65 | 650.00 |
| 3 | Power supply improvement of District Hospital | 8.71 | 1.00 | 1.00 |
| 4 | Completion of ongoing APDRP scheme(greater Imphal Phase-I) |  |  | 450.00 |
| 5 | Providing of dedicated power supply for regular water supply in Imphal areas | 96.10 | 100.00 | 5.00 |
| 6 | Erection of 11 KV dedicated line from Khuman Lampak to Sainik school, Pangei | 11.69 | 1.00 | 10.00 |
| 7 | Providing of dedicated 11 KV line from karong to Senapati |  | 1.00 | 1.00 |
| 8 | Providing of dedicated 11 KV line from New Lamka to Khunga dam site | 30.00 | 25.00 | 25.00 |
| 9 | Providing of pre-paid energy meters in Imphal areas |  | 1900.00 | 500.00 |
| 10 | Shifting of 11 KV line for widening of road |  | 285.00 | 100.00 |
| 11 | Erection of 11 KV dedicated line for Waithou water supply |  | 50.00 | 50.00 |
| 12 | Providing of pre-paid energy meter at greater Imphal areas(Phase-II) |  |  | 0.00 |
| 13 | Replacement of Electro-Mechanical meters with static energy meters |  |  | 700.00 |
|  | Total : D (11 KV & below system Improvement) | 1302.97 | 4026.65 | 3142.00 |
| E | APDRP / R-APDRP |  |  |  |
| 1 | Installation of Electronic Energy meters at Distribution S/Ss9Phase-I) |  |  |  |
| 2 | System Impvt. Of Greater Imphal(Phase-I) |  |  |  |
| 3 | System Impvt. Of other towns |  |  |  |
| i) | At Thoubal |  |  |  |
| ii) | At Churachanpur |  |  |  |
| iii) | At Bishnupur |  |  |  |
| 2 | System Impvt. Of greater Imphal(Phase-II) |  |  |  |
|  | Total : E ( APDRP / R-APDRP) | 0.00 | 0.00 | 0.00 |
|  | Total : T & D (III) = A+B+C+D+E | 10006.50 | 10390 | 10170 |
| III | Rural Electrification |  |  |  |
| A | Rural Electrification(Normal Plan) |  |  |  |
| 1 | Electrification of Border Area/ Virgin villages under state Plan |  |  |  |
| 2 | Electrification of 10 Tribal villages(left out) of Tousem Sub-Division |  |  | 50.00 |
| 3 | Electrification of 12 Tribal Villages(left out) of Nungba Sub-Division |  |  | 50.00 |
|  | Total : A | 0.00 | 0.00 | 0.00 |
| B | Rural Electrification(REC Loan) |  |  |  |
|  | Ongoing Scheme |  |  |  |
| 1 | Rural Electrification |  |  |  |
| 2 | Matching fund for RGGVY scheme | 700.00 | 998.00 | 1000.00 |
|  | Total : B | 700.00 | 998.00 | 1000.00 |
| C | RGGVY |  |  |  |
| 1 | Rural Infrastructure works for Chandel District |  |  |  |
| 2 | Rural Infrastructure works for Ukhrul District |  |  |  |
| 3 | Rural Infrastructure works for Tamenglong District |  |  |  |
| 4 | Rural Infrastructure works for Senapati District |  |  |  |
| 5 | Rural Infrastructure works for Churachanpur District |  |  |  |
| 6 | Rural Infrastructure works for Imphal East District |  |  |  |
| 7 | Rural Infrastructure works for Imphal West District |  |  |  |
| 8 | Rural Infrastructure works for Bishnupur District |  |  |  |
| 9 | Rural Infrastructure works for Thoubal District |  |  |  |
|  | Sub- Total | 0.00 | 0.00 | 0.00 |
| 10 | State’s matching share of the above schemes |  |  |  |
|  | Total : C | 0.00 | 0.00 | 0.00 |
|  | Total : Rural electrification III = (A+B+C) | 700.00 | 998.00 | 1100.00 |
| IV | Misc. scheme |  |  |  |
| A. | Survey & Investigation |  |  |  |
| 1 | Survey & Investigation of Mini/Micro/Small/Medium hydel sites of Manipur |  |  |  |
| 2 | Hydel Investigation of Irang | 29.80 | 25.00 | 20.00 |
| 3 | Hydel Investigation of Nungleiband | 9.14 | 5.00 | 5.00 |
| 4 | Hydel Investigation of maklang Tuyungbi | 8.82 | 5.00 | 5.00 |
| 5 | Hydel Investigation of Tuivai | 21.27 | 20.00 | 15.00 |
|  | Sub-Total : A | 69.03 | 55.00 | 45.00 |
| B. | Other Schemes |  |  |  |
|  | Ongoing Scheme |  |  |  |
| 1 | Construction of Administrative Building | 258.89 | 200.00 | 200.00 |
| 2 | Construction of Divisional & Sub- Divisional office buildings, quarters, complain rooms, etc. | 199.00 | 360.00 | 300.00 |
| 3 | Equipment for MRT laboratory | 11.00 | 1.00 | 5.00 |
| 4 | Establishment of wireless commntn(SLDC)/Information Technology(IT) | 20.00 | 1.00 | 50.00 |
| 5 | Training | 0.00 | 0.00 | 0.00 |
| 6 | Installation of computer / Computerisation | 0.00 | 0.00 | 0.00 |
| 7 | Energy Conservation/ Awareness programme | 0.00 | 0.00 | 0.00 |
| 8 | Meetings and seminars | 0.00 | 0.00 | 0.00 |
| 9 | Purchase odf vehicle | 36.65 | 5.00 | 10.00 |
| 10 | Lineman Training Centre | 3.86 | 10.00 | 15.00 |
| 11 | Transformer Repairing workshop | 10.00 | 5.00 | 50.00 |
| 12 | JERC tariff Petition | 0.00 | 0.00 | 0.00 |
| 13 | Computerised billing | 550.00 | 1.00 | 20.00 |
| 14 | Consultancy fee for corporatization |  |  |  |
|  | Total : B | 1089.40 | 584.00 | 950.00 |
|  | Total : Misc. scheme = IV | 1158.43 | 639.00 | 995.00 |
|  | Total: Power(State Plan) = (I+II+III+IV) | 12, 864.93 | 12, 528 | 12, 966 |
|  | SPA, SPA/RP * SCA |  |  |  |
| 1 | Construction of 132 KV S/C 132 KV line from Yurembam to Yaingangpkpi | 1050.01 |  |  |
| 2 | Renovation & modernization of 132/33 KV Sub-station at Yurembam | 133.00 |  |  |
| 3 | Installation of 132/33 KV S/S at Ukhrul & its associated line | 1500.00 | 1100.00 | 500.00 |
| 4 | Completion of ongoing APDPR scheme(Greater Imphal Phase-I) | 2700.00 | 2585.00 |  |
| 5 | Upgradation of 132 KV S/S at Karong |  |  |  |
| 6 | Installation of 33/11 KV S/S at Thoubal Leishangthem with associated 33 KV line |  |  | 375 |
| 7 | Upgradation of the Installed of 33/11 KV S/S at Thoubal Leishangthem capacities of 33/11 KV and Distribution S/Ss |  |  |  |
| 8 | Upgradation of existing capacity of transformer, purchase of equipment, construction of sub-stations and procurement of conductors, etc. |  |  |  |
| 9 | Erection of 33 KV feeders from Yurembam POWERGRID sub-station |  | 460.00 | 0.00 |
|  | Total : SPA & SPA/ RP | 5383.01 | 4145.00 | 875.00 |
|  | RGGVY schemes and others | 7524.51 | 4661.00 | 4559.00 |
|  | Grand Total | 25772.45 | 21334.00 | 18400.00 |

# Annexure-IV

LIST OF PERSONS WHO PARTICIPATED IN THE PUBLIC HEARING

ON ARR & TARIFF PRPOSAL FOR FY 2012-2013

| Sl. No. | Name | Designation |
| --- | --- | --- |
| 1. | Th. Ngouba Singh | Chief Trustee, Leiyaibi Memorial Trust |
| 2. | T. Rameshwor Singh | Advisor, Leiyaibi Memorial Trust |
| 3. | Ch. Gyaneshor | Secretary, Radiance Socio Economic Organisation |
| 4. | Nizamuddin Shah | Secretary, CAPARV |
| 5. | Salam Chingtham | General Secretary, Manipur Industries Union |
| 6. | U. Himmat | Green Foundation |
| 7. | Kh. Budha Singh | Ex-Member, Bishnupur District Rural Social Welfare Society |
| 8. | P. Arunkumar Singh | President, Consumers’ Club Manipur |
| 9. | N. Purnachandra Meitei | Secretary, Consumers’ Club Manipur |
| 10. | K. Jila Singh | EE(Electrical)/Imphal, Power Department |
| 11. | R.K. Priyobrata | EE, Inspectorate |
| 12. | L. Sadananda Singh | General Secretary, SCS, Manipur |
| 13. | N. Benoy Singh | President, Senior Citizens for Society, Manipur |
| 14. | E. Dolendro Singh | Advisor, AMPCA |
| 15. | Mc. Somendro | Jt. Secretary, AMPCA |
| 16. | K. Sanatomba | General Secretary, AMPCA |
| 17. | S. Chaoba Singh | President, AMPCA |
| 18. | W. Amusana Devi | General Secretary, ETMCT |
| 19. | E. Sobha Singh | Chairman, ETMCT |
| 20. | S. Joykumar Sharma | S.E. (HIG), Electricity Department |
| 21. | L. Ratan Kumar | Member, ASDO |
| 22. | Manindra Konsam | Member, ASDO |
| 23. | R.K. Leklen Singh | Member, ASDO |
| 24. | Y. Soni | S.O., Electricity Department |
| 25. | Kh. Khamba Singh | SE/EC – I |

| Sl. No. | Name | Designation |
| --- | --- | --- |
| 26. | S. Siddharth Mehta | Consultant – Medhay Techno Concept, Electricity Department |
| 27. | Th. Aton Singh | S.E. Commercial |
| 28. | Yumnam Deben Singh | AE/Inspectorate – II |
| 29. | Y. Satyanarayana | Consultant, ASCI, Hydrabad |
| 30. | H. Thanthianga | AC(E), JERC |
| 31. | Richard Zothankima | Assistant Secretary, JERC |
| 32. | Dr. M. Binota | Associate Professor, Imphal College |
| 33. | Y. Nikum | AMWJU |
| 34. | P. Phajabi Devi | Resource Scholar |
| 35. | S. Kajal | Research, Scholar |
| 36. | N. Sunita Devi | Research, Scholar |
| 37. | A.K. Sanatomba | Representative, MESDO |

|  |  |  |  |  |  |  |  |  | ANNEXTURE - II |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Manipur - Expected Revenue from Energy Sale within the state with Approved Tariff of FY2012-13 |
| Sl. No. | Category | Consumers | Connected Load | Sales | Fixed Charges | Energy Charge | Total Fixed Charges | Total Energy Charges | Total Charges | Average realisation(Rs/Kwh) |
|  |  |  | (in kW) | (in MU) | (Rs./kW | (Rs./kWh) | (Rs. Lakh) | (Rs. Lakh) | (Rs. Lakh) |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = (3*6*12) | 9 = 5*7*10.0 | 10 = 8+9 | 11 = (10/5)/10.0 |
|  |  |  |  |  |  |  | 100000 |  |  |  |
| 1 | Domestic |  |  |  |  |  |  |  |  |  |
| 1) | Kutir Jyoti |  |  |  |  |  |  |  |  |  |
| i) | 1 - 15 | 4400 | 500 | 0.80 | 20 per connection | 1.00 | 10.56 | 8.00 | 18.56 | 2.32 |
| iii) | > 15 | 100 | 1000 | 0.20 | 20 per connection | 1.50 | 0.24 | 3.00 | 3.24 | 1.62 |
|  | Sub Total | 4500 | 1500 | 1.00 |  |  | 10.80 | 11.00 | 21.80 | 2.18 |
| 2) | Normal Domestic |  |  |  |  |  |  |  |  |  |
| a) | LT |  |  |  |  |  |  |  |  |  |
| i) | 1 - 100 | 150000 | 135000 | 69.00 | 60 | 2.40 | 972.00 | 1656.00 | 2628.00 | 3.81 |
| ii) | 1 - 200 | 50000 | 125000 | 70.00 | 60 | 3.00 | 900.00 | 2100.00 | 3000.00 | 4.29 |
| iv) | > 200 | 30500 | 91000 | 80.00 | 60 | 3.60 | 655.20 | 2880.00 | 3535.20 | 4.42 |
|  | Sub Total LT | 230500 | 351000 | 219.00 |  |  | 2527.20 | 6636.00 | 9163.20 | 4.18 |
|  | Total Domestic | 235000 | 352500 | 220.00 |  |  | 2538.00 | 6647.00 | 9185.00 | 4.18 |
| 2 | Commercial |  |  |  |  |  |  |  |  |  |
| a) | LT |  |  |  |  |  |  |  |  |  |
| i) | 1 - 100 | 6000 | 6000 | 7.00 | 80 | 3.30 | 57.60 | 231.00 | 288.60 | 4.12 |
| ii) | 1- 200 | 3500 | 10500 | 8.00 | 80 | 3.90 | 100.80 | 312.00 | 412.80 | 5.16 |
| iii) | > 200 | 1500 | 16500 | 21.00 | 80 | 4.40 | 158.40 | 924.00 | 1082.40 | 5.15 |
|  | Sub Total LT | 11000 | 33000 | 36.00 |  |  | 316.80 | 1467.00 | 1783.80 | 4.96 |
| b) | Commercial HT |  |  |  | 100 | 4.00 | 0.00 | 0.00 | 0.00 |  |
|  | Total Commercial | 11000 | 33000 | 36.00 |  |  | 316.80 | 1467.00 | 1783.80 | 4.96 |
| 3 | Public Lighting | 750 | 3750 | 7.00 | 60 | 4.30 | 27.00 | 301.00 | 328.00 | 4.69 |
| 4 | Public Water Works |  |  |  |  |  |  |  |  |  |
| a) | PWW LT | 100 | 1500 | 8.00 | 100 | 4.30 | 18.00 | 344.00 | 362.00 | 4.53 |
| b) | PWW HT | 65 | 6750 | 15.00 | 100 | 4.00 | 81.00 | 600.00 | 681.00 | 4.54 |
|  | Total PWWs | 165 | 8250 | 23.00 |  |  | 99.00 | 944.00 | 1043.00 | 4.53 |
| 5 | Irrigation & Agri |  |  |  |  |  |  |  |  |  |
| a) | Irr. & Agl LT | 40 | 200 | 0.80 | 60 | 2.50 | 1.44 | 20.00 | 21.44 | 2.68 |
| b) | Irr.&Agl HT | 26 | 605 | 0.20 | 100 | 2.50 | 7.26 | 5.00 | 12.26 | 6.13 |
|  | Total Irr.& Agri | 66 | 805 | 1.00 |  |  | 8.70 | 25.00 | 33.70 | 3.37 |
| 6 | Industrial |  |  |  |  |  |  |  |  |  |
| a) | Cottage & Small LT | 2000 | 10000 | 16.00 | 60 | 2.50 | 72.00 | 400.00 | 472.00 | 2.95 |
| b) | Medium HT | 450 | 13500 | 4.00 | 100 | 3.30 | 162.00 | 132.00 | 294.00 | 7.35 |
| c) | Large HT | 21 | 7337 | 6.00 | 100 | 3.80 | 88.04 | 228.00 | 316.04 | 5.27 |
|  | Total Industrial | 2471 | 30837 | 26.00 |  |  | 322.04 | 760.00 | 1082.04 | 4.16 |
| 7 | Bulk Supply HT | 533 | 42834 | 76.00 | 100 | 3.40 | 514.01 | 2584.00 | 3098.01 | 4.08 |
| 8 | Temporary Supply | 80 | 800 | 1.00 | 80 | 4.30 | 7.68 | 43.00 | 50.68 | 5.07 |
|  | Grand Total | 250065 | 472776 | 390.00 |  |  | 3833.23 | 12771.00 | 16604.23 | 4.26 |