JOINT ELECTRICITY REGULATORY COMMISSION

FOR MANIPUR AND MIZORAM

## AIZAWL : MIZORAM

TBL Bhawan, 2nd –5th Floor,

E-18, Peter Street, Khatla,

Aizawl, Mizoram - 796001

Fax: 0389-2336299/2335523

Tel. No. : 0389-2335625/2336555

Website: www.jerc.mizoram.gov.in

Email: jerc.mm@gmail.com

No. H. 11019/14/09-JERC 	                      Dated Aizawl, the 2nd July, 2014.

N O T I F I C A T I O N

In exercise of the powers conferred under Section 181 of the Electricity Act, 2003 and all other powers enabling it in this behalf, the Joint Electricity Regulatory Commission for Manipur and Mizoram makes the following Regulations to amend the Joint Electricity Regulatory Commission for Manipur and Mizoram (Grid Code) Regulations, 2010, hereinafter referred to as “the Principal Regulations” namely:

1.	Short title and commencement

(1)	These Regulations may be called the Joint Electricity Regulatory Commission for Manipur and Mizoram (Grid Code) (First Amendment) Regulations, 2014.

(2)	These Regulations shall extend to the whole States of Manipur and Mizoram and shall apply in relation to all matters falling within the jurisdiction of the Commission.

(3)  	These Regulations shall come into force from the date of their notifications in the Official Gazette of the concerned States.

2. 	Amendment in Regulation 2 of Principal Regulations:

The sub-regulations (xxxv), (xxxxiii) and (xxxxxvi) of Regulation 2 shall be substituted respectively with the following:

(xxxv)	“Extra High Voltage (EHV)” or “Extra High Tension (EHT)” means the voltage, which exceeds 33,000 volts under normal conditions subject to the percentage variation allowed by the Central Electricity Regulatory Commission.

(xxxxiii) “High Voltage (HV)” or “High Tension (HT)” means the voltage, higher than 440 volts, but which does not  exceeds 33,000 volts, under normal conditions subject to the percentage variation allowed by the Central Electricity Regulatory Commission.

(xxxxxvi) “Low Voltage (LV)” or “Low Tension (LT)” means the voltage, which does not exceeds 230 volts at single phase and 440 volts at three phase under normal conditions subjects, however, to the percentage variation allowed by the Central Electricity Regulatory Commission.

3.	Amendment in Regulation 5 of Principal Regulations:

The sub-regulation (3) of Regulation 5: Grid Code Regulations is applicable for system dealing with voltage of 33 kV and above shall be substituted with the following:

(3)	Grid Code Regulations is applicable for system dealing with voltage above 33 kV.

By Order of the Commission

Note:	The Principal Regulations were notified in the Manipur Gazette Extraordinary, issue No. 202 dt. 16.7.2010 and in the Mizoram Gazette Extraordinary, Vol-XXXIX, issue No. 240 dt. 12.7.2010.

Memo No. H. 11019/14/09-JERC 	         :               Dated Aizawl, the 7th July, 2014.

Copy to:

1.	Commissioner (Power), Government of Manipur for kind information.

2.	Commissioner & Secretary, Power & Electricity Department, Government of Manipur for kind information.

3.	The Engineer-in-Chief, Power and Electricity Department, Government of Mizoram for kind information and necessary action.

4.	The Managing Director, Manipur State Power Company Limited for kind information and necessary action.

5.	The Managing Director, Manipur State Power Distribution Company Limited for kind information and necessary action.

6.	The Director / Controller, Printing and Stationery Department, Government of Manipur/ Mizoram along with 6 (six) copies of the Notification for kind publication in the official gazette extraordinary of Manipur/ Mizoram. He is requested to supply 200 (two hundred) copies of the Manipur/ Mizoram Gazette in which the Notification is published along with the bill for payment.

7.	Guard File.