CONTENTS

Commission’s Order………………………………………………………………………………………………………..  1

1.	Introduction	7

1.1	JERC for Manipur and Mizoram (JERC, M&M)	7

1.2       Manipur State Power Distribution Company Ltd (MSPDCL)	9

2.	Summary of Revised ARR and Tariff Petition	11

2.1	Revised Aggregate Revenue Requirement (ARR)	11

2.2	Tariffs	11

3.	Power Sector in Manipur- An Overview	13

3.1	Geographical Reality	13

3.2	Power Supply	13

3.3	Transmission and Distribution	15

3.4	Distribution Loss	16

3.5	Consumer Profile	16

3.6	Demand	16

3.7	Energy Audit	17

3.8	Energy Metering	17

3.9	Continuity of Power Supply	17

4.	Public Hearing Process	18

5.	True up of ARR for FY 2014-15	22

5.1	Background	22

5.2	Energy sales	22

5.3	Distribution loss	23

5.4	Energy Requirement	24

5.5	Energy availability	24

5.5.1	Own generation	24

5.5.2	Power Purchase from CGS	24

5.6	Energy balance	25

5.7	Power purchase cost	26

5.8	Fuel cost	27

5.9	Transmission cost	27

5.10	O&M expenses	27

5.10.1   Employee cost	27

5.10.2   R&M expenses	28

5.10.3   Administrative and General expenses	28

5.11      Capital investment	28

5.12	Gross Fixed Assets and Depreciation	29

5.13	Interest and Finance charges	29

5.14	Interest and Working Capital	29

5.15	Provision for bad debts	30

5.16	Return on equity	30

5.17	Non tariff income	30

5.18	Revenue from energy sales for FY 2014-15	30

5.19	Aggregate Revenue Requirement	31

5.20	Revenue Gap	32

6.   True up of ARR for FY 2015-16	33

6.1 	Back ground	33

6.2 	True up of petition for FY 2015-16	33

6.3          Energy Sales	33

6.4 	Distribution Loss	34

6.5 	Energy Requirement	35

6.6  	Source of power	36

6.6.1      Own Generation	36

6.6.2      Power purchase from CGSs	36

6.7 	Energy  Balance	39

6.8         Fuel Cost	40

6.9         Power Purchase cost	41

6.10      Transmission  Charges	42

6.11      O&M Expenses	43

6.12      Depreciation	43

6.13       Interest and Finance Charges	44

6.14       Interest on Working Capital	44

6.15       Provision for bad debits	45

6.16	Return on Equity	46

6.17       Non Tariff Income	46

6.18       Aggregate Revenue Requirement	46

6.19       Revenue from Existing Tariff	47

6.20      Revenue Gap	47

7. Annual Performance Review for FY 2016-17	49

7.1         Back Ground	49

7.2	Energy Sales	49

7.3	Distribution Loss	52

7.4	Energy Requirement	53

7.5	Energy Availability and Source of Power	53

7.5.1     Own Generation	53

7.5.2	Power Purchase from central generating stations	54

7.6	Energy Balance	57

7.7	Power Purchase Cost	58

7.8	Transmission Charges	61

7.9	Employee Cost	61

7.10	R&M Expenses	62

7.11	Administration and General Expenses	62

7.12	Depreciation	63

7.13	Interest and Finance Charges	63

7.14	Interest on Working Capital	63

7.15	Provision for bad debts	64

7.16	Return on Equity	64

7.17	Non-Tariff Income	64

7.18	Aggregate Revenue Requirement	65

7.19	Revenue from approved Tariff for FY 2016-17	65

7.20	Revenue Gap	66

7.21	Government subsidy	67

8	Analysis of Revised Aggregate Revenue Requirement for FY 2017-18	68

8.1        Energy Sales	68

8.2       Consumer Categories	68

8.3       Growth of Consumers and Connected Load	68

8.4       Overall Approach to Sales Projection	69

8.5      Commission’s Analysis of Energy Sales Projection	73

8.6       Category wise Energy Sales Approved	74

8.7      T&D Losses	75

8.8      Energy Requirement	77

8.9      Energy Availability and Sources of Power	78

8.10	Energy Balance	2

8.11	Revenue Requirement for FY 2017-18	2

8.12	Fuel Cost	3

8.13	Power Purchase Cost	3

8.14	Transmission Charges	9

8.15	Operation and Maintenance Expenses	9

8.16	Capital Expenditure Plan for FY 2017-18	12

8.17	Gross Fixed Assets	84

8.18	Depreciation	84

8.19	Interest and Finance Charges	86

8.20	Interest on Working Capital	87

8.21	Provision for Bad Debts	88

8.22	Return on Equity	88

8.23	Income Tax	89

8.24	Non-Tariff Income	89

8.25	Aggregate Revenue Requirement	90

8.26	Expected Revenue from Existing Tariff	91

8.27	Revenue Gap for FY 2017-18 with existing tariff	93

8.28	Revenue from Revised Tariff for FY 2017-18	93

8.29	Government Subsidy	94

9	Tariff Principles and Design	95

9.1          Background	95

9.2	Tariffs Proposed by the MSPDCL and Approved by the Commission	97

10	Wheeling Charges for FY 2017-18	101

10.1            Background	101

10.2.1	ARR for wheeling business	101

10.2.2	Wheeling Tariff	102

11	Directives	103

11.1	General	103

12	Fuel and Power Purchase Cost Adjustment	118

12.1	Background	118

TARIFF SCHEDULE	12123

LIST OF TABLES

Table 2.1: Revised Aggregate Revenue Requirement for FY 2017-18	11

Table 2.2:  Existing and Proposed Tariff Structure for FY 2017-18	11

Table 3.1: Own generation	13

Table 3.2: Energy Allocation from Central Generating Stations (CGS)	14

Table 3.3: Energy Drawls from Central Generating Stations & Tripura	14

Table 3.4: Distribution Network as on 31.3.2016	16

Table 3.5: Number of consumers and energy sales of MSPDCL for FY 2015-16	16

Table 5.1 Energy sales approved by the Commission after true up for FY 2014-15	22

Table 5.2 Calculation of distribution loss by the Commission for FY 2014-15 after true up	23

Table 5.3 Energy requirement for FY 2014-15 approved by the Commission	24

Table 5.4 Power purchase approved by the Commission for FY 2014-15 after true up	24

Table 5.5 Energy balance approved by the Commission for FY 2014-15 after true up	25

Table 5.6 Power purchase cost approved by the Commission for FY 2014-15 after true up	26

Table 5.7 Transmission charges claimed by MSPDCL for FY 2014-15	27

Table 5.8 Summary of O&M expenses approved by Commission for FY 2014-15 after true up	28

Table 5.9 CWIP	28

Table 5.10 GFA and Depreciation for FY 2014-15 approved by the Commission after true up	29

Table 5.11 Interest on Working Capital approved by the Commission for FY 2014-15 after true up	30

Table 5.12 Revenue from energy sales for FY 2014-15 after true up	31

Table 5.13 Aggregate Revenue Requirement approved by the Commission for FY 2014-15 after true up	31

Table 5.14 Revenue Gap	32

Table 6.1 Energy Sales approved by the commission after true up for FY 2015-16	34

Table 6.2 Calculation of Distribution & T&D Loss furnished by MSPDCL for FY 2015-16	34

Table 6.3 MSPDCL Actual Distribution loss approved by the commission for FY 2015-16	35

Table 6.4 Energy Requirement approved by the commission for FY 2015-16 after true up.	36

Table 6.5 : Own Generation for FY 2015-16	36

Table 6.6: Energy Drawl (MU) for FY 2015-16	37

Table 6.7: Energy Drawl (MU) for FY 2015-16 approved by the Commission	38

Table 6.8 : Energy Balance furnished by MSPDCL for FY 2015-16	39

Table 6.9: Actual Energy Balance for FY 2015-16	39

Table 6.10: Energy Balance approved by the Commission for FY 2015-16 after True up	40

Table 6.11: Power Purchase Cost  furnished by MSPDCL for FY 2015-16	41

Table 6.12: Transmission charges approved by the commission for FY 2015-16 after true up	43

Table 6.13: O&M expenses approved by the commission for FY 2015-16 after true up	43

Table 6.14: Revenue from Approved sales and Tariff for FY 2015-16	45

Table 6.15: Interest on working capital approved by the commission for FY 2015-16 after true up	45

Table 6.16: : Aggregate Revenue Requirement approved by the Commission for FY 2015-16	46

Table 6.17: Revenue from existing tariff for FY 2015-16	47

Table 6.18 : Revenue Gap for FY 2015-16	48

Table 7.1: No. of consumers and connected load of MSPDCL for FY 2016-17	49

Table 7.2: Category wise Units Sold/Billed	51

Table 7.3: Category wise energy sales approved by the Commission for FY 2016-17 after review	51

Table 7.4: Distribution Loss for FY 2016-17 approved by the Commission	53

Table 7.5: Energy Requirement for FY 2016-17	53

Table 7.6: Own Generation approved by the Commission for FY 2016-17	54

Table 7.7: Energy Allocation from Central Generating Stations for FY 2016-17	54

Table 7.8: Power purchase approved by the Commission for FY 2016-17 after review	56

Table 7.9: Energy Balance approved by the Commission for FY 2016-17 after review	58

Table 7.10: Power Purchase cost estimated by MSPDCL for FY 2016-17	59

Table 7.11: Power Purchase Cost approved by Commission for FY 2016-17 after review	60

Table 7.12: Transmission charges approved by the Commission for FY 2016-17 after review	61

Table 7.13: Employee Cost approved by the Commission for FY 2016-17 after review	62

Table 7.14: R&M Expenses approved by the Commission for FY 2016-17 after review	62

Table 7.15: A&G Expenses approved by the Commission for FY 2016-17 after review	62

Table 7.16: Interest and Finance Charges estimated by MSPDCL for FY 2016-17	63

Table 7.17: Interest on working capital approved by the Commission for FY 2016-17 after review	64

Table 7.18: Aggregate Revenue Requirement approved by the Commission for FY 2016-17 after review	65

Table 7.19: Revenue from approved tariff for FY 2016-17 after review	65

Table 7.20: Revenue gap approved by the Commission for FY 2016-17 after review	66

Table 8.1: No. of consumers and connected load of MSPDCL	69

Table 8.2: Consumer category wise energy sales from FY 2012-13 to FY 2016-17 (Till September, 16)	69

Table 8.3 Category wise Trend of Units Billed	71

Table 8.4: Energy Sales Projected by MSPDCL	73

Table 8.5: Compound Annual Growth Rate approved by the Commission	73

Table 8.6: Category-Wise Energy Sale approved by the Commission for FY 2017-18	75

Table 8.7: T&D Losses	76

Table 8.8: MSPDCL – Distribution Loss Calculation for FY 2015-16	76

Table 8.9: Distribution loss Trajectory approved by the Commission	77

Table 8.10: Energy Requirement projected by MSPDCL	78

Table 8.11: Energy requirement approved by the Commission for FY 2017-18	78

Table 8.12: Own Generation for FY 2017-18	79

Table 8.13: Energy Allocation from Central Generating Stations for FY 2017-18	1

Table 8.14: Power purchase projected by MSPDCL for FY 2016-17 and FY 2017-18	1

Table 8.15: Energy drawal approved by the Commission for FY 2017-18	1

Table 8.16: Energy balance approved by the Commission for FY 2017-18	2

Table 8.17: Aggregate Revenue Requirement Projected by MSPDCL for control period 	 FY 2017-18	2

Table 8.18: Power Purchase Cost Projected by MSPDCL for FY 2016-17 and FY 2017-18	3

Table 8.19: Power Purchase rate for FY 2016-17 AND FY 2017-18	6

Table 8.20: Power Purchase Cost of MSPDCL approved by the Commission for FY 2017-18	8

Table 8.21: Employee Cost approved by the Commission for FY 2017-18	10

Table 8.22: R & M Expenses furnished by the MSPDCL for FY 2017-18	10

Table 8.23: A&G Expenses projected by MSPDCL for FY 2017-18	11

Table 8.24: Proposed Capital Expenditure	14

Table 8.25: Capital Work in Progress	83

Table 8.26: Depreciation projected by MSPDCL for FY 2017-18	84

Table 8.27: Depreciation approved by the Commission for FY 2017-18	86

Table 8.28: Interest and Finance Charges furnished by MSPDCL for FY 2017-18	87

Table 8.29: Interest on Working Capital approved by the Commission for FY 2017-18	88

Table 8.30: Provision for Bad debts projected by MSPDCL	88

Table 8.31: Return on Equity	89

Table 8.32: Return on Equity Approved by the Commission	89

Table 8.33: Non-Tariff Income projected by MSPDCL for FY 2017-18	90

Table 8.34: Aggregate Revenue Requirement for FY 2016-17 and FY 2017-18	90

Table 8.35: Revenue with Existing Tariff Projected by MSPDCL for FY 2017-18	91

Table 8.36: Revenue from Existing Tariff approved by the Commission for FY 2016-17	92

Table 8.37: Revenue Gap for FY 2017-18	93

Table 8.38: Revenue from Revised Tariff for FY 2017-18	93

Table 9.1:  Existing and Proposed Tariff for FY 2017-18	98

Table 9.2:  Category wise Tariff approved by the Commission for FY 2017-18	99

Table 10.1 Allocation matrix	101

Table 10.2 ARR of wheeling business approved by the Commission for FY 2017-18	101

Table 10.3: Wheeling Tariff approved by the Commission for FY 2017-18	102

LIST OF ANNEXURES

| Annexure | Particulars | Page No. |
| --- | --- | --- |
| Annexure – I | Minutes of the 17th Meeting of the State Advisory Committee of Manipur | 143 |
| Annexure – II | List Of Person Who Attended Public Hearing On ARR & Tariff Proposal For FY 2017-18 In Respect Of MsPDCL, Manipur. | 155 |
| Annexure- III | Manipur - Expected Revenue from Existing Tariff effective from 01.04.2016 | 157 |
| Annexure - IV | Manipur - Expected Revenue from Revised Tariff effective from 01.04.2017 | 159 |

ABBREVIATIONS

| Abbreviation | Description |
| --- | --- |
| A&G | Administrative and General |
| AAD | Advance Against Depreciation |
| ARR | Aggregate Revenue Requirement |
| CAG | Controller and Auditor General of India |
| CEA | Central Electricity Authority |
| CERC | Central Electricity Regulatory Commission |
| CWIP | Capital Work in Progress |
| DG | Diesel Generation |
| DPS | Delayed Payment Surcharge |
| EA, 2003 | Electricity Act, 2003 |
| EDM | Electricity Department, Manipur |
| EHT | Extra High Tension |
| FSA | Fuel Surcharge Adjustment |
| FY | Financial Year |
| GFA | Gross Fixed Assets |
| GOI | Government of India |
| HT | High Tension |
| IEGC | Indian Electricity Grid Code |
| ISGS | Inter State Generating Station |
| IR | Inter Regional |
| JERC | Joint Electricity Regulatory Commission for Manipur and Mizoram |
| kV | Kilovolt |
| kVA | Kilovolt-ampere |
| kW | kilowatt |
| kWh | kilowatt-hour |
| LT | Low Tension |
| MAT | Minimum Alternate Tax |
| MDI | Maximum Demand Indicators |
| MSPCL | Manipur State Power Company Limited |
| MSPDCL | Manipur State Power Distribution Company Limited |
| MUs | Million Units |
| MYT | Multi Year Tariff |
| NLDC | National Load Despatch Centre |
| NTI | Non-Tariff Income |
| O&M | Operation and Maintenance |
| PGCIL | Power Grid Corporation of India Ltd |
| PLF | Plant Load Factor |
| PLR | Prime Lending Rate |
| POSOCO | Power System Operation Corporation Ltd. |
| PPA | Power Purchase Agreement |
| PWW | Public Water Works |
| R&M | Repair and Maintenance |
| RoE | Return on Equity |
| RGGVY | Rajiv Gandhi Gramin Vidyutikaran Yojana |
| SBAR | State Bank Advance Rate |
| SLDC | State Load Despatch Centre |
| T&D | Transmission and Distribution |
| UI | Unscheduled Interchange |
| RE | Revised Estimate |
| REC | Renewable Energy Certificate |

JOINT ELECTRICITY REGULATORY COMMISSION FOR MANIPUR AND MIZORAM

TBL Bhawan, 2nd to 5th Floor

Peter street, E-18, Khatla, Aizawl, Mizoram – 796001

Petition (ARR & Tariff) No. 2 of 2016

In the matter of

True up for FY 2014-15 and FY 2015-16, Annual Performance Review for FY 2016-17 and determination of Aggregate Revenue Requirement (ARR) and retail Tariff for FY 2017-18 for sale of electricity by the Manipur State Power Distribution Company Limited (MSPDCL) in the State of Manipur

AND

Manipur State Power Distribution Company Limited ------------------------------------ Petitioner

(herein after referred to as MSPDCL)

Present

Mr. R.K. Kishore Singh

Chairperson

ORDER

(28/2/2017)

- The Manipur State Power Distribution Company Limited (hereinafter referred to as MSPDCL) is a deemed licensee in terms of section 14 of the Electricity Act 2003 (hereinafter referred to as Act), engaged in the business of distribution of electricity in the state of Manipur.

- JERC (M&M) (MYT) Regulations, 2014 specify that the distribution licensee shall file ARR and Tariff Petition in all aspects along with requisite fee as specified in Commission’s fees, fines and charges regulations, on or before 30th November of the preceding year.

- ARR & Tariff Petition

As per the directive of the Commission, the MSPDCL has filed the Petition for True-up for FY 2014-15 and FY 2015-16 and APR for FY 2016-17 and determination of Aggregate Revenue Requirement (ARR) and Retail Tariff for FY 2017-18. In the petition MSPDCL has estimated ARR of Rs. 592.21 Crore for FY 2017-18 and considered a tariff support of Rs. 271.56 Crore from the Govt. of Manipur for FY 2017-18 thereby showing a gap of Rs. 31.03 Crore, which the MSPDCL proposed to recover through proposed tariff.

- Admission of the petition

The Commission observed that the ARR filed by the Petitioner was incomplete and lacking critical and vital information required as specified in JERC for M&M Multi Year Tariff Regulations, 2014. Therefore, MSPDCL was asked to submit the required information vide Commission letter Nos. H.20013/16/16-JERC, dated 29.12.2016 and 6.1.2017. Pending receipt of additional information  the Petition was admitted on 5.1.2017 and marked as petition (ARR and Tariff) No. 2 of 2016 to avoid delay in processing of ARR.

The MSPDCL has submitted some data/information/clarifications etc. vide its letter No.2/49/2016/MSPDCL(Comml)/1169-72, dated 12.1.2017, No.2/49/2016/MSPDCL(Comml)/1162-64, dated 12.1.2017, No.2/49/2016/MSPDCL(Comml)/1288-90, dated 18.2.2017 and No.2/49/2016/MSPDCL(Comml)/ 1291-93, dated 18.2.2017.

- True up of ARR for FY 2014-15

As per regulation 10(2) of JERC (M&M) (Terms and conditions for determination of Tariff) Regulations, 2010, the licensee shall file an application for true up of previous year along with audited annual accounts. The MSPDCL has submitted the petition for true up of FY 2014-15 along with annual accounts for FY 2014-15 and shown a surplus of Rs. 1.75 Cr.

After detailed analysis of the true up petition, the Commission has arrived a revenue surplus of Rs. 10.89 Cr which will be passed on to consumers through ARR for FY 2017-18.

- True up of ARR for FY 2015-16

As per Regulation 10(2) of JERC (M&M) (Terms and conditions for determination of Tariff)) Regulations, 2010 the licensee shall file an application for True up of the previous year along with Audited Annual Accounts.

The MSPDCL has submitted that since the Audited Annual Accounts are not ready they filed Petition for Provisional True up of FY 2015-16.

As such the Commission is of the view that the impact of Provisional True up will be considered only on submission of Audited Annual Accounts for FY 2015-16.

- Annual Performance Review for FY 2016-17

Though the JERC for M&M (MYT) Regulations 2014 do not provide annual performance review, the Commission considers it appropriate to review the previous year ARR with reference to RE, but without changing the principles. Accordingly review for FY 2016-17 is carried out which resulted in a revenue gap of Rs. 171.28 Cr as against Rs. 243.44 Cr estimated by MSPDCL.

- Public Hearing Process

Regulation 17 of the MYT Regulations, 2014 provides giving adequate opportunity to all stake holders and general public for making suggestions/objections on the Tariff Petition as mandated under section 64 of the Electricity Act 2003. Accordingly the Commission directed MSPDCL vide letter No.H.20013/16/16-JERC dated 9.1.2017 to publish the ARR and Tariff Petition for the FY 2017-18 in an abridged form as public notice in news papers having wide circulation in the state inviting suggestions/objections on the Tariff Petition.

Accordingly MSPDCL has published the Tariff Petition in an abridged form as public notice in the following news papers and the Tariff petition was also placed on the website of MSPDCL. The last date of submission of suggestions/objections was fixed on 27.01.2017.

| SI. No. | Name of the Newspaper | Language | Date of Publication |
| --- | --- | --- | --- |
| 1 | The Sangai Express | English | 15th & 16th January, 2017 |
| 2 | The Sangai Express | Manipuri | 15th & 16th January, 2017 |
| 3 | Poknapham | Manipuri | 15th & 16th January, 2017 |

The Commission received one objection / suggestion from all Manipur Power Consumers’ Association on the petition filed by the MSPDCL. The Commission passed on the objection received to MSPDCL for communicating their response on the objection raised.

The Commission, to ensure transparency in the process of Tariff determination and for providing proper opportunity to all stake holders and general public for making suggestions/objections on the Tariff petition and for convenience of the consumers and general public across the state, has decided to hold a public hearing at the headquarters of the state.

8.1	Notice for Public Hearing

Accordingly the Commission published a notice in the following leading newspapers giving due intimation to the general public, interested parties, objectors and the consumers about the public hearing to be held at Imphal on 14.02.2017.

| Sl. No | Name of the news paper | Language | Date of Publication |
| --- | --- | --- | --- |
| 1 | Poknapham | Manipuri | 8.2.2017 |
| 2 | Imphal Free Press | English | 8.2.2017 & 9.2.2017 |

8.2	Public Hearing

The Public hearing was held as scheduled on 14.02.2017 at Hotel Classic Regency Hall from 10:30 AM to 12:30 PM. During the public hearing, each objector was provided a time slot for presenting before the Commission his/her views on the petition of the MSPDCL. The main issues raised by the objectors during the public hearing and corresponding response of the MSDPCL are briefly narrated in Chapter - 4.

- The proposal of MSPDCL was also placed before the State Advisory Committee in its meeting held on 13.02.2017 at Hotel Classic Regency Hall, Imphal at 11.00 AM and various aspects of the Petition were discussed by the Committee.

- The Commission took into consideration the facts presented by the MSPDCL in its Petition and subsequent filings, the suggestions/objections received from stakeholders, consumer organizations, general public and State Advisory Committee and response of the MSPDCL to those suggestions/objections for approval of the ARR for FY 2017-18.

- The Commission has reviewed the directives issued earlier in the Tariff orders for FY 2010-11 to FY 2016-17 and noted that some of the directives are compiled and some are partially attended. The Commission has dropped the directives which are compiled fully and the remaining directives are consolidated and fresh directives are added.

- In exercise of the powers vested under section 62 read with section 64 of the Electricity Act 2003 and Regulation 16 JERC for M&M (Multi Year Tariff) Regulations, 2014 (hereinafter referred to as Tariff Regulations) and other enabling provisions in this behalf the Commission issues this order approving of the Revised ARR for FY 2017-18 and determination of retail Tariff for FY 2017-18 for supply of electricity in the state of Manipur.

- This order is in Twelve chapters as detailed below;

- Chapter 1: Introduction.

- Chapter 2: Summary of ARR for FY 2017-18.

- Chapter 3: Power Sector in Manipur - An overview.

- Chapter 4: Public hearing process.

- Chapter 5: True up for FY 2014-15

- Chapter 6 : True up for FY 2015-16

- Chapter 7: Annual Performance Review for FY 2016-17.

- Chapter 8: Analysis of ARR for FY 2017-18 and Commission’s decisions.

- Chapter 9: Tariff principles and design.

- Chapter 10: Wheeling charges for FY2017-18.

- Chapter 11: Directives.

- Chapter 12: Fuel and Power purchase cost Adjustment.

- The MSPDCL should ensure implementation of the order from the effective date after issuance of a public notice, in such a font size which is clearly visible in two daily newspapers having wide circulation in the state within a week and compliance of the same shall be submitted to the Commission by the MSPDCL.

- This order shall be effective from 1st April, 2017 and shall remain in force till 31st March, 2018 or till the next Tariff Order of the Commission.

(R. K. KISHORE SINGH)

Chairperson

Place	: Aizawl

Date	: 28.02.2017

# Introduction

## JERC for Manipur and Mizoram (JERC, M&M)

In exercise of the powers conferred by the Electricity Act 2003, (hereinafter referred to as Act) the Government of India constituted Electricity Regulatory Commission for the States of Manipur and Mizoram to be known as “Joint Electricity Regulatory Commission for Manipur and Mizoram” vide GOI. Gazette (Extra Ordinary) Notification No. 23/3/2002 R&R dated 18/01/2005, (hereinafter referred to as Commission) as per the authorization given by the Government of Manipur and the Government of Mizoram vide Memorandum of Agreement dated 23/07/2004. The Commission constituted is a two-member body designated to function as an autonomous authority responsible for regulation of the power sector in States of Manipur and Mizoram. The powers and functions of the Commission are as prescribed in the Act. The head office of the Commission is presently located at Aizawl, the capital town of Mizoram. The Commission became functional w.e.f. January 24th, 2008.

- In accordance with the Act, the Commission discharges the following functions:

- Determine the tariff for generation, transmission, distribution and wheeling of electricity, wholesale, bulk or retail, as the case may be, within the State:

Provided that where open access has been permitted to a category of consumers under Section 42 of the Act, the State Commission shall determine only the wheeling charges and surcharge thereon, if any, for the said category of consumers;

- Regulate electricity purchase and procurement process of distribution licensees including the price at which electricity shall be procured from the generating companies or licensees or from other sources through agreements for purchase of power for distribution and supply within the State;

- Facilitate intra-State transmission and wheeling of electricity;

- Issue licenses to persons seeking to act as transmission licensees, distribution licensees and electricity traders with respect to their operations within the State;

- Promote co-generation and generation of electricity from renewable sources of energy by providing suitable measures for connectivity with the grid and sale of electricity to any person, and also specify, for purchase of electricity from such sources, a percentage of the total consumption of electricity in the area of a distribution licensee;

- Adjudicate upon the disputes between the licensees and generating companies; and to refer any dispute for arbitration;

- Levy fee for the purposes of this Act;

- Specify State Grid Code consistent with the Central Grid Code specified under Clause (h) of sub-section (1) of Section 79 of the Act;

- Specify or enforce standards with respect to quality, continuity and reliability of service by licensees;

- Fix the trading margin in the intra-State trading of electricity, if considered, necessary;

- Discharge such other functions as may be assigned to it under the Act.

- Further, the Commission also advises the State Government on all or any of the following matters namely:

- Promotion of competition, efficiency and economy in activities of the electricity industry;

- Promotion of investment in electricity industry;

- Reorganization and restructuring of electricity industry in the State;

- Matters concerning generation, transmission, distribution and trading of electricity or any other matter referred to the State Commission by the State Government.

- The State Commission ensures transparency while exercising its powers and in discharging its functions.

- In discharge of its functions, the State Commission is guided by the national Tariff Policy (NTP) as brought out by GOI in compliance to Section 3 of the Act. The objectives of the NTP are to:

- Ensure availability of electricity to consumers at reasonable and competitive rates;

- Ensure financial viability of the power sector and attract investments;

- Promote transparency, consistency and predictability in regulatory approaches across jurisdiction and minimize perceptions of regulatory risks;

- Promote competition, efficiency in operations and improvement in quality of supply.

## 1.2       Manipur State Power Distribution Company Ltd (MSPDCL)

In pursuance Electricity Act 2003, herein after referred to as Act, the erstwhile. State Electricity Department was unbundled into 2 (two) state owned functionally independent successor entities is, (i) Manipur State Power Company Ltd (herein after referred has MSPCL) a deemed transmission licensee and (ii)  Manipur State Power Distribution Company Ltd (herein after referred has MSPDCL) a deemed distribution Licensee w.e.f 1st of Feb 2014, by a Gazette notification of the Government of Manipur vide Manipur state electricity reforms  transfer scheme 2013 (or Transfer scheme 2013) dated 31st December 2013.  MSPDCL is a 100% subsidiary of MSPCL and under takes power distribution within the state of Manipur.  MSPDCL holds the entire net work in the state at a voltage level of 11kv and below.  All the existing generation assets of about 45 MW which are primarily function as back up generation facilities are transferred to MSPDCL.  These generation assets are included as other business for MSPDCL.  MSPDCL also carries out the trading activity.

The objectives of the MSPDCL are:

- Focuses on demand and distribution net work growth.

- Lays emphasis on metering  to help reduce distribution losses (100% metering)

- Focuses on metering to raise correct demand.

- Focuses on collection of revenue to  reduce commercial losses and improve cash flow.

- Concentrated efforts into computerization of billing for efficient billing and in turn better and faster recovery.

- Focuses on power theft and correct metering and energy audit to improve efficiency.

# Summary of Revised ARR and Tariff Petition

## Revised Aggregate Revenue Requirement (ARR)

The MSPDCL, in its petition, has submitted the Revised Aggregate Revenue Requirement for FY 2017-18 for meeting its expenses as shown in Table below.

Table 2.1: Revised Aggregate Revenue Requirement for FY 2017-18

(Rs .Crore)

| Sl. No | Particulars | Approved in Tariff Order dated 29.02.2016 | FY 2017-18 now projected |
| --- | --- | --- | --- |
| 1 | Fuel Cost | 1.19 | - |
| 2 | Power Purchase Cost | 348.69 | 358.74 |
| 3 | Transmission Charges for Inter State | 57.45 | 57.45 |
| 4 | Intra State Transmission Charges (MSPCL) | 43.67 | 68.58 |
| 5 | Employee Cost | 83.98 | 83.98 |
| 6 | Repairs and Maintenance Cost | 6.88 | 6.88 |
| 7 | Admin & General Cost | 2.65 | 2.65 |
| 8 | Depreciation | 0.26 | 0.26 |
| 9 | Interest and Finance changes | 0.19 | 0.28 |
| 10 | Interest on working capital | 6.88 | 8.82 |
| 11 | Provision for Bad Debts | 3.00 | 3.00 |
| 12 | Add: Return on Equity | 1.56 | 1.56 |
| 13 | Add: Income Tax | 0.39 | 0.39 |
| 14 | Less: Non-Tariff Income | 0.37 | 0.37 |
| 15 | Annual Revenue Requirement | 556.42 | 592.21 |

(Source: Table-74 of ARR Petition)

## Tariffs

The MSPDCL in its petition has submitted the existing and proposed tariff for the FY 2017-18 as detailed in the Table 2.2 below:

Table 2.2:  Existing and Proposed Tariff Structure for FY 2017-18

| Existing Tariff | Proposed Tariff |
| --- | --- |
| Particulars | Fixed Charges (Rs./kW/ kVA/ Month) | Energy Charges (Rs./kWh) | Particulars | Fixed Charges (Rs./kW/ kVA/Month) | Energy Charges (Rs./kWh) |
| LT SUPPLY |  |  | LT SUPPLY |  |  |
| Kutir Jyoti |  |  | Kutir Jyoti |  |  |
| 0-15 kWh | 20 | 1.40 | First 45 kWh/Month | 20 | 1.60 |
| Above 15 kWh | 20 | 2.50 |  |  |  |
| Domestic Light & Power |  |  | Domestic Light & Power |  |  |
| 0-100 kWh | 60 | 3.20 | 1-100 kWh | 70 | 3.60 |
| 101-200 kWh | 60 | 3.80 | 101-200 kWh | 70 | 4.20 |
| Above 200 kWh | 60 | 4.70 | Above 200 kWh | 70 | 5.10 |
| Commercial |  |  | Commercial |  |  |
| 0-100 kWh | 80 | 4.20 | 1-100 kWh | 90 | 4.85 |
| 101-200 kWh | 80 | 5.00 | 101-200 kWh | 90 | 5.75 |
| Above 200 kWh | 80 | 5.90 | Above 20 kWh | 90 | 6.80 |
| Public Lighting | 65 | 5.50 | Public Lighting | 75 | 6.35 |
| Public Water Works | 100 | 5.50 | Public Water Works | 115 | 6.35 |
| Agriculture | 60 | 3.25 | Agriculture | 90 | 3.25 |
| Cottage & Small Industry | 65 | 3.25 | Cottage & Small Industry | 70 | 3.25 |
| HT SUPPLY |  |  | HT SUPPLY |  |  |
| Commercial | 105 | 5.70 | Commercial | 120 | 6.55 |
| Public Water Works | 100 | 5.00 | Public Water Works | 115 | 5.75 |
| Agriculture | 100 | 3.00 | Agriculture | 105 | 3.15 |
| Medium Industry | 100 | 4.30 | Medium Industry | 115 | 4.95 |
| Large Industry | 100 | 5.00 | Large Industry | 115 | 5.75 |
| Bulk Supply | 100 | 4.60 | Bulk Supply | 115 | 5.35 |

Prayer

The MSPDCL has requested the Hon’ble Commission to:

- Admit the Aggregate Revenue Requirement and the Tariff Revision proposal for FY 2017-18 as submitted herewith.

- Admit the true up petition for FY 2014-15

- Admit the limited provisional True up Petition for FY 2015-16.

- Admit the Annual Performance Review for FY 2016-17

- Condone any inadvertent omissions/errors/shortcomings and permit the Petitioner to add/change/modify/alter this filing and make further submission as may be required at a future date.

- Permit submission of any additional information required by the Commission during the processing of the Petition.

- And pass such other and further orders as are deemed fit and proper in the facts and circumstances of the case.

# Power Sector in Manipur- An Overview

## Geographical Reality

The MSPDCL is responsible for distribution of electricity in the State of Manipur, which has a total area of 22,347 Sq KM with nine districts namely, Bishnupur, Churachandpur, Chandel, Imphal-East, Imphal-West, Senapati, Tamenglong, Thoubal and Ukhrul. Manipur occupies an area of great strategic importance in North East corner of India. Manipur is bounded by States of Nagaland in the North, Mizoram in the South, Assam in the West and sharing international boundary with Myanmar in the East. The total population of Manipur State is 27.22 lakhs as per 2011 census. MSPDCL serves about 2.96 lakhs consumers of various categories. Per capita consumption is about 175 kWh as on 31.03.2016.

## Power Supply

- Own Generation

The MSPDCL has own generation plants micro hydel, diesel with installed capacity of 45.11 MW. The units generated from the plants and the total fuel cost is summarised in Table below:

Table 3.1: Own generation

| SI. No | Item | Unit | FY 2015-16 |
| --- | --- | --- | --- |
| 1 | Generation from Hydel | MU | 0.33 |
| 2 | Diesel | MU | 0.68 |
| 3 | Total Units Generated |  | 1.01 |
|  | Cost |  |  |
| 4 | Total Fuel Cost | Rs Crore | 1.19 |

- Power Purchase

The MSPDCL is mostly dependent on Central Generating Stations (CGS) located in different parts of the North Eastern Region for meeting its energy requirement. The total firm share from the Central Sector Generating Stations of NEEPCO and NHPC and Tripura is 174.30 MW as depicted in the Table below. The actual peak and off-peak availabilities are however always less because of low plant load factors.

Table 3.2: Energy Allocation from Central Generating Stations (CGS)

| Sl. No | Station | Installed Capacity | FY 2015-16 (Actual) |
| --- | --- | --- | --- |
|  |  |  | Manipur Allocation (MW) | AVG Allocation in % |
| A | NEEPCO(Hydro) |  |  |  |
| 1 | Kopili I HEP | 200 | 14.78 | 7.39% |
| 2 | Kopili II HEP | 25 | 1.74 | 6.95% |
| 3 | Khandong HEP | 50 | 3.28 | 6.56% |
| 4 | Ranganadi HEP | 405 | 33.90 | 8.37% |
| 5 | Doyang HEP | 75 | 5.90 | 7.87% |
|  | Sub total | 755 | 59.60 |  |
| B | NEEPCO(Gas Based) |  |  |  |
| 1 | Assam Gas based Power Project | 291 | 23.60 | 8.11% |
| 2 | Agartala Gas Turbine Power Project | 84 | 6.98 | 8.31% |
|  | Sub total | 375 | 30.58 |  |
| C | NHPC(Loktak HEP) |  |  |  |
| 1 | Purchased | 105 | 31.62 | 30.12% |
|  | Sub total | 105 | 31.62 |  |
| D | TRIPURA |  |  |  |
| 1 | Baramura (Gas Based)(Unit IV) | 21 | 5.25 | 25% |
| 2 | Baramura(Gas Based)(Unit V) | 21 | 5.25 | 25% |
|  | Sub total | 42 | 10.56 | 25% |
| E | New Projects |  |  |  |
| 1 | OTPC- (Pallatana-Unit I) | 363 | 21.00 | 5.79% |
| 2 | OTPC-(Pallatana-Unit II) | 363 | 0.21 | 5.79% |
|  | Sub Total | 726 | 42.00 |  |
|  | Total | 2003 | 174.30 |  |

The energy drawls from various central generating stations and Tripura during 2015-16 are given Table below:

Table 3.3: Energy Drawls from Central Generating Stations & Tripura

(MU)

| Station | FY 2015-16 Estimated |
| --- | --- |
| NEEPCO (Hydro) |  |
| Kopili I HEP | 49.74 |
| Kopili II HEP | 6.51 |
| Khandong HEP | 11.07 |
| Ranganadi HEP | 110.01 |
| Doyang HEP | 12.08 |
| Sub total | 189.41 |
| NEEPCO (Gas Based) |  |
| Assam Gas based Power Project | 139.62 |
| Agartala Gas Turbine Power Project | 66.32 |
| Agartala Gas Extension | - |
| Sub total | 205.94 |
| NHPC (Loktak HEP) |  |
| Purchased (20.02MW) | 125.14 |
| Free Power (12.60 MW) | 61.81 |
| Sub total | 186.95 |
| TRIPURA |  |
| Baramura (Gas Based)- (Unit IV and V) | 79.34 |
| OTPC-Pallatana (Unit I) | 197.21 |
| OTPC-Pallatana (Unit II) |  |
| Sub Total | 276.55 |
| NTPC Bongaigaon (Unit I) | 0.00 |
| NTPC Bongaigaon (Unit I) | 0.00 |
| Renewable- Solar | 1.50 |
| Renewable- Non Solar | 2.50 |
| Sub Total | 4.00 |
| Gross Power Purchase | 858.85 |

(Source: Table 59 of the Petition)

## Transmission and Distribution

For the purpose of drawing power from the Central Sector generating stations and other sources in the North Eastern Region, the MSPDCL has utilized 4 Nos single circuit 132kV interstate transmission lines, two being owned by PGCIL and two by MSPCL, as detailed below.

Owned by MSPCL

- Leimatak-Ningthoukhong-Karong-Kohima-132 kV line.

- Leimatak-Jiribam-132 kV line

Owned by PGCIL

- Leimatak – Imphal - Dimapur – 132 kV line.

- Leimatak - Jiribam – 132 kV line.

Manipur, being a hilly state with its population unevenly dispersed and spread over remote corners, it is having large network of Sub-Transmission and Distribution system. The details of Distribution network, owned & operated by MSPDCL as on 31/03/2016, are given in Table below.

Table 3.4: Distribution Network as on 31.3.2016

| Sl.No | Voltage | Distribution lines (Ckt. Km) | Sub-stations (nos.) | Sub- station/ transformer MVA |
| --- | --- | --- | --- | --- |
|  |  | Double Ckt. | Single Ckt. |  |  |
| 1 | 11kV lines | 16.090 | 5773.78 |  |  |
| 2 | LT lines |  | 8998.90 |  |  |
| 3 | Distribution transformers |  |  | 4228 | 408.5 |
| 4 | 11 kV (UG) |  | 0.010 |  |  |
| 5 | LT cable (UG) |  | 0.280 |  |  |

## Distribution Loss

The Transmission and Distribution losses of MSPDCL system are 31.11% during the year 2015-16. The technical and commercial losses are not segregated.

## Consumer Profile

The category wise consumers and corresponding energy sales during the year 2015-16 are given in Table below:

Table 3.5: Number of consumers and energy sales of MSPDCL for FY 2015-16

| SI. No. | Consumer Category | FY 2015-16 |
| --- | --- | --- |
|  |  | No. of consumers (Nos.) | Energy sales (MU) |
| 1 | Kutir Jyoti | 262724 | 15.57 |
| 2 | Domestic | 252474 | 283.28 |
| 3 | Commercial | 13439 | 39.84 |
| 4 | Public lighting | 483 | 4.13 |
| 5 | Public waterworks | 175 | 16.69 |
| 6 | Agriculture & Irrigation | 63 | 1.78 |
| 7 | Temporary supply | 12 | 0.12 |
| 8 | Small and cottage industry | 2280 | 16.20 |
| 9 | Medium industry | 74 | 3.14 |
| 10 | Large industry | 23 | 4.48 |
| 11 | Bulk supply | 730 | 89.75 |
| 12 | Grant Total | 296477 | 474.98 |

## Demand

The energy demand of the MPDCL is met by supply of power from own generation, central generating stations of North Eastern Region and Baramura Gas Based Plants in Tripura State. The annual energy requirement during FY 2015-16 is 689.48 MU.

## Energy Audit

The MSPDCL is not conducting Energy Audit effectively either at the incoming stage or at the consumer end. At present, the MSPDCL is arriving at the losses by taking the input at 11kV point and compare it with energy sales at consumer end and showing the difference as distribution loss.

## Energy Metering

As against 296477 authorised service connections as on 31.3.2016, 257178 connections are provided with pre paid meters. It is reported that there are about 33384 unauthorised connections, which have to be regularised.

## Continuity of Power Supply

The Power Supply in the state has been improved. The duration of power supply to the rural areas is about 10 to 16 hours a day while in urban and state capital is 24 hours a day.

# Public Hearing Process

  - Introduction:

On admitting the ARR and Tariff Petition for FY 2017-18, the Commission directed the MSPDCL to make available the copies of petition to the general public, post the petition on their website and also publish the same in newspapers in an abridged form and invite comments/objections/suggestions from them. One written objection is received from All Manipur Power Consumers Association, Imphal.

  - Public Hearing:

In order to ensure transparency in the process of determination of tariff as envisaged in the Electricity Act, 2003, Public Hearing was held at Hotel Classic Regency Hall, Imphal on 14.02.2017 from 10:00 A.M. to 12:30 P.M. During the Public Hearing those who submitted objections in writing and the participants from general public were given an opportunity to offer their views in respect of the ARR and Tariff Petition for FY 2017-18 of MSPDCL. The list of stakeholders who attended the Public Hearing is given in Annexure-II. The Officers of MSPDCL who attended the Public Hearing responded on the issues raised by the objectors.

  - Proceedings of Public Hearing:

All Manipur Power Consumers’ Association (AMPCA) only raised the following objections. The response of MSPDCL is furnished against each objection as furnished below:

    - Objection

The per-capita consumption of energy is low in Manipur. The primary reasons may be noted below.

Reply of MSPDCL

- Low urbanisation: The pace of urbanisation in Manipur is low give the frequent disruption in infrastructure development. There are very few urban areas apart from Imphal which have adequate infrastructure. This leads to low energy consumption as compared to other States where urbanisation is taking place at a faster pace.

- Low Industrial growth: Due to lesser presence of industries and poor industrial

growth in Manipur, the industrial energy consumption in Manipur forms a very small fraction of the total energy consumption. The proportion of Industrial energy sales out of total energy sales is decreasing over the years as it may be observed below:

|  | FY 2014-15 | FY 2015-16 | FY 2016-17 (Estimated) |
| --- | --- | --- | --- |
| Total Energy Sales (MU) | 442.30 | 473.98 | 497.18 |
| Industrial Sales* | 126 | 114 | 113.17 |
| Bulk Sales as a percentage of Total | 28.49% | 24.05% | 22.76% |

* For industrial energy sales, the category-wise sales of bulk, small, medium

and large industries have been considered.

- Low Commercial Growth: Due to low levels of growth in commercial establishments, the energy consumption by the commercial category consumers is low. Domestic consumers constitute the major part of the energy sales.

MSPDCL is putting its best efforts in implementation of household electrification and ensuring power availability to the last mile through various schemes like DDUGJY, IPDS, etc. This can be observed in the growing number of domestic connections and the energy sales in domestic category which is the major cause of increase in overall energy sales as can be seen below:

|  | FY 2014-15 | FY 2015-16 | FY 2016-17 (Estimated) | FY 2017-18 (Projected) |
| --- | --- | --- | --- | --- |
| Number of consumers in Domestic Category/(Total no. of consumers) | 218,090/ (2,58,484) | 252,474/ (2,96,477) | 279,807/ (3,27,930) | 316,461/ (3,69,102) |
| Energy Sales in Domestic Category/(Total energy sales) in MU | 244/ (442) | 283/ (475) | 303/ (497) | 343/ (545) |

4.3.2	Objection

The cost of power purchase is on higher side especially power purchase from AGBPP & AGTPP and Bongaigaon. It is cheaper to purchase from traders and solar power from outside the state.

Reply of MSPDCL

The power purchased by MSPDCL from various long term sources have different average rates per unit. These long term sources provide power based on Power Purchase Agreements (PPA) signed by MSPDCL with them. In order to ensure continuous supply of electricity to households without power disruption as committed by MSPDCL to its consumers, it is dependent on these sources of power. Wherever possible, MSPDCL is putting its best efforts to reduce the cost of power. As an instance, MSPDCL has been under-requisitioning power from NTPC Bongaigaon, as it has the highest variable cost per unit among non-hydel plants.

Furthermore, SLDC gives priority to a distribution company with long term power purchase agreements for transmission purposes. Therefore, MSPDCL needs to have long term PPAs to secure transmission lines and therefore cannot rely on short term sources of power purchase.

Unscheduled Interchange is the deviation from the scheduled power from the respective generating sources and therefore, it is not an independent method of procuring power. The power deficit is met by overdrawl incurring extra purchases/charges and the power surplus is sold through energy exchange. The per unit cost of power purchased from long term sources has fixed charges and variable charges. In case of under-requisitions from these sources, MSPDCL is bound to pay the fixed charges part and therefore, only when the variable charges per unit of these long term sources are greater than short term sources, MSPDCL can consider power purchase through short term sources.

The cost of procurement of solar power depends on whether the power is procured at Feed in Tariff (FIT) or through competitive bidding. As per our research, the cost of procurement of solar power in Uttarakhand, Himachal Pradesh and Pudducherry may be lesser than the respective FITs but not exactly Rs. 3 per unit as quoted by AMPCA.   Any subsidy thereof is borne by Central government in the form of VGF. MSPDCL is not in favour of promoting this model because it wants to develop the State’s own solar generation capacity.

MANIREDA has already floated a draft solar roof top policy for public consultation. The suggestions of stakeholders are under due consideration. Therefore, it is expected to accelerate the process of solar roof top development in Manipur.

    - Objection

High distribution loss

Reply of MSPDCL

MSPDCL has its consumers in the 11 kV network. However, while recording losses, MSPDCL has to account for MSPCL’s loss as well while computing the energy balance. Moreover, due to geographical constraints and accessibility issues, there is some unauthorised consumption of electricity which also adds to the losses. MSPDCL is in the process of installing the feeder meters which would efficiently record the distribution loss in the system.

4.3.4	Objection

Increase in Gross Fixed Assets due to avoidable capital investment which is burdening consumers.

Reply of MSPDCL

Increase in Gross Fixed Assets are due to the capital investment made in order to be able to supply electricity to the last mile and these are funded by both the State and Central Governments in the form of various schemes like DDUGJY, IPDS, etc. These are necessary for distribution infrastructure development in the State and ensuring availability of power in all the areas of the State.

Commission observation

The objections raised and the reply of MSPDCL are noted.

# True up of ARR for FY 2014-15

# 5.1	Background

The Commission in its Order dated 28.2.2014 had approved ARR for composite Electricity Department Manipur (EDM). As per Regulation 21 of JERC (M&M) (Terms and Conditions for Determination of Tariff) Regulations, 2010, the licensee shall file an application for true up of previous year ARR together with audited annual accounts of the previous year. In the meantime, in pursuance of Electricity Act, 2003, the Electricity Department Manipur has been unbundled into 2 (two) state owned functionally independent success entities (viz) (i) Manipur State Power Company Ltd. (MSPCL), a deemed transmission licensee and (ii) Manipur State Power Distribution Company Ltd. (MSPDCL), a deemed licensee for distribution of electricity in the state of Manipur w.e.f. 1.2.2014 by a Gazette notification of Government of Manipur as per Manipur State Electricity Reforms Transfer Scheme, 2013 (or Transfer Scheme 2013), dated 31st December, 2013. As such, both MSPCL and MSPDCL have to file petitions for true up of FY 2014-15 ARR. Accordingly, the MSPDCL has filed petition for true up of FY 2014-15 ARR along with annual accounts for FY 2014-15. The Commission has carried out true up of FY 2014-15 ARR based on annual accounts as detailed in foregoing paragraphs.

# 5.2	Energy sales

The MSPDCL in its true up petition has furnished actual energy sales at 442.30 MU during FY 2014-15 as against 519.06 MU approved by the Commission in its Order dated 28.2.2014. The category wise sales approved by the Commission in its Order dated 28.2.2014 and actual now furnished by the Commission are furnished in table below.

Table 5.1 Energy sales approved by the Commission after true up for FY 2014-15

| Sl. No. | Name of category | Energy sales approved by the Commission | Actual sales | Now approved by the Commission |
| --- | --- | --- | --- | --- |
| 1 | Domestic |  |  |  |
|  | Kurti Jyoti | 10.00 | 12.69 | 12.69 |
|  | Domestic | 270.42 | 243.95 | 243.95 |
| 2 | Commercial | 42.17 | 35.83 | 35.83 |
| 3 | Industrial |  |  |  |
|  | Cottage & Small Industry | 24.69 | 18.13 | 18.13 |
|  | Medium Industry (HT) | 2.50 | 2.79 | 2.79 |
|  | Large Industry (HT) | 19.00 | 8.22 | 8.22 |
| 4 | Bulk Supply (HT) | 110.00 | 96.86 | 96.86 |
| 5 | Public Lighting | 5.18 | 4.40 | 4.40 |
| 6 | Public Water Works | 31.60 | 16.99 | 16.99 |
|  | LT | 8.00 | - | - |
|  | HT | 23.60 | - | - |
| 7 | Irrigation & | 3 | 2.41 | 2.41 |
|  | LT | 1 | - | - |
|  | HT | 2 | - | - |
| 8 | Temporary supply | 0.50 | 0.03 | 0.03 |
|  | Total | 519.06 | 442.30 | 442.30 |

(Source Table 1 of Petition)

The Commission approves energy sales at 442.30 MU for FY 2014-15 as furnished by MSPDCL after true up as per actuals.

# 5.3	Distribution loss

The Commission in its Order dated 28.2.2014 had approved distribution loss at 25% for FY 2014-15. Now the MSPDCL in its true up petition has furnished actual distribution loss at 41.88%.

Commission analysis

The MSPDCL has not furnished detailed calculation for distribution loss. As such, with the actual data given the distribution loss is calculated as detailed in table below.

Table 5.2 Calculation of distribution loss by the Commission for FY 2014-15 after true up

| SI. No. | Particulars | Unit | Actuals for FY 2014-15 |
| --- | --- | --- | --- |
| 1 | Power purchase from CGS | MU | 687.41 |
| 2 | Interstate transmission loss in NER for FY 2014-15 @ 3.48% | MU | 23.92 |
| 3 | Net power purchase (1-2) |  | 663.49 |
| 4 | UI purchases |  | 176.83 |
| 5 | Own generation |  | 1.01 |
| 6 | UI sales | MU | 50.78 |
| 7 | Net power available at state periphery | MU | 790.55 |
| 8 | Intra state transmission loss @ 3.6% | MU | 28.46 |
| 9 | Net energy available for sale | MU | 762.10 |
| 10 | Sales within the state | MU | 442.30 |
| 11 | Distribution loss | MU | 319.80 |
| 12 | Distribution loss | % | 41.96 |

Thus the distribution loss works out to 41.96% as against 41.88% furnished by MSPDCL.

The Commission approves distribution loss at 41.96% for FY 2014-15 as against 41.88% furnished by MSPDCL after true up.

# 5.4	Energy Requirement

The Commission its Order dated 28.2.2014 had approved energy requirement at 692.08 MU.

The actual energy requirement furnished by MSPDCL and now approved by the Commission are furnished in table below.

Table 5.3 Energy requirement for FY 2014-15 approved by the Commission

| Sl. No. | Particulars | Unit | Approved | Actuals | New approved |
| --- | --- | --- | --- | --- | --- |
| 1 | Energy sales | MU | 519.06 | 442.30 | 442.30 |
| 2 | Distribution loss | % | 25% | 41.88% | 41.96% |
| 3 | Distribution loss | MU | 173.02 | 318.66 | 319.80 |
| 4 | Energy requirement | MU | 692.08 | 760.96 | 762.06 |

# 5.5	Energy availability

# 5.5.1	Own generation

MSPDCL is having 0.60 MW capacity Micro Hydel Station at leimakhong and various diesel generating stations of capacity 44.51 MW total 45.11 MW capacity. The annual net generation is about 0.33 MU from mini Hydel Stations and about 0.68 MU from diesel generators. Thus, total own generation is about 1.01 MU.

The Commission approves own generation at 1.01 MU for FY 2014-15 after true up.

# 5.5.2	Power Purchase from CGS

The MSPDCL is having allocation from various CGS plants of NEEPCO, NHPC and OTPC pallatana.

The station wise allocation and power purchase and approved by the Commission are furnished in table below.

Table 5.4 Power purchase approved by the Commission for FY 2014-15 after true up

| Name of source | Plant capacity (MW) | Licensee’s share in % | MU purchased / generated (ex-bus) |
| --- | --- | --- | --- |
| CGS-NEEPCO |  |  |  |
| Kopili – I HE | 200.00 | 7.39% | 39.53 |
| Kopili – II HE | 25.00 | 6.96% | 5.62 |
| Khangdong HE | 50.00 | 6.56% | 5.68 |
| Ranganadi HE Project | 405.00 | 8.37% | 92.37 |
| Doyang HE Project | 75.00 | 7.87% | 12.30 |
| Assam GBPP | 291.00 | 8.11% | 138.67 |
| Agartala GTPP I & II | 135.00 | 8.31% | 51.15 |
| CGS-NHPC | 105.00 | 37.73% |  |
| Loktak HE |  |  | 64.10 |
| Loktak Free Power |  |  | 42.42 |
| Other |  |  |  |
| Baramura GBPP Unit IV & V | 42.00 | 25.00% | 82.59 |
| OTPC Pallatana Unit I & II | 726.60 | 5.78% | 152.98 |
| Sub total |  |  | 687.41 |
| Power purchased under UI/Trading |  |  | 176.83 |
| Total |  |  | 864.24 |

The Commission approves power purchase of 864.24 MU for FY 2014-15 including UI purchase of 176.83 MU and free power of 42.42 MU from Loktak after true up.

# 5.6	Energy balance

The energy balance approved by the Commission in its order dated 28.4.2014 and furnished by the MSPDCL and now approved by the Commission are furnished in table below.

Table 5.5 Energy balance approved by the Commission for FY 2014-15 after true up

| SI. No. | Particulars | Unit | Approved by the Commission in Order dated 28.4.2014 | Furnished by MSPDCL | Now approved by the Commission |
| --- | --- | --- | --- | --- | --- |
| A | Energy requirement |  |  |  |  |
| 1 | Energy sales | MU | 519.06 | 442.30 | 442.30 |
| 2 | Distribution loss | % | 25% | 41.88 | 41.96 |
| 3 | Distribution loss | MU | 174.38 | 318.71 | 319.76 |
| 4 | Energy requirement (1+3) | MU | 697.50 | 761.01 | 762.06 |
| B | Energy availability |  |  |  |  |
| 5 | Own generation | MU | 1.01 | 1.01 | 1.01 |
| 6 | Power purchase | MU | 835.62 | 687.41 | 687.41 |
| 7 | Interstate loss on (6) | % | 3.48 |  | 3.48% |
| 8 | Interstate loss on (6) | MU | 29.08 |  | 23.92 |
| 9 | UI purchase | MU | - |  | 176.83 |
| 10 | Energy available at state periphery (5+6-8+9) | MU |  |  | 841.33 |
| 11 | Intra state transmission loss @ 3.6% | MU |  |  | 30.28 |
| 12 | Net energy available at distribution periphery |  |  |  | 811.05 |
| 13 | Surplus (13-4) |  |  |  | 48.99 |
| 14 | Grossed up by 3.6% |  |  |  | 50.78 |

# 5.7	Power purchase cost

The MSPDCL has furnished actual power purchase cost at Rs. 274.26 Cr for purchase of 864.24 MU including UI power of 176.83 MU and free power of 42.42 MU. The above cost includes payment of supplementary bills of Rs. 34.16 Cr. The average cost works out to Rs. 3.17/kwh as against 2.94/kwh approved by the Commission, which is considered reasonable.

The Commission approves power purchase cost of Rs. 274.26 Cr for FY 2014-15 after true up as detailed in table below.

Table 5.6 Power purchase cost approved by the Commission for FY 2014-15 after true up

| Name of source | Plant capacity (MW) | Licensee’s share in % | FY 2014-15 Actual |
| --- | --- | --- | --- |
|  |  |  | MU purchased / generated (ex-bus) | All charges total in Rs Cr | Average rate (Rs/kwh) |
| CGS-NEEPCO |  |  |  |  |  |
| Kopili – I HE | 200.00 | 7.39% | 39.53 | 3.82 | 0.97 |
| Kopili – II HE | 25.00 | 6.96% | 5.62 | 1.04 | 1.85 |
| Khangdong HE | 50.00 | 6.56% | 5.68 | 1.50 | 2.64 |
| Ranganadi HE Project | 405.00 | 8.37% | 92.37 | 26.72 | 2.89 |
| Doyang HE Project | 75.00 | 7.87% | 12.30 | 5.72 | 4.65 |
| Assam GBPP | 291.00 | 8.11% | 138.67 | 50.96 | 3.67 |
| Agartala GTPP I & II | 135.00 | 8.31% | 51.15 | 21.07 | 4.12 |
| CGS-NHPC | 105.00 | 37.73% |  |  |  |
| Loktak HE |  |  | 64.10 | 20.93 | 1.96 |
| Loktak Free Power |  |  | 42.42 | 0.00 |  |
| Other |  |  |  |  |  |
| Baramura GBPP Unit IV & V | 42.00 | 25.00% | 82.59 | 24.55 | 2.97 |
| OTPC Pallatana Unit I & II | 726.60 | 5.78% | 152.98 | 36.12 | 2.36 |
| Sub total |  |  | 687.41 | 192.43 | 2.80 |
| Power purchased under UI/Trading |  |  | 176.83 | 47.67 | 2.70 |
| Sub total |  |  |  | 240.10 |  |
| Supplementary bills/Arrears |  |  |  | 34.16 |  |
| Total |  |  | 864.24 | 274.26 | 3.17 |

# 5.8	Fuel cost

The MSPDCL has furnished atual fuel cost for various diesel generator sets at Rs. 1.19 Cr for generation of 0.68 MU at an average cost of Rs. 17.50 kwh.

The Commission approves fuel cost at Rs. 1.19 Cr for FY 2014-15 as per actuals.

# 5.9	Transmission cost

The MSPDCL has furnished actual PGCIL cost at Rs. 29.94 Cr and SLDC charges at Rs. 2.25 Cr. The MSPDCL in its letter No.2/49/2016/MSPDCL(Comml)/1291-93, dated 18.2.2017 has stated that as per state Government’s decision, MSPCL charges shall be compensated by way of grant. As such the MSPCL transmission charges are not claimed by MSPDCL. The transmission charges claimed by MSPDCL are as detailed in table below.

Table 5.7 Transmission charges claimed by MSPDCL for FY 2014-15

| SI. No. | Particulars | Furnished by MSPDCL | Approved by the Commission |
| --- | --- | --- | --- |
| 1 | PGCIL charges | 29.94 | 29.94 |
| 2 | MSPCL charges | - | - |
| 3 | SLDC charges | 2.25 | 2.25 |
| 4 | Total | 32.19 | 32.19 |

The Commission approves transmission charges at Rs. 32.19 Cr for FY 2014-15 after true up.

# 5.10	O&M expenses

O&M expenses comprises of

- Employee cost

- R&M expenses

- Administrative and General expenses

# 5.10.1	Employee cost

The MSPDCL has furnished actual employee expenses at Rs. 63.07 Cr.

The Commission approves employee expenses at Rs. 63.07 Cr for FY 2014-15 after true up.

# 5.10.2	R&M expenses

The MSPDCL has furnished actual R&M expenses at Rs. 2.47 Cr for FY 2014-15.

The Commission approves R&M expenses at Rs. 2.47 Cr for FY 2014-15 after true up.

# 5.10.3	Administrative and General expenses

The MSPDCL has furnished Administrative and General expenses at Rs. 7.20 Cr for FY 2014-15.

Commission analysis

As verified from annual accounts the Administrative and General expenses are Rs. 4.73 Cr. In the accounts R&M expenses of Rs. 2.47 Cr and Administrative and General expenses of Rs. 4.73 Cr totaling to Rs. 7.20 Cr are shown as other expenses vide note 17 of annual accounts.

The Commission approves Administrative and General expenses at Rs. 4.73 Cr for FY 2014-15 after true up.

Table 5.8 Summary of O&M expenses approved by Commission for FY 2014-15 after true up

| SI. No. | Particulars | Furnished by MSPDCL | Approved by Commission |
| --- | --- | --- | --- |
| 1 | Employee cost | 63.07 | 63.07 |
| 2 | R&M expenses | 2.47 | 2.47 |
| 3 | Administrative and General expenses | 7.20 | 4.73 |
| 4 | Total | 72.74 | 70.27 |

# 5.11	Capital investment

The MSPDCL has furnished actual capital investment of Rs. 154.97 Cr and capitalization of Rs. 0.80 Cr during FY 2014-15 as detailed in table below.

Table 5.9 CWIP

| SI. No. | Particulars | FY 2014-15 |
| --- | --- | --- |
| A | Opening balance of CWIP | 352.09 |
| B | Fresh investment during the year | 154.97 |
| C | Investment capitalized out of opening CWIP | - |
| D | Investment capitalized out of fresh investment | 0.80 |
|  | Total capitalization during the year (C+D) | .080 |
|  | Closing balance of CWIP (A+B-C-D) | 506.26 |

Capitalisation is not commensurate with the investment. The licensee shall gear up the works and complete them within the targeted dates. With the above observation the investment of Rs. 154.97 Cr and Capitalisation of Rs. 0.80 Cr is approved.

# 5.12	Gross Fixed Assets and Depreciation

The growth of GFA and depreciation as per annual accounts are furnished in table below.

Table 5.10 GFA and Depreciation for FY 2014-15 approved by the Commission after true up

| Sl. No. | Particulars | Amount |
| --- | --- | --- |
| 1 | Opening GFA | 553.85 |
| 2 | Additions | 0.80 |
| 3 | Closing GFA | 554.65 |
| 4 | Average GFA | 554.25 |
| 5 | Average rate of Depreciation | 2.6% |
| 6 | Depreciation | 14.41 |
| 7 | 1% of Depreciation | 0.14 |

The Commission approves depreciation at Rs. 0.14 Cr as against Rs. 0.29 Cr furnished by MSPDCL for FY 2014-15 after true up.

# 5.13	Interest and Finance charges

As per annual accounts for FY 2014-15, no loan is outstanding and the MSPDCL also has not claimed any interest for FY 2014-15.

Accordingly, the Commission has not considered any interest during FY 2014-15 after true up.

# 5.14	Interest and Working Capital

As per Regulation 98(6) of JERC (M&M) (Terms and Conditions for Determination of Tariff) Regulations, 2010, interest on working capital shall be allowed on normative basis at SBI PLR on 1st April of the relevant year on 1 (one) month requirement of the following costs.

- Power purchase expenses

- Employee expenses

- R&M expenses

- Administrative and General expenses

The interest on working capital is worked out on the approved costs as detailed in table below.

Table 5.11 Interest on Working Capital approved by the Commission for FY 2014-15 after true up

| Sl. No. | Particulars | Total cost | One month cost |
| --- | --- | --- | --- |
| 1 | Power purchase including transmission charges | 306.45 | 25.54 |
| 2 | Employee cost one month | 63.07 | 5.26 |
| 3 | R&M expenses one month | 2.47 | 0.21 |
| 4 | Administrative and General expenses one month | 4.73 | 0.39 |
| 5 | Total |  | 31.40 |
| 6 | SBI PLR as on 1.4.2014 |  | 14.75% |
| 7 | Interest on Working Capital |  | 4.63 |

The Commission approves interest on working capital at Rs. 4.63 Cr for FY 2014-15 as against Rs. 5.95 Cr furnished by MSPDCL after true up.

# 5.15	Provision for bad debts

The MSPDCL has not claimed any amount under this head.

# 5.16	Return on equity

The MSPDCL has not claimed any amount under this head as there is no actual equity infusion.

# 5.17	Non tariff income

The MSPDCL has furnished non tariff income at Rs. 5.11 Cr for FY 2014-15.

Commission analysis

As per annual accounts, non tariff income works out to Rs. 5.12 Cr for FY 2014-15.

The Commission approves non tariff income at Rs. 5.12 Cr for FY 2014-15 after true up.

# 5.18	Revenue from energy sales for FY 2014-15

The actual revenue from energy sales as per annual accounts FY 2014-15 are as detailed in table below:

Table 5.12 Revenue from energy sales for FY 2014-15 after true up

| Revenue | FY 2014-15 Actuals |
| --- | --- |
| Kurti Jyoti | 2.28 |
| Domestic | 78.18 |
| Commercial | 12.95 |
| Public lighting | 1.47 |
| Public water works | 8.08 |
| Agriculture and Irrigation | 1.09 |
| Cottage and Small Industries | 2.57 |
| Bulk | 39.34 |
| Temporary | 0.02 |
| Medium Industries | 1.25 |
| Large Industries | 3.49 |
| Total revenue from own sales | 150.72 |
| UI/trading Receivable | 10.13 |
| Less: Discount | 21.65 |
| Total | 139.2 |

# 5.19	Aggregate Revenue Requirement

Based on the approved data, the ARR furnished by MSPDCL and approved by the Commission are furnished in table below.

Table 5.13 Aggregate Revenue Requirement approved by the Commission for FY 2014-15 after true up

| SI. No. | Particulars | Furnished by MSPDCL (in Rs. Cr) | Approved by Commission for FY 2014-15 (in Rs. Cr) |
| --- | --- | --- | --- |
| 1 | Fuel cost |  | 1.19 |
| 2 | Power purchase cost | 275.45 | 274.26 |
| 3 | Interstate transmission charges | 29.94 | 29.94 |
| 4 | Intra state transmission charges | - | - |
| 5 | SLDC charges | 2.25 | 2.25 |
| 6 | Employee cost | 63.07 | 63.07 |
| 7 | R&M expenses | 2.47 | 2.47 |
| 8 | Adm & Gen expenses | 7.20 | 4.73 |
| 9 | Depreciation | 0.29 | 0.14 |
| 10 | Interest and finance charges | - | - |
| 11 | Interest on working capital | 5.93 | 4.63 |
| 12 | Provision for bad debt | 0.00 | - |
| 13 | RoE | 0.00 | - |
| 14 | Less non tariff income | - | 5.12 |
| 15 | Net ARR | 386.60 | 377.56 |

# 5.20	Revenue Gap

Table 5.14 Revenue Gap

| SI. No. | Particulars | Furnished by MSPDCL (in Rs. Cr) | Approved by Commission for FY 2014-15 (in Rs. Cr) |
| --- | --- | --- | --- |
| 1 | Total ARR | 386.60 | 377.56 |
| 2 | Total revenue | 139.20 | 139.20 |
| 3 | Revenue gap | 247.4 | 238.36 |
| 4 | Government Grant considered as revenue | 229.25 | 229.25 |
| 5 | Effective Revenue Gap | 18.15 | 9.11 |
| 6 | Government Grant in Capital Reserves | 20 | 20.00 |
| 7 | Net Revenue Gap (Surplus) | 1.75 | 10.89 |

As seen from the above there is a revenue surplus of Rs. 10.89 Cr after true up which will be passed on to consumers through ARR for FY 2017-18.

# 6.   True up of ARR for FY 2015-16

## 6.1 	Back ground

The commission had approved ARR for FY 2015-16 on 27.2.2015.  The commission had carried out Annual Performance Review based on the revised estimates submitted by MSPDCL on 29.2.2016, which resulted in a revenue gap of Rs. 113.35 Cr.

Now MSPDCL has submitted petition for provisional true up along with ARR & Tariff  petition of FY 2017-18 as per Regulation 10.2 of JERC (Terms and Conditions for Determination of Tariff) Regulations, 2010 based on actuals without annual accounts which are stated to be under compilation.  As per Regulation 10.6 of JERC (Terms and Conditions for Determination of Tariff) Regulations, 2010, the Commission has to undertake true up based on audited accounts and pass an order recording approved aggregate gain or loss on account of controllable factors and the amount of such gains or losses that may be shared in accordance with Regulation 13 of JERC (Terms and Conditions for Determination of Tariff) Regulations, 2010.

## 6.2 	True up of petition for FY 2015-16

Since the MSPDCL has not submitted audited accounts for FY 2015-16 only provisional true up is carried out without passing on gains or losses on account of controllable factors in accordance with Regulation 13 of JERC (Terms and Conditions for Determination of Tariff) Regulations, 2010.

## 6.3     Energy Sales

The MSPDCL in its true up petition for FY 2015-16 has furnished actual energy sales at 475 MU as against approved energy sales of 678 MU.

The category wise energy sales approved by the commission in its T.O dated 27.2.2015 and actuals furnished by MSPDCL. (The MSPDCL has rounded of the category wise sales) now approved by the Commission are furnished in the Table below:

Table 6.1 Energy Sales approved by the commission after true up for FY 2015-16

| Sl. No. | Category | Approved 2015-16 | Actuals 2015-16 | Now approved by the commission |
| --- | --- | --- | --- | --- |
| 1 | KutirJyoti | 10 | 16 | 15.57 |
| 2 | Domestic | 317 | 283 | 283.28 |
| 3 | Commercial | 58 | 40 | 39.84 |
| 4 | Public Lighting | 7 | 4 | 4.13 |
| 5 | Public Water-works | 40 | 17 | 16.69 |
| 6 | Agri & Irrigation | 12 | 2 | 1.78 |
| 7 | Cottage & Small Industries | 20 | 16 | 16.20 |
| 8 | Bulk | 191 | 90 | 89.75 |
| 9 | Temporary | - | 0 | 0.12 |
| 10 | Medium Industries | 3 | 3 | 3.14 |
| 11 | Large Industries | 20 | 4 | 4.48 |
| 12 | TOTAL: | 678 | 475 | 474.98 |

The commission approved energy sales at 474.98 MU for FY 2015-16 after true up.

## 6.4 	Distribution Loss

The commission in its order dated 27.2.2015 had approved distribution loss at 20.4% for FY 2015-16.

The MSPDCL in its petition for true up of  FY 2015-16 has furnished actual distribution loss at 33.67% and T&D loss at 35.98% as detailed in table below:

Table 6.2 Calculation of Distribution & T&D Loss furnished by MSPDCL for FY 2015-16

| SI No. | Particulars | Unit | Actual FY 2015-16 |
| --- | --- | --- | --- |
| A | Energy Sales | MU | 474.98 |
| B | Total Power purchase (including UI and deducting inter State transmission loss) | MU | 978.14 |
| C | UI Sales | MU | 236.26 |
| D | Energy Available at State Periphery (B-C) | MU | 741.88 |
| E | Intra-State Losses | % | 3.60% |
|  | Intra-State Losses | MU | 25.78 |
| F | Energy Available for Distribution at Distribution Periphery (D-E) | MU | 716.10 |
| G | Distribution Loss (F-A) | MU | 241.13 |
| H | Distribution Loss (G/F) | % | 33.67 |
| I | T&D Loss (E+G) | MU | 266.91 |
| J | T&D Loss ((E+G)/D) | % | 35.98% |

Source Table 15 of Petition

Commission Analysis

As Verified from the above calculation MSPDCL has not considered interstate transmission losses of NER which are about 3.22% being the average weekly loss from 30.3.2015 to 27.3.2016 (52 Weeks).  Further the UI purchases are not quantified.  As such the distribution losses are recalculated as detailed in table below.

Table 6.3 MSPDCL Actual Distribution loss approved by the commission for FY 2015-16

| SI. No | Particulars | Unit | FY 2015-16 |
| --- | --- | --- | --- |
| A | Energy Availability |  |  |
| 1 | Own Generation | MU | 1.01 |
| 2 | Power Purchase from CGS in NER | MU | 858.85 |
| 3 | Pool Losses | % | 3.22% |
| 4 | Pool Losses on (2) above | MU | 27.66 |
| 5 | Add: UI Purchases | MU | 119.29 |
| 6 | Less: UI Sales | MU | 236.26 |
| 7 | Energy available (1+2-4+5-6) | MU | 715.23 |
| 8 | Less intra State Transmission Loss at 3.6% on (7) |  | 25.75 |
| 9 | Net energy available for sale within the state |  | 689.48 |
| 10 | Energy Sales within the State | MU | 474.98 |
| 11 | Distribution Loss(9-10) | MU | 214.50 |
| 12 | Distribution (11/9) | % | 31.11% |

Thus the distribution loss during FY 2015-16 works out to 31.11% as against 33.67% furnished by MSPDCL.   As a result the T&D losses are worked out to 34.71% (31.11+3.6)

The commission accordingly approved distribution loss at 31.11% for FY 2015-16 after true up.

## 6.5 	Energy Requirement

The commission in its order dated 27.2.2015 had approved energy requirement at distribution periphery as 851.76 MU for FY 2015-16.

The actuals furnished by MSPDCL and now approved by the commission are furnished in table below:

Table 6.4 Energy Requirement approved by the commission for FY 2015-16 after true up.

| SI. No | Particulars | Unit | Approved In Tariff Order dated 27.02.2015 | Actual FY 2015-16 | Now approved by the commission |
| --- | --- | --- | --- | --- | --- |
| A | Energy Requirement |  |  | - |  |
| 1 | Energy sales | MU | 678.0 | 474.98 | 474.98 |
| 2 | Distribution loss | % | 20.4% | 33.67% | 31.11% |
| 3 | Distribution Loss | MU | 173.75 | 241.13 | 214.50 |
| 4 | Energy Requirement | MU | 851.76 | 716.10 | 689.48 |

The commission approves energy requirement as 689.48 MU as against 716.10 MU furnished by MSPDCL for FY 2015-16.

## 6.6  	Source of power

The actual power procurement as compared to approved figures for FY 2015-16 are as given below:

## 6.6.1    Own Generation

MSPDCL is having its own generation plants such as small Hydel, diesel and HFO with installed capacity of 45.11 MW and the Net generation is 1.01 MU during FY 2015-16 detailed in Table below:

Table 6.5 : Own Generation for FY 2015-16

| Sl. No. | Item | Unit | Approved (MU) | Actual (MU) |
| --- | --- | --- | --- | --- |
| 1 | Generation from hydel | MU | 0.33 | 0.33 |
| 2 | Diesel | MU | 0.68 | 0.68 |
| 3 | Total Units Generated |  | 1.01 | 1.01 |
|  | Cost |  |  |  |
| 4 | Total Fuel Cost | Rs. Crores | 1.19 | 1.19 |

The commission approved own generation  at 1.01 MU for FY 2015-16 after true up.

## 6.6.2    Power purchase from CGSs

The MSPDCL has been allocated power from various central generating stations in North Eastern Region (viz. NEEPCO, NHPC, Tripura-Baramura and OTPC- Pallatana) and NTPC – Bongaigaon for power purchase under long term PPA basis. The actual power purchase against approved figures for FY 2015-16 are as detailed in Table below:

Table 6.6: Energy Drawl (MU) for FY 2015-16

| Source | Approved FY 2015-16 | Actual FY 2015-16 |
| --- | --- | --- |
| NEEPCO (Hydro) |  |  |
| Kopili I HEP | 55.74 | 49.74 |
| Kopili II HEP | 6.05 | 6.51 |
| Khandong HEP | 11.30 | 11.07 |
| Ranganadi HEP | 88.65 | 110.01 |
| Doyang HEP | 17.05 | 12.08 |
| Subtotal | 178.79 | 189.41 |
| NEEPCO(Gas Based) |  |  |
| Assam Gas based Power Project | 137.29 | 139.62 |
| Agartala Gas Turbine Power Project | 52.33 | 66.32 |
| Subtotal | 189.62 | 205.94 |
| NHPC (Loktak HEP) |  |  |
| Purchased | 101.48 | 125.14 |
| Free Power | 67.21 | 61.81 |
| Subtotal | 168.69 | 186.95 |
| TRIPURA |  |  |
| Baramura (Gas Based)(Unit IV and V) | 64.29 | 79.34 |
| OTPC - (Pallatana - Unit-I) | 154.80 | 197.21 |
| OTPC - (Pallatana - Unit-II) | 154.80 |  |
| NTPC Bongaigaon Unit - I | 90.84 | 0 |
| NTPC Bongaigaon Unit-II | 30.11 | 0 |
| Renewable-Solar | 2.58 REC | 1.5 REC |
| Renewable-Non Solar | 49.07 REC | 2.50 REC |
| Sub Total | 494.84 | 276.55 |
| Gross Power Purchase (incl UI purchase) | 1031.94 | 858.85 |

Source Table 18 of Petition

As it can be seen from the above table, the actual gross power purchase stands at 858.85 MU as compared to 1031.94 MU approved by the Hon’ble commission for FY 2015- 16. The reason for this deviation may be attributed to shortfall of power availability due to delay in commissioning of the upcoming power plants NTPC Bongaigaon unit I and II. Hence, MSPDCL requests the Hon’ble commission to approve the gross power purchase of 858.85 MU for limited truing up.

Commission’s Analysis

MSPDCL has stated that the power purchase is 858.85 including UI purchases,  which is not correct for the reason that the MSPDCL has furnished in table 20 of the Petition that the energy available for distribution as 978.14. As such the actual Power Purchase is 858.85 + UI 119.29= 978.14 as detailed in Table below:

Table 6.7: Energy Drawl (MU) for FY 2015-16 approved by the Commission

| Source | Approved FY 2015-16 | Actual FY 2015-16 | Now approved by the Commission |
| --- | --- | --- | --- |
| NEEPCO (Hydro) |  |  |  |
| Kopili I HEP | 55.74 | 49.74 | 49.74 |
| Kopili II HEP | 6.05 | 6.51 | 6.51 |
| Khandong HEP | 11.30 | 11.07 | 11.07 |
| Ranganadi HEP | 88.65 | 110.01 | 110.01 |
| Doyang HEP | 17.05 | 12.08 | 12.08 |
| Subtotal | 178.79 | 189.41 | 189.41 |
| NEEPCO(Gas Based) |  |  |  |
| Assam Gas based Power Project | 137.29 | 139.62 | 139.62 |
| Agartala Gas Turbine Power Project | 52.33 | 66.32 | 66.32 |
| Subtotal | 189.62 | 205.94 | 205.94 |
| NHPC (Loktak HEP) |  |  |  |
| Purchased | 101.48 | 125.14 | 125.14 |
| Free Power | 67.21 | 61.81 | 61.81 |
| Subtotal | 168.69 | 186.95 | 186.95 |
| TRIPURA |  |  |  |
| Baramura (Gas Based)(Unit IV and V) | 64.29 | 79.34 | 78.34 |
| OTPC – (Pallatana – Unit-I) | 154.80 | 197.21 | 197.21 |
| OTPC – (Pallatana – Unit-II) | 154.80 |  |  |
| NTPC Bongaigaon Unit – I | 90.84 | 0 | 0 |
| NTPC Bongaigaon Unit-II | 30.11 | 0 | 0 |
| Renewable-Solar | 2.58 REC | 1.5 REC | - |
| Renewable-Non Solar | 49.07 REC | 2.50 REC | - |
| Sub Total | 494.84 | 276.55 | 276.55 |
| UI purchase | - | - | 119.29 |
| Gross Power Purchase (including UI purchase) | 1031.94 | 858.85 | 978.14 |

The commission approves power purchase from CGSs as 978.14 MU as against 858.85 MU furnished by MSPDCL for FY 2015-16 after true up.

## 6.7 	Energy  Balance

The actual energy balance for FY 2015-16 against approved figures is as detailed in the table below:

Table 6.8 : Energy Balance furnished by MSPDCL for FY 2015-16

| Sl. No | Particulars | Unit | FY 2015-16 |
| --- | --- | --- | --- |
| A | Energy requirement |  |  |
| 1 | Energy sales | MU | 678 |
| 2 | Distribution loss | % | 20.4% |
| 3 | Distribution loss | MU | 173.75 |
| 4 | Energy requirement | MU | 851.76 |
| B | Energy availability | MU | 1031.94 |
| 5 | Own generation (Net) | MU | 1.01 |
| 6 | Power purchase | MU | 1031.94 |
| 7 | Less: External losses | % | 2.99% |
| 8 | Less: External losses | MU | 30.86 |
| 9 | Add U I Purchases | MU |  |
| 10 | Net energy available at State Periphery (5+6-8+9) | MU | 1001.08 |
| 11 | Transmission (Intra-State) Loss 3.6% | MU | 36.04 |
| 12 | Energy available for distribution | MU | 965.04 |
| 13 | Total Energy available | MU | 966.05 |
| 14 | Surplus (13-4) |  | 114.29 |
| 15 | Surplus grossed up by 3.6% for sale outside the state |  | 118.56 |

Source Table 19 of Petition

Table 6.9: Actual Energy Balance for FY 2015-16

| Particulars | Unit | Actual FY 2015-16 |
| --- | --- | --- |
| Energy Sales | MU | 474.98 |
| Distribution loss | % | 33.67% |
| Energy Requirement @ distribution periphery | MU | 716.10 |
| Intra State Transmission Loss 3.6% | % | 3.60% |
| Energy Requirement @ state periphery | MU | 741.88 |
| Energy Available for Distribution | MU | 978.14 |
| Surplus (Deficit) | MU | 236.26 |

Source Table 20 of Petition

As it may be seen above that there is a surplus in energy of 236.26 MU in actual energy balance for 2015-16 MU and the same constituted for outside State sales. The difference in approved and actual figures is due to lesser energy sales during FY 2015-16. Hence, MSPDCL requests the Hon’ble Commission to consider the same for truing up for FY 2015-16.

Commission’s Analysis

The commission has calculated the energy balance with approved data as detailed in Table below:

Table 6.10: Energy Balance approved by the Commission for FY 2015-16 after True up

| Sl. No. | Particulars | Unit | Approved by the Commission |
| --- | --- | --- | --- |
| A | Energy requirement |  |  |
| 1 | Energy sales | MU | 474.98 |
| 2 | Distribution loss | % | 31.11% |
| 3 | Distribution loss | MU | 214.50 |
| 4 | Energy requirement | MU | 689.48 |
| B | Energy availability | MU |  |
| 5 | Own generation (Net) | MU | 1.01 |
| 6 | Power purchase | MU | 858.85 |
| 7 | Less: External losses | % | 3.22% |
| 8 | Less: External losses | MU | 27.66 |
| 9 | Add: UI Purchases | MU | 119.29 |
| 10 | Net energy available at State Periphery (5+6-8+9) | MU | 951.49 |
| 11 | Transmission (Intra-State) Loss 3.6% | MU | 34.25 |
| 12 | Energy available for distribution | MU | 917.24 |
| 13 | Surplus (12-4) |  | 227.76 |
| 14 | Surplus grossed up by 3.6% for sale outside the state |  | 235.96 |

Thus the surplus energy works out to 235.96 MU as against 236.26 MU furnished by MSPDCL for FY 2015-16 after True up.

## 6.8       Fuel Cost

The commission in its order dated 27.2.2015 had approved final cost as Rs. 1.19 Cr for FY 2015-16.

The MSPDCL has furnished the actual fuel cost at Rs. 1.19 Cr for FY 2015-16 after true up.

The commission approves fuel cost at Rs. 1.19 Cr for FY 2015-16 after true up as per actuals.

## 6.9       Power Purchase cost

The Commission in its order dated 27.2.2015 had approved power purchases cost at Rs. 310.97 Cr for purchases of 1031.94 MU (Table 5.22 of Tariff Order dated 27.02.2015).

Now the MSPDCL has furnished actual power purchase cost as Rs. 305.53 Cr for FY 2015-16 which included NERLDC charges of 2.63 Cr and U.I purchases of 41.34 Cr as detailed in table below :

Table 6.11: Power Purchase Cost  furnished by MSPDCL for FY 2015-16

| SI. No. | Station | Approved FY 2015-16 | Actuals furnished by MSPDCL by FY 2015-16 |
| --- | --- | --- | --- |
|  |  | Average rate (Rs./Kwh) | Total Cost (Rs.crore) | Average rate (Rs./Kwh) | Total Cost (Rs.crore) |
| A | NEEPCO |  |  |  |  |
| 1 | Koppili I HEP | 0.97 | 4.53 | 0.90 | 4.46 |
| 2 | Koppili II HEP | 1.84 | 1.07 | 1.94 | 1.26 |
| 3 | Khandong HEP | 2.64 | 2.46 | 1.90 | 2.11 |
| 4 | Ranganadi HEP | 2.96 | 27.34 | 2.68 | 29.50 |
| 5 | Doyang HEP | 4.33 | 6.67 | 4.73 | 5.72 |
|  | Sub-total of (A) |  | 42.07 |  | 43.05 |
| B | NEEPCO (Gas Based) |  |  |  |  |
| 6 | Assam Gas based power project | 3.85 | 53.39 | 3.83 | 53.45 |
| 7 | Agartala Gas Turbine power project (I & II) | 4.23 | 23.26 | 3.49 | 23.12 |
|  | Sub-total of (B) |  | 76.64 |  | 76.57 |
| C | NHPC – Loktak HEP |  |  |  |  |
| 8 | Power Purchased | 2.00 | 23.55 | 1.86 | 34.77 |
| 9 | Free Power | 0.00 | 0.00 |  | 0.00 |
|  | Sub-total of (C) |  | 23.55 |  | 34.77 |
| D | TRIPURA |  |  |  |  |
| 10 | Baramura (IV) | 3.01 | 24.86 | 3.13 | 24.85 |
| 11 | Baramura (V) | 3.51 | 22.57 |  |  |
|  | Sub-Total |  |  |  | 24.85 |
| E | OTPC |  |  |  |  |
| 12 | Pallatana Unit-I | 2.74 | 41.92 | 2.79 | 55.00 |
| 13 | Pallatana Unit-II |  |  |  |  |
|  | Sub-Total |  | 66.78 |  | 55 |
| F | NTPC |  |  |  |  |
| 14 | Bongaigam Unit-I | 3.00 | 6.81 |  | 0 |
|  | Sub-Total |  | 6.81 |  | 0 |
| G | Renewable Energy |  |  |  |  |
| 15 | REC- Solar |  | 0.92 |  | 0.49 |
| 16 | REC- Non solar |  | 7.52 |  | 0.42 |
|  | Sub-Total |  | 8.44 |  | 0.91 |
|  | Total |  | 224.30 |  | 235.15 |
| 17 | UI Purchase |  | 77.00 |  | 41.34 |
| 18 | NERLDC Charges |  | - |  | 2.63 |
| 19 | Arrears/Supplementary Bills |  | - |  | 26.41 |
|  | Total Power Purchase Cost (excluding Transmission Charges) |  | 301.30 |  | 305.53 |
| 20 | Fuel Cost |  | 1.19 |  | 1.19 |
|  | Total Power Purchase Cost (excl. Transmission Charges, including fuel cost) |  | 302.49 |  | 306.72 |
| H | Transmission Charges |  |  |  |  |
| 21 | MSPCL Charges |  | 24.79 |  | 24.79 |
| 22 | PGCIL Charges |  | 41.37 |  | 41.37 |
|  | Sub-Total |  | 66.16 |  | 66.16 |
|  | Total Power Purchase cost (including Transmission Charges & Fuel Cost) |  | 368.65 |  | 372.88 |
|  | Total Power Purchase cost (including Transmission Charges & Fuel Cost) |  | 368.65 |  | 372.88 |

Source Table 21 of Petition

Commission Analysis

As seen from tables 6.6 and 6.11 furnished by MSPDCL, the UI purchases are not quantified but UI purchase cost is arrived as Rs. 41.34 Cr.  From the data furnished in table 6.6 and 6.9 supra, the quantity of UI purchase  is arrived as 119.29 MU (978.14-858.85).

The commission approves power purchase cost of Rs. 302.90 Cr excluding SLDC charges of Rs. 2.63 Cr, fuel cost of Rs. 1.19 Cr, MSPCL charges of Rs. 24.79 Cr and PGCIL charges of Rs. 41.37 Cr but including UI purchase cost of Rs 41.34 Cr and payment of arrear supplementary bills of Rs. 26.41 Cr for FY 2015-16 after true up as per actuals.

## 6.10     Transmission  Charges

The transmission charges approved by the commission in its order dated 27.2.2015 and furnished by MSPDCL in its true up petition and now approved by the commission and furnished in table below:

Table 6.12: Transmission charges approved by the commission for FY 2015-16 after true up

(Rs. Crores)

| Sl. No | Particulars | Approved in order date 27-2-2015 | Furnished by MSPDCL (Actual) | Now approved by the Commission |
| --- | --- | --- | --- | --- |
| 1 | PGCIL Charges | 40.18 | 41.37 | 41.37 |
| 2 | SLDC Charges | 1.80 | 2.63 | 2.63 |
| 3 | MSDCL Charges | 43.76 | 24.79 | 31.01 |
| Total |  | 85.74 | 68.79 | 75.01 |

The commission approved transmission charges at Rs. 75.01 for FY 2015-16 after true up.

Note:  MSPCL charges are taken from MSPCL true up ARR for 2015-16

## 6.11    O&M Expenses

O&M expenses comprises of employee cost, R&M expenses and Administrative and General expenses.

The O&M expenses approved by the commission in its order dated 27.2.2015, actuals furnished by MSPDCL and now approved by the commission for FY 2015-16 after True up are furnished in table below:

Table 6.13: O&M expenses approved by the commission for FY 2015-16 after true up

| Sl. No | Particular | Approved its Order date 27-2-2015 | Actual furnished by MSPDCL | Now approved the commission |
| --- | --- | --- | --- | --- |
| 1 | Employee expenses | 76.25 | 75.14 | 75.14 |
| 2 | R & M expenses | 4.00 | 5.38 | 5.38 |
| 3 | Admn & General expenses | 1.25 | 2.42 | 2.42 |
| Total |  | 81.50 | 82.94 | 82.94 |

The commission approves O&M expenses as Rs. 82.94 Cr as per actuals furnished by MSPDCL for FY 2015-16 after true up.

## 6.12     Depreciation

The commission is its order dated 27.2.2015 had approved depreciation as Rs. 0.61 Cr for FY 2015-16 being the depreciation on non  grant  assets.  The MSPDCL in its true up petition has stated that the amount of depreciation will be made available after audited financial statement for FY 2015-16 are ready.

As such the commission has not considered depreciation for FY 2015-16 after true up.

## 6.13      Interest and Finance Charges

The Commission is its order dated 27.2.2015 had approved interest and finance charges as Rs. 0.39 Cr for FY 2015-16.

The MSPDCL in its true up petition has not claimed any interest and finance charges for FY 2015-16.

The Commission has not considered interest and finance charges for FY 2015-16 after true up.

## 6.14     Interest on Working Capital

As per Regulation 98(6) of JERC (Terms and conditions for determination of tariff) Regulations, 2010, interest on working capital comprises of.

- O & M expenses for one month plus

- Power purchase cost one month  plus.

- Receivables  equivalent to one month of the expected revenue from sale of electricity at prevailing tariffs minus

- Amount held as security deposit under clause (a) and (b) of subsection (1) of section 47 of the Act from consumers except security  deposit held in the form of bank guarantees.

- Interest shall be allowed as a rate equivalent in S B A R as on 1st April of the financial year in which the petition is filed.

The Commission is its order dated 27.02.2015 had approved interest on working capital  at Rs. 12.50 Cr for FY2015-16.

Now the MSPDCL claimed interest on working capital as Rs. 7.00 Cr for FY 2015-16.

The MSPDCL has not furnished actual revenue from   sale of power.  As such the same is worked out as detailed in table below:

Table 6.14: Revenue from Approved sales and Tariff for FY 2015-16

| SI. No | Consumer category | Energy sales approved by the Commission (MU) | Average Rate (Rs. /kWh) | Revenue (Rs. Crore) |
| --- | --- | --- | --- | --- |
| 1 | Kutir Jyoti | 15.57 | 1.82 | 2.83 |
| 2 | Domestic | 283.28 | 3.82 | 108.21 |
| 3 | Commercial | 39.84 | 5.60 | 22.31 |
| 4 | Public lighting | 4.13 | 5.23 | 1.51 |
| 5 | Public water works LT | 1.69 | 5.17 | 0.87 |
|  | Public water works HT | 15 | 5.64 | 8.46 |
| 6 | Irrigation & Agriculture LT | 0.78 | 3.09 | 0.24 |
|  | Irrigation & Agriculture HT | 1 | 3.09 | 0.31 |
| 7 | Small industries | 16.20 | 3.68 | 5.96 |
| 8 | Medium industries | 3.14 | 7.14 | 2.24 |
| 9 | Large Industries | 4.48 | 4.81 | 12.94 |
| 10 | Bulk supply | 89.75 | 4.56 | 40.93 |
| Total |  | 474.86 |  | 206.81 |

Note: Temporary supply sales of 0.12 MU are not considered.

Thus the revenue from actual sale of power during FY 2015-16 works out to Rs. 206.81 Cr.  In the absences  of  annual accounts GFA of Rs. 786.76 Cr furnished by MSPDCL is adopted and interest on working capital worked out as detailed in table below:

Table 6.15: Interest on working capital approved by the commission for FY 2015-16 after true up

| SI. No | Particulars | Total Cost | One Month |
| --- | --- | --- | --- |
| 1 | O & M expenses one month | 82.94 | 6.91 |
| 2 | Power purchase cost | Rs. 379.10 Cr | 31.59 |
| 3 | Receivable one month | Rs. 206.81 Cr | 17.23 |
| 4 | Total |  | 55.73 |
| 5 | Rate of interest beif SBAR as on 1.4.2015 |  | 14.05% |
| 6 | Interest on working capital |  | 7.83 |

The commission approves interest on working capital as Rs. 7.83 Cr for FY 2015-16 after true up.

## 6.15    Provision for bad debits

The commission in its  order dated 27.2.2015 had provided provision for bad details as Rs. 3.00 Cr for FY 2015-16.  The MSPDCL has now requested to consider the same amount.

Commission Analysis

AS the MSPDCL has not furnished the actual amount written off during FY 2015-16 no amount is considered.

## 6.16	Return on Equity

The commission in its order dated 27.2.2015 had approved ROE as 1.40 Cr for FY 2015-16.

The MSPDCL in its true up petition has now claimed RoE at Rs. 1.94 Cr including MAT as 20.01% and stated that the actual figure will be furnished soon on availability of audit accounts.

The commission approved ROE as 1.94 Cr for FY 2015-16 tentatively  for true up.

## 6.17     Non Tariff Income

The commission in its order dated 27.2.2015 had approved non tariff income as Rs. 0.32 Cr for FY 2015-16.

The MSPDCL in its true up petition has furnished non tariff income as Rs. 0.33 Cr for FY 2015-16.

The commission approved non tariff income as Rs. 0.33 Cr for FY 2015-16 after true up.

## 6.18     Aggregate Revenue Requirement

Based on the above analysis and approvals, the Aggregate Revenue Requirement computed by MSPDCL and now approved by the commission are furnished in the table below:

Table 6.16: : Aggregate Revenue Requirement approved by the Commission for FY 2015-16

| Sl. No | Particular | FY 2015-16 Approved | FY 2015-16 Actual | Now Approved |
| --- | --- | --- | --- | --- |
| 1 | Fuel Cost | 1.19 | 1.19 | 1.19 |
| 2 | Power purchase cost including SLDC | 310.97 | 305.53 | 305.53 |
| 3 | Transmission charges |  |  |  |
|  | Inter-State | 40.18 | 41.37 | 41.37 |
|  | Intra-State | 45.56 | 24.79 | 31.30 |
| 4 | Employee costs | 76.25 | 75.14 | 75.14 |
| 5 | Repair & Maintenance expense | 4.00 | 5.38 | 5.38 |
| 6 | Admn. & General Expenses | 1.25 | 2.42 | 2.42 |
| 7 | Depreciation | 0.61 | 0.20 | - |
| 8 | Interest & Finance Charges | 0.39 | - | - |
| 9 | Interest on Working capital | 12.50 | 7.00 | 7.83 |
| 10 | Provision for bad debts | 3.00 | 3.00 | - |
|  | Total Cost | 495.90 | 463.02 | 470.16 |
| 11 | Add: Return on Equity / ROE | 1.40 | 1.94 | 1.94 |
| 12 | Less: Non-Tariff income | 0.32 | 0.33 | 0.33 |
|  | Aggregate Revenue Requirement | 476.98 | 464.64 | 471.77 |

The Commission approves ARR at Rs. 471.77  Crores for FY 2015-16 after True up.

## 6.19     Revenue from Existing Tariff

Actual revenue from sale of power including U I sale is furnished in table below:

Table 6.17: Revenue from existing tariff for FY 2015-16

| Sl. No | Consumer category | Energy sales approved by the Commission (MU) | Average Rate (Rs. /kWh) | Revenue (Rs. Crore) |
| --- | --- | --- | --- | --- |
| 1 | Kutir Jyoti | 15.57 | 1.82 | 2.83 |
| 2 | Domestic | 283.28 | 3.82 | 108.21 |
| 3 | Commercial | 39.84 | 5.60 | 22.31 |
| 4 | Public lighting | 4.13 | 5.23 | 1.51 |
| 5 | Public water works LT | 1.69 | 5.17 | 0.87 |
|  | Public water works HT | 15 | 5.64 | 8.46 |
| 6 | Irrigation & Agriculture LT | 0.78 | 3.09 | 0.24 |
|  | Irrigation & Agriculture HT | 1 | 3.09 | 0.31 |
| 7 | Small industries | 16.20 | 3.68 | 5.96 |
| 8 | Medium industries | 3.14 | 7.14 | 2.24 |
| 9 | Large Industries | 4.48 | 4.81 | 12.94 |
| 10 | Bulk supply | 89.75 | 4.56 | 40.93 |
|  | Total Sales | 474.86 | 4.36 | 206.81 |
|  | U I sales | 235.96 | 1.86 | 43.80 |
|  | Total sales | 710.82 | 3.53 | 250.61 |

## 6.20     Revenue Gap

Based on the above approved data the revenue gap works out to Rs. 221.16 Cr as detailed in table below:

Table 6.18 : Revenue Gap for FY 2015-16

| Particulars | Unit | FY 2015-16 Approved | FY 2015-16 Actual | Now approved by the Commission |
| --- | --- | --- | --- | --- |
| Revenue requirement | Rs. Crore | 496.98 | 464.64 | 471.77 |
| Revenue from existing tariff | Rs. Crore | 279.04 | 202.88 | 206.81 |
| Outside state sales | Rs. Crore | 28.45 | 43.80 | 43.80 |
| Total revenue from sale of energy | Rs. Crore | 307.49 | 246.68 | 250.61 |
| Revenue gap | Rs. Crore | 189.49 | 217.96 | 221.16 |

# 7. Annual Performance Review for FY 2016-17

## 7.1      Back Ground

The Commission had approved the ARR and tariffs for FY 2016-17 vide Tariff Order dated 29.02.2016 based on projected data by MSPDCL. Now the MSPDCL has filed petition for annual performance review for FY 2016-17 based on revised estimates. As verified from the Petition there are differences in certain items of costs and revenue between the approvals granted by the Commission and revised estimates now furnished by MSPDCL.

The Commission considers it appropriate and fair to revisit and review the approvals granted by it in the tariff order for FY 2016-17 with reference to revised estimates now furnished by the MSPDCL but without altering the principles and norms adopted earlier. These matters are discussed in the succeeding paragraphs.

## Energy Sales

Petitioner’s Submission:

Proper estimation of category wise energy sales is essential to determine the quantum of power purchase and the likely revenue. This section examines in detail the estimated consumer category wise sales furnished by the MSPDCL for FY 2016-17 vis-a-vis the approved figures in the tariff order dated 29.2.2016 for FY 2016-17.

Consumers and connected load

The approved number of consumers and connected load for FY 2016-17 are compared with the actual number of consumers and connected load till September’16 and the estimated data of number of consumers and connected load till March'17:

Table 7.1: No. of consumers and connected load of MSPDCL for FY 2016-17

| SI. No. | Category | Approved | Actual (till Sep'16) | Estimated (till Mar'17) |
| --- | --- | --- | --- | --- |
|  |  | No. of consumer (No.) | Connected Load (KW) | No. of consumer (No.) | Connected Load (KW) | No. of consumer (No.) | Connected Load (KW) |
| 1 | Kutir Jyoti | 28947 | 1852 | 27215 | 2275.51 | 29123 | 2440 |
| 2 | Domestic | 286914 | 341516 | 272454 | 421249 | 279807 | 432618 |
| 3 | Commercial | 13152 | 35867 | 15230 | 43398 | 14926 | 42532 |
| 4 | Public Lighting | 452 | 1056 | 493 | 1064 | 480 | 1036 |
| 5 | PWW | 175 | 20403 | 175 | 21376 | 178 | 21749 |
| 6 | Agriculture and Irrigation | 64 | 1163 | 64 | 978 | 63 | 962 |
| 7 | Temp. Supply | - | - | 12 | 95 | 12 | 91 |
| 8 | Small and Cottage Industries | 2780 | 17384 | 2317 | 17688 | 2385 | 18205 |
| 9 | Medium Industries | 87 | 8614 | 73 | 7319 | 61 | 6164 |
| 10 | Large Industries | 34 | 2385 | 29 | 3361 | 29 | 3409 |
| 11 | Bulk Supply | 836 | 54197 | 709 | 49914 | 806 | 56721 |
| 12 | Total | 304494 | 482595 | 318771 | 568716 | 327930 | 58592 |

As seen from the above, the total number of consumers have increased than the approved figures for most of the categories. The increase in number of consumers has been particularly high in categories of Kutir Jyoti commercial and PWS. In respect of other categories the number of connections are in decrease.

The estimated data for year-end of FY 2016-17 has been arrived by considering the actual data till September’16 and applying the trends in each of the categories for the past few years.

Units Sold

The approved figures for category wise units sold in FY 2016-17 are compared with the actual data till September’16 and estimated for the complete year FY 2016-17 as detailed in the table below:

Table 7.2: Category wise Units Sold/Billed

(MU)

| Energy Sales | FY 2016-17 Approved | FY 2016-17 (Till Sep'16) Actual | FY 2016-17 Estimated |
| --- | --- | --- | --- |
| Kutir Jyoti | 15 | 8 | 17 |
| Domestic | 406 | 155 | 303 |
| Energy Sales | FY 2016-17 Approved | FY 2016-17 (Till Sep'16) Actual | FY 2016-17 Estimated |
| Small Industry | 28 | 10 | 15 |
| Medium Industry | 4 | 3 | 4 |
| Large Industry | 16 | 2 | 3 |
| Bulk | 156 | 49 | 92 |
| Street Lighting | 6 | 2 | 4 |
| Irrigation and Water Works | 4 | 1 | 1 |
| Public Water Works | 18 | 10 | 17 |
| Temporary | 0 | 0 | 0 |
| Total Energy Sales | 707 | 263 | 497 |

It may be observed that the estimated sales for most of the categories are less than the approved figures based on the availability of power in FY 2016-17 due to delay in commissioning of upcoming plants which has resulted in supply of restricted power supply to the consumers, especially in areas outside Imphal.

Commission’s Analysis:

Based on the actuals for FY 2016-17 (upto Sep’16) and estimated number of consumers furnished by the MSPDCL the category wise energy sales approved by the Commission are as detailed in Table below:

Table 7.3: Category wise energy sales approved by the Commission for FY 2016-17 after review

| Sl.No. | Energy Sales | Energy sales approved by the Commission (MU) |
| --- | --- | --- |
| 1 | Kutir Jyoti | 15 |
| 2 | Domestic | 320 |
| 3 | Commercial | 44 (40+4) |
| 4 | Small Industry | 17 |
| 5 | Medium Industry | 4 |
| 6 | Large Industry | 5 |
| 7 | Bulk | 94 |
| 8 | Street Lighting | 4 |
| 9 | Irrigation | 2 (1+1) |
| 10 | Public Water Works | 18 (3+15) |
|  | Total Energy Sales | 523 |

The Commission approves energy sales at 523 MU for FY 2016-17 after review.

## Distribution Loss

Petitioner’s Submission:

The estimated T&D loss of FY 2016-17 is at 33.17%, lower than the T&D loss of 2015-16 which has been found to be at 35.98%. MSPDCL is concerned about is high distribution loss and is dedicated to bring this down every year. Hence, the estimated T&D loss in FY 16-17 is assumed to be 3% lower than the actual loss percentage for FY 15-16. MSPDCL expects to achieve the reduced loss due to the measures taken like prepaid metering, regularizing unauthorized connections, system strengthening etc. While the commission approved T&D loss for FY 2016-17 at 23% could not be achieved despite of the efforts, it is important to take into consideration that majority of the new connections through electrification schemes is being done in LT category in which higher distribution loss is technically inherent as compared to the HT category. Therefore, the distribution loss can be brought down only gradually with replacement of old infrastructure in the distribution network.

Commission’s Analysis:

The erstwhile electricity department of Manipur has been unbundled into (i) Manipur State Distribution Company Ltd (MSPDCL) responsible for distribution function and (ii) Manipur Power Company Ltd (MSPCL) responsible for Transmission and Generation functions in the state of Manipur w.e.f 01.02.2014. As such transmission losses are shifted to MSPCL which are around 3.6% as furnished by the licensee. The Commission in its Tariff Order for FY 2015-16 while approving T&D loss for FY 2015-16 at 24% has fixed loss reduction trajectory for the period from FY 2016-17 to FY 2018-19 as follows:

| FY 2016-17 | 23% |
| --- | --- |
| FY 2017-18 | 22% |
| FY 2018-19 | 21% |

A directive was also issued to conduct voltage wise energy audit and report. Since the erstwhile EDM has been bifurcated into two companies with effect from 01.02.2014, the MSPDCL is responsible for distribution loss only. As a result the T&D losses approved by the Commission for FY 2016-17 have been segregated into transmission and distribution loss assuming transmission loss at 3.6% as detailed below:

Table 7.4: Distribution Loss for FY 2016-17 approved by the Commission

| T&D Loss | Transmission | Distribution |
| --- | --- | --- |
| 23% | 3.6% | 19.40% |

The Commission accordingly approves distribution loss at 19.40% for FY 2016-17 after review.

The MSPDCL shall conduct system studies and energy audit. Segregation of technical and commercial losses to be completed by Sept-2017.

## Energy Requirement

Based on the distribution loss, energy requirement approved by the Commission in its Tariff order dated 29.02.2016 and estimated by the MSPDCL and now approved by the Commission are furnished in Table below:

Table 7.5: Energy Requirement for FY 2016-17

| Particulars | Approved by the Commission | Estimated by MSPDCL | Now approved by the Commission |
| --- | --- | --- | --- |
| Sales | 707 | 497.18 | 523 |
| T&D Loss (%) | 19.4% | 30.67% | 19.40% |
| T&D Loss (MU) | 170.17 | 219.94 | 128.88 |
| Energy Requirement | 877.17 | 717.12 | 648.88 |

## Energy Availability and Source of Power

## 7.5.1    Own Generation

MSPDCL is having its own generation plants such as small hydel, diesel and HFO with installed capacity of 45.11 MW. Own generation approved by the Commission in its order dated 29.02.2016, estimated by MSPDCL and now approved by the Commission after review for FY 2016-17 are furnished in Table below:

Table 7.6: Own Generation approved by the Commission for FY 2016-17

| Particulars | Approved by the Commission in T.O dated 29.02.2016 | Estimated by the MSPDCL | Now approved by the Commission |
| --- | --- | --- | --- |
| Hydel | 0.33 | - | - |
| Diesel | 0.68 | 0.68 | 0.68 |
| Total | 1.01 | 0.68 | 0.68 |

The Commission approves own generation at 0.68 MU for FY 2016-17 after review.

## Power Purchase from central generating stations

Petitioner’s submission

The MSPDCL has been allocated power from various central generating stations in North Eastern Region (viz. NEEPCO, NHPC, Tripura-Baramura and OTPC- Pallatana) and NTPC– Bongaigaon for power purchase under long term PPA basis, as detailed in Table below:

Table 7.7: Energy Allocation from Central Generating Stations for FY 2016-17

| Source | Installed Capacity | FY 2016-17 (Estimated) |
| --- | --- | --- |
|  |  | Manipur Allocation (MW) | Avg . Allocation % |
| NEEPCO (Hydro) |  |  |  |
| Kopili I HEP | 200 | 14.78 | 7.39% |
| Kopili II HEP | 25 | 1.74 | 6.95% |
| Khandong HEP | 50 | 3.28 | 6.56% |
| Ranganadi HEP | 405 | 33.91 | 8.37% |
| Doyang HEP | 75 | 5.9 | 7.87% |
| New Projects |  |  |  |
| Kameng HEP Stage I | 300 | 7 | 2.33% |
| Kameng HEP Stage II | 300 | 0 | 0.00% |
| Pare HEP | 110 | 4.4 | 4.00% |
| Turial HEP | 60 | 0 | 0.00% |
| Subtotal | 1525 | 71.01 |  |
| NEEPCO (Gas Based) |  |  |  |
| Assam Gas based Power Project | 291 | 23.59 | 8.11% |
| Agartala Gas Turbine Power Project | 84 | 6.98 | 8.31% |
| Agartala Gas Turbine Power Project- EXT | 51 | 4.24 | 8.31% |
| New Projects |  |  |  |
| Monarchak Gas Based Power Project | 101 | 4.04 | 4.00% |
| Subtotal | 527 | 38.85 |  |
| NHPC (Loktak HEP) |  |  |  |
| Purchased (20.02 MW) and Free (12.60 MW) | 105 | 39.62 | 37.73% |
| Subtotal | 105 | 39.62 |  |
| TRIPURA |  |  |  |
| Baramura(Gas Based)(Unit IV & Unit V) | 42 | 10.5 | 25% |
| New Projects |  |  |  |
| OTPC-(Pallatana- Unit I) | 363 | 21 | 5.79% |
| OTPC-(Pallatana- Unit II) | 363 | 21 | 5.79% |
| NTPC |  |  |  |
| NTPC Bongaigaon Unit I | 250 | 15.70 | 6.28% |
| NTPC Bongaigaon Unit II | 250 | 0 | 0.00% |
| NTPC Bongaigaon Unit II | 250 | 0 | 0.00% |
| Subtotal | 1518 | 68.20 |  |
| Total | 3675 | 217.68 |  |

Source Table 58 of Petition

The methodology for estimation of power purchase quantum is discussed below:

    - For NEEPCO plants Kopili I & II HEP, Khangdong HEP, Ranganadi HEP, Doyang HEP, AGTPP I & II and AGBPP, the actual data available till October, 2016 had been considered. For rest of the months November 2016 to March, 2017, the power procurement quantum has been estimated based on the average of monthly PLFs of the previous year FY 2015-16.

    - For new plant Kameng HEP I,  the power procurement quantum has been calculated by considering PLF at 30 % (considering that average PLF of NEEPCO plants is around 30%) and availability for last quarter of FY 2016-17.

    - For Loktak HEP,   the average of monthly PLFs for the past two years FY 2014-15 and FY 2015-16 has been considered for the months from November to March for a fair estimate since an inconsistently high power procurement was found during that period in FY 2015-16 in comparison to FY 2014-15 for the same period, while it is usually expected that hydro-electric power plants operate at lower capacities in the winter season.

    - NTPC Bongaigaon Unit I has come on bars in April 2016 and hence the average of monthly PLF from April to October was considered for estimating the power procurement quantum for the months of November to March.

    - For Baramura and OTPC, the actual power procurement quantum from April 2016 to September 2016 was considered. For October 2016 to March 2016, the power procurement quantum was estimated considering the monthly power procurement in the previous year FY 2015-16 for all the power plants.

It may be observed from the above table that the power purchase quantum available for MSPDCL has decreased due to delay in commissioning of new projects or restricted generation from the new projects. NTPC Bongaigaon Unit I has been operational since April 2016. Kameng HEP unit I is expected to be operational from the last quarter of 2016-17. Due to uncertainty in operationalization of the new generating plants which are expected to be commissioned in late 2017-18, these new plants were not considered for power purchase. This has resulted in lesser quantum of power procured by MSPDCL in FY 2016-17 as compared to the approved figures. The total energy available from all the power sources is now expected to be around 1038.05 MU including an UI purchase of 17.49 MU which is the UI already purchased during April to October. With regards to compliance on Renewable Energy, MSPDCL is planning to purchase REC certificates to meet the 5 % Renewable Purchase Obligation for FY 2016-17. However, for the computation purposes, previous year 2015-16 renewable purchase has been taken into account and the actuals will be accounted for while truing up for FY

2016-17.

Commission’s analysis:

Power purchase approved by the Commission in its order dated 29.02.2016, estimated by MSPDCL and now approved by the Commission after review for FY 2016-17 are furnished in the Table below:

Table 7.8: Power purchase approved by the Commission for FY 2016-17 after review

| SI. NO | Particulars | Approved by the Commission in its Tariff Order dated 29.02.2016 | Till9/16 | Total estimated by MSPDCL | Approved by the Commission |
| --- | --- | --- | --- | --- | --- |
| A | NEEPCO |  |  |  |  |
| 1 | Kopili I | 46.71 | 44.15 | 64.04 | 64.04 |
| 2 | Kopili II | 5.80 | 5.37 | 6.77 | 6.77 |
| 3 | Khandong | 9.32 | 8.54 | 10.75 | 10.75 |
| 4 | Ranganadi | 92.36 | 77.61 | 106.45 | 106.45 |
| 5 | Doyang | 15.41 | 14.49 | 18.12 | 18.12 |
| 6 | Kamang stage I | 6.04 | 0.00 | 4.60 | 4.60 |
| 7 | Pare | 8.59 |  |  |  |
| 8 | Sub total | 184.23 | 150.16 | 210.73 | 210.73 |
| B | NEEPCO (GB ) |  |  |  |  |
| 9 | AGBPP | 138.67 | 60.55 | 132.99 | 132.99 |
| 10 | AGTPP | 51.15 | 35.30 | 73.75 | 73.75 |
| 11 | AGTPP ext | 20.68 |  |  |  |
| 12 | Monarchank Gas based P.P. | 29.33 |  |  |  |
| 13 | Sub Total | 239.83 | 95.85 | 206.74 | 206.74 |
| C | NHPC |  |  |  |  |
| 14 | Loktak |  |  |  |  |
| 14(i) | Purchased | 117.76 | 119.39 | 180.08 | 180.08 |
| 14(ii) | Free Power | 74.12 | 46.96 | 70.83 | 70.83 |
| 15 | Sub total | 191.88 | 166.35 | 250.91 | 250.91 |
| D | TRIPURA |  |  |  |  |
| 16 | Baramura IV& V | 82.59 | 41.72 | 81.84 | 81.84 |
| E | O T PC |  |  |  |  |
| 17 | Pallatana I & II | 152.98 | 112.28 | 220.23 | 220.23 |
| 18 | Sub total | 235.57 | 154.00 | 302.07 | 302.07 |
| F | N T P C |  |  |  |  |
| 19 | Bongaigaon I | 90.84 | 46.49 | 83.70 | 83.70 |
| 20 | Renewable II | 90.82 |  |  |  |
| 21 | Renewable III | 22.39 |  |  |  |
| 22 | Solar |  |  |  |  |
| 23 | Non Solar |  |  |  |  |
| 24 | Sub Total | 204.05 | 46.49 | 83.70 | 83.70 |
| 25 | UI Purchases |  | 13.72 | 17.49 | 17.49 |
| 26 | Total | 1055.56 | 626.57 | 1071.64 | 1071.64 |

## Energy Balance

Energy Balance approved by the Commission in its order dated 29.02.2016 and estimated by MSPDCL and now approved by the Commission are furnished in Table below:

Table 7.9: Energy Balance approved by the Commission for FY 2016-17 after review

| Sl.No | Particulars | Unit | Approved by the commission in T.O dated 29.02.2016 | Estimated by MSPDCL | Now Approved by the Commission |
| --- | --- | --- | --- | --- | --- |
| A | Energy Requirement |  |  |  |  |
| 1 | Energy Sales | MU | 707 | 497.18 | 523 |
| 2 | Distribution loss | % | 19.40 % | 30.67 % | 19.40 % |
| 3 | Distribution loss | MU | 170.11 | 219.94 | 125.88 |
| 4 | Energy Requirement | MU | 877.17 | 717.12 | 648.88 |
| B | Energy Availability |  |  |  |  |
| 5 | Own Generation (Net) | MU | 1.01 | 0.68 | 0.68 |
| 6 | Power Purchase | MU | 1055.56 | 1054.14 | 1054.14 |
| 7 | Less: External Losses | % | 3.25% | 3.25% | 2.65% |
| 8 | Less: External Losses | MU | 34.31 | 35.26 | 27.94 |
| 9 | Net energy available at state periphery | MU | 1021.25 | 1019.88 | 1026.20 |
| 10 | UI Purchase |  | - | 17.49 | 17.49 |
| 11 | Total (5+9+10) |  | 1022.26 | 1038.05 | 1044.37 |
| 12 | Transmission Loss @ 3.6% | MU | 36.80 | 37.37 | 37.60 |
| 13 | Energy Available for Distribution | MU | 985.46 | 1000.68 | 1006.77 |
| 14 | Surplus (14-4) | MU | 108.29 | 283.56 | 357.89 |
| 15 | Surplus grossed up by 3.6% for sale outside the state | MU | 112.33 | 294.48 | 370.77 |

Source Table 32 and 33 of Petition

While calculating energy balance the NER transmission losses are considered at 2.65% being the average weekly loss in NER during 04.04.2016 to 09.12.2016. The intra state transmission losses are considered at 3.6% as furnished by MSPDCL. Thus the surplus works out to 370.77 MU.

## Power Purchase Cost

Petitioner’s submission

MSPDCL has estimated power purchase cost of Rs 299.72 Crore for purchase of 1071.64 MU including UI purchase of 17.49 MU during FY 2016-17 as detailed in Table below:

Table 7.10: Power Purchase cost estimated by MSPDCL for FY 2016-17

| SI. No | Particulars | Quantity (MU) | Average Rate till Sep .16 (Rs./kWh) | Average Rate adopted MSPDCL (Rs./kWh) | Total cost (Rs.Cr) |
| --- | --- | --- | --- | --- | --- |
| 1 | NEEPCO (Hydro ) |  |  |  |  |
| 2 | Koppilil I | 64.04 | 1 | 1.07 | 6.85 |
| 3 | Koppilil II | 6.77 | 1.58 | 1.91 | 1.29 |
| 4 | Khandong | 10.75 | 1.75 | 2.22 | 2.39 |
| 5 | Ranganadi | 106.45 | 1.91 | 2.44 | 25.96 |
| 6 | Doyang | 18.12 | 4.1 | 4.94 | 8.95 |
| 7 | Kamang stage I | 4.6 | 0 | 2.55 | 1.17 |
| 8 | Sub Total | 210.73 | 10.34 | 15.13 | 46.61 |
| 9 | NEEPCO(G |  |  |  |  |
| 10 | A G B P P | 132.99 | 3.56 | 3.66 | 48.68 |
| 11 | A G T P P | 73.75 | 2.99 | 3.04 | 22.38 |
| 12 | Sub Total | 206.74 | 6.55 | 6.7 | 71.06 |
| 13 | N H P C |  |  |  |  |
| 14 | Loktak |  |  |  |  |
| 15 | Power Purchases | 180.08 | 2.3 | 2.3 | 41.45 |
| 16 | Free Power | 70.83 | 0 | 0 | 0 |
| 17 | Sub Total | 250.91 | 2.3 | 2.3 | 41.45 |
| 18 | TRIPURA |  |  |  |  |
| 19 | BARAMURA IV & V | 81.84 | 2.78 | 2.78 | 22.78 |
| 20 | O T P C |  |  |  |  |
| 21 | Pallatana I& II | 220.23 | 2.9 | 2.9 | 63.9 |
| 22 | Sub Total | 302.07 | 5.68 | 5.68 | 86.68 |
| 23 | N T P C |  |  |  |  |
| 24 | Bangaigaon | 83.7 | 5.81 | 5.81 | 48.63 |
| 25 | Renewable |  |  |  |  |
| 26 | solar |  |  |  | 0.49 |
| 27 | Non solar |  |  |  | 0.42 |
| 28 | Sub Total | 83.7 | 5.81 | 5.81 | 0.91 |
| 29 | U I Purchases | 17.49 | 1.73 | 1.83 | 3.2 |
| 31 | Total | 1071.64 |  |  | 299.72 |

Commission’s Analysis:

As verified from station wise actual average rates till Sep, 2016 , the rates adopted by MSPDCL are more than the actual average rates till September, 2016. The Commission considers it reasonable to adopt actual average rates till September, 2016. Accordingly the Power Purchase Cost Works out to Rs. 288.28 Cr as detailed in Table below:

Table 7.11: Power Purchase Cost approved by Commission for FY 2016-17 after review

| Source (MUs) | Quantity of Power Purchased (MU) | Average Rate (Rs/kWh) | Power Purchase Cost (Rs. Cr) |
| --- | --- | --- | --- |
| NEEPCO(Hydro) |  |  |  |
| Kopili I HEP | 64.04 | 1.00 | 6.40 |
| Kopili II HEP | 6.77 | 1.58 | 1.07 |
| Khandong HEP | 10.25 | 1.75 | 1.88 |
| Ranganadi HEP | 106.45 | 1.91 | 20.38 |
| Doyang HEP | 18.12 | 4.10 | 7.43 |
| New Projects |  |  |  |
| Kameng HEP Stage I | 4.60 | 2.55 | 1.17 |
| Kameng HEP Stage II |  |  |  |
| Pare HEP |  |  |  |
| Turial HEP |  |  |  |
| Sub Total | 0.00 | 0.00 | 38.28 |
| NEEPCO(Gas Based) |  |  |  |
| Assam Gas based Power Project | 132.99 | 3.56 | 47.34 |
| Agartala Gas Turbine Power Project | 73.75 | 2.99 | 22.05 |
| Agartala Gas Turbine Power Project- EXT | - | - | - |
| Sub Total |  |  | 69.39 |
| New Projects |  |  |  |
| Monarchak Gas Based Power Project |  |  |  |
| Sub Total | 0.00 |  | 0.00 |
| NHPC(Loktak HEP) |  |  |  |
| Purchased (20.02 MW) | 180.08 | 2.30 | 41.42 |
| Free Power (12.60 MW) | 70.83 | - | - |
| Sub Total | 250.91 |  | 41.42 |
| TRIPURA |  |  |  |
| Baramura(Gas Based)(Unit IV & Unit V) | 81.84 | 2.78 | 22.75 |
| New Projects |  |  |  |
| OTPC- (Pallatana-Unit I) | 220.23 | 2.90 | 63.87 |
| OTPC- (Pallatana-Unit II) |  |  |  |
| Sub Total |  |  | 86.62 |
| NTPC |  |  |  |
| NTPC Bongaigaon Unit I | 83.70 | 5.81 | 48.63 |
| NTPC Bongaigaon Unit II |  |  |  |
| NTPC Bongaigaon Unit II |  |  |  |
| Sub Total | 83.70 |  | 48.63 |
| Renewable Solar | - |  | 0.49 |
| Non Solar | - |  | 0.42 |
| Sub total |  |  | 0.91 |
| UI Purchase | 17.49 | 1.73 | 3.03 |
| Grand Total | 1071.64 | 2.69 | 288.28 |

The Commission approves power purchase cost of Rs 288.28 Crore for purchase of 1071.64 MU including UI purchase of 17.49 MU and free power of 70.83 MU for FY 2016-17 after review.

## Transmission Charges

The MSPDCL has estimated intra state transmission charges at Rs 38.94 Crore for FY 2016-17. The Commission has approved Transmission ARR of MSPCL at Rs. 39.60 Crore for FY 2016-17 after review. As such the same are considered as intra-state transmission charges for FY 2016-17. The PGCIL charges are however considered at Rs 51.70 Crore as estimated by MSPDCL. Thus the total transmission charges approved by the Commission for FY 2016-17 as detailed in Table below:

Table 7.12: Transmission charges approved by the Commission for FY 2016-17 after review

| Sl.No | Particulars | Approved by the Commission in T.O dated 29.02.2016 | Estimated by MSPDCL | Now Approved by the Commission |
| --- | --- | --- | --- | --- |
| 1 | MSPCL Transmission Charges | 36.08 | 38.94 | 39.60 |
| 2 | PGCIL Transmission Charges | 51.70 | 51.70 | 51.70 |
|  | Total | 87.78 | 91.30 | 91.30 |

The Commission approves transmission charges at Rs 91.30 Crore for FY 2016-17 after review.

## Employee Cost

The employee cost approved by the Commission for FY 2016-17 in its order dated 29.02.2016 and estimated by the MSPDCL and now approved by the Commission are furnished in Table below:

Table 7.13: Employee Cost approved by the Commission for FY 2016-17 after review

| S. No. | Particulars | Approved in Tariff Order dated 29.02.2016 | Estimated FY 2015-16 | Now approved by the Commission |
| --- | --- | --- | --- | --- |
| 1 | Employees Cost | 77.58 | 77.58 | 77.58 |

The Commission approves employee cost at Rs 77.58 Crore as estimated by MSPDCL for FY 2016-17 after review.

## R&M Expenses

R&M expenses approved by the Commission for FY 2016-17 in its order dated 29.02.2016 and estimated by the MSPDCL and now approved by the Commission are furnished in Table below:

Table 7.14: R&M Expenses approved by the Commission for FY 2016-17 after review

| Sl. No | R&M Cost | Approved | Estimated FY 2016-17 | Now Approved by the Commission |
| --- | --- | --- | --- | --- |
| 1 | Grand Total | 6.11 | 6.11 | 6.11 |

The Commission approves R&M expenses at Rs 6.11 Crore as estimated by MSPDCL for FY 2016-17 after review.

## Administration and General Expenses

The A&G expenses for FY 2016-17 approved by the Commission and estimated by the MSPDCL and now approved by the Commission are furnished in Table below:

Table 7.15: A&G Expenses approved by the Commission for FY 2016-17 after review

| Sl. No | A&G Cost | Approved | Estimated FY 2016-17 | Now Approved by the Commission |
| --- | --- | --- | --- | --- |
| 1 | Grand Total | 2.53 | 2.53 | 2.53 |

The Commission approves Rs 2.53 Crore for Administration and General Expenses as estimated by MSPDCL for FY 2016-17 after review.

## Depreciation

The Commission in its order dated 29.02.2016 had approved depreciation of Rs 0.23 Crore for FY 2016-17. The MSPDCL has now estimated Rs 0.23 Crore.

Commission’s analysis

As per calculation the depreciation works out to Rs. 0.19 Cr (table 8.27)

The Commission approves depreciation of Rs 0.19 Crore for FY 2016-17 after review.

## Interest and Finance Charges

The Commission had approved interest and finance charges of Rs 0.07 Crore for FY 2016-17 in its tariff order dated 29 February, 2016 and the same has been considered for the estimated interest and finance charges for FY 2016-17. The actual expenses may be provided during the truing up of FY 2016-17.

Table 7.16: Interest and Finance Charges estimated by MSPDCL for FY 2016-17

(Rs. Crore)

| Particulars | Approved | Estimated |
| --- | --- | --- |
| Total Interest and Finance Charges | 0.07 | 0.07 |

The Commission approves Interest and Finance Charges at Rs. 0.07 Cr for FY 2016-17 as estimated by MSPDCL after Review.

## Interest on Working Capital

The Commission in its Order dated 29.02.2016 had approved interest on working capital at Rs. 6.02 Cr for FY 2016-17. The MSPDCL has now furnished Rs. 7.67 Cr.

Interest on working capital worked out  by the commission as per JERC M&M (MYT) Regulations 2014, based on approved costs and the rate of interest at 14.05% being SABR as on 01.04.2016 is as detailed in Table below:

Table 7.17: Interest on working capital approved by the Commission for FY 2016-17 after review

| Sl.No | Particulars | FY 2016-17 |
| --- | --- | --- |
|  |  | Total Cost | One Month Cost |
| 1 | Employee Cost | 77.58 | 6.47 |
| 2 | R&M Expenses | 6.11 | 0.51 |
| 3 | A&G Expenses | 2.53 | 0.21 |
| 4 | Maintenace of Spares @1% of GFA | 786.75 | 7.86 |
| 5 | Receivables equivalent to one month | 232 | 19.33 |
| 6 | Total | 1141.40 | 34.38 |
| 7 | Rate of Interest (%) | - | 14.05% |
| 8 | Interest on Working Capital | - | 4.83 |

The Commission approves interest on working capital at Rs 4.83 Crore for FY 2016-17 after review.

## Provision for bad debts

The Commission in its order dated 29.02.2016 had approved provision for bad debts at Rs 3.00 Crore for FY 2016-17. The MSPDCL has estimated the same amount.

The Commission approves Rs 3.00 Crore towards provision for bad debts for FY 2016-17 after review.

## Return on Equity

The Commission in its Order dated 29.02.2016 had approved RoE at Rs 1.95 Crore for FY 2016-17. The MSPDCL has now estimated RoE at Rs 1.95 Crore including MAT at 20.01%.

The Commission approves RoE at Rs 1.95 Crore for FY 2016-17 after review.

## Non-Tariff Income

The Commission in its order dated 29.02.2016 had approved non-Tariff Income at Rs. 0.34 Crore for FY 2016-17. The MSPDCL has estimated non-tariff income at Rs. 0.34 Crore.

The Commission approves non-tariff income at Rs. 0.34 Crore for FY 2016-17 after review.

## Aggregate Revenue Requirement

Aggregate Revenue Requirement approved by the Commission in its order dated 29.02.2016 and estimated by the MSPDCL and now approved by the Commission are furnished in table below:

Table 7.18: Aggregate Revenue Requirement approved by the Commission for FY 2016-17 after review

| Sl. No | Particulars | Approved in T.O | Estimated by MSPDCL | Approved by the Commission |
| --- | --- | --- | --- | --- |
| 1 | Fuel Cost | 1.19 | 1.19 | 1.19 |
| 2 | Power purchase cost | 310.82 | 329.92 | 288.28 |
| 3 | Transmission charges (MSPCL) | 36.08 | 38.94 | 39.60 |
| 4 | Transmission charges | 51.70 | 51.70 | 51.70 |
| 5 | Employee costs | 77.58 | 77.58 | 77.58 |
| 6 | Repair & Maintenance expense | 6.11 | 6.11 | 6.11 |
| 7 | Adm & Gen. Expenses | 2.53 | 2.53 | 2.53 |
| 8 | Depreciation | 0.23 | 0.23 | 0.23 |
| 9 | Interest & Finance Charges | 0.07 | 0.14 | 0.07 |
| 10 | Interest on Working capital | 6.02 | 7.67 | 4.83 |
| 11 | Provision for bad debts | 3.00 | 3.00 | 3.00 |
|  | Total Cost | 495.33 | 517.82 | 472.05 |
| 12 | Add: Return on Equity / ROE | 1.95 | 1.95 | 1.95 |
| 13 | Less: Non Tariff income | 0.34 | 0.34 | 0.34 |
|  | Aggregate Revenue Requirement | 496.94 | 519.43 | 473.66 |

## Revenue from approved Tariff for FY 2016-17

Based on energy sales now approved by the Commission and the surplus power arrived the revenue from sale of power worked out to be Rs. 301.70 Crore as detailed below:

Table 7.19: Revenue from approved tariff for FY 2016-17 after review

| Sl. No | Category | Energy Sales (MU) | Average Rate (Rs. / kWh) | Revenue (Rs. Crores) |
| --- | --- | --- | --- | --- |
| A | LT Supply |  |  |  |
| 1 | Kutir Jyoti | 15 | 2.58 | 3.87 |
| 2 | Domestic | 320 | 4.04 | 129.28 |
| 3 | Commercial | 40 | 5.77 | 23.08 |
| 4 | Public Lighting | 4 | 5.58 | 2.24 |
| 5 | Public Water Works | 3 | 5.58 | 1.67 |
| 6 | Agriculture | 1 | 3.37 | 0.34 |
| 7 | Small Industries | 17 | 3.37 | 6.34 |
| 8 | Total LT | 400 |  | 166.82 |
|  | HT Supply |  |  |  |
| 9 | Commercial | 4 | 5.96 | 2.38 |
| 10 | Public Water Works | 15 | 6.62 | 9.93 |
| 11 | Agriculture | 1 | 3.40 | 0.34 |
| 12 | Medium Industries | 4 | 6.88 | 2.75 |
| 13 | Large Industries | 5 | 5.18 | 2.59 |
| 14 | Bulk Supply | 94 | 5.02 | 47.18 |
| 15 | Total HT | 123 |  | 65.18 |
| 16 | Total LT + HT | 523 |  | 232.00 |
| 17 | UI Sales | 370.77 | 1.88 | 69.70 |
|  | Total | 843.77 |  | 301.70 |

The MSPDCL has estimated sale of surplus power at 1.88 kWh, since the surplus power is not a firm power available, the surplus power is sold through exchange and realized the cost based on market price. Hence, the sale price as realized is agreed to.

## Revenue Gap

Revenue gap approved by the Commission in its order dated 29.02.2016 and estimated by the MSPDCL and now approved by the Commission are furnished in table below:

Table 7.20: Revenue gap approved by the Commission for FY 2016-17 after review

| Sl. No | Category | Unit | Approved by the Commission | Estimated by the MSPDCL | Now approved the Commission |
| --- | --- | --- | --- | --- | --- |
| 1 | Net ARR | Rs. Cr | 496.94 | 519.43 | 473.66 |
| 2 | Revenue from Sale of power | Rs. Cr | 315.10 | 220.57 | 232.00 |
| 3 | Sale of surplus power | Rs. Cr | 35.05 | 55.42 | 69.70 |
| 4 | Total revenue | Rs. Cr | 350.15 | 275.99 | 301.70 |
| 5 | Gap | Rs. Cr | 146.79 | 243.44 | 171.96 |
| 6 | Energy Sales | MU | 707.00 | 497.18 | 523.00 |
| 7 | UI Sales | MU | 112.33 | 294.48 | 370.77 |
| 8 | Total Sales | MU | 819.33 | 791.66 | 893.77 |
| 9 | Cost of Supply | Rs./kWh | 6.06 | 6.56 | 5.30 |
| 10 | Average realisation | Rs./kWh | 4.46 | 4.44 | 4.44 |

## Government subsidy

The Government of Manipur proposed a subsidy of Rs. 262.62 Cr. As per APR, the net gap works out to Rs. 171.96 Cr as against Rs. 243.44 Cr estimated by MSPDCL. Thus, the Government subsidy gets reduced to Rs. 171.96 Cr.

# Analysis of Revised Aggregate Revenue Requirement for FY 2017-18

## 8.1      Energy Sales

Proper estimation of category wise energy sales is essential to determine the quantum of power purchase and the likely revenue. This section examines in detail the consumer category wise sales projected by the MSPDCL in its petition for assessment of ARR.

## 8.2     	Consumer Categories

The MSPDCL serves about 296477 consumers as on 31.03.2016 in its licensed area and the consumers are categorized as under:

- Kurtir Joyti(LT)

- Domestic(LT)

- Commercial(LT&HT)

- Public Lighting(LT)

- Agricultural(LT&HT)

- Public water works(LT&HT)

- Cottage & Small industry(LT)

- Medium industry(HT)

- Large industry(HT)

- Bulk supply(HT)

The MSPDCL serves the consumers at different voltages according to the consumer’s requirement. In the categories, of Commercial, Agriculture and public water works there are LT consumers as well as HT consumers, while medium Industry, Large Industry and Bulk Supply categories are under HT only and Kurti Jyoti and domestic categories are under LT only.

## 8.3     	Growth of Consumers and Connected Load

Petitioner’s submission

The MSPDCL has furnished the category wise number of consumers and their connected load for the years 2015-16 (actuals) and estimated for FY 2016-17 and projected for FY 2017-18 as detailed in Table below:

Table 8.1: No. of consumers and connected load of MSPDCL

| Category | CY 2015-16 | FY 2016-17 | FY 2017-18 |
| --- | --- | --- | --- |
|  | No. of Consumers | Connected Load (MW) | Projection of no. of Consumers | Projection of Conn. Load (MW) | Projection of no. of Consumers | Projection of Conn. Load (MW) |
| Kutir Jyoti | 266724 | 1,802 | 30,550 | 1,902 | 34,134 | 2,008 |
| Domestic | 252474 | 330,492 | 272,260 | 348,855 | 304,198 | 368,237 |
| Commercial | 13439 | 34,897 | 13,501 | 36,836 | 14,262 | 38,882 |
| Public Lighting | 483 | 1,027 | 446 | 1,084 | 435 | 1,144 |
| Public Water-works | 175 | 19,851 | 176 | 20,954 | 178 | 22,118 |
| Agri & Irrigation | 63 | 1,131 | 65 | 1,194 | 66 | 1,261 |
| Cottage & Small Industries | 2280 | 16,914 | 2,950 | 17,853 | 3,335 | 18,845 |
| Bulk | 730 | 52,732 | 887 | 55,662 | 1,003 | 58,755 |
| Temporary | 12 | 54 | 2 | 57 | 1 | 61 |
| Medium Industries | 74 | 8,381 | 87 | 8,847 | 91 | 9,338 |
| Large Industries | 23 | 2321 | 38 | 2449 | 48 | 2586 |
| TOTAL | 296477 | 469,602 | 320,962 | 495,694 | 357,751 | 523,235 |

(Source: Format 1 & additional information)

## 8.4      Overall Approach to Sales Projection

Petitioner’s Submission:

The MSPDCL has furnished the category-wise, year-wise actual sales during FY 2012-13 to FY 2016-17 (up to September,16) as detailed below.

Table 8.2: Consumer category wise energy sales from FY 2012-13 to FY 2016-17 (Till September, 16)

(MU)

| Energy Sales | FY 2012-13 Actuals | FY 2013-14 Actuals | FY 2014-15 Actuals | FY 2015-16 Actuals | FY 2016-17 (till Sep-16) |
| --- | --- | --- | --- | --- | --- |
| Kurti Jyoti | 7.94 | 12.50 | 12.69 | 16 | 7.67 |
| Domestic | 195.81 | 202.03 | 243.95 | 283 | 155.18 |
| Commercial | 30.82 | 34.39 | 35.83 | 40 | 23.03 |
| Public lighting | 4.78 | 5.49 | 4.40 | 4 | 2.18 |
| Public water works | 23.60 | 28.25 | 16.99 | 17 | 9.74 |
| Agriculture & Irrigation | 1.59 | 3.12 | 2.41 | 2 | 0.69 |
| Cottage & Small Industries | 17.24 | 14.86 | 18.13 | 16 | 10.11 |
| Bulk | 80.45 | 97.61 | 96.86 | 90 | 49.27 |
| Temporary | 0.54 | 0.09 | 0.03 | 0.12 | 0.12 |
| Medium Industry | 2.36 | 2.37 | 2.79 | 3 | 2.54 |
| Large Industry | 13.93 | 14.38 | 8.22 | 4 | 2.48 |
| Total Energy Sales | 379.04 | 415.09 | 442.29 | 474.98 | 263.04 |

As can be seen, overall energy sales are significantly dependent on the domestic consumers to the extent of around 50%. Energy sold to various consumer categories over the past 3years recorded growth at around 7.81% per annum on cumulative average basis owing to the increased availability of power in the state and growing demand for power within the state. The MSPDCL is of the view that the factors affecting the actual consumption of electricity are numerous and often beyond the control of the utility including factors such as Government Policy, economic, climate and weather conditions and force majeure events like natural disasters, etc. MSPDCL therefore, for projecting the category-wise consumption for the FY 2017-18 has considered the past growth trends of last 4 years in each of the consumer category sales and the availability of supply. The category-wise CAGR has been applied on sales volume of FY 2016-17. This is because of the fact that in FY 2016-17. We have got actual sales till September, 2016. For estimation of sales for remaining 6 months, ratio of sales of previous year first 6 months and remaining 6 months has been used. This way a very realistic sales figure could be estimated for whole of 2016-17. On this sales data of FY 2016-17, the historical growth trend percentage is applied to project sales for FY 2017-18. The Analysis of growth rate tends insight into the behaviour of each category and hence formed the basis of forecasting the sales for each category. On the other hand it is important to note that the past trend of supply shows the trend of the restricted demand which can increase or decrease based on the new projected availability.

- It is to be noted that the energy availability for Manipur in FY 2016-17 has increased as MSPDCL’s share from NTPC in Unit – I of Bongaigaon has been Commissioned and started supplying since 4/16. Because of new generation capacity, the restriction in demand would be relaxed and the sale is expected to be increased accordingly. The supply of additional power would imply an increased burden on the revenue expenditure gap of the company which needs to be met by rational increase in retail supply tariff as well as necessary subsidy support from the State Government, as detailed in the subsequent sections. MSPDCL is committed to improve its performance of revenue collection and bridge the gap of revenue and expenditure in the coming years. However, in the initial years, MSPDCL shall require the necessary subsidy support as well as rational increase in tariff to meet the increased quantum of power supply and sales.

- For estimating the growth in restricted sales due to increase in number of registered consumers, increase in billing efficiency and increase in load factor of consumers, previous years Compounded Annual Growth Rate (CAGR) trends have been considered for each category of consumer for the past three years (FY 2012-13 to FY 2015-16) i.e. 3 year CAGR, 2 year CAGR or 1 year CAGR. For FY 2017-18, additional growth is assumed on account of increased availability power for various selected categories. The growth rate assumed for the MYT period and the past three year CAGR is tabulated below for reference.

Table 8.3 Category wise Trend of Units Billed

| Consumer Categories (Trend in units Sold) | 3 year CAGR | 2 year CAGR | 1 year Growth rate CAGR assumed for FY 17-18 |
| --- | --- | --- | --- |
| Kutir Jyoti | 25.17% | 11.61% | 22.70% | 11.61% |
| Domestic | 13.10% | 18.41% | 16.12% | 13.10% |
| Commercial | 8.93% | 7.63% | 11.19% | 7.63% |
| Public Lighting | -4.78% | -13.30% | -6.20% | 0.00% |
| Public Water-works | -10.90% | -23.13% | -1.75% | 0.00% |
| Agri & Irrigation | 3.88% | -24.42% | -26.04% | 3.88% |
| Cottage & Small Industries | -2.05% | 4.41% | -10.65% | -2.05% |
| Bulk | 3.71% | -4.11% | -7.34% | 3.71% |
| Temporary | -39.35% | 15.69% | 301.50% | 15.69% |
| Medium Industries | 9.97% | 15.08% | 12.50% | 9.97% |
| Large Industries | -31.51% | -44.21% | -45.56% | 0.00% |
| Total Energy Sales | 7.81% | 6.97% | 7.39% | 9.72% |

Domestic Category is the main consumption category in Manipur, contributing to more than 50% of the total energy sales in the State. For domestic consumers, the MSPDCL has projected the energy sales for FY 16-17 by considering actual sales for six months (till September) and estimating sales for next six months applying a ratio of sales of first six months to remaining six months of the FY 15-16. The projection of sales for FY 17-18 is done by applying CAGR percentages on the estimated values of FY 16-17. For FY 17-18, the sales of domestic category is projected to increase by a three year CAGR of 13.10%.  While, due to increased availability, and rural electrification schemes like RGGVY, the sales of Kutir Jyoti category is expected to increase by a realistic two year CAGR of 11%.

For the commercial category, a two-year (FY 2013 to FY 2016) CAGR i.e. 7.63% has been applied over the estimated sales of FY 2016-17. Through this process, the commercial category sales quantum has been projected in this petition

For both, small industry and medium industry, a three  year CAGR of  – 2.05% and 9.97% has been considered for projecting the sales of the respective category in FY 2017-18. It has to be noted that , although there is a gradual decline in the sales of small industries, MSPDCL is optimistic that in due course,, with tariff rationalization and reliable supply of power, the growth of small industry may pick up momentum.  However, for medium industries, it is assumed that the increased availability would not substantially increase the sales and the growth rate in FY 2017-18 will be 9.97%. Due to several socio-economic issues, there has been a gradual decline in the  electricity  sales  trend  of  large industries.  It  is  observed  that  the electricity sales growth trend is negative for CAGR of all years. However, it has been assumed that in FY 2017-18, the negative growth will stabilize and the sales will remain unchanged from that of FY 2016-17.

For Bulk consumer categories, 3 year CAGR of 10.37% has been applied over the estimated sales of FY 2016-17.

For other categories like Agriculture & Irrigation, Public water works, Public Lighting and temporary connections, the increased availability in FY 2017-18 is not expected to affect the sales to these categories. Hence, the sales is assumed to remain same as in FY 16-17 for these categories in FY 17-18.Table 54summarizes category wise revised energy sales for FY 2016-17 and projected energy sales for FY 2017-18 for MSPDCL along with the actual  sales for FY 2014-15 and  FY 2015-16.  MSPDCL submits to  the Hon’ble Commission to approve the energy sales forecasted herein

The actual sales of FY 2014-15  and FY 2015-16 and estimated sales for FY 2016-17 and projected sales for FY 2017-18 proposed by MSPDCL are furnished in Table below:

Table 8.4: Energy Sales Projected by MSPDCL

(MU)

|  | Category | 2014-15 | 2015-16 | 2016-17 | 2017-18 |
| --- | --- | --- | --- | --- | --- |
|  |  | Sales (MU) Actual | Sales (MU) Actual | Estimated Sales (MU) Estimated | Projection of Sales (MU) Projected |
| I | Category * |  |  |  |  |
|  | Kutir Jyoti | 12.69 | 15.57 | 16.51 | 18.43 |
|  | Domestic | 243.95 | 283.28 | 303.16 | 342.87 |
|  | Commercial | 35.83 | 39.84 | 41.58 | 44.76 |
| a | Public Lighting | 4.40 | 4.13 | 4.16 | 4.16 |
| b | Public Water-works | 16.99 | 16.69 | 17.44 | 17.44 |
| c | Agri & Irrigation | 2.41 | 1.78 | 1.05 | 1.09 |
|  | Cottage & Small Industries | 18.13 | 16.20 | 14.93 | 14.62 |
| 2 | Bulk | 96.86 | 89.75 | 91.46 | 94.86 |
| a | Temporary | 0.03 | 0.12 | 0.11 | 0.13 |
| b | Medium Industries | 2.79 | 3.14 | 3.71 | 4.08 |
| c | Large Industries | 8.22 | 4.48 | 3.07 | 3.07 |
|  | TOTAL: | 442.30 | 474.98 | 497.18 | 545.50 |

## 8.5     Commission’s Analysis of Energy Sales Projection

The MSPDCL has projected the energy sales for different categories of consumers for FY 2017-18 as given in Table 8.4 above. As per the tariff schedule commercial, public water works, and irrigation & agricultural categories are mix of HT and LT categories and domestic, public lighting and cottage & small industries are under LT category, while medium Industry, Large Industry and Bulk Supply are under HT category. The energy sales are not following any definite trend. However, based on CAGR of actual sales during FY 2012-13 to FY 2015–16, the projected sales FY 2017-18 are arrived as discussed below:

Table 8.5: Compound Annual Growth Rate approved by the Commission

| Sl. No | Particulars | Energy Sales (Actuals) (MU) | CAGR % |
| --- | --- | --- | --- |
|  |  | FY 2012-13 | FY 2013-14 | FY 2014-15 | FY 2015-16 | 3 Yrs | 2 Yrs | YoY |
| 1 | Kutir Jyoti | 7.94 | 12.50 | 12.69 | 15.57 | 25.17% | 11.61% | 22.70% |
| 2 | Domestic | 195.81 | 202.03 | 243.95 | 283.28 | 13.10% | 18.41% | 16.12% |
| 3 | Commercial | 30.82 | 34.39 | 35.83 | 39.84 | 8.93% | 7.63% | 11.19% |
| 4 | Public Lighting | 4.78 | 5.49 | 4.40 | 4.13 | -4.76% | -13.27% | -6.14% |
| 5 | Public Water Works | 23.60 | 28.25 | 16.99 | 16.69 | -10.91% | -23.14% | -1.77% |
| 6 | Agri and Irrigation | 1.59 | 3.12 | 2.41 | 1.78 | 3.83% | -24.47% | -26.14% |
| 7 | Cottage & Small Industries | 17.24 | 14.86 | 18.13 | 16.20 | -2.05% | 4.41% | -10.65% |
| 8 | Bulk | 80.45 | 97.61 | 96.86 | 89.75 | 3.71% | -4.11% | -7.34% |
| 9 | Temporary | 0.54 | 0.09 | 0.03 | 0.12 | -39.43% | 15.47% | 300.00% |
| 10 | Medium Industries | 2.36 | 2.37 | 2.79 | 3.14 | 9.99% | 15.10% | 12.54% |
| 11 | Large Industries | 13.93 | 14.38 | 8.22 | 4.48 | -31.49% | -44.18% | -45.50% |
| 12 | Total Energy Sales | 379.06 | 415.09 | 442.30 | 474.98 | 7.81% | 6.97% | 7.39% |

- For domestic category which is the major consumption category in Manipur contributing 50% of sales (approx.) in the state, MSPDCL projected energy sales for FY 2016-17 considering actual sales for first 6 months and estimating sales for next 6 months. For FY 2017-18 a growth rate of 13.10% is adopted over estimated sales for FY 2016-17.

- For commercial, 2 year CAGR on 7.63% has been applied over estimated sales during FY 2016-17.

- For small industry three year CAGR of (2.05)% applied for projecting sales                     for FY 2017-18.

- For medium industry 3 year growth rate of 9.97 % applied for projecting sales for FY 2017-18.

- For Bulk Supply a growth rate of 10.37% (3 Year CAGR) applied to project sales for FY 2017-18.

- For other categories like irrigation and agriculture, three year CAGR of 3.88%, has been applied.

## 8.6      Category wise Energy Sales Approved

As discussed above the category wise energy sales for FY 2017-18 approved by the Commission segregating LT & HT categories as against the projected sales by the MSPDCL are given in Table below:

Table 8.6: Category-Wise Energy Sale approved by the Commission for FY 2017-18

(MU)

| Sl. No | Name of Category | Approved by the Commission in Tariff Order dated 29.02.2016 | Energy Sales projected by MSPDCL | Energy sales approved by Commission |
| --- | --- | --- | --- | --- |
|  |  | FY 2017-18 | FY 2017-18 | FY 2017-18 |
|  | Domestic |  |  |  |
| 1 | (a) Kutir Jyoti | 17 | 18.43 | 7 |
|  | (b) Domestic | 484 | 342.87 | 372 |
| 2 | Commercial |  |  |  |
|  | (a) LT | 58 | 44.76 | 42 |
|  | (b) HT | 6 |  | 6 |
| 3 | Industrial |  |  |  |
|  | (a) Cottage & Small industry | 32 | 14.62 | 18 |
|  | (b) Medium Industry (HT) | 4 | 4.08 | 4 |
|  | (c) Large Industry (HT) | 17 | 3.07 | 6 |
| 4 | Bulk Supply (HT) | 182 | 94.86 | 95 |
| 5 | Public Lighting | 7 | 4.16 | 5 |
| 6 | Public Water Works |  | 17.44 |  |
|  | (a) LT | 4 |  | 4 |
|  | (b) HT | 15 |  | 15 |
| 7 | Irrigation & Agriculture |  | 1.09 |  |
|  | (a) LT | 2 |  | 1 |
|  | (b) HT | 3 |  | 1 |
|  | Total | 831 | 545.37 | 576 |

## 8.7      T&D Losses

Petitioner’s submission

- MSPDCL has stated that being a hilly terrain and characterised by population spread out throughout the State, the system network of the state consist of long length of LT distribution lines, with ageing components which are being upgraded through various schemes, The MSPDCL has achieved a significant reduction in transmission and distribution losses. The T&D losses for FY 2011-12 and FY 2012-13 and FY 2013-14 were 34.75%, 30.09% and 30.79% respectively. The actual T&D losses for FY 2014-15 were 43.90% and for FY 2015-16 were 35.98%.

- MSPDCL has estimated the T&D loss of 33.17% for FY 2016-17 and projected T&D losses of 30.27% and 28% for FY 2017-18.

- The T&D Loss trajectory projected by MSPDCL is summarised in the table given below:

Table 8.7: T&D Losses

| Particulars | FY 2014-15 (Actual) | FY 2015-16 (Estimates) | FY 2016-17 (estimated) | FY 2017-18 (Projected) |
| --- | --- | --- | --- | --- |
| T&D Losses | 43.92% | 35.98% | 33.17% | 30.27% |

- The MSDPCL submits to the Commission to approve the T&D Losses submitted above.

Commission’s Analysis

The erstwhile Electricity Department of Manipur is unbundled into (i) Manipur State Power Distribution Company Limited (MSPDCL) responsible for distribution function and (ii) Manipur State Power Company Limited (MSPCL) responsible for transmission and generation functions with effect from 1st Feb, 2014. As such transmission losses are shifted to MSPCL which are around 3.6% as furnished by the licensee. The interstate pool losses in NER, which are about 3.22% during FY 2015-16 based on weekly pool loss from 30.03.2015 to 27.03.2016, have been taken into consideration. With the actual data given by MSPDCL, the distribution losses during FY 2015-16 are calculated as detailed in table below.

Table 8.8: MSPDCL – Distribution Loss Calculation for FY 2015-16

| SI.No | Particulars | Unit | FY 2015-16 |
| --- | --- | --- | --- |
| A | Energy Availability |  |  |
| 1 | Own Generation | MU | 1.01 |
| 2 | Power Purchase from CGS in NER | MU | 858.85 |
| 3 | Pool Losses | % | 3.22% |
| 4 | Pool Losses on (2) above | MU | 27.66 |
| 5 | Add: UI Purchases | MU | 119.29 |
| 6 | Less: UI Sales | MU | 236.26 |
| 7 | Energy available (1+2-4+5-6) | MU | 715.23 |
| 8 | Less intra State Transmission Loss at 3.6% on (7) |  | 25.75 |
| 9 | Net energy available for sale within the state |  | 689.48 |
| 10 | Energy Sales within the State | MU | 474.98 |
| 11 | Distribution Loss(9-10) | MU | 24.50 |
| 12 | Distribution (11/9) | % | 31.11% |

Thus the actual distribution loss during FY 2015-16 works out to 31.11% as against 33.67% furnished by the MSPDCL. The commission in its tariff order for FY 2014-15 had approved T&D loss at 25% for FY 2014-15 and fixed loss reduction trajectory for the period FY 2015-16 to FY 2017-18 as follows:

| Sl.No | Year | % Loss |
| --- | --- | --- |
| 1 | 2015-16 | 24.00% |
| 2 | 2016-17 | 23.00% |
| 3 | 2017-18 | 22.00% |

A directive was also issued to conduct voltage wise energy audit and report. Since the erstwhile EDM has been bifurcated into two companies with effect from 1.2.2014, the MSPDCL is responsible for distribution loss only.

As a result the T&D loss as approved by the Commission in its tariff order for FY 2014-15 has been segregated into transmission loss and distribution loss assuming transmission loss at 3.6% as detailed in table below.

Table 8.9: Distribution loss Trajectory approved by the Commission

| Sl.No | Year | T&D Loss | Transmission loss | Distribution loss |
| --- | --- | --- | --- | --- |
| 1 | 2015 - 16 | 24 % | 3.6 % | 20.4 % |
| 2 | 2016-17 | 23% | 3.6% | 19.4% |
| 3 | 2017-18 | 22% | 3.6% | 18.4% |

The Commission accordingly approves distribution loss for FY 2017-18 at 18.40%.

This is subject to conducting system studies and energy audit.

Segregation of Technical and Commercial loss shall also be completed by September 2016.

## 8.8     Energy Requirement

The MSPDCL has projected energy requirement as per its sale and availability of power as detailed in Table below:

Table 8.10: Energy Requirement projected by MSPDCL

| Sl. No | Particulars | Unit | Energy Balance |
| --- | --- | --- | --- |
|  |  |  | FY 2014-15 | FY 2015-16 | FY 2016-17 | FY 2017-18 |
| 1 | Energy Sales | MU | 442.30 | 474.98 | 497.18 | 545.50 |
| 2 | Distribution loss | % | 41.88% | 33.67% | 30.67% | 27.67% |
| 4 | Energy Requirement @ distribution periphery | MU | 760.96 | 716.10 | 717.12 | 754.18 |
| 5 | Intra State Transmission Loss 3.6% | % | 3.60% | 3.60% | 3.60% | 3.60% |
| 6 | Energy Requirement @ state periphery | MU | 788.35 | 741.88 | 743.90 | 782.35 |
| 7 | Energy Available for Distribution | MU | 839.13 | 978.14 | 1038.38 | 1042.98 |
| 8 | Surplus (Deficit) |  | 50.78 | 236.26 | 294.48 | 260.64 |

Commission’s Analysis

The Commission after considering Distribution losses 18.4% for FY 2017-18 has computed energy requirement based on energy sales approved for FY 2017-18 as given in table below:

Table 8.11: Energy requirement approved by the Commission for FY 2017-18

| SI. No | Particulars | Approved by the Commission |
| --- | --- | --- |
|  |  | FY 2017-18 |
| 1 | Energy Sales (MU) | 576.00 |
| 2 | Distribution Loss (%) | 18.40% |
| 3 | Distribution Loss (MU) | 129.88 |
| 4 | Energy requirement at distribution Periphery (1+3) | 705.88 |

The Commission approves the energy requirement at 705.88 MU for FY 2017-18 as against 754.18 MU projected by MSPDCL.

## 8.9     Energy Availability and Sources of Power

- Own generation

Petitioner’s submission

The MSPDCL is having its own generation plants such as small hydel, diesel and HFO with installed capacity of 45.11 MW and projected a Net generation of 1.01 MU during FY 2017-18 detailed in Table below:

Table 8.12: Own Generation for FY 2017-18

| S.N0 | Item | Unit | Previous year FY 2014-15 (Actuals) | Current Year FY 2015-16 (R.E) | Ensuring year FY 2016-17 (Projection) | Ensuring year FY 2017-18 (Projection) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| 1 | Installed Capacity | MW | 45.11 | 45.11 | 45.11 | 45.11 |
| 2 | Generation |  |  |  |  |  |
|  | Hydel | MU | 0.33 | 0.33 | - | - |
|  | Diesel | MU | 0.68 | 0.68 | 0.68 | 0.68 |
|  | Total | MU | 1.01 | 1.01 | 0.68 | 0.68 |

Commission’s Analysis

The Commission approves own generation at 0.68 MU (Net) for FY 2017-18 as projected by MSPDCL.

- Purchase of Power from Central Generating Stations

Petitioner’s submission

The MSPDCL has been allocated power from various central generating stations in North Eastern Region (viz. NEEPCO, NHPC, Tripura-Baramura and OTPC- Pallatana) and NTPC– Bongaigaon for power purchase under long term PPA’s, as detailed in Table below:

Table 8.13: Energy Allocation from Central Generating Stations for FY 2017-18

| Source |  | FY 15-16 (Actual) | FY 16-17 (Estimated) | FY 17-18 (Projected) |
| --- | --- | --- | --- | --- |
|  | Installed Capacity | Manipur Allocation (MW) | Average Allocation in % | Manipur Allocation (MW) | Average Allocation in % | Manipur Allocation (MW) | Average Allocation in % |
| NEEPCO(Hydro) |  |  |  |  |  |  |  |
| Kopili I HEP | 200 | 14.78 | 7.39% | 14.78 | 7.39% | 14.78 | 7.39% |
| Kopili II HEP | 25 | 1.74 | 6.95% | 1.74 | 6.95% | 1.74 | 6.95% |
| Khandong HEP | 50 | 3.28 | 6.56% | 3.28 | 6.56% | 3.28 | 6.56% |
| Ranganadi HEP | 405 | 33.91 | 8.37% | 33.91 | 8.37% | 33.91 | 8.37% |
| Doyang HEP | 75 | 5.90 | 7.87% | 5.90 | 7.87% | 5.90 | 7.87% |
| New Projects |  |  |  |  |  |  |  |
| Kameng HEP Stage I | 300 | 0.00 | 0.00% | 7.00 | 2.33% | 7.00 | 2.33% |
| Kameng HEP Stage II | 300 | 0.00 | 0.00% | 0.00 | 0.00% | 7.00 | 2.33% |
| Pare HEP | 110 | 0.00 | 0.00% | 4.40 | 4.00% | 4.40 | 4.00% |
| Turial HEP | 60 | 0.00 | 0.00% | 0.00 | 0.00% | 2.40 | 4.00% |
| Subtotal | 1525 | 59.61 |  | 71.01 |  | 80.41 |  |
| NEEPCO(Gas Based) |  |  |  |  |  |  |  |
| Assam Gas based Power Project | 291 | 23.59 | 8.11% | 23.59 | 8.11% | 23.59 | 8.11% |
| Agartala Gas Turbine Power Project | 84 | 6.98 | 8.31% | 6.98 | 8.31% | 6.98 | 8.31% |
| Agartala Gas Turbine Power Project- EXT | 51 | 0.00 | 0.00% | 4.24 | 8.31% | 4.24 | 8.31% |
| New Projects |  |  |  |  |  |  |  |
| Monarchak Gas Based Power Project | 101.00 | 0.00 | 0.00% | 4.04 | 4.00% | 4.04 | 4.00% |
| Subtotal | 527 | 30.57 |  | 38.85 |  | 38.85 |  |
| NHPC(Loktak HEP) |  |  |  |  |  |  |  |
| Purchased (20.02 MW) and Free (12.60 MW) | 105 | 31.62 | 30.12% | 39.62 | 37.73% | 39.62 | 37.73% |
| Subtotal | 105 | 31.62 |  | 39.62 |  | 39.62 |  |
| TRIPURA |  |  |  |  |  |  |  |
| Baramura(Gas Based)(Unit IV & Unit V) | 42 | 10.50 | 25% | 10.50 | 25% | 10.50 | 25% |
| New Projects |  |  |  |  |  |  |  |
| OTPC-(Pallatana-Unit I) | 363 | 21.00 | 5.79% | 21.00 | 5.79% | 21.00 | 5.79% |
| OTPC-(Pallatana-Unit II) | 363 | 21.00 | 5.79% | 21.00 | 5.79% | 21.00 | 5.79% |
| NTPC |  |  |  |  |  |  |  |
| NTPC Bongaigaon Unit I | 250 | 0.00 | 0.00% | 15.70 | 6.28% | 15.70 | 6.28% |
| NTPC Bongaigaon Unit II | 250 | 0.00 | 0.00% |  |  |  |  |
| NTPC Bongaigaon Unit II | 250 | 0.00 | 0.00% |  |  |  |  |
| Total allocation (MW) |  | 174.30 |  | 217.68 |  | 227.08 |  |

(b) Power Purchase Quantum

- Manipur has allocations in Central Sector Generating Stations of NHPC, NEEPCO (Hydro), NEEPCO(Gas),Tripura Baramura gas based Power Plant, OTPC Pallatana unit 1&2 (Gas) and NTPC Bongaigaon plant.

- Further the allocation from various power stations to Manipur has been listed in the table below:

- For FY 2017-18, the energy availability from hydro generating plants of NHPC Loktak and NEEPCO for Kopili–I, Kopili-II, Khandong HEP, Ranganadi HEP and Doyang HEP has been taken at the PLF at which energy is estimated to be scheduled from the respective Generating Plants during FY 2016-17.

- Average energy scheduled during the last year i.e. FY 2016-17 has been taken respectively for Assam Gas based Power Project, Agartala Gas Turbine Power Project and TSECL Baramura plant to arrive at the energy availability for FY 2017-18 based on the latest performance achieved by these plants.

- For estimating the energy availability from NTPC Bongaigaon Unit I in FY 2017-18, scheduled energy during the previous year has been taken. In FY 2016-17, average PLF has been determined for six months (April 2016-September 2016) based on actual energy generated. That average PLF has been used for the remaining six months to determine the estimated generation.

- Actual allocation of power to MSPDCL from central generating stations has been taken from the latest monthly report of Energy Accounting of North Eastern Regional Power Committee.

- As per the JERC Order No. H 13011/5/10-JERC dated 23rd  May, 2016, MSPDCL is required to meet a total of 7.5% of its energy requirement through renewable sources for FY 2017-18. It includes 5.5% of solar RPO, and the rest 2 % would be therefore, through non-solar resources.  Currently, there are very limited sources of renewable generation within the state and MSPDCL and some of the solar plants in Manipur are also not connected to the grid. In order to meet the solar obligation, MSPDCL along with MANIREDA is planning to introduce a policy for grid connected roof top solar power plants. However, the actual generation from such sources and its purchase by MSPDCL may take some more time.

- Accordingly, MSPDCL has  planned  to meet its  Renewable Purchase Obligation (RPO) in FY 2017-18 by purchasing Renewable Energy Certificates (RECs) from IEX at the prevailing market rates for the ensuing year FY 2016-17. The current Market rates are as follows:

- Solar REC @ Rs. 3.50 Per unit

- Non Solar REC @ Rs.1.50 per unit

- Inter State Transmission Losses @ 3.25% for all Power purchased from central generating stations has been considered to arrive at the energy available at the

state bus of Manipur.

Table 8.14: Power purchase projected by MSPDCL for FY 2016-17 and FY 2017-18

(MU)

| Sl. No | Sources | FY 2014-15 | FY 2015-16 FY 2016-17 | FY 2017-18 |
| --- | --- | --- | --- | --- |
|  |  | MU Purchased/ generated (ex-bus) | MU Purchased / generated (ex-bus) | MU Purchased / generated (ex-bus) | MU Purchased / generated (ex-bus) |
| A | Own Generation |  |  |  |  |
| 1 | Leimakhong - Micro Hydel | 0.33 | 0.33 | 0 | 0 |
| 2 | Various Diesel Generating plants | 0.68 | 0.68 | 0.68 | 0.68 |
| B | CGS - NEEPCO |  |  |  |  |
| 1 | Kopili -I HE | 39.53 | 49.74 | 64.04 | 64.04 |
| 2 | Kopili-II HE | 5.62 | 6.51 | 6.77 | 6.77 |
| 3 | Khandong HE | 5.68 | 11.07 | 10.75 | 10.75 |
| 4 | Ranganadi HE Project | 92.37 | 110.01 | 106.45 | 106.45 |
| 5 | Doyang HE Project | 12.30 | 12.08 | 18.12 | 18.12 |
| 6 | Assam GBPP | 138.67 | 139.62 | 132.99 | 132.99 |
| 7 | Agartala GTPP I & II | 51.15 | 66.32 | 73.75 | 73.75 |
| 9 | Kameng HEP Stage - 1 (Upcoming on September 2016) |  |  | 4.60 | 18.40 |
| C | CGS - NHPC |  |  |  |  |
| 1 | Loktak HE | 64.10 | 125.14 | 180.08 | 180.08 |
| 2 | Loktak Free Power | 42.42 | 61.81 | 70.83 | 70.83 |
| D | Other |  |  |  |  |
| 1 | Baramura GBPP Unit IV and V | 82.59 | 79.34 | 81.84 | 81.84 |
| 2 | OTPC Pallatana Unit I & II | 152.98 | 197.21 | 220.23 | 220.23 |
| E | New Plants |  |  |  |  |
| 1 | NTPC Bongaigaon Unit I |  |  | 83.70 | 83.70 |
|  | Renewable-Solar |  | 1.50 | 1.50 | 43.03 |
|  | Renewable-Non Solar |  | 2.50 | 2.50 | 15.65 |
| F | Inter-state Transmission loss | 26.12 | 32.64 | 34.26 | 34.71 |
|  | Sub Total | 688.42 | 859.86 | 1055.15 | 1068.95 |
|  | Power available at State Periphery | 662.30 | 827.22 | 1020.89 | 1034.24 |
| G | Power Purchased under UI/ Trading | 176.83 | 150.92 | 17.49 | 8.74 |
|  | TOTAL | 839.13 | 978.14 | 1038.38 | 1042.98 |

Commission’s Analysis

The Commission has examined the allocation of power available for MSPDCL from the central generating stations and other for the year FY 2017-18 and approved the power purchase at 1067.95 MU for for FY 2017-18 as projected by MSPDCL as detailed in table below. UI purchase is not considered as there is surplus power. In case of necessity the MSPDCL may resort for UI purchase which will be considered while truing up.

Table 8.15: Energy drawal approved by the Commission for FY 2017-18

(MU)

| Source (MUs) | FY 17-18 Projected |
| --- | --- |
| NEEPCO(Hydr o) |  |
| Kopili I HEP | 64.04 |
| Kopili II HEP | 6.77 |
| Khandong HEP | 10.75 |
| Ranganadi HEP | 106.45 |
| Doyang HEP | 18.12 |
| New Projects |  |
| Kameng HEP |  |
| Stage I | 18.40 |
| Sub Total | 224.53 |
| NEEPCO(Gas Based) |  |
| Assam Gas based Power Project | 132.99 |
| Agartala Gas Turbine Power Project | 73.75 |
| Sub Total | 206.74 |
| NHPC(Loktak HEP) Power Purchased | 180.08 |
| Free (12.60 MW) | 70.83 |
| Sub Total | 250.91 |
| TRIPURA |  |
| Baramura(Gas Based)(Unit IV & Unit V) | 81.84 |
| New Projects |  |
| OTPC- (Pallatana-Unit I) | 220.23 |
| OTPC- (Pallatana-Unit II) |  |
| Sub Total | 302.07 |
| NTPC |  |
| NTPC Bongaigaon Unit I | 83.70 |
| Total Power purchased | 1067.95 |

The Commission approves power purchase at 1067.95 MU including free power of 70.83 MU from Loktak HEP (at 12.6 MW) for FY 2017-18, as projected by MSPDCL.

## Energy Balance

The average regional transmission loss in NER are about 2.65% based on weekly transmission losses for the period from 04.04.2016 to 09.12.2016. Considering the inter-state transmission loss at 2.65% and intra-state transmission loss at 3.6% and distribution losses at 18.4% for FY 2017-18, the energy balance approved by the Commission for FY 2017-18 is furnished in Table below:

Table 8.16: Energy balance approved by the Commission for FY 2017-18

| SI. No | Particulars | Unit | Approved by the commission |
| --- | --- | --- | --- |
|  |  |  | FY 2017-18 |
| A | Energy Requirement | MU |  |
| 1 | Energy Sales | % | 576 |
| 2 | Distribution loss | MU | 18.40% |
| 3 | Distribution loss | MU | 129.88 |
| 4 | Energy Requirement | MU | 705.88 |
| B | Energy Availability | MU |  |
| 5 | Own Generation (Net) | MU | 0.68 |
| 6 | Power Purchase | MU | 1067.95 |
| 7 | Less:External Losses | % | 2.65% |
| 8 | Less:External Losses | MU | 28.30 |
| 9 | Net enegy available at state periphery(5+6-8) | MU | 1040.33 |
| 10 | Tr Loss 3.6% | MU | 37.45 |
| 11 | Energy Available for Distribution | MU | 1002.88 |
| 12 | Surplus (12-4) |  | 297 |
| 13 | Surplus grossed up by 3.6% for sale outside the state |  | 307.69 |

The Commission accordingly approves energy availability at 1002.88 MU with surplus of 307.69 MU during FY 2017-18.

## Revenue Requirement for FY 2017-18

The MSPDCL has projected a net ARR of Rs. 592.11 Cr as given in Table below:

Table 8.17: Aggregate Revenue Requirement Projected by MSPDCL for control period 		FY 2017-18

(Rs. Crore)

| Annual Revenue Requirement | FY 2017-18 Projected |
| --- | --- |
| Costs |  |
| Power Purchase Cost (Inc Fuel Cost) | 358.74 |
| Transmission Charges | 57.45 |
| Transmission Charges MSPCL | 68.58 |
| Employee Cost | 83.98 |
| Repairs & Maintenance Cost | 6.88 |
| Admin & General Cost | 2.65 |
| Depreciation | 0.26 |
| Interest and Financial Charges | 0.28 |
| Interest on Working Capital | 8.82 |
| Provision for Bad Debts | 3.00 |
| Add: Return on Equity | 1.56 |
| Add: Income Tax | 0.39 |
| Less: Non-Tariff Income | 0.37 |
| Annual Revenue Requirement | 592.21 |

Commission’s Analysis

The expenses projected by MSPDCL under each head and the Commission’s analysis are discussed below.

## Fuel Cost

The Commission in its order dated 29.02.2016 had approved fuel cost at Rs. 1.19 Cr for FY 2017-18. The MSPDCL in its ARR and Tariff Petition for FY 2017-18 has reiterated the same.

The Commission approves the fuel cost of Rs.1.19 Crore for FY 2017-18 as projected by the MSPDCL.

## Power Purchase Cost

Petitioner’s submission

The MSPDCL has projected power purchase cost of Rs 355.64 Crore for 2017-18 including arrears to a tune of Rs. 31.00 Crore towards power purchase to purchase power of 1042.98 including free power of 70.83 MU from Loktak HEP and UI purchase of 8.74 MU as detailed in tables below:

Table 8.18: Power Purchase Cost Projected by MSPDCL for FY 2016-17 and FY 2017-18

(Rs. Crore)

| SI No. | Source | FY 2016-17 | FY 2017-18 |
| --- | --- | --- | --- |
|  |  | MU Purchased / generated (ex- bus) | All Charges Total in Rs Crs | Average rate (Rs/kwh) | MU Purchased / generated (ex- bus) | All Charges Total in Rs Crs | Average rate (Rs/kwh) |
| A | Own Generation |  |  |  |  |  |  |
| 1 | Leimakhong - Micro Hydel | 0.33 | 0.00 |  | 0.33 | 0.00 |  |
| 2 | Various Diesel Generating plants | 0.68 | 1.19 | 17.50 | 0.68 | 1.19 | 17.50 |
| B | CGS - NEEPCO |  |  |  |  |  |  |
| 1 | Kopili -I HE | 64.04 | 6.85 | 1.07 | 64.04 | 6.21 | 0.97 |
| 2 | Kopili-II HE | 6.77 | 1.29 | 1.91 | 6.77 | 1.25 | 1.84 |
| 3 | Khandong HE | 10.75 | 2.39 | 2.22 | 10.75 | 2.84 | 2.64 |
| 4 | Ranganadi HE Project | 106.45 | 25.96 | 2.44 | 106.45 | 31.51 | 2.96 |
| 5 | Doyang HE Project | 18.12 | 8.95 | 4.94 | 18.12 | 7.85 | 4.33 |
| 6 | Assam GBPP | 132.99 | 48.68 | 3.66 | 132.99 | 51.20 | 3.85 |
| 7 | Agartala GTPP I & II | 73.75 | 22.38 | 3.04 | 73.75 | 31.19 | 4.23 |
| 9 | Kameng HEP Stage - 1 (Upcoming on September 2016) | 4.60 | 1.17 | 2.55 | 18.40 | 4.69 | 2.55 |
| C | CGS - NHPC |  |  |  |  |  |  |
| 1 | Loktak HE | 180.08 | 41.45 | 2.30 | 180.08 | 52.76 | 2.93 |
| 2 | Loktak Free Power | 70.83 | 0.00 |  | 70.83 | 0.00 | 0.00 |
| D | Other |  |  |  |  |  |  |
| 1 | Baramura GBPP Unit IV and V | 81.84 | 22.78 | 2.78 | 81.84 | 25.37 | 3.10 |
| 2 | OTPC Pallatana Unit I & II | 220.23 | 63.90 | 2.90 | 220.23 | 62.11 | 2.82 |
| E | New Plants |  |  |  |  |  |  |
| 1 | NTPC Bongaigaon Unit I | 83.70 | 48.63 | 5.81 | 83.70 | 25.86 | 3.09 |
|  | Renewable-Solar | 1.50 | 0.49 | 3.50 | 43.03 | 15.06 | 3.50 |
|  | Renewable-Non Solar | 2.50 | 0.42 | 1.50 | 15.65 | 2.35 | 1.50 |
| F | Inter-state Transmission loss | 34.26 |  |  | 34.71 |  |  |
|  | Sub Total | 1055.15 | 296.53 | 2.67 | 1068.95 | 321.43 | 0.00 |
|  | Power available at State Periphery | 1020.89 |  |  | 1034.24 |  |  |
| G | Power Purchased under UI/ Trading | 17.49 | 3.20 | 1.83 | 8.74 | 3.20 | 1.83 |
|  | Supplementary Bill |  | 27.45 |  |  | 31.00 |  |
|  | TOTAL | 1038.38 | 327.17 |  | 1042.98 | 355.64 |  |

The cost of purchase from the central generating stations for FY 2017-18 is estimated based on the following method:

- The per unit power purchase rate for various stations was calculated for FY FY 2014-15 , FY 2015-16 and FY 2016-17(upto September 2016).

- The latest invoices for each of the station of NHPC and NEEPCO were analyzed from the month of April 2016 till September 2016. Per unit power purchase rate for FY 2016-17 till the month of September has been taken as per actuals. For the remaining six months, previous year’s rate has been considered. For estimation of power purchase rates for FY 2017-18, Commission approved rates have been considered.

- The tariff of the new generating plants of NTPC Bongaigaon has been close to Rs 6/kWh.

The power purchase cost has been calculated by multiplying the per unit average power purchase rate as estimated above and projected units from each of the stations for FY 2016-17 and FY 2017-18. Besides the current power purchase bills for FY 2016-

17 and FY 2017-18, MSPDCL shall also be required to clear the pending arrears of the power purchase invoices. It is observed that for FY 2014-15 as well as FY 2015-16, MSPDCL had to pay arrears of Rs 34.16 crore and Rs 26.41 crore respectively in the form of supplementary bill and late payment surcharge. It is observed that the arrear amount is roughly 10 % of the total power purchase bill for each financial year. Hence for FY 2017-18, 10% of the total power purchase cost has been assumed as arrears.

MSPDCL is planning to liquidate around Rs. 27.37 crores of arrears in the each of the ensuing years of MYT period. Out of this Rs.27.34 crores of arrears, Rs. 4.04 Crores is due for NHPC and the remaining Rs. 23.33 crores is due for NEEPCO. It may be noted that MSPDCL is planning to pay only the principal part and planning to request NEEPCO to waive of the arrears pending due to interest component.  Regarding the NHPC arrear, the amount is payable as per the order of arbitrator under a very old litigation case which is under further sub-judice but the pending amount needs to be cleared to avoid further accumulation of interest on the outstanding.

The method of estimating average power purchase rate for each of the stations and the per unit rates for FY 2016-17 and FY 2017-18 is summarized in the table below:

Table 8.19: Power Purchase rate for FY 2016-17 AND FY 2017-18

| SI No. | Source | FY 2016-17 | FY 2017-18 |
| --- | --- | --- | --- |
|  |  | MU Purchased / generated (ex- bus) | All Charges Total in Rs Crs | Average rate (Rs/kwh) | MU Purchased / generated (ex- bus) | All Charges Total in Rs Crs | Average rate (Rs/kwh) |
| A | Own Generation |  |  |  |  |  |  |
| 1 | Leimakhong - Micro Hydel | 0.33 | 0.00 |  | 0.33 | 0.00 |  |
| 2 | Various Diesel Generating plants | 0.68 | 1.19 | 17.50 | 0.68 | 1.19 | 17.50 |
| B | CGS - NEEPCO |  |  |  |  |  |  |
| 1 | Kopili -I HE | 64.04 | 6.85 | 1.07 | 64.04 | 6.21 | 0.97 |
| 2 | Kopili-II HE | 6.77 | 1.29 | 1.91 | 6.77 | 1.25 | 1.84 |
| 3 | Khandong HE | 10.75 | 2.39 | 2.22 | 10.75 | 2.84 | 2.64 |
| 4 | Ranganadi HE Project | 106.45 | 25.96 | 2.44 | 106.45 | 31.51 | 2.96 |
| 5 | Doyang HE Project | 18.12 | 8.95 | 4.94 | 18.12 | 7.85 | 4.33 |
| 6 | Assam GBPP | 132.99 | 48.68 | 3.66 | 132.99 | 51.20 | 3.85 |
| 7 | Agartala GTPP I & II | 73.75 | 22.38 | 3.04 | 73.75 | 31.19 | 4.23 |
| 9 | Kameng HEP Stage - 1 (Upcoming on September 2016) | 4.60 | 1.17 | 2.55 | 18.40 | 4.69 | 2.55 |
| C | CGS - NHPC |  |  |  |  |  |  |
| 1 | Loktak HE | 180.08 | 41.45 | 2.30 | 180.08 | 52.76 | 2.93 |
| 2 | Loktak Free Power | 70.83 | 0.00 |  | 70.83 | 0.00 | 0.00 |
| D | Other |  |  |  |  |  |  |
| 1 | Baramura GBPP Unit IV and V | 81.84 | 22.78 | 2.78 | 81.84 | 25.37 | 3.10 |
| 2 | OTPC Pallatana Unit I & II | 220.23 | 63.90 | 2.90 | 220.23 | 62.11 | 2.82 |
| E | New Plants |  |  |  |  |  |  |
| 1 | NTPC Bongaigaon Unit I | 83.70 | 48.63 | 5.81 | 83.70 | 25.86 | 3.09 |
|  | Renewable-Solar | 1.50 | 0.49 | 3.50 | 43.03 | 15.06 | 3.50 |
|  | Renewable-Non Solar | 2.50 | 0.42 | 1.50 | 15.65 | 2.35 | 1.50 |
| F | Inter-state Transmission loss | 34.26 |  |  | 34.71 |  |  |
|  | Sub Total | 1055.15 | 296.53 | 2.67 | 1068.95 | 321.43 | 0.00 |
|  | Power available at State Periphery | 1020.89 |  |  | 1034.24 |  |  |
| G | Power Purchased under UI/ Trading | 17.49 | 3.20 | 1.83 | 8.74 | 3.20 | 1.83 |
|  | Supplementary Bill |  | 27.45 |  |  | 31.00 |  |
|  | TOTAL | 1038.38 | 327.17 |  | 1042.98 | 355.64 |  |

Commission’s Analysis

As already discussed in Para 8.9(b) ante, the Commission has finalized and approved the quantum of power to be purchased by MSPDCL during the FY 2017-18. The power purchase cost constitutes about 53% of the ARR.

As verified from the power purchase rates arrived by the MSPDCL in table 8.19 supra, it is observed in general that the average rates FY 2014-15, FY 2015-16 and FY 2016-17 are adopted by the MSPDCL. The Commission considers it reasonable. For new Baramura and Pallatana, stations the rates assumed by MSPDCL are considered as it is.

The Commission needs a clear explanation on pending arrears i.e., when the bills are received whether any penal charges included etc. After examining the arrears bills the commission will take a decision on admittance of arrear bills, as penalty, if any, cannot be passed on to consumers. Further in the MYT Tariff Petition for FY 2016-17 to FY 2017-18 arrears to a tune of Rs. 27.37 Cr are furnished. In the review petition for FY 2016-17, no arrear amount is furnished during FY 2016-17 but in petition for FY 2017-18 arrears of Rs 27.45 Cr estimated during FY 2016-17 and projected Rs. 31.00 Cr during FY 2017-18. As such the arrear amount of Rs 31.00 Crore proposed during FY 2017-18 is not allowed. UI/Trading charges of Rs 3.20 Crore proposed during FY 2017-18 are also not allowed since UI purchase is not considered as there is surplus power.

The cost of purchase of REC to fulfil the renewable energy obligation is arrived as follows:

Total energy consumption/requirements 705. 88 MU.

Renewable Energy Obligation

| Solar at 0.25% | 1.76 MUX5.8 | Rs. 1.02 Cr |
| --- | --- | --- |
| Non Solar at 4.75% | 33.53 MU X 3.30 | Rs. 11.06 Cr |
| Total | Rs. 12.08 Cr |

Thus the Renewable Energy Purchase obligation works out to Rs. 12.08 Cr as against Rs. 17.41 Cr projected by MSPDCL.

Considering the above, the power purchase cost approved by the Commission for FY 2017-18 is furnished in the Table below:

Table 8.20: Power Purchase Cost of MSPDCL approved by the Commission for FY 2017-18

| Source | Quantity of Power Purchased (MU) | Average Rate (Rs/kWh) | Power Purchase Cost (Rs. Cr) |
| --- | --- | --- | --- |
| NEEPCO(Hydro) |  |  |  |
| Kopili I HEP | 64.04 | 0.97 | 6.21 |
| Kopili II HEP | 6.77 | 1.84 | 1.25 |
| Khandong HEP | 10.75 | 2.64 | 2.83 |
| Ranganadi HEP | 106.45 | 2.96 | 31.51 |
| Doyang HEP | 18.12 | 4.33 | 7.85 |
| New Projects |  |  |  |
| Kameng HEP Stage I | 18.40 | 2.55 | 4.69 |
| Kameng HEP Stage II | - |  |  |
| Pare HEP | - |  |  |
| Turial HEP | - |  |  |
| Sub Total | 224.53 |  |  |
| NEEPCO(Gas Based) |  |  |  |
| Assam Gas based Power Project | 132.99 | 3.96 | 52.66 |
| Agartala Gas Turbine Power Project | 73.75 | 4.36 | 32.16 |
| Agartala Gas Turbine Power Project- EXT | - | - | - |
| New Projects |  |  |  |
| Monarchak Gas Based Power Project | - | - | - |
| Sub Total | 206.74 |  |  |
| NHPC(Loktak HEP) |  |  |  |
| Purchased (20.02 MW) | 180.08 | 2.93 | 52.76 |
| Free Power (12.60 MW) | 70.83 | 0.00 | - |
| Sub Total | 250.91 |  | - |
| TRIPURA |  |  |  |
| Baramura(Gas Based)(Unit IV & Unit V) | 81.84 | 3.10 | 25.37 |
| New Projects |  |  |  |
| OTPC- (Pallatana-Unit I) | 220.23 | 2.82 | 62.10 |
| OTPC- (Pallatana-Unit II) |  |  |  |
| Sub Total | 302.07 |  |  |
| NTPC |  |  |  |
| NTPC Bongaigaon Unit I | 83.70 | 3.09 | 25.86 |
| NTPC Bongaigaon Unit II | - |  |  |
| NTPC Bongaigaon Unit II | - |  |  |
| Sub Total | 83.70 |  |  |
| Renewable Solar |  |  | 1.02 |
| Non Solar |  |  | 11.06 |
| Total Power | 1067.95 | 2.97 | 317.33 |

The Commission accordingly approves the power purchase cost at Rs. 317.33 Crore for FY 2017-18 for purchase of 1067.95 MU for FY 2017-18 including free power from loktak at 70.83 MU.

## Transmission Charges

The MSPDCL has projected PGCIL transmission charges at Rs. 57.45 Cr. MSPCL Transmission Charges at Rs. 68.58 Cr and SLDC charges at Rs. 3.10 Cr for FY 2017-18.

The Commission approves PGCIL charges at Rs. 57.45 Cr as projected by MSPDCL and the MSPCL charges at Rs. 68.15 being the approved ARR for MSPCL for FY 2017-18 and SLDC charges at Rs. 3.10 Cr as projected by MSPDCL for FY 2017-18.

## Operation and Maintenance Expenses

Petitioner’s submission

- Operation and Maintenance expenses comprise of the following heads:

- Employees Expenses which includes the basic pay, dearness pay, dearness allowances, house rent allowances, and other allowances, new pension scheme paid to the staff;

- Repair and Maintenance (R&M) Expenses, which include all expenditure incurred on the maintenance and upkeep of distribution assets; and

- Administrative and General Expenses, which include all expenditure incurred in operating a business such as office and IT expenses, consultancy and regulatory fee etc.

- As such, the arrear figures have been removed from the actual data of employee expenses for considering the base of projections for FY 2015-16 and FY 2016-17 and FY 2017-18 respectively. However considering impact of implementation of upcoming VII pay commission, an increase of around 20% has been considered in the total employee expenses for FY 2017-18.

- The methodology adopted by MSPDCL for projecting the values of each component of the O&M expense for FY 2017-18 has been explained in the following section.

- Employee cost

The Employee cost approved by the Commission in its Tariff Order dated 29.02.2016 and projected by MSPDCL and now approved by the Commission are furnished Table below:

Table 8.21: Employee Cost approved by the Commission for FY 2017-18

| SI. No. | Particulars | Approved by the Commission in Tariff Order dated 29.02.2016 | Projected by MSPDCL | Now approved by the Commission |
| --- | --- | --- | --- | --- |
| 1 | Employee Cost | 83.98 | 83.98 | 83.98 |

The Commission approves the employee cost of Rs. 83.98 Crore for FY 2017-18 as projected by MSPDCL.

- Repairs and Maintenance expenses

- These expenses include expenses on repairs and maintenance of Plant and Machinery, Transformers, Lines, cable network etc., Vehicles, Office equipment, etc.

- The repair and maintenance expenses incurred by the distribution divisions of erstwhile Electricity Department of Manipur in FY 2015-16 have been assumed to the actual R&M expenses for MSPDCL. Similarly, the actual R&M expenses incurred in FY 2015-16 have been increased based on ratio of Asset addition and WPI (of around 2%).

- Based on the above mentioned trend, for the ensuing years, the R&M cost in expected remain same as approved by the Commission in its order dated 29.02.2016.

- MSPDCL submits to the Commission that it is important for MSPDCL to incur the R&M expenses as mentioned above in order to maintain and strengthen the system and quality of supply.

- The R&M cost for FY 2017-18 is summarized in table below:

Table 8.22: R & M Expenses furnished by the MSPDCL for FY 2017-18

(Rs. Crore)

| Sl. No. | R&M Cost | FY 2016-17 Projected | FY 2017-18 Projected |
| --- | --- | --- | --- |
| 1 | Grand Total | 6.11 | 6.88 |

The MSPDCL requested the Commission to approve the expenses without any disallowance as the same is necessary for proper maintenance and strengthening of the system and quality of supply in the region in order to ensure consumer satisfaction.

The Commission approves Rs 6.88 Crore for FY 2017-18 as projected by MSPDCL.

- Administrative and General Expenses

- Administrative and General (A&G) expense comprise of various sub-heads including the following:

- Travel and conveyance expenses

- Consultancy and regulatory fees

- IT services and outsourcing cost

- Office expenses

- Publication expenses

- Other administration expenses

- The segregated A&G expense for MSPDCL in FY 2014-15 is 7.207 Crore. MSPDCL has projected the A&G expense for FY 2016-17 and FY 2017-18 as approved by the Commission.

- For FY 2016-17 and FY 2017-18 total A&G expenses have been projected at Rs. 2.53 Crore, Rs. 2.65 Crore respectively.

Table 8.23: A&G Expenses projected by MSPDCL for FY 2017-18

(Rs. Crore)

| A&G Cost | FY 2016-17 (Projected) | FY 2017-18 (Projected) |
| --- | --- | --- |
| IT And Comp Expenses | 0.31 | 0.33 |
| Consultancy & Auditor Charges and Regulatory Charges & Fees | 0.28 | 0.28 |
| Advertisement & Printing Charges | 0.48 | 0.51 |
| Furniture | 0.09 | 0.09 |
| Other expenses | 0.45 | 0.48 |
| outsourced staff | 0.59 | 0.61 |
| Stationary | 0.01 | 0.01 |
| TA/DA | 0.17 | 0.19 |
| Vehicle | 0.14 | 0.15 |
| Total | 2.53 | 2.65 |

(Source: Table 16 of ARR)

The Commission approves Rs 2.65 Crore for FY 2017-18 towards A&G expenses projected by the MSPDCL.

## Capital Expenditure Plan for FY 2017-18

Petitioner’s submission

The MSPDCL has projected capital expenditure to a tune of Rs. 55 for FY 2017-18 for distribution function mainly focusing on strengthening electricity network and augment new networks for ensuring reliable power to its consumers

Capital expenditure plan

- Considering the increased in demand from HT & LT consumers, MSPDCL would be required to undertake significant capital expenditure for system augmentation and strengthening. System augmentation would not only help MSPDCL in handling increased load but would also ensure better quality of supply and network reliability to the consumers and reduce T&D loss levels.

- Every year MSPDCL prepares an Annual resources Plan for the capital investment for new schemes and continuing schemes, which it plans to incur in the ensuing year. The MSPDCL, has to undertake various capital projects for generation, transmission/sub- transmission and distribution functions mainly focusing on the increasing generation capacity, augmenting existing generating plants, strengthening electricity network and developing new network for ensuring reliable power to its consumers.

Details of ongoing capital schemes are furnished hereunder:

Major Capital Expenditure Schemes

- Strengthening and upgrading of existing 11 Kv lines

- Improvement of Distribution system in Greater Imphal and other Towns

- Providing prepaid energy meters in Imphal and

- Replacement of old electromechanical and defective meters with electronic meters

- GoI schemes of RGGVY and R APDRP.

- Apart from the above schemes, MSPDCL has also undertaken large scale rural electrification and development, augmentation and improvement of electricity infrastructure under newly introduced schemes of GOI namely Deendayal Upadhyaya Gram Jyoti Yojana (DUGJY) and Integrated Power Development Scheme (IPDS) MSPDCL has prepared the project reports under the new schemes and will start implementation of schemes from FY 2016-17 onwards.

- Deendayal Upadhyaya Gram Jyoti Yojana aims at augmenting power supply in rural areas via feeder separation. A capital expenditure of Rs.5 Crore has been allocated by MSPDCL for each year of FY 2015-16, FY 2016-17 and FY 2017-18 for implementing these objectives. The main objectives of the scheme are as follows:

- To separate agricultural and non-agricultural feeders in rural areas.

- Strengthening and augmentation of sub transmission and distribution infrastructure in rural areas.

- Integrated power development initiative also aims at strengthening sub- transmission and distribution systems, including 100% metering and underground cabling. A capital expenditure of Rs.5 Crore has been allocated by MSPDCL for each of FY 2016-17 and FY 2017-18 for implementing these objectives. The main objectives of the scheme are as follows:

- Strengthening of sub transmission and distribution infrastructure in Urban and Semi Urban areas.

- Metering in Urban and Semi-Urban areas

- Following Table depicts the ongoing capital schemes being undertaken by MSPDCL and the plan for current and ensuing year:

Table 8.24: Proposed Capital Expenditure

(Rs. Crore)

| Name of the Scheme/Work | Actual Expenditure in FY 2014-15 | Estimated Expenditure in FY 2015-16 | Plan for FY 2016-17 | Plan for FY 2017-18 |
| --- | --- | --- | --- | --- |
|  |  |  | Total Plan | Funded by Grant | Funded by Equity | Funded by Loan | Total Plan | Funded by Grant | Funded by Equity | Funded by Loan |
| 11 KV & Below System |  |  |  |  |  |  |  |  |  |  |
| Improvement of Distribution System of Greater Imphal including 11KV feeder segregation | 0.34 | 2.92 | 2.00 | 1.91 | 0.09 | 0.00 | 2.00 | 1.91 | 0.09 | 0.00 |
| Improvement of Distribution System of other towns and District Head Quarters (AB Cables/MRI etc) | 0.72 | 0.00 | 1.00 | 0.96 | 0.04 | 0.00 | 1.00 | 0.96 | 0.04 | 0.00 |
| Completion of Ongoing APDRP Scheme | 7.52 | 8.00 | 4.00 | 3.82 | 0.18 | 0.00 | 4.00 | 3.82 | 0.18 | 0.00 |
| Providing of Pre-paid Energy Meter at Imphal areas | 0.00 | 0.00 | 2.00 | 1.91 | 0.09 | 0.00 | 2.00 | 1.91 | 0.09 | 0.00 |
| Procurement of prepaid meters and accessories for other areas | 19.50 | 26.00 | 15.00 | 14.33 | 0.67 | 0.00 | 15.00 | 14.33 | 0.67 | 0.00 |
| Street lamps and High mast | 5.00 | 4.89 | 5.00 | 4.78 | 0.22 | 0.00 | 5.00 | 4.78 | 0.22 | 0.00 |
| Replecement of Elec- mechanical Meters with Static Meters | 3.06 | 3.00 | 3.00 | 2.87 | 0.13 | 0.00 | 3.00 | 2.87 | 0.13 | 0.00 |
| Total: A.1.3 | 36.14 | 44.81 | 32.00 | 30.58 | 1.42 | 0.00 | 32.00 | 30.58 | 1.42 | 0.00 |
| Rural Electrification |  |  |  |  |  |  |  |  |  |  |
| Electrification of Tribal Villages (left out) of Tousem Sub-Division | 0.00 | 0.00 | 1.00 | 0.96 | 0.04 | 0.00 | 1.00 | 0.96 | 0.04 | 0.00 |
| Electrification of Tribal Villages (left out) of Nungba Sub-Division | 0.00 | 0.00 | 1.00 | 0.96 | 0.04 | 0.00 | 1.00 | 0.96 | 0.04 | 0.00 |
| RGGVY | 17.40 | 10.24 | 7.50 | 7.17 | 0.33 | 0.00 | 7.50 | 7.17 | 0.33 | 0.00 |
| Total: RE | 17.40 | 10.24 | 9.50 | 9.08 | 0.42 | 0.00 | 9.50 | 9.08 | 0.42 | 0.00 |
| Misc. Schemes |  |  |  |  |  |  |  |  |  |  |
| Civil Work and Office Construction | 2.30 | 3.25 | 3.50 | 3.34 | 0.16 | 0.00 | 3.50 | 3.34 | 0.16 | 0.00 |
| New Schemes |  |  |  |  |  |  |  |  |  |  |
| Integrated Power Development Scheme (IPDS) | 0.00 |  | 5.00 | 4.50 |  | 0.50 | 5.00 | 4.50 |  | 0.50 |
| Deen dayal Upadhyaya Gram Jyoti Yojana | 0.00 |  | 5.00 | 4.50 |  | 0.50 | 5.00 | 4.50 |  | 0.50 |
| TOTAL | 55.84 | 58.30 | 55.00 | 52.00 | 2.00 | 1.00 | 55.00 | 52.00 | 2.00 | 1.00 |

(Source: Table 17 of ARR)

- For MYT period, the MSPDCL has proposed a plan capital expenditure of Rs. 55.00 Crore each for FY 2016-17 and FY 2017-18 under various existing and new schemes.

- It may be noted that funding for most of the schemes except that of RGGVY, R-APDRP DUGJY and IPDS (for MYT period), are covered by grants from State Government and there are no loans or equity for funding of such schemes. For RGGVY, MSPDCL is furnishing loans from REC for 10% of the project cost, as per the directions of Ministry of Power, Government of India, in this regard. For RGGVY, the Central Government is providing 90% grant and 10% is covered through loan. Similarly for DUGJY and IPDS, since Manipur is a special category state, the Central Government is providing a maximum of 90% grant and 10% is covered through loan.

- The capitalization of the above mentioned scheme in a consolidated manner has been considered at 70% of the planned capital expenditure in the same year, 30% in the second year. A summary of the capital expenditure and capitalization for FY 2015-16 and for MYT period FY 2016-17 and FY 2017-18 is summarized in Table below:

Table 8.25: Capital Work in Progress

(Rs.Crore)

| SL. No. | Particulars | MYT Period |
| --- | --- | --- |
|  |  | 2016-17 | 2017-18 |
| A | Opening Balance of CWIP | 227.76 | 192.54 |
| B | Fresh Investment during the year | 55.00 | 55.00 |
| C | Investment capitalised out of opening CWIP | 51.72 | 51.71 |
| D | Investment capitalised out of fresh investment | 38.50 | 38.50 |
|  | Total Capitalisation during the year (C+D) | 90.22 | 90.21 |
|  | Closing Balance of CWIP (A + B - C - D) | 192.54 | 157.33 |

Commission’s analysis

The MSPDCL has stated that it has capitalized the CWIP on percentage basis irrespective, whether the work is completed or not and asset put to use which is not in order.

MSPDCL is directed to ensure completion of the work and put the assets into operation before capitalisation.

With the above observation the capital expenditure of Rs.55 Crore and capitalisation of Rs 90.21 Crore for FY 2017-18 are considered.

## Gross Fixed Assets

Petitioner’s submission

- The accounts of FY 2014-15 for the restructured companies have been finalised and audited.

- The GFA values  are taken as approved in the latest JERC Tariff Order. Since no data is available on capital expenditure and capitalisation, we have projected Commission approved figures.

Commission’s Analysis

MSPDCL has stated that the value of GFA has been taken based on the audited opening balance sheet. The opening GFA for FY 2014-15 furnished by MSPDCL has been verified with closing GFA appearing in opening balance sheet as on 31.1.2014 and it is in order. As such the same are considered.

## Depreciation

Petitioner’s submission

Depreciation is charged on the basis of straight-line method, on the GFA in use at the beginning of the year and addition in assets during the financial year. The depreciation is based on the original cost of the Gross Fixed Assets.

Table 8.26: Depreciation projected by MSPDCL for FY 2017-18

(Rs. Crore)

| Sl. No | Particulars | FY 2014-15 | FY 2015-16 | FY 2016-17 | FY 2017-18 |
| --- | --- | --- | --- | --- | --- |
| 1 | Opening GFA | 553.85 | 661.74 | 786.75 | 876.97 |
| 2 | Additions | 107.89 | 125.01 | 90.22 | 90.21 |
| 3 | Closing GFA | 661.74 | 786.75 | 876.97 | 967.18 |
| 4 | Average GFA | 607.80 | 724.25 | 831.86 | 922.08 |
| 5 | Average rate of depreciation | 2.77% | 2.77% | 2.77% | 2.77% |
| 6 | Depreciation | 17 | 20 | 23 | 26 |
| 7 | 1% of Depreciation | 0.17 | 0.20 | 0.23 | 0.26 |

The MSPDCL has further stated that as per the guidelines of Institute of Chartered Accountant of India (ICAI), depreciation should not be claimed as net expenditure for assets funded through government grants. In MSPDCL, as mentioned earlier, most of the funding is through government grants, depreciation shall not be included under ARR on the assets funded through government grants. This is because MSPDCL is not required to repay or recover the amount received as grants from the Government.

It may be noted here that the State of Manipur has been granted a special status similar to that of other North-Eastern States. Government of India provides special assistance for the development of infrastructure facilities in these States. Accordingly, the infrastructure projects of the State of Manipur, including those of MSPDCL are being supported by issue of Grants through various Central Government Ministries and Agencies like Ministry of Power (MoP) through schemes of RGGVY, IPDS, DUGY, R APDRP, Ministry of New and Renewable Energy (MNRE), Ministry of Development of North Eastern Region (DONER) and North Eastern Council (NEC).

Out of the existing capital investment schemes, only for RGGVY and some other central government schemes, MSPDCL is taking loans to the extent of 10% of the total cost of the scheme. Out of these loans also, the loans taken by EDM before 31.01.2014 have been absorbed by Government of Manipur and only the loans taken after February' 2014 shall be taken up by MSPDCL. As such, depreciation is being claimed on the assets funded through the paid up equity of State Government or the new loans taken which is around 1% of the total asset value.

Commission’s Analysis:

As per Regulation 28 of JERC for M&M (MYT) Regulations 2014, depreciation shall be computed annually based on strait line method at the approved rates calculated on average GFA. As per Annual Accounts of FY 2014-15 the effective rate of depreciation is 2.60%. further the additions during FY 2014-15 are only Rs. 0.80 Cr as against Rs. 107.89 Cr reported earlier correct data for subsequent years also to be furnished.

The MSPDCL has claimed depreciation on assets funded through paid up equity which is around 1% of the total asset value. Accordingly the depreciation is worked out as detailed in Table below:

Table 8.27: Depreciation approved by the Commission for FY 2017-18

(Rs. Crore)

| Sl.No | Particulars | FY 2014-15 | FY 2015-16 | FY 2016-17 | FY 2017-18 |
| --- | --- | --- | --- | --- | --- |
| 1 | Opening GFA | 553.85 | 554.65 | 679.66 | 769.88 |
| 2 | Additions | 0.80 | 125.01 | 90.22 | 90.21 |
| 3 | Closing GFA | 554.65 | 679.66 | 769.88 | 860.09 |
| 4 | Average GFA | 554.25 | 617.16 | 724.77 | 814.99 |
| 5 | Average rate of depreciation | 2.60% | 2.60% | 2.60% | 2.60% |
| 6 | Depreciation | 14.40 | 16 | 18.84 | 21.19 |
| 7 | 1% of Depreciation | 0.14 | 0.16 | 0.19 | 0.21 |

The Commission accordingly approves depreciation of Rs. 0.21 Crore for FY 2017-18 as against Rs 0.26 Crore projected by MSPDCL.

## Interest and Finance Charges

Petitioner’s submission

- The entire capital expenditure of MSPDCL since its inception has been funded by the State Government through grants and loans from central government Ministries and Agencies like Ministry of Power (MoP) through schemes of APDRP, RGGVY, DUGJY, IPDS etc. Therefore, the utility does not have significant amount of loan liabilities.

- However for the new Schemes of DUGJY, IPDS 10% of the funds provided will be through loans and hence out of the total capital expenditure of Rs.10 Crore allocated for these two schemes, 10% (i.e. Rs.1 Crore) is considered as new loan amount during FY 2016-17 and FY 2017-18.

- Interest rate of 14% has been considered for computation of interest cost for long-term loans for MYT period which in line with the applicable current interest rates.

- Under the restructuring of EDM into MSPDCL and MSPCL the entire loans have been taken by the state government of Manipur and hence the opening loans for FY 2014-15 are assumed to be Zero. There are no loan additions also during the previous Year FY 2014-15. A loan addition of Rs.10 Crore is assumed to be added in each of the years FY 2016-17 and FY 2017-18 respectively.

- For old consumers (consumers existing before restructuring), Interest cannot be Paid on Security deposit since the data regarding the no of consumers having security deposit is unavailable with MSPDCL. However, for the consumers added after restructuring Interest can be paid on security deposit as per JECR regulations and hence it is considered for the years of FY 2016-17 and each year of MYT period respectively.

- Details of the loan amounts and interest cost computed for FY 2016-17 and FY 2017-18 is summarized in Table below:

Table 8.28: Interest and Finance Charges furnished by MSPDCL for FY 2017-18

(Rs. Crore)

| Sl. No. | Particulars | FY 2016-17 | FY 2017-18 |
| --- | --- | --- | --- |
| 1 | Opening Loan | 0.00 | 0.77 |
| 2 | Additions during the year | 1.00 | 1.00 |
| 3 | Repayment during the year | 0.23 | 0.26 |
| 4 | Closing Loan | 0.77 | 1.51 |
| 5 | Average Loan | 0.39 | 1.14 |
| 6 | Rate of Interest | 14% | 14% |
| 7 | Interest and Finance Charges | 0.05 | 0.16 |
| 8 | Interest on consumer security deposit | 0.02 | 0.03 |
| 9 | Total Interest | 0.07 | 0.19 |

The Commission approves the interest and finance charges of Rs 0.19 Crore for FY 2017-18 as projected by the MSPDCL.

## Interest on Working Capital

Petitioner’s submission

The MSPDCL has projected interest on working capital at Rs. 6.88 Cr for FY 2017-18 as approved by the Commission in its order dated 29.02.2016.

Commission Analysis

The Commission in its order dated 29.02.2016 had approved interest on working capital at Rs. 6.88 Cr for FY 2017-18 at the then SABR of 14.75% as on 01.04.2015. Now the State Bank has reduced the interest rates and the SABR as on 01.04.2016 is 14.05%. Accordingly the interest on working capital has been revised as detailed in Table below:

Table 8.29: Interest on Working Capital approved by the Commission for FY 2017-18

(Rs. Crore)

| Sl. No | Particulars | FY 2017-18 |
| --- | --- | --- |
|  |  | Total Cost | One Month Cost |
| 1 | O&M Expenses | 93.51 | 7.79 |
| 2 | Maintenance of Spares @1% of GFA | 814.99 | 8.15 |
| 3 | Receivables | 254.33 | 21.19 |
| 4 | Total |  | 37.13 |
| 5 | Rate of one month |  | 14.05% |
| 6 | Interest on Working Capital |  | 5.22 |

The Commission approves the interest on working capital at Rs. 5.22 Cr for FY 2017-18.

## Provision for Bad Debts

Petitioner’s submission

The MSPDCL has considered provision for bad debts at 1.00% of receivables as provided in the Regulation 89.8 of the JERC (Multi Year Tariff) Regulations, 2014 issued by the Hon’ble Commission.

MSPDCL requests the Hon’ble Commission to approve the provision for bad & doubtful debts as summarized in the Table below:

Table 8.30: Provision for Bad debts projected by MSPDCL

(Rs. Crore)

| Provision for Bad & Doubtful Debts | FY 2017-18 (Projected) |
| --- | --- |
| Provision for Bad & Doubtful Debts (rounded off) | 3.00 |

The Commission approves provision for bad debts at Rs.3.00 Crore for FY 2017-18 as projected by MSPDCL.

## Return on Equity

Petitioner’s submission

The MSPDCL has stated that as per the JERC (Terms and Conditions for Determination of Tariff) Regulations, 2014 MSPDCL is entitled for a Return on Equity (RoE) of 19.38% after grossing up the tax rate of 20.01% in 15.5%.  The paid up equity is Rs.10.5 Crore for FY 2017-18.

Based on this the RoE calculations is given below:

Table 8.31: Return on Equity

(Rs. Crore)

| SI. No. | Particulars | PY 2017-18 |
| --- | --- | --- |
| 1 | Return on Equity for the Year | 1.56 |

Commission’s Analysis

The opening equity of Rs.10.05 Crore as per opening balance sheet is considered. Rate of return on equity is considered at 15.5%. MAT rate is considered at 20.01%. The RoE and MAT are worked out as detailed in the Table below:

Table 8.32: Return on Equity Approved by the Commission

(Rs. Crore)

| Sl. No | Loan Details | Unit | 2017-18 Projected |
| --- | --- | --- | --- |
| 1 | Average Equity | Rs Crore | 10.05 |
| 2 | Rate of Return on Equity | % | 15.50% |
| 4 | Return on Equity | Rs Crore | 1.56 |
| 5 | MAT rate | % | 20.01% |
| 6 | MAT | Rs Crore | 0.31 |
| 7 | Grossed up by 20.01% | Rs Crore | 0.39 |
| 8 | Total (4+7) | Rs Crore | 1.95 |

The Commission approves RoE at Rs.1.56 Crore for FY 2017-18.

## Income Tax

MAT on the above return on equity at 20.01% for FY 2017-18 works out to Rs 0.39 Crore.

The Commission allows MAT at Rs 0.39 Crore for FY 2017-18 projected by MSPDCL.

## Non-Tariff Income

The MSPDCL has projected the non-tariff income at Rs 0.37 Crore for FY 2017-18. Non-tariff income comprises meter rent, late payment charges, miscellaneous income such as interest on staff loans, cost of auctioned stores, rebate on timely payment of power purchase bills etc. The MSPDCL has stated that for projecting non-tariff income for FY 2017-18 the average income under this head for the past three years have been assumed as provided in Table below:

Table 8.33: Non-Tariff Income projected by MSPDCL for FY 2017-18

(Rs. Crore)

| Particulars | FY 2017-18 Projected |
| --- | --- |
| Non-Tariff Income | 0.37 |

(Source: Table 23 of ARR)

Commission’s Analysis

MSPDCL has not furnished the details under non-tariff income. Non-Tariff Income comprises of meter rent, late payment charges, miscellaneous income such as reconnection charges, Meter/consumer installation charges, interest on staff loans, rebate for timely payment of power purchase bills, cost of auctioned stores material, penalty on theft of energy charges etc.

The MSPDCL is directed to account for revenue from the above heads under Non-Tariff Income invariably from next tariff petition.

For the present non-tariff income is approved as projected by MSPDCL.

The Commission approves the non-tariff income of Rs 0.37 Crore FY 2017-18 as projected by the MSPDCL.

## Aggregate Revenue Requirement

Based on the above analysis and approvals, the Aggregate Revenue Requirement projected by the MSPDCL and approved by the Commission for FY 2017-18 are furnished in Table below:

Table 8.34: Aggregate Revenue Requirement for FY 2016-17 and FY 2017-18

(Rs. Crore)

| Sl. No | Particulars | Projected by MSPDCL | Approved by the Commission |
| --- | --- | --- | --- |
|  |  | FY 2017-18 | FY 2017-18 |
| 1 | Fuel Cost | 358.74 | 1.19 |
| 2 | Power Purchase Cost |  | 317.33 |
| 3 | Transmission Charges for inter state | 57.45 | 57.45 |
| 4 | Transmission Charges of MSPCL | 68.58 | 68.15 |
| 5 | SLDC charges |  | 3.10 |
| 6 | O&M Expenses | 93.51 | 93.51 |
| 7 | Depreciation | 0.26 | 0.21 |
| 8 | Interest and Financial Charges | 0.28 | 0.19 |
| 9 | Interest on Working Capital | 8.82 | 5.22 |
| 10 | Provision of bad debts | 3.00 | 3.00 |
| 11 | Total Cost | 590.63 | 549.35 |
| 12 | Add: Return on Equity/RoE | 1.56 | 1.56 |
| 13 | Add: Income Tax | 0.39 | 0.39 |
| 14 | LESS: Non Tariff Income | 0.37 | 0.37 |
| 15 | Aggregate Revenue Requirement | 592.21 | 550.93 |
| 16 | Surplus/Deficit on true up FY 2014-15 |  | 10.89 |
| 17 | Net ARR |  | 540.04 |

## Expected Revenue from Existing Tariff

Petitioner’s submission

The MSPDCL has projected the revenue from existing tariff at Rs. 289.63 Crore for FY 2017-18 including revenue from UI sales at Rs. 49.06 Crore as detailed in Table below:

Table 8.35: Revenue with Existing Tariff Projected by MSPDCL for FY 2017-18

(Rs. Crore)

| Revenue | FY 2016-17 | FY 2017-18 |
| --- | --- | --- |
|  | Estimated | Projected |
| Kutir Jyoti | 4.26 | 4.75 |
| Domestic | 122.47 | 138.52 |
| Commercial | 23.99 | 25.82 |
| Public Lighting | 2.33 | 2.33 |
| Public water works | 11.53 | 11.30 |
| Agriculture and irrigation | 0.36 | 0.37 |
| Cottage & Small Industries | 5.57 | 5.45 |
| Bulk | 45.91 | 47.62 |
| Temporary |  |  |
| Medium Industries | 2.55 | 2.81 |
| Large Industries | 1.59 | 1.59 |
| Total revenue from own sales | 220.57 | 240.57 |
| UI /trading Receivable | 55.42 | 49.06 |
| Less: Discount |  |  |
| Total | 275.99 | 289.63 |

Commission’s Analysis

As already discussed in Para 6.10, the surplus power to be sold under UI sales is 307.69 MU for FY 2017-18. The MSPDCL has projected UI sales at Rs. 1.88 per kWh. Since the surplus power is not firm power, the surplus is sold through exchange and realised the price ruling in the exchange.

Now, with the category wise sales approved vide Para 7.6 the revenue from existing tariffs (including UI sales of 307.77 MU) works out to Rs. 325.30 Crore during FY 2017-18 as detailed in Tables below:

Table 8.36: Revenue from Existing Tariff approved by the Commission for FY 2016-17

| Sl. No | Category | Energy Sales (MU) | Average Rate (Rs/kWh) | Revenue (Rs. Crore) |
| --- | --- | --- | --- | --- |
| A | LT Supply |  |  |  |
| 1 | Kutir Jyoti | 7 | 2.80 | 1.96 |
| 2 | Domestic | 372 | 4.20 | 156.06 |
| 3 | Commercial | 42 | 6.12 | 25.69 |
| 4 | Public Lighting | 5 | 5.68 | 2.84 |
| 5 | Public Water Works | 4 | 5.56 | 2.22 |
| 6 | Agriculture | 1 | 3.44 | 0.35 |
| 7 | Small Industries | 18 | 4.07 | 7.32 |
| 8 | Total LT |  |  | 196.44 |
| B | HT Supply |  |  |  |
| 9 | Commercial | 6 | 5.92 | 3.55 |
| 10 | Public Water Works | 15 | 6.75 | 10.13 |
| 11 | Agriculture | 1 | 4.19 | 0.42 |
| 12 | Medium Industries | 4 | 7.10 | 2.84 |
| 13 | Large Industries | 6 | 5.52 | 3.31 |
| 14 | Bulk Supply | 95 | 5.32 | 50.75 |
| 15 | Total HT |  |  | 71.00 |
| 16 | Grand Total (LT+HT) | 576 | 4.64 | 267.44 |
| 17 | UI Sales | 307.77 | 1.88 | 57.86 |
| 18 | Total Sales | 883.77 | 3.91 | 325.30 |

Detailed calculation of revenue from sale within the State is given in Annexure -III.

The Commission, accordingly, approves the revenue from existing tariff at Rs. 325.30 Crore for FY 2017-18 including revenue from UI sales at Rs 57.86 Crore.

## Revenue Gap for FY 2017-18 with existing tariff

Table 8.37: Revenue Gap for FY 2017-18

| Particulars | Unit | Projected by MSPDCL | Approved by the Commission |
| --- | --- | --- | --- |
| Revenue requirement | Rs. Crore | 585.08 | 540.04 |
| Revenue from existing tariff | Rs. Crore | 278.67 | 267.44 |
| Outside state sales | Rs. Crore | 13.2 | 57.86 |
| Total revenue from sale of energy | Rs. Crore | 291.86 | 325.30 |
| Revenue gap | Rs. Crore | 293.21 | 214.74 |
| Energy sales | MU | 704.43 | 576 |
| UI Sales | MU | 73.64 | 307.77 |
| Total Sales | MU | 778.07 | 883.77 |
| Average cost | Rs. /kWh | 7.52 | 6.11 |
| Average realisation | Rs/kWh | 3.96 | 4.64 |

## Revenue from Revised Tariff for FY 2017-18

Table 8.38: Revenue from Revised Tariff for FY 2017-18

| Sl.No | Category | Energy Sales (MU) | Average Rate (Rs/kWh) | Revenue (Rs. Crore) |
| --- | --- | --- | --- | --- |
| A | LT Supply |  |  |  |
| 1 | Kutir Jyoti | 7 | 2.77 | 1.94 |
| 2 | Domestic | 372 | 4.35 | 161.71 |
| 3 | Commercial | 42 | 6.66 | 27.99 |
| 4 | Public Lighting | 5 | 6.18 | 3.09 |
| 5 | Public Water Works | 4 | 6.41 | 2.56 |
| 6 | Agriculture | 1 | 3.44 | 0.34 |
| 7 | Small Industries | 18 | 4.32 | 7.77 |
| 8 | Total LT |  |  | 205.40 |
| B | HT Supply |  |  |  |
| 9 | Commercial | 6 | 6.72 | 4.03 |
| 10 | Public Water Works | 15 | 7.50 | 11.26 |
| 11 | Agriculture | 1 | 4.34 | 0.44 |
| 12 | Medium Industries | 4 | 7.30 | 2.92 |
| 13 | Large Industries | 6 | 6.12 | 3.67 |
| 14 | Bulk Supply | 95 | 5.74 | 54.55 |
| 15 | Total HT |  |  | 76.87 |
| 16 | Grand Total (LT+HT) | 576 | 2.97 | 282.27 |
| 17 | UI Sales | 307.77 |  | 57.86 |
| 18 | Total Sales | 883.77 | 4.27 | 340.13 |

Note: Detailed calculation is given in Annexure - IV

As seen from Para 8.27 supra there is a revenue gap of Rs. 214.74 Crore which is about 39.76% of Net ARR FY 2017-18. The existing tariffs are fixed w.e.f 01.04.2016. As such the Commission considers to revise the tariffs by an average increase of 5.60% under telescopic billing as against 12.90%

proposed by MSPDCL without giving tariff shock to consumers to bridge the gap partially. Owing to revision of tariffs the MSPDCL is expected to get additional revenue of Rs. 14.83 Crore (Rs. 340.13 – 325.30)There by the gap is reduced to Rs. 199.91 Crore which the MSPDCL shall meet from Government subsidy and by improving internal efficiency.

## Government Subsidy

The MSPDCL proposed budgetary support of Rs. 271.56 Crore from Government of Manipur. As seen from the above it is clear that the revenue from sale of power is not sufficient to meet the expenditure of MSPDCL as a result of this the MSPDCL shall continue to depend upon the subsidy from Government of Manipur. Out of net revenue gap of Rs. 199.91 Crore arrived in para 8.28 supra the MSPDCL shall generate additional revenue of Rs. 0.91 Crore by improving internal efficiency and balance Rs. 199 Crore shall be met from Government subsidy as against Rs. 271.56 Crore proposed by MSPDCL.

# Tariff Principles and Design

## 9.1        Background

  - The Commission, in determining the revenue requirement of MSPDCL for the year 2017-18 and the retail tariff, has been guided by the provisions of the Electricity Act, 2003, the National Tariff Policy (NTP), Regulations on Terms and Conditions of Tariff issued by the Central Electricity Regulatory Commission (CERC) and Regulations on Terms and Conditions of Tariff notified by the JERC for M&M. Section 61 of the Act lays down the broad principles, which shall guide determination of retail tariff. As per these principles the tariff should “Progressively reflect cost of supply” and also reduce cross subsidies “within the period to be specified by the Commission”. The Act lays special emphasis on safeguarding consumer interests and also requires that the costs should be recovered in a reasonable manner. The Act mandates that tariff determination should be guided by the factors, which encourage competition, efficiency, economical use of resources, good performance and optimum investment.

The NTP, notified by Government of India in January 2006, provides comprehensive guidelines for determination of tariff as also working out the revenue requirement of power utilities. The Commission has endeavored to follow these guidelines as far as possible.

  - The NTP mandates that the Multi-Year-Tariff (MYT) framework be adopted for determination of tariff from 1st April 2006. Accordingly, the MSPDCL has filed petition for determination of ARR for to FY 2017-18 with reliable data.

  - The mandate of the NTP is that tariff should be within plus / minus 20% of the average cost of supply by 2010-11. It is not possible for the Commission at this stage to lay down the road map for reduction of cross subsidy within ±20% mainly because of consumers’ low paying capacity and relatively high cost of power. The gap in the year 2015-16 was 38% and that of 2017-18 is about 40%. However, in this tariff order an element of performance target has been indicated by setting target for distribution loss reduction and increasing sales volume during FY 2017-18. The improved performance, by reduction of loss level, and increase in sales will result in substantial reduction in average cost of supply. The existing and proposed tariffs of MSPDCL are two part tariff. The Commission has considered for a nominal increase in tariff in view of the extremely poor conditions of power supply in the State.

  - Clause 8.3 of National Tariff Policy lays down the following principles for tariff design:

- In accordance with the National Electricity Policy, consumers below poverty line who consume below a specified level, say 30 units per Month, may receive a special support through cross subsidy. Tariffs for such designated group of consumers will be at least 50% of the average cost of supply. This provision will be re-examined after five years.

- For achieving the objective that the tariff progressively reflects the cost of supply of electricity, the SERC would notify the roadmap, within six Months with a target that latest by the end of the year 2017-18 tariffs are within ± 20% of the average cost of supply. The road map would have intermediate milestones, based on the approach of a gradual reduction in cross subsidy.

For example, if the average cost of service is Rs.3 per unit, at the end of year 2015-16, the tariff for the cross subsidized categories excluding those referred to in para-1 above should not be lower than Rs. 2.40 per unit and that for any of the cross subsidizing categories should not go beyond Rs.3.60 per unit.

- While fixing tariff for agricultural use, the imperatives of the need of using ground water resources in a sustainable manner would also need to be kept in mind in addition to the average cost of supply. The tariff for agricultural use may be set at different levels for different parts of the State depending on the condition of the ground water table to prevent excessive depletion of ground water.

  - Regulation 16 of JERC for M&M (Terms and Conditions for Determination of Tariff) Regulations specifies.

- The cross subsidy for a consumer category means the difference between the average per unit rate based on tariff schedule of the Commission for that Category and the combine average cost of supply per unit expressed in percentage terms as a portion of the combined average cost of supply.

- In the first place, the Commission shall determine the tariff, so that it progressively reflects the combined average cost of supply of electricity and also reduce cross-subsidies within a reasonable period. In the second phase, the Commission shall consider moving towards category wise cost of supply as a basis for determination of tariff.

  - The Commission has considered special treatment to Kutir Jyoti connections and agricultural sector. It has also aimed at raising the per capita consumption of the State from 100 kwh in 2010-11 to 175 kWh in 2015-16 to 212 kWh by the end of 2017-18. The Commission endeavors that the tariffs progressively reflects cost of supply in a shortest period and the Government subsidy is also to be reduced gradually. The tariffs have been rationalized with regard to inflation, paying capacity of consumers and to avoid tariff shock.

## Tariffs Proposed by the MSPDCL and Approved by the Commission

- Existing & Proposed by MSPDCL

MSPDCL in its tariff petition for FY 2017-18 has proposed for revision of the existing retail tariffs to various categories of consumers to earn additional revenue to meet the expenses partly.

The MSPDCL has proposed tariff revision as indicated in table - 9.1 below. The proposed increase in tariff by the MSPDCL would result in an overall increase of about 10%.

Table 9.1:  Existing and Proposed Tariff for FY 2017-18

| Existing Tariff | Proposed Tariff |
| --- | --- |
| Particulars | Fixed Charges (Rs./kW/ kVA/ Month) | Energy Charges (Rs./kWh) | Particulars | Fixed Charges (Rs./kW/ kVA/Month) | Energy Charges (Rs./kWh) |
| LT SUPPLY |  |  | LT SUPPLY |  |  |
| Kutir Jyoti |  |  | Kutir Jyoti |  |  |
| 0-15 kWh | 20 | 1.40 | First 45 kWh/Month | 20 | 1.60 |
| Above 15 kWh | 20 | 2.50 |  |  |  |
| Domestic Light & Power |  |  | Domestic Light & Power |  |  |
| 0-100 kWh | 60 | 3.20 | 1-100 kWh | 70 | 3.60 |
| 101-200 kWh | 60 | 3.80 | 101-200 kWh | 70 | 4.20 |
| Above 200 kWh | 60 | 4.70 | Above 200 kWh | 70 | 5.10 |
| Commercial |  |  | Commercial |  |  |
| 0-100 kWh | 80 | 4.20 | 1-100 kWh | 90 | 4.85 |
| 101-200 kWh | 80 | 5.00 | 101-200 kWh | 90 | 5.75 |
| Above 200 kWh | 80 | 5.90 | Above 20 kWh | 90 | 6.80 |
| Public Lighting | 65 | 5.50 | Public Lighting | 75 | 6.35 |
| Public Water Works | 100 | 5.50 | Public Water Works | 115 | 6.35 |
| Agriculture | 60 | 3.25 | Agriculture | 90 | 3.25 |
| Cottage & Small Industry | 65 | 3.25 | Cottage & Small Industry | 70 | 3.25 |
| HT SUPPLY |  |  | HT SUPPLY |  |  |
| Commercial | 105 | 5.70 | Commercial | 120 | 6.55 |
| Public Water Works | 100 | 5.00 | Public Water Works | 115 | 5.75 |
| Agriculture | 100 | 3.00 | Agriculture | 105 | 3.15 |
| Medium Industry | 100 | 4.30 | Medium Industry | 115 | 4.95 |
| Large Industry | 100 | 5.00 | Large Industry | 115 | 5.75 |
| Bulk Supply | 100 | 4.60 | Bulk Supply | 115 | 5.35 |

- Tariff Categories approved by the Commission

The Commission approved tariff categories/sub-categories are given below. The un-metered supply includes consumers not provided with energy meters. Unmetered supply will be billed based on assessed consumption arrived as per JERC for M&M (Electricity Supply Code) 2013 at the relevant rates of metered Tariff of the respective categories.

- Tariff for FY 2017-18 Approved by the Commission

Having considered the Petition (ARR & Tariff) No. 3 of 2016 of MSPDCL for approval of Aggregate Revenue Requirement (ARR) and determination of Retail Tariff for sale of energy and having approved the Aggregate Revenue Requirement (ARR) with a revenue gap of Rs. 214.74 Crore vide para 8.27 supra the Commission considers to revise the tariffs under Telescopic billing/with an average increase by 5.60%, as detailed in table below.

The request of the MSPDCL to reduce the slabs under Kurti Jyoti category from two to one is agreed to. But the stipulation of 45 kwh/month is modified as upto 45 kwh/3 months as per national tariff policy for Kurti Jyoti connections.

Table 9.2:  Category wise Tariff approved by the Commission for FY 2017-18

| SI.No | Category & Consumption Slab | Fixed Charges per month (Rs.) | Variable Charges (Rs./kwh) |
| --- | --- | --- | --- |
|  | LT SUPPLY |  |  |
| 1 | Kutir Jyoti |  |  |
|  | All units (Upto 45 kwh/ 3 Months) | 20 | 1.60 |
| 2 | Domestic |  |  |
|  | First - 100 kwh/Month | 60 | 3.30 |
|  | Next 100 kwh/Month | 60 | 4.00 |
|  | Above 200 kwh/Month | 60 | 5.10 |
| 3 | Non-Domestic/Commercial |  |  |
|  | First - 100 kwh/Month | 80 | 4.50 |
|  | Next 100 kwh/Month | 80 | 5.50 |
|  | Above 200 kwh/Month | 80 | 6.60 |
| 4 | Public Lighting | 65 | 6.00 |
| 5 | Public Water Works | 100 | 6.35 |
| 6 | Irrigation & Agriculture | 60 | 3.25 |
| 7 | Small Industry | 65 | 3.50 |
|  | HT SUPPLY |  |  |
| 1 | Commercial | 100 | 6.50 |
| 2 | Public Water Works | 100 | 5.75 |
| 3 | Irrigation & Agriculture | 100 | 3.15 |
| 4 | Medium Industry | 100 | 4.50 |
| 5 | Large Industry | 100 | 5.60 |
| 6 | Bulk Supply | 100 | 5.00 |

Note: The above table depicts fixed and energy charge only

Detailed Charges are given in the tariff schedule Appended.

- Miscellaneous Charges and Important Conditions of Supply

The detailed Tariffs including rates for un-metered categories of consumer, miscellaneous charges and Important Conditions of Supply furnished by MSPDCL are examined and approved as given in the Tariff Schedule in the Appendix.

As per Electricity Act, 2003, electricity supply not be given without meters. Commission is also regularly giving directives in this regard. Yet the MSPDCL releasing new connections without meters which is very serious deviation. In next tariff order no unmetered tariff will be allowed.

# Wheeling Charges for FY 2017-18

## 10.1      Background

MSPDCL has not filed petition for determination of wheeling charges. However under regulation 79 of JERC (M&M) (MYT) Regulations 2014, the Commission has determined the wheeling charges in order to implement open access in the state. The MSPDCL is not maintaining separate accounts for the distribution wire business and retail supply business. So the ARR of the wheeling business is arrived at as per the following matrix.

Table 10.1 Allocation matrix

| Sl. No. | Particulars | Wire business | Retail Supply business |
| --- | --- | --- | --- |
| 1 | Power purchase cost | 0 | 100 |
| 2 | Employee cost | 60 | 40 |
| 3 | R & M expenses | 90 | 10 |
| 4 | Adm. & General Expenses | 50 | 50 |
| 5 | Depreciation | 90 | 10 |
| 6 | Interest & Finance Charges | 90 | 10 |
| 7 | Interest on working Capital | 10 | 90 |
| 8 | Provision for bad debts | 0 | 100 |
| 9 | Income tax | 90 | 10 |
| 10 | Return on equity | 90 | 10 |
| 11 | Contribution to contingency reserves | 100 | 0 |
| 12 | Non-tariff Income | 10 | 90 |

## ARR for wheeling business

ARR for wheeling business arrived in accordance with the above methodology is as detailed in table below.

Table 10.2 ARR of wheeling business approved by the Commission for FY 2017-18

| Sl. No | Particulars | Total ARR for FY 2017-18 | ARR for wire business for FY 2017-18 | Retail Supply for FY 2017-18 |
| --- | --- | --- | --- | --- |
| 1 | Power purchase cost | 317.33 | - | 317.33 |
| 2 | Employee cost | 83.98 | 50.39 | 33.59 |
| 3 | R & M expenses | 6.88 | 6.19 | 0.69 |
| 4 | Adm. & General Expenses | 2.65 | 1.32 | 1.33 |
| 5 | Depreciation | 0.21 | 0.19 | 0.02 |
| 6 | Interest & Finance Charges | 0.19 | 0.17 | 0.02 |
| 7 | Interest on working Capital | 5.22 | 0.52 | 4.70 |
| 8 | Provision for bad debts | 3.00 | - | 3.00 |
| 9 | Income tax | 0.39 | 0.35 | 0.04 |
| 10 | Return on equity | 1.56 | 1.40 | 0.16 |
| 11 | Contribution to contingency reserves | - | - | - |
| 12 | Less: Non-tariff Income | 0.37 | 0.04 | 0.33 |
|  | Total | 421.04 | 60.49 | 360.55 |

## Wheeling Tariff

The wheeling tariff has been calculated on the basis of the ARR for wheeling business and total energy sold as detailed in table below:

Table 10.3: Wheeling Tariff approved by the Commission for FY 2017-18

| Sl. No | Particulars | Unit | FY 2017-18 |
| --- | --- | --- | --- |
| 1 | ARR for wheeling function | Rs/Crore | 60.49 |
| 2 | Energy available at Distribution periphery | MU | 705.88 |
| 3 | Wheeling tariff | Rs/kWh | 0.86 |

The Commission approves wheeling charge at Rs. 0.86/kWh for FY 2017-18.

# Directives

## General

While examining the information and data contained in the proposed ARR and Tariff Petition for FY 2017-18, it is observed that the computation and compilation of the data have been done based on assumptions only and as a result, there has been difficulties in finalization of the ARR and determination of retail tariff also. The above observation itself substantiates the fact that the administrative, technical and commercial performances of the MSPDCL require substantial improvement within a specified time frame.

Similar situation was noticed in the ARR & Tariff petition for the FY 2016-17. The Commission had observed that while there is ample scope for reducing cost and increasing efficiency in the operation of the department, serious efforts appear to be lacking. It is in the above context that 22 directives were given for compliance in the Tariff Order 2010-11 out of which 5 directives were fully complied with. Five fresh Directives were issued in tariff order for FY 2012-13. The Commission expected that MSPDCL would take prompt action on the directives and monitor their implementation. Unfortunately, action is yet to be taken on most of the important directives, which could make significant difference to operational efficiency and cost. In some cases action has no doubt been initiated, but overall the seriousness with which the directives were issued by the Commission does not appear to have been realized by the MSPDCL.

In the above background, the Commission is constrained to repeat the directives which have not been fully complied with and also gives specific new directives.

Directive 2:  Annual Statement of Accounts

The MSPDCL was directed to prepare separate Annual accounts statements such as balance sheet, profit and loss Account and relevant schedules and statements, every year for regulatory purpose and submit to the Commission duly got them audited.

Compliance Status

The provisional balance sheet of MSPDCL for the year ending FY 2014-15 is available and the audited balance sheets will be made available soon. The financial statements of FY 2015-16 are also under progress and will be submitted along with the true up petition for FY 2015-16 soon.

Comment of the Commission

The directive is fully complied.

Directive 3: Maintenance of Asset & Depreciation Registers

The MSPDCL is directed to upto date the asset register and submit to the Commission soon.

Compliance Status:

Asset and depreciation registers for FY 2014-15 are ready for submission.

Comment of the Commission

The registers may be submitted to the Commission for perusal.

Directive 4: Management Information System (MIS)

The MSPDCL was directed to take appropriate steps to build up credible & accurate database and management information system (MIS) and regularly update the same for future record and reference. Arrangement may also be made for “On-line Payment” and “Payment through Bank” of the electricity bills.

Compliance Status

The MIS system is under progress and the database is being prepared. The online payment portal for pre-paid recharge is already active, where payments can be done through electronic wallets. MSPDCL is also planning to tie up with NPCI’s Bharat Bill Payment System in future for payments.

Comments of the Commission

The compliance submitted by the MSPDCL is not appropriate to the main directive issued. The MSPDCL should take appropriate steps to build credible and accurate data base for management information system (MIS). This directive is not complied with.

Directive 5: Revenue Arrears

The MSPDCL was directed to assess year wise Revenue Arrears due from consumers and submit a report by 30th September, 2011 to the Commission. The MSPDCL was also further directed to initiate action to collect/ liquidate the arrears.

Compliance Status

The revenue arrears of the current year are given below

1. 	As of 31.03.2016: Rs 489.73 Crs

- As of 31.08.2016: Rs 518.61 Crs

A major part of the total power sales is constituted by domestic category consumers and hence, the revenue arrears are expected to reduce through the actions initiated by MSPDCL.

1.   Domestic Category

2.   HT Category

An action plan for the HT cell of MSPDCL has been in place since September, 2016 for revenue collection and disconnection in HT category consumers. Private HT consumers including hospitals have been sent disconnection warning notices for clearing  their  outstanding dues.  Other government consumers having outstanding amount have been asked to clear the amount through government funding, for which a request has been made.

Comments of the Commission

As against total revenue of Rs. 206.81 Cr during FY 2015-16, the arrears as an 31.03.2016 are Rs. 489.73 Cr, which are more than 2 years Revenue which should be brought down to 2 months revenue to be idealistic. Arrear collection drive may be initiated regularly and seen that the arrears are brought down.

Directive 7: De-commissioning of Generating plants

The Compliance to this directive shall be reported to the Commission soon on written off the asset value of defunct generating plants which are lying idle for more than 15 years.

Compliance Status

The plants or assets which are lying idle for more than 15 years have been converted into scrap and the scrap value has not been realised. The asset is considered to have fully depreciated.

Comment of the Commission

The reply given by MSPDCL is not appropriate to the directive issued. It may be clarified whether the generating plant lying idle for the last 15 years has been written off. If so the amount of scrap valve realized should be accounted for in the next ARR Petition.

The directive is not fully complied with.

Directive 8: Sale of Power outside the State

The MSPDCL is directed to ensure that only surplus power be sold under UI sales after fully meeting the state’s requirement without any staggeration of supply in the state. This may be ensured strictly.

Compliance Status

Due to improvement in the UI mechanism, the UI drawls are expected to decrease.

Comment of the Commission

The directive about UI sales but not UI purchases. It should be ensured the average rate of selling power under UI is more than average power purchase rate, by proper planning.

The directive is not fully complied with.

Directive 9: Distribution Losses

To know the actual Distribution losses in the system, MSPDCL was directed to ensure 100% metering of all feeders, DTs, and consumer connections and conduct voltage wise feeder-wise energy audit. To achieve this it was directed to chalk out an action plan for preliminary energy audit and submit the same to the Commission by May 2011.

Compliance Status

The Status of outgoing 11 KV feeders as of November is as follows:

Total 11 KV outgoing feeder=233

No. of 11KV outgoing feeder with old meter=11

No. of 11KV outgoing feeder with no meter=11

No. of 11 KV outgoing feeder with secure feeder=211

As it can be seen, a total of 22 feeders need metering out of a total of 233 11KV feeders which is expected to be completed by the end of December, 2016. After the completion of 100% metering, voltage wise energy audit will be conducted and the action plan for the same would be submitted soon.

Comment of the Commission

The  directive is not fully complied with.

Directive 10: Unauthorized Connection/ Theft of power Cases

&

Directive 11:  Detailed Survey & Investigation

In the above two directives the Commission had directed to carryout detailed survey & Investigation to –

- Identify unauthorized connections.

- Physical verification of the connected load of all connections.

- Physical verification of the categories under which the consumers are availing supply.

- Verification & updating of names of the consumers etc. and

- Regularize 30000 unauthorized consumers annually.

Compliance Status

The unauthorized connections and connected load are being taken care of under the pre-paid metering plan which is targeting 80-85% coverage of consumers. Regularisation of unauthorised consumers will also be ensured under this plan.

Comment of the Commission

As reported in directive 18, 33384 un-authorized connections are yet to be regularized. Detailed out come on physical verification of connections yet to be reported.

The directive is partially complied with.

Directive 12: Replacement of Defective Meters and Installation of Meters to Un-Metered  Connections

The MSPDCL was directed to provide meters to all un metered consumers and replace the defective meters within the time frame given in the commission order No. 24012/2/5/09 – JERC dt 7.1.2011 on 100% metering plan and submit quarterly report regularly.

Compliance status

MSPDCL would like to inform the Hon’ble Commission that it is taking measures to ensure a coverage of 80 to 85 % consumers under pre-paid metering system planned. The total households or target as per 2011 Census was 3,23,131 and the existing number of consumers are 2,89,747 and rest 33,384 are unauthorized consumers. As of 3/11/2016, the number of pre- paid meters installed are 3,02,221 out of which 2,57,178 meters have been already activated. There is a difference of only 20,910 between the targeted total households and total number of meters installed. MSPDCL is focused to complete the targets by the end of December. Other uncovered areas will be covered by single point metering.

Comment of the Commission

Actual No. of consumers as on 31.03.2016 are 294.477. So the unauthorized consumers to be regularized are 26654. MSPDCL has estimated total consumers as on 31.03.2017 at 320962 and projected 357751 consumers as on 31.03.2018. So by 31.03.2017 all unauthorized consumers be regularized and no connection be without meter.

The directive is not fully complied with.

Directive 13: Physical and Financial Status of RAPDRP & RGGVY Schemes

As per above directive MSPDCL has to submit physical and financial progress of work done and the impact of the works on revenue performance and metering with details of work done, amount of revenue increase etc.

Compliance Status

Under RAPDRP scheme, a total of around Rs 81 crores was spent in FY 2015-16 and a total of around Rs 31.37 crores was spent in FY 2016-17 (Mar-Sep). The physical progress in most of the areas have been around 95%. Similarly under RGGVY X, XI and XII plan and DDUGJY, a total of around Rs 44.97 crores have been spent in FY 2015-16 and a total of around Rs 20.2 crores have been spent in FY 2016-17 as of 30/11/2016.

Comments of the Commission:

As verified, physical progress of works is very poor. Unless targeted works are completed in time and put the assets into use, the required benefits will not be achieved.

Directive 14: Interest on Security Deposit

MSPDCL was directed to furnish up to-date position of interest on security deposit as per regulation 6.10(5) of JERC (supply code) regulations 2010.

The above rule position may be followed scrupulously and not to commit breach of rule.

Compliance Status

MSPDCL has two security deposit accounts with State Bank of Indian Paona Bazaar (i) Security Deposit A/C (Meter) No 33810369620 (ii) Security Deposit A.C (Works) 34944027846. MSPDCL does not have accurate database for security deposit of consumers who were connected before the 31.01.2014 and the database is under progress.

The security deposits of pre-paid consumers who have been converted to post-paid have already been paid.

However, no security deposit has been paid by the new pre-paid consumers and the security deposit is included in their outstanding amount.

It has been planned to recover 20 % of the recharge amount for the amount outstanding. This has already been in place for Greater Imphal area under Circle 1, since the database of pre-paid consumers for this area is complete.

The consumers’ database is under progress. After completion, the recovery plan shall be implemented

Currently, the security deposit is being accounted for by credit and stated as outstanding dues.

Comment of the Commission

The directive is not fully complied with.

Directive 15: Power from Renewable Sources

The MSPDCL was directed to procure power for renewable sources.

Compliance Status

Efforts have been made by MSPDCL to purchase REC through IEX or PTC and the same will be done in the ensuing FY 2017-18.

For FY 2017-18, a total of 58.68 MU of renewable power purchase is planned in compliance with the latest JERC order No. H.13011/5/10-JERC dated 23 May, 2016 regarding quantum of electricity to be purchased from renewable sources as 7.5% of total consumption for Manipur.

MSPDCL along with MANIREDA has formulated a scheme for grid connected solar roof top plants which should help MSPDCL to comply with the RPO.  MSPDCL  along  with  MANIREDA has  already  started  a  grid connected roof-top project of capacity 5 KW.

Comment of the Commission

The MSPDCL explore all possible to purchase renewable energy.

Directive 16: Investment Plan and Capping of Capital expenditure

Annual Investment Plan shall be submitted to the Commission and necessary approval of Commission shall be obtained for all major capital works costing                    Rs. 5.00 Crore and above before execution of the works.

Compliance Status

No compliance reported.

Comment of the Commission

Individual works costing Rs.5.00cr and above should be submitted separately to the Commission for approval before execution.

Directive 17: Maximum Demand Indicator Meters (MDI)

Compliance Status

MSPDCL is targeting 80% coverage for pre-paid meters and after 100 % percent metering of the consumers, the new meters with MDI will be available with all the consumers.

Comment of the Commission

The directive is not fully complied with.

Directive 18: As verified from the Tariff Schedule, it is observed that unmetered categories are prevailing in all categories including HT. Continuance of HT connections without meters is highly irregular. As per Electricity Act, 2003 no service connection be released without meter. As such, the MSPDCL is directed to provide HT meters to all unmetered HT connections in the first instance and report compliance by 30.09.2016 positively.

In respect of LT categories all unmetered connections be provided with meters by 31.03.2017.

Progress and providing meters to unmetered connections be reported quarterly indicating category wise number of unmetered connections at the beginning of the quarter and installed during the quarter and balance to be installed.

Compliance Status

For HT metering, an empaneled firm M/s SJS has been entrusted with the task of completing the HT metering by December, 2016. HT category consumers having a connected load of upto 63 KVA are being provided with pre-paid meters. As of September 2016, 86 consumers have been provided with pre-paid meter and 200 consumers have been provided with post-paid meters. A balance of about 457 HT consumers will be provided with post- paid meters.

LT category consumers with connected load upto 50 KW have been provided with prepaid meters. MSPDCL would like to inform the Hon’ble Commission that it is taking measures to ensure a coverage of 80 to 85 % consumers under pre-paid metering system planned. The total households as  per 2011  Census  is  3,23,131  and the  existing number of consumers are 2,89,747 and rest 33,384 are unauthorized consumers. As of 3/11/2016, the number of pre-paid meters installedare 3,02,221 out of which 2,57,178 meters have been already activated. There is a difference of only 20,910 between the targeted total households and total number of meters installed.  MSPDCL is focused to complete the targets by the end of December, 2016. Other uncovered areas will be covered by single point metering.

Comments of the Commission

The directive is not fully complied with.

Directive 19: Reduction of billing slabs

The MSPDCL is directed to reduce the billing slabs of LT Non-domestic/commercial from three to two slabs in the next Tariff Petition for FY 2017-18.

Compliance Status

MSPDCL  had  conducted  a  sample  study and slab-wise analysis  in  the Greater Imphal area from August to September, 2016 based on the vending station data of LT Commercial and Domestic consumers. Keeping in view the various slabs in the existing tariff schedule for both the categories, the slabs were categorised as follows:

1st slab: Consumers of Rs 500 recharge

2nd slab: Consumers of Rs 1000 recharge

3rd slab: Consumers of more than Rs 1000 recharge.

The summary of the slab-wise analysis of Aug-Sep 2016 data is shown below as the proportion of consumers in different slabs.

| Slab | LT Commercial (percentage of total LT Commercial consumers) | Domestic (percentage of total Domestic Consumers) |
| --- | --- | --- |
| 1 | 44% | 76% |
| 2 | 24% | 20% |
| 3 | 32% | 4% |

This survey revealed approximately similar figures throughout the three months (Aug-Sep) for the various slabs of recharges in the two categories for Greater Imphal area. MSPDCL is planning to cover all other areas for a more accurate estimation of the slab-wise consumer data, after which reduction of slabs in the tariff schedule would be possible. At this stage where the currently available consumer data need to be revalidated, reduction of slabs might result in unpredictable commercial impact on revenues. Therefore, for this petition, the number of slabs has been retained and differential tariff hike has been proposed in the existing slabs as stated in the tariff schedule.

MSPDCL requests the Hon’ble Commission for consideration of the above.

Commission’s Comments

The compliance reported by MSPDCL is not relevant to the directive issued. There is no slab-wise recharge. The comments are at liberty to recharge any amount according to their requirement and affordability. The directive is to reduce the present three slabs to two slabs in LT commercial category. This should be studied and implement from next ARR for FY 2018-19 invariably.

Directive 20: In house development of IT enabled system:

The MSPDCL is directed to take steps for development of inhouse IT enabled system so that all software issues can be attended/solved departmentally instead of depending on consultants.

Compliance Status

MSPDCL would like to inform the Hon’ble Commission that there has been progress in the in-house development of IT enabled system in the last one year. Some in-house developed IT platforms are already in operation to improve administrative processes. A few notable accomplishments are listed below:

- powernodue.com : It is a domain which has a database of the all the employees along with their connection status. It incorporates a hassle free fast and efficient process of getting no-dues certificate.

- Indent: It is an IT enabled platform which facilitates and streamlines the approval process for despatch from store to field.

- Online  prepaid  recharge  with  e-wallets  like  NPCI  Bharat  Bill Payment System.

Furthermore, MSPDCL would like to state that it has bought Virtual Private Network and it is being planned to set up a physical server in one year to go digital with all the files available on one electronic platform. All these steps are guided towards making MSPDCL independent with its IT team and reducing dependency on consultants.

Comments of the Commission

Progress on achieving IT enabled in house system development may be reported quarterly from 1.6.2017 onwards.

Directive 21: Uptodation of computerised billing program of power factor and rebate/surcharge

MSPDCL should up-to-date computerised billing programme to facilitate adoption of power factor rebate/surcharge as indicated in the tariff schedule.

Compliance Status

The computerised billing program for power factor rebate/surcharge is under progress. The HT cell of MSPDCL is undertaking the necessary steps towards installation of the program and it is expected to be in place around the beginning of the next financial year FY 2017-18.

Comments of the Commission

Progress on achieving IT enabled in house system development may be reported quarterly from 1.6.2017 onwards.

Directive 22: Installation of meters to all 11 kV feeders and DT’s

MSPDCL should install meters for all 11 kV’s and DT’s in all RAPDRP covered towns by 30.06.2016. Sample study should be conducted to know the highest feeder loss and highest DT loss and report to be submitted to the Commission by 30.09.2016.

Compliance Status

The Status of outgoing 11 KV feeders as of November is as follows:

Total 11 KV outgoing feeder=233

No. of 11KV outgoing feeder with old meter=11

No. of 11KV outgoing feeder with no meter=11

No. of 11 KV outgoing feeder with secure feeder=211

As it can be seen, a total of 22 feeders need metering out of a total of 233 11KV feeders which is expected to be completed by the end of December, 2016. After the completion of 100% metering, voltage wise energy audit will be conducted.

Comments of the Commission

Confirm the installation of 100% metering to 233 nos,11 KV feeders by 30.6.2017 [Feeder- wise Energy Audit may be conducted and incorporated  in ARR and Tariff petition for FY 2018-19. Invariably.

New Directives

Directive 23

As per Regulations 2 (19) of JERC (M&M) (MYT) Regulations, 2014 the Second Control Period shall be five years from 01.04.2018. The MSPDCL is directed to submit the next ARR for Control Period from FY 2018-19 to FY 2022-23 and Tariff Petition for FY 2018-19 and true up petitions for FY 2015-16 and FY 2016-17 along with audited annual accounts for FY 2015-16 and FY 2016-17 invariably.

Directive 24

The MSPDCL is directed to submit the required information in the format prescribed in JERC M&M (MYT) Regulations, 2014 from next tariff petition onwards which are mandatory.

Directive 25

The Commission is of the view to introduce KVAH billing in energy charges to all HT categories and LT categories with contracted load 20 kWh and above with effect from FY 2018-19 onwards. The licensee is directed to see that all HT connections are provided with trivector/MDI meters for such connections without fail.

Directive 26: Accounting of non tariff income

As per Form No.11 of JERC (M&M) (MYT) regulations, 2014, non tariff income comprises of:

|  | Particulars |
| --- | --- |
| A | Income from Investment, Fixed and Call Deposits |
| 1 | Interest income from Investments other than Contingency Reserve |
| 2 | Interest on fixed deposits |
| 3 | Interest from Banks other than Fixed Deposits |
| 4 | Interest on (any other items) |
|  | Sub-Total |
| B | Other Non Tariff Income |
| 1 | Interest on loans and Advances to staff |
| 2 | Interest on loans and Advances to other Licensee |
| 3 | Interest on loans and Advances to Leesors |
| 4 | Interest on Advances to Suppliers / Contractors |
| 5 | Gain on Sale of Fixed Assets |
| 6 | Income/Fee/Collection against staff welfare activities |
| 7 | Miscellaneous receipts |
| 8 | Meter Rent |
| 9 | Recovery from theft of energy |
| 10 | Surcharge and Additional Surcharge |
| 11 | Incentive due to Securetisation of CPSU Dues |
| 12 | Misc. charges from consumers |
| 13 | Delayed payment surcharge from consumers |
| 14 | Any other subsidies / grants other than those u/s 65 |
| 15 | Commission on collection of Electricity Duty for MCD |
|  | Sub-Total |
|  | Total (A+B) |

The MSPDCL is directed to account for the income relating to above heads in the respective heads and furnish the information in the format without omissions from next ARR.

Directive 27

The MSPDCL is directed to fill up judiciously all Forms relevant to MYT Regulations viz Appendix C,D and also submit year wise slab wise consumers, slab wise energy consumed and category wise total contracted load while submitting Tariff Petition for control period FY 2018-19 to 2022-23 to avoid additional information queries after submission of petition.

Directive 28

The MSPDCL is directed to include ARR of MSPCL in the ARR of MSPDCL and also incorporate the audited figure/true up figure in the true up of MSPDCL for the same.

# Fuel and Power Purchase Cost Adjustment

## Background

Section 62 sub-section 4 of the Electricity Act, 2003 provides that no tariff or part of any tariff may ordinarily be amended, more frequently than once in every financial year, except in respect of any changes expressly permitted under the terms of any fuel surcharge formula as may be specified. This provision of the Act requires the Commission to specify the formula for fuel surcharge.

Accordingly, the Commission has specified the formula for working out the Fuel and Power Purchase Cost Adjustment (FPPCA) charges and other terms and conditions of FPPCA allowed the distribution licensee to recover the FPPCA charges from the consumers.

Accordingly, the amount of Fuel and Power Purchase Cost Adjustment (FPPCA) charges shall be computed as under:

| FAC (Rs./kWh) | = | Qc(RC2–RC1)+Q0(RO2–RO1)+Qpp(RPp2–Rpp1)+Vz+A | X | 100 |
| --- | --- | --- | --- | --- |
|  |  | (QPg1 + Qpp1 + Qpp2) | X | [1 | - | L | ]-PSE |  |  |
|  |  |  |  |  |  | 100 |  |  |  |

Where,

| Qc | = | Quantity of coal consumed during the adjustment period in Metric Tons (MT). |
| --- | --- | --- |
|  | = | (SHR X Qpg) (1+TSL) X 1000/GCV, or actual whichever is less. |
| Rc1 | = | Weighted average base rate of coal supplied ex-power station coal yard as approved by the Commission for the adjustment period in Rs./MT |
| Rc2 | = | Weighted average base rate of coal supplied ex-power station coal yard for the adjustment period in Rs./MT |
| Qo | = | Actual Quantity of oil (in KL) consumed during the adjustment period or normative oil consumption as per Tariff order whichever is less. |
| Ro1 | = | Weighted average base rate of oil ex-power station (Rs./KL) approved by the Commission for the adjustment period. |
| Ro2 | = | Weighted average actual rate of oil ex-power station supplied (Rs. / KL) during the adjustment period. |
| Qpp | = | Total power purchased from different sources (kWh) = Qpp2+Qpp3 |
| Qpp1 | = | Qpp3 in kWh |
| TL | = | Transmission loss (CTU) (in percentage terms). |
| Qpp2 | = | Power Purchase from sources with delivery point within the state transmission or distribution system (in kWh) |
| Qpp3 | = | Power Purchase from sources on which CTU transmission loss is applicable (in kWh) |
| Rpp1 | = | Average rate of Power Purchase as approved by the Commission (Rs./kWh) |
| Rpp2 | = | Average rate of Power Purchase during the adjustment period (Rs./kWh) |
| Qpg | = | Own power generation (kWh) |
| Qpg1 | = | Own Power generation (kWh) at generator terminal – approved auxiliary consumption |
| L | = | Percentage T&D loss as approved by the Commission or actual, whichever is lower. |
| SHR | = | Station Heat Rate as approved by the Commission (Kcal / kWh) |
| TSL | = | Percentage Transit and Stacking Loss as approved by the Commission |
| GCV | = | Weighted average gross calorific value of coal as fired basis during the adjustment period (Kcal / Kg) |
| VZ | = | Amount of variable charges on account of change of cost of unknown factors like water charges, taxes or any other unpredictable and unknown factors not envisaged at the time of Tariff fixation subject to prior approval of the Commission (Rs.) |
| A | = | Adjustment, if any, to be made in the current period to account for any excess / shortfall in recovery of fuel of Power Purchase cost in the past adjustment period, subject to the approval of the Commission (Rs.) |

PSE 	= 	Power sold to exempted categories (presently agriculture and BPL-Kutir Jyoti

consumers)

If there are more than one power station owned by the Licensee Qc, Rc1, Rc2, Qo, Ro1, Ro2, Qpg and Qpg1 will be computed separately for each power station and sum of the increase/decrease of cost of all power stations shall be taken into consideration.

In case of the two distribution companies, there is no generation of their own. Therefore, Qc, Qo and Qpg1 will be zero in this case.

The Generating Company can levy FPPCA charges with the prior approval of the Commission.

Terms and conditions for application of the FPPCA formula

    - The basic nature of FPPCA is ‘adjustment’ i.e. passing on the increase or decrease in the fuel costs and power purchase cost, as the case may be, compared to the approved fuel costs and power purchase costs in this Tariff Order.

    - The operational parameters/norms fixed by the Commission in the Tariff Regulations/Tariff Order shall be the basis of calculating FPPCA charges.

    - The FPPCA will be recovered every month in the form of an incremental energy charge (Rs/kWh) in proportion to the energy consumption and shall not exceed 10% of the approved avg. cost of supply in the Tariff order and balance amount, if any, in the FPPCA over and above this ceiling shall be carried forward to be billed in subsequent month.

    - Incremental cost of power purchase due to deviation in respect of generation mix or power purchase at higher rate shall be allowed only if it is justified to the satisfaction of the Commission.

    - Any cost increase by the licensee by way of penalty, interest due to delayed payments, etc. and due to operational inefficiencies shall not be allowed.

    - FPPCA charges shall be levied on all categories of consumers.

    - Distribution licensee shall file detailed computation of actual fuel cost in Rs./kWh for each month for each of power stations of the state generators as well as cost of power purchase (Fixed and Variable) from each source/station and a separate set of calculations with reference to permitted level of these costs.

    - The data in support of the FPPCA claims shall be duly authenticated by an officer of the licensee, not below the rank of Chief Engineer on an affidavit supported with the certified copy of energy bills of power purchase, transmission and RLDC charges, bill for coal purchase and its transportation cost, oil purchase bill and the quantity of coal and oil consumed during the month.

    - Levy of FPPCA charge will be allowed only when it is ten (10) paise or more per unit. If it is less than 10 (ten) paise/unit, the same may be carried forward for adjustment in the next month.

The incremental cost per kWh due to this FPPCA arrived for a quarter shall be recovered in the energy bill of the month subsequent to the order of the Commission approving FPPCA with full details of rate and unit(s) on which FPPCA charges have been billed. The Generating Company and the Distribution Companies shall provide along with the proposal of FPPCA (as applicable to them) for a quarter, a compliance report of the previous order of the commission in respect of FPPCA.

# TARIFF SCHEDULE

Appendix

Tariff Schedule

- General Conditions of Supply (For all categories of Consumers):

1.1	Rebate for advance payment: For payment of energy bill in advance, a rebate of 1% shall be allowed on the rate of charge of the applicable tariff. This will be applicable only all consumers provided with prepaid energy meters.

1.2	Rebate/Surcharge for availing supply at voltage higher/lower than base voltage:	 Those who avail supply at higher voltage than the classified supply voltage for corresponding load as per clause 3.2 of the JERC for Manipur and Mizoram(Electricity Supply Code) Regulations, 2013, shall be allowed rebate and those availing at lower voltage than the specified voltage shall be levied surcharge as detailed below:

(i)	For consumers having contracted load up to 50 kW – If the supply is given at HV/EHV, a rebate of 5 % would be admissible on the rate of energy charge and fixed charge of the applicable tariff.

(ii) 	For consumers having contracted load above 50 kW – If supply is given at voltage lower than the base voltage for corresponding load as per clause mentioned above, the consumer shall be required to pay an extra charge of 10 % on the bill amount (Energy charge + Fixed charge) calculated at the applicable tariff.

(iii)   All voltages mentioned above are nominal rated voltages as per clause 3.2 of the JERC for Manipur & Mizoram (Electricity Supply Code) Regulations, 2013.

1.3 	Payment: All payments shall be made by way  of  Cash (up to the amount as acceptable to the licensee), Banker’s  Cheque, Demand Draft or Money Order or e-transfer on line. Cheques and demand drafts shall be payable at any branch of a scheduled commercial bank that is a member of the clearing house for the area where the concerned Sub Divisional Office is located.

However, part payment is subjected to acceptance by the competent authority. Bank

commission/charges, if any, should be borne by the consumers.

1.4 	Surcharge for late payment of bills: If payment is not received within due date surcharge @ 2% at simple interest on the outstanding principal amount for each 30 days successive period or part thereof will be charged, until the amount is paid in full.

1.5 	Single Point Delivery: This tariff is based on the supply being given through a single point of delivery and metering at one voltage. Supply at other points at other voltage shall be separately metered and billed for and shall be considered as separate connection.

1.6 	Voltage and frequency: All voltages and frequency shall be as per clause 3.1 and 3.2 of the JERC for Manipur & Mizoram (Electricity Supply Code) Regulations, 2013.

1.7 	Power Factor Incentive / Surcharge :-

a) 	If the average monthly power factor of the consumer increases above 95%, he shall be paid an incentive at the following rate:

| For each one percent increase by which his average monthly power factor is above 95%, up to unity power factor | One percent (1%) of the total amount of the bill under the head ‘energy charge’. |
| --- | --- |

- If the average monthly power factor of the consumer falls below 90%, he shall pay a surcharge in addition to his normal tariff, at the following rate:

| For each one percent by which his average monthly power factor falls below 90% up to 85% | One percent (1%) of the total amount of the bill under the head ‘energy charge’. |
| --- | --- |

c) 	If average monthly power factor of the consumer falls below 85%, he shall pay a surcharge in addition to his normal tariff at the following rate :

| For each one percent by which his average monthly power factor falls below 85% | Two percent (2%) of the total amount of the bill under the head ‘energy charge’. |
| --- | --- |

d) 	If the average monthly power factor of the consumer falls below 70%, then the utility shall have the right to disconnect supply to consumer’s installation after serving a notice of 15 days. Supply may be restored only after steps are taken to improve the power factor to the satisfaction of the Utility. This is, however, without prejudice to the levy of surcharge for low power factor in the event of supply not being disconnected.

e) 	For this purpose, the “average monthly power factor” is defined as the ratio of total ‘Kilo Watt hours’ to the total ‘Kilo Volt Ampere hours’ recorded during the month. This ratio will be rounded off to two figures after decimal.  Figure 5 or above, in the third place after decimal being rounded off to the next higher figure in the second place after decimal.

f) 	Notwithstanding the above, if the average monthly power factor of a new consumer is found to be less than 90% at any time during the first 6 (six) months from the date of connection, and if he maintains the average monthly power factor in subsequent three months at not less than 90%, then the surcharge billed on account of low power factor during the said period, shall be withdrawn and credited in next month’s bill

  - Transformation loss: The consumers getting their supply at HT and metered on the LT side shall be charged transformation loss in kWh as per clause 5.7 JERC for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013. The same is reproduced for convenience sake:

(1)   The average losses in the transformer shall be calculated as follows and added to the energy consumption indicated by the meter :

730 X 1.0 X  C

Average transformer loss = ---------------------------    = kvah Per month

100

where C = KVA rating of the transformer. For conversion of kVah to kWh or vice versa, latest power factor as per JERC (M&M) (Electricity Supply Code) Regulations, 2013 with latest amendment is to be used.

(2)	The transformer loss arrived at by the above formula shall be added to the energy consumption, even when the recorded energy* consumption is nil.

(3)	1% of the transformer capacity for transformer above 63 KVA will be added to the recorded maximum demand on the Low Tension side to arrive at the equivalent High Tension demand.

* Note:- In case of un-metered supply, consumed energy computed as per clause 5(1) of this tariff schedule shall be taken as recorded energy consumption.

1.9 	Rounding of Contracted Load/billing demand: For the purpose of calculation of fixed/demand charge in the monthly billing, the contracted load/billing demand shall be taken on actual basis (not to be rounded), except  for load less than 500 W. Load less than 500 W shall be taken as 0.5 kW  for calculation of fixed/demand charge in the monthly billing.  Fixed/Demand charge in the monthly billing shall be calculated as follows:- Fixed/Demand charge per month = Contracted load (in kW) or Billing demand (in kVA) x Rate of fixed charge per month per kW/kVA (as the case may be).

Sample calculation for Domestic Purpose (1) 1.24KW (2) 0.36 kW, Fixed charge for Domestc is Rs 60.00 per kW of contracted load. Sample 1;- Fixed charge = 1.24 x 60 = Rs 74.40  = Rs 74.00. Sample 2 ;- Fixed charge = 0.36 kW (=0.50 kW after rounding) x 60 = Rs 30.00. Note Fraction of rupees is rounded as per clause 1.10 of this tariff schedule and load below 0.5 kW is rounded to 0.5 kW as per clause 1.9 of this tariff schedule.

1.10 	Rounding of Rupees: Each components of bill, such as energy charge, fixed/demand charge, meter rent, surcharge, rebate of any kind, etc, including interest, involving fraction of a rupee should be individually round off to nearest rupee (fraction of 50 paise and above to be round off to the next higher rupee and fraction less than 50 paise to be ignored). In case of non-availability/scarcity of small change of rupees less the Rs. 10, consumer may be allowed to tender next higher amount divisible by 10. Such over tendered amount shall be carried to next bill as credit and shall not earn interest whatsoever.

1.11	System of supply:

1.11.1 LT Supply:-

i) 	Alternating current, 50 Hz, single phase 230 Volts up to 8kW

ii) 	Alternating current, three phase, 400 Volts for loads above 8 kW, subject to the availability of supply. Wherever 3-phase connection is required for load less than or equal to 8 kW, necessary justification shall be provided along with such request for consideration of licensee for extending such supply.

1.11.2 HT Supply ;-

Supply of Electricity to the Consumers at voltage above 400V as per clause 3.2 of JERC for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013.

1.12 	The maximum demand means the highest load measured in average kVA or kW at the point of supply of a consumer during any consecutive period of 30 (thirty) minutes during the month or the maximum demand recorded by the MDI during the month.

1.13 Billing demand: The billing demand shall be the maximum recorded demand or 75% of the contracted demand whichever is higher.

1.14	Tax or Duty

The tariff does not include any tax or duty, etc, on electrical energy that may be payable at any time in accordance with any law / State Government Rules in force. Such charges, if any, shall be payable by the consumer in addition to tariff charges.

1.15 	Contingency :- In case of any inconsistency between this Tariff schedule and the prevailing JERC for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013, the provision, meaning and contents of the said Code shall prevail.

#### 2.	LT Supply:-

2.1   LT Category -1:-  Kutir Jyoti

Applicability: Applicable to all households who have been given connection under Kutir Jyoti Scheme or similar connection under any scheme of the State Govt. or Central Govt. for the benefit of poorer section. As per existing norms unless supersedes by other new norms of KJS, if the total consumption in the last three months exceed 45 kWh, the connection should be converted to LT Category-2 (Domestic).

Permitted load:-  Initially single light point connection which can be extended by one or two light points or as per the norms specified by competent Authority from time to time.

Tariff Rates:

A)    Fixed Charge     			:      Rs 20.00 per month per connection.

B)     Energy charge per month :-

1)	Metered Supply:

| All units (Upto 45 kWh/3 Months) | : | @ Rs 1.60 per kWh |
| --- | --- | --- |

2)	Un – metered Supply:

The energy (kWh) so computed as per clause 5(1) of this tariff schedule shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

2.2    LT Category-2:- Domestic

Applicability: Applicable for supply of energy exclusively for domestic purposes only in domestic premises.The Tariff is applicable to supplies for general domestic purposes such as Light, Fans, Heating devices, Television, VCR/VCP, Radio, Refrigerator, Air-conditioner, lift motors and all others appliances only for bona-fide residential used. This will not be applicable to institutions conducting commercial activities of any nature.

Tariff Rates:

A)    Fixed Charge     	                :      Rs 60.00 per month per kW of contracted load

B)     Energy charge per month:-

1) 	Metered Supply:

| First 100 kWh | : | @ Rs 3.30 per kWh |
| --- | --- | --- |
| Next 100 kWh | : | @ Rs 4.00 per kWh |
| Balance above 200 kWh | : | @ Rs 5.10 per kWh |

2) 	Un-metered Supply:

The energy (kWh) so computed as clause 5(1) of this tariff schedule shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

Note: If any part of the domestic connection is utilized for any use other than dwelling purpose like commercial, industrial, etc., a separate connection should be taken for such loads under appropriate category, failing which the entire consumption shall be treated as the case may be, in the corresponding category with applicable tariff.

2.3    LT Category-3:- Non Domestic / Commercial:

Applicability: This tariff is applicable to all lights, all types of fans, heating devices, Television, VCR/VCP, Radio, Refrigerator, Air Conditioner, lift motors, pump and all other appliances for the purpose of private gain including other small power.This tariff includes power loads for non-domestic purposes like Government/semi-government/non-government offices, shops, hospitals, nursing homes, clinics, dispensaries, health centers, restaurants, bars, hotels, clubs, guest houses, circuit  houses/rest houses, tourist lodges, picnic spots, resorts, farm/garden houses, clubs, markets, optical houses, public buildings, community halls, stadiums, meeting/conference halls, religious premises like churches, temples, mosques, gurudwaras, religious offices, all types of studios, tea stalls, professional chambers (like Advocates, chartered Accountants, consultants, Doctors, etc.), private trusts, marriage halls, public halls, show rooms, centrally air-conditioning units,  commercial establishments, X-ray plants, diagnostic centers, pathological labs, carpenters and furniture makers, repair workshops, laundries, typing institutes, internet cafes, STD/ISD PCO’s, FAX/photocopy shops, tailoring shops, Government/Non-Government Institutions, schools, colleges, libraries, research institutes, boarding/lodging houses, railway stations, fuel/oil stations/pumps, bottling or filling stations /plants, service stations, Railway/Bus stations/terminals, All India radio/T.V. installations, printing presses, commercial trusts, societies, banks, financial institutions, theatres, cinema halls, circus, coaching institutes, common facilities in multistoried commercial offices/ buildings, public museums, crematoriums, graveyards, orphanages/recognized charitable institutions where rental or fees of any kind are charged, non-recognized charitable institutions, power supply to tele-communication system/towers and others applications not covered under any other categories.

Tariff Rates:

A)    Fixed Charge     	                :      Rs 80.00 per month per kW of contracted load.

B)     Energy charge per month:-

1) 	Metered Supply:

| First 100 kWh | : | @ Rs 4.50 per kWh |
| --- | --- | --- |
| Next 100 kWh | : | @ Rs 5.50 per kWh |
| Balance above 200 kWh | : | @ Rs 6.60 per kWh |

2) 	Un-metered Supply:

The energy (kWh) so computed as clause 5(1) of this tariff schedule shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

2.4    LT Category-4:-  Public Lighting

Applicability: Applicable to Public Street Lighting System in municipality, Town, Committee, Sub-Town/Village, etc. including Signal system and Road & Park lighting in areas of Municipality Town/Committee, Sub - Town/Village, etc.

Tariff Rates:

A)    Fixed Charge     	                :      Rs 65.00 per month per kW of contracted load.

B)     Energy charge per month:-

1) 	Metered Supply:

| All units | : | @ Rs 6.00 per kWh |
| --- | --- | --- |

2) 	Un-metered Supply:

The energy (kWh) so computed as clause 5(1) of this tariff schedule shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

2.5    LT Category-5:-  Public Water Works (PWW)

Applicability:  Applicable to all public water supply system and sewerage system.

Tariff Rates:

A)    Fixed Charge     	                :      Rs 100.00 per month per kW of contracted load.

B)     Energy charge per month:-

1) 	Metered Supply:

| All units | : | @ Rs 6.35 per kWh |
| --- | --- | --- |

2) 	Un-metered Supply:

The energy (kWh) so computed as per section 5(1) shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

2.6    	LT Category-6:-  Irrigation & Agricultural

Applicability: This tariff is applicable to irrigation/pumping for Agricultural purpose only.

Tariff Rates:

A)    Fixed Charge     	                :      Rs 60.00 per month per kW of contracted load.

B)     Energy charge per month:-

1) 	Metered Supply:

| All units | : | @ Rs 3.25 per kWh |
| --- | --- | --- |

2) 	Un-metered Supply:

The energy (kWh) so computed as per clause 5(1) of this tariff schedule shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

2.7    LT Category-7:- Small Industry

Applicability:  Applicable to all Industrial power consumers with demand of power upto 50 kW which are not covered by Category No. 3 (Supply of Non-Domestic/Commercial Purposes), such as steel fabrications, motor body builders, power handloom industry, poultry farming, pisciculture, prawn culture, floriculture in green houses, mushroom production, cold storage units, agriculture based industries, horticulture and any other type of industry where raw material is converted into finished products with the help of electrical motive power,  printing press, etc.  This will include domestic or commercial within the industrial complex.

Tariff Rates:

A)    Fixed Charge     	                :      Rs 65.00 per month per kW of contracted load.

B)     Energy charge per month:-

1) 	Metered Supply:

| All units | : | @ Rs 3.50 per kWh |
| --- | --- | --- |

2) 	Un-metered Supply:

The energy (kWh) so computed as per clause 5(1) of this tariff schedule shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

3.	HT Supply:- The tariffs are applicable for Consumer availing supply at voltage above 400 V irrespective of connected load/contracted demand.  It is mandatory to supply with voltage above 400 V, to consumer having a contracted Load of above 50 kW or Contract Demand of above 59 kVA, as per clause 3.2 of JERC for M&M (Electricity Supply Code) Regulations, 2013

3.1    H.T. Category – 1: Commercial

Applicability: This Tariff is applicable to similar purposes defined in LT Supply Category-3 Supply for Commercial Purposes.

Tariff Rates:

A)    Demand Charge            :      Rs 100.00 per month per kVA of Billing  Demand.

B)     Energy charge per month:-

1) 	Metered Supply:

| All units | : | @ Rs 6.50 per kWh |
| --- | --- | --- |

2) 	Un-metered Supply:

The energy (kWh) so computed as per clause 5(1) of this tariff schedule shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

3.2    H.T. Category - 2: Public Water Works (HT- PWW)

Applicability: This tariff is applicable to similar purposes defined in LT Category-5 Supply for Public Water Works (PWW) and sewerage system.

Tariff Rates:

A)     Demand Charge           :      Rs 100.00 per month per kVA of Billing  Demand.

B)     Energy charge per month:-

1) 	Metered Supply:

| All units | : | @ Rs 5.75 per kWh |
| --- | --- | --- |

2) 	Un-metered Supply:

The energy (kWh) so computed as per clause 5(1) of this tariff schedule shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

3.3    H.T. Category - 3: Irrigation & Agriculture

Applicability: This Tariff is applicable to irrigation / pumping for agricultural purposes only.

Tariff Rates:

A)     Demand Charge           :      Rs 100.00 per month per kVA of Billing  Demand.

B)     Energy charge per month:-

1) 	Metered Supply:

| All units | : | @ Rs 3.15 per kWh |
| --- | --- | --- |

2) 	Un-metered Supply:

The energy (kWh) so computed as per clause 5(1) of this tariff schedule shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

3.4    H.T. Category - 4: Medium Industry

Applicability: This Tariff is applicable to similar purpose defined in LT Category-7 for Small industry. with Contract Demand upto 125 kVA or Contracted Load upto 100kW.

Tariff Rates:

A)     Demand Charge           :      Rs 100.00 per month per kVA of Billing  Demand.

B)     Energy charge per month:-

1) 	Metered Supply:

| All units | : | @ Rs 4.50 per kWh |
| --- | --- | --- |

2) 	Un-metered Supply:

The energy (kWh) so computed as per clause 5(1) of this tariff schedule shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

3.5    H.T. Category- 5: Large Industry

Applicability: This Tariff is applicable for supply of power to industrial consumers having license from designated authority of appropriate government and not covered under any other category, at a single point for industrial purposes with Contract Demand above 125 kVA or Contracted Load   above 100 kW.

Tariff Rates:

A)     Demand Charge           :      Rs 100.00 per month per kVA of Billing  Demand.

B)     Energy charge per month:-

1) 	Metered Supply:

| All units | : | @ Rs 5.60 per kWh |
| --- | --- | --- |

2) 	Un-metered Supply:

The energy (kWh) so computed as per clause 5(1) of this tariff schedule shall be charged at the same rate for metered tariff given above to arrive at the cost of energy consumed.

3.6    H.T. Category - 6: Bulk Supply within the State

Applicability: This tariff is applicable for all installations, including mixed loads similar to LT category 2 & 3 such as private sector installation, educational institution, defense installation, government & public sector offices & complexes and Hospital etc., that arrange their own distribution system of power within the premises with the approval of competent authority. This will not include industrial complexes consisting mixed load of LT category 2 & 3.

Tariff Rates:

A)     Demand Charge           :      Rs 100.00 per month per kVA of Billing  Demand.

B)     Energy charge per month:-

1) 	Metered Supply:

| All units | : | @ Rs 5.00 per kWh |
| --- | --- | --- |

2) 	Un-metered Supply:

The energy (kWh) so computed as per clause 5(1) of this tariff schedule shall be charged at the same rate  for metered tariff given above to arrive at the cost of energy consumed.

4. 	Temporary Power Supply

Applicability: Temporary power supply supply shall be given through correct meter and carried out as per procedure laid down in clause 4.56 to 4.70 of the JERC for Manipur & Mizoram (Electricity Supply Code) Regulations, 2013.  Bill shall be served  at the following rates:

Tariff Rates:

A) Fixed / Demand charge    : 1.5 times the rate of fixed/demand charge of the

applicable  tariff category for which power supply is

given.

B) Energy charge per month:-1.5 times  the rate of the highest rated slab of the

applicable  tariff category for which energy is

supplied.

5	Computation of energy consumed for un-metered supply:

(1)   This shall be applicable to consumer (inclusive of street lightings) without meter from initial connection and have not been covered under any of the metering schemes. The monthly energy consumption shall be computed as below:-

Energy Consumption = L x H X F x D

Where	L  = Contracted load in kW or Billing Demand in kVA, (as per clause 1.9 of

this tariff schedule)

H = (a) For consumer in general:- Total number of hours in a month during which power is actually supplied to that consumer through that feeder / through that DT concerned, whichever is less, (after taking into account all interruptions of power feeding that) or (730 minus total hours interruptions of power feeding that consumer). where 730 is average number of hours in a month in a non-leap year. (Note:- Interruption shall mean breakdowns of Feeders, Part of feeder, Distribution Transformer, load sheddings, all types of shut downs which should be recorded and informed to concerned billing station)

(b) For street lights:- Total number of hours in a month during which power is  actually supplied to street lights through that feeder / through that DT concerned, whichever is less, (after taking into account all interruptions of power feeding that) or (365 minus total hours interruptions of power feeding that street light). where 365 is average number of hours between 5 pm to 5 am in a month in a non-leap year. (Note:- Interruption shall mean breakdowns of Feeders, Part of feeder, Distribution Transformer, load sheddings , all types of shut downs which occurs between 5 pm and 5 am. which should be recorded and informed to concerned billing station)

F =  Load Factor shall be as stipulated for theft cases in ANNEXURE 11.19 of the Joint Electricity Regulatory Commission for Manipur & Mizoram (Electricity Supply Code) Regulations, 2013. Which is reproduced for convenience sake:-

| S. No. | Particulars | Load factor |
| --- | --- | --- |
| 1. | Domestic (LT/HT) | 40% |
| 2. | Non-domestic/Commercial (LT/HT) | 50% |
| 3. | Industrial (LT/HT) | 75% |
| 4. | Public Water supply(LT/HT) | 50% |
| 5. | Bulk supply | 50% |
| 6. | Agriculture/Irrigation(LT/HT) | 50% |
| 7. | Street light | 50% |
| 8. | Direct theft – All categories | 100% |

D =  Demand  factor which shall be taken as (1) 50 % in case of street lighting and (2) 45 % in case of other consumption.

(2)  Short period of unmetered supply:- For un-meter (meter not available) supply as a result of defective, burnt, lost meter shall be treated  as per 6.11 – 6.13 0f the JERC for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013.

(3)	For Un-authorised consumer/theft (includes by-pass of meter)/pilferage and cases cover by section 135 of the Act.:- The energy consumed shall be  computed as per Annexure 11.1.19 0f the JERC for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013. The energy so computed shall be evaluated as follows:-

(a)  Load less than 10 kW

(1) First instance:-  Thee (3) times of the rate of  the applicable tariff (fixed and variable charges) for which the stolen energy was utilized.

(2)  Second and subsequent instance:- Six (6) times of the rate of  the applicable tariff (fixed and variable charges) for which the stolen energy was utilized.

(b)  Load exceeding 10 kW

(1) First instance:- Three (3)) times of the rate of  the applicable tariff (fixed and variable charges) for which the stolen energy was utilized.

(2)  Second and subsequent instance:- Six (6) times of the rate of  the applicable tariff (fixed and variable charges) for which the stolen energy was utilized.

Note;- Additional punishment of theft shall be as per Electricity Act 2003 (with latest amendment) and as per the JERC for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013.

6.     Miscellaneous Charges

6.1   Meter Rent

6.1.1  	Meter Rent for non-prepaid meters :  Monthly charges for hiring of the meter, indicator payable shall  be as follows:

| a) | AC, Single phase Energy meter, whole current | Rs. 10.00 per month |
| --- | --- | --- |
| b) | AC, Three phase Energy meter, whole current | Rs. 20.00 per month |
| c) | AC, Three phase Energy meter, CT operated | Rs. 50.00 per month |
| d) | AC, Three phase Energy meter, CT & PT operated | Rs. 500.00 per month |

6.1.2  Meter Rent for Pre-Paid Meters:  Monthly charges for hiring of the meter, indicator payable shall  be as follows:

| a) | AC, Single phase PP, Energy meter, whole current | Rs. 20.00 per month |
| --- | --- | --- |
| b) | AC, Three phase PP, Energy meter, whole current | Rs. 40.00 per month |

6.2  	Other charges for meter:

(i) 	Meter shifting charge:

(1) 	Rs 100.00 per shifting if resulted from reconstruction / modification of building and at consumer’s request.

(2)	 Free of cost if shifting is done in the interest of work.

Meter shifting shall be carried out as per Chapter – 5 of the JERC for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013.

(ii)  	Replacement of  meter:-- Licensee shall have stock of energy meter as per clause 5.51 of the JERC for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013. Replacement of meter shall be carried out as per clause 5.31 to 5.50 of the same code mentioned above. Charges for other materials will be extra.

However, in case of replacement of post-paid meter by prepaid meter by the utility, no meter replacement charge shall be borne by the consumer and the entire charge shall be borne by the utility.

iii) 	Execution charge for re-installation/installation of meter:-

a) For existing consumer shall be Free of cost.

b) For disconnected consumer being re-connected (if meter is

removed) shall be charged  Rs 75.00.

c) For new consumer, it shall be included in the cost of service

connection as under execution charges.

iv) 	Cost of Energy Meters supplied by Licensee :

As per the Licensee’s purchase rate plus 15% of its charge if supplied from the Licensee (energy meters approved / tested by the Licensee only shall be used. However, when   the    cause leading   to subsequent replacement is either manufacturing defect or fault of licensee then, it shall be free of cost.

6.3	Charges for testing of Meters at the request of consumers: : (Testing charge is inclusive of costs of meter re-sealing materials/equipment).

(i) 	For AC single phase LT energy meter: Rs. 50.00 per  meter per  testing.

(ii) 	For AC three phase LT energy meter, whole current: Rs. 75.00 per  meter per  testing.

(iii) 	For AC three phase LT energy meter, CT operated: Rs. 100.00 per  meter per  testing.

- For energy meter AC  three  phase, CT & PT operated :  Rs. 150.00 per  meter per  testing.

In case the meter supplied by the Licensee fitted to the consumer premises is found to be defective from initial fitting, testing and replacement of meter shall be carried out as per clause 5.31 to 5.50 of the JERC for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013.

6.4	Testing of Consumer’s Installation:

The first  test  and inspection will be carried out  free of cost as per clause 4.47 of the Joint Electricity Regulatory Commission for Manipur and Mizoram (Electricity supply Code) Regulations, 2013. Should any further test or inspection is necessitated due to fault in the installation or due to non-compliance with the condition of supply by the consumer an  extra charge of  Rs.  100.00 per   test,   payable in advance, shall   be levied. In the  event of the  consumer failing  to pay  the  testing charge in advance within stipulated  time,   the  Licensee will  be  at  liberty to disconnect the consumer’s premise from  the supplier’s main.

6.5	Disconnection and Reconnection

Disconnection: Disconnection of an installation in all cases will be free of charges.

Reconnection:

(i) 	For AC single phase LT supply:  Rs.80.00

(ii) 	For AC three phase LT supply:  Rs. 150.00

(iii) 	For AC HT supply:  Rs. 400.00

Note: - Extra material required will be chargeable.

6.6	Charges for change of category:

Change of category will be carried out as per clause 4.72 to 4.80, clause 4.85 to 4.86 and 4.90 to 4.93 of the Joint Electricity Regulatory Commission for Manipur and Mizoram (Electricity supply Code) Regulations, 2013.

6.7 	Charges for Replacement of Connection Wire, Cut-out, Fuse, etc.:

Cost of replacement after   initial fixation of  connection wire, cut-out, fuses,  etc.  will  be borne by  the  consumers and shall  be payable by  the consumer in advance as per  purchase rate  of the  Licensee plus 15% of its charges if the  Licensee supplies the  materials or  the consumer may  arrange the  required materials as per  the  required specifications of the Department.

The execution charge shall be as given below:

(a)     For Cable and wire-:-

i) 	Single phase connection:  Rs.400.00 per connection.

ii) 	LT three phase connection: Rs.600.00 per connection.

iii) 	HT three phase connection: Rs.900.00 per 100 meters of the HT line

(2)	     For Cut out & Fuse:-

(a)  	Rs 15.00 per cut out.

(b) 	 Rs  5.00  per fuse

6.8  	Re-rating of Installation:- This charge is for meeting expenses toward spot verification of load and other coonected recording works.  Fees for re-rating of the consumer’s installation at the request of the consumer shall  be Rs. 100.00 per rerating per connection.

These charges shall be payable by the consumer in advance. The aforesaid charges do not include the charges payable by the consumer for other works connected due to change of connected load. Rerating shall be carried out as per clause 4.94 to 4.107 of the JERC for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013.

6.9 	Security Deposit:

The amount of load/meter security shall be calculated as per the procedure prescribed in clause 4.123 – 4.127 and determine as per Annexure 11.18 of the JERC for M&M (Electricity Supply Code) Regulations, 2013. Billing Demand shall be taken as ‘L’ in case of HT consumers load security calculation. However, consumer with prepaid meter shall not be required to pay load security deposit.

6.10  	Charges for Replacement of tamper proof Meter Box:

For AC single phase LT or three phases LT without CT or with CT, the charge will be as per Licensee’s purchase rate  plus 15%  of its charge in case  the  energy meter box  is replaced by the Licensee from its store.

6.11	Service Lines & Service Connection:

(i)  	Type of Service Connection:   Type of service connection and distance for service connection line length will be as per clause 4.2 read with clause 5.10 of the Joint Electricity Regulatory Commission for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013.

(ii)  	Cost of Service Connection: As stipulated in clause 4.37 and 4.131 of the Joint Electricity Regulatory Commission for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013. If the consumer desires to arrange service connection materials, the Department (not below rank of Junior Engineer concerned) will check all the materials.

6.12 	Mutation Fee: Mutation fee i.e fee for change of name shall be Rs 50  per change.  This shall be carried out as per clause 4.81 to 4.84 of the Joint Electricity Regulatory Commission for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013.

6.13 	Cost of Application Form:   The application form shall be free of cost vide clause 4.14 of the Joint Electricity Regulatory Commission for Manipur and Mizoram (Electricity Supply Code) Regulations, 2013.

6.14         	Operation & Maintenace (O & M) Charge on dedicated assets :-

The O & M charge  of assets created out of such amount received without any obligation to return the same and no interest costs attached to such subvention, from consumer contribution, Deposit work and any similar nature shall be as follows:-

(1)	The completion costs shall be escalated at the rate of 4 % per annum from the year of completion to arrive the costs of the assets for 2015-16 level.

(2)	The annual O & M charges/expenses shall be 5 % from the 2015-16 level costs.

(3)	The O & M charges/expenses for each subsequent will be determined by escalating the base charges/expenses determined above for  2015-16, at the escalation factor of 5.72 % to arrive at possible O & M charges / expenses for each year.

ANNEXURES

ANNEXURE - I

JOINT ELECTRICITY REGULATORY COMMISSION

FOR MANIPUR AND MIZORAM

AIZAWL : MIZORAM

TBL Bhawan 2nd – 5th Floor, E-18, Peter Street, Khatla Aizawl, Mizoram - 796001

Fax: 0389-2336299/ 2335523,  Tel. No. : 0389-2335625/2336555

Website: www.jerc.mizoram.gov.in, Email: jerc.mm@gmail.com

No. H. 11019/26/13-JERC		 		Dated Aizawl, the 24th February, 2017

MINUTES OF THE 17TH MEETING OF THE STATE ADVISORY COMMITTEE OF MANIPUR

Venue            : The Hotel Classic, Regency Hall, Imphal, Manipur

Date & Time :  13th February 2017, 11:00 AM

The Chairman of the committee, Mr. R.K. Kishore Singh and Chairperson of the Joint Commission for Manipur & Mizoram chaired the meeting. The list of members and participants attending the meeting is appended.

After welcoming the members and the invitees, the Chairperson initiated the agenda wise discussion as below:

Agenda No.1.     Confirmation on the Minutes of the 16th Meeting of the SAC,      Manipur held on 18th February, 2016.

Requesting the members to their views and comments on the minutes of the 16th SAC and after obtaining nods from the members, the minutes was declared confirmed.

Agenda No. 2.   Determination of Retail Tariff for MSPDCL and Transmission                            Tariff for MSPCL, Manipur.

The Chairman informed the committee members that the main agenda for the meeting was to obtain the views and comments on the above agenda. With the permission of the chair, the Executive Director Technical, MSPDCL, outlined the Tariff Petition that JERC had issued new tariff regulations i.e. Multi Year Tariff (MYT) Regulations in June 2014 and as per the JERC MYT Regulations, 2014 filing of the ARR & Tariff Petition within November every year is compulsory. However, MSPDCL applied for time extension till 20th December, 2016 and with the kind permission of the JERC (M&M), MSPDCL submitted the same in December, 2016.

The projection of cost and data for the proposed ARR and Tariff Petition is based on actual data of the past years and future development plan of the company. The summary of ARR and proposed tariff schedule are reproduced below for perusal and comments by members of SAC Manipur:

- Summary of ARR for the FY 2017-18 in respect of MSPDCL

(Rs.Crore)

| Sl. No. | Particulars | FY 2016-17 Estimated | FY 2017-18 Projected |
| --- | --- | --- | --- |
| A | Expenditure |  |  |
|  | Cost of power purchase | 329.92 | 358.74 |
|  | Inter-State Transmission charges | 51.70 | 57.45 |
|  | Intra-state Transmission charges | 38.94 | 68.58 |
|  | Wheeling charges payable to other distribution licensee | 0.00 | 0.00 |
|  | O&M Expenses | 86.22 | 93.51 |
|  | Depreciation | 0.23 | 0.26 |
|  | Advance against depreciation | 0.00 | 0.00 |
|  | Interest on Loan | 0.14 | 0.28 |
|  | Interest on Working Capital | 7.67 | 8.52 |
|  | Provision for bad debt | 3.00 | 3.00 |
|  | Total Cost | 517.82 | 590.34 |
| B | Add: RoE | 1.56 | 1.56 |
|  | Add: Income Tax | 0.39 | 0.39 |
|  | B: Total | 1.95 | 1.95 |
|  | Total ARR: A+B | 519.77 | 592.29 |
| C | Less |  |  |
|  | Other Income (Non-tariff income) | 0.34 | 0.37 |
|  | Income from other business allocated to Licensed business |  |  |
|  | Subtotal (C) | 0.34 | 0.37 |
|  | Aggregate Revenue Requirement (A+B-C) | 519.43 | 591.92 |

- Revenue Gap & Proposed Revenue

| ARR, Revenue @ Existing Tariff, Revenue Gap | FY 2017-18 Projected |
| --- | --- |
| Annual Revenue Requirement | 591.92 |
| Covered by |  |
| Revenue @ Existing Tariff | 240.57 |
| UI/ trading Receivable | 49.06 |
| Total Revenue from sale of energy | 289.63 |
| Revenue Gap/(Surplus) | 302.29 |
| Covered by |  |
| Budgetary Support From Govt. | 271.26 |
| Additional Revenue @ Proposed Tariff | 31.03 |
| Total | 302.29 |
| Net Gap/(Surplus) to be addressed | 0 |

- Average Cost of Supply & Revenue Realization

| Average Realization & Cost of Supply | FY 2017-18 |
| --- | --- |
| (Rs. Per Unit) |  |
| Average Cost of Supply of MSPDCL | 9.96 |
| Average realization from sale of power | 4.41 |
| Revenue Gap at existing Tariff | 5.55 |
| Covered By: |  |
| Budgetary Support | 4.98 |
| Additional Revenue through Proposed Tariff | 0.57 |

- Comparison of the Proposed Tariff Schedule for FY 2017-18 with the existing tariff for FY 2016-17.

Tariff Schedule

| Sl.No | Category & Consumption Slab | Existing Tariff for FY 2016-17 | Proposed Tariff for FY 2017-18 |
| --- | --- | --- | --- |
|  |  | Fixed Charges | Variable Charges | Fixed Charges per month (Rs.) | Variable charges per month (Rs./Kwh) |
|  |  | per month (Rs.) | (Rs./kwh) |  |  |
|  | LT SUPPLY |  |  |  |  |
| 1 | Kutir Jyoti |
|  | First - 15 kwh/Month | 20 | 1.4 |  |  |
|  | Above 15 kwh/Month | 20 | 2.5 |  |  |
|  | First - 45 kWh/month |  |  | 20 | 1.60 |
| 2 | Domestic |  |  |  |  |
|  | First - 100 kwh/Month | 60 | 3.2 | 70 | 3.60 |
|  | Next 100 kwh/Month | 60 | 3.8 | 70 | 4.20 |
|  | Above 200 kwh/Month | 60 | 4.7 | 70 | 5.10 |
| 3 | Non-Domestic/Commercial |  |  |  |
|  | First - 100 kwh/Month | 80 | 4.2 | 90 | 4.85 |
|  | Next 100 kwh/Month | 80 | 5 | 90 | 5.75 |
|  | Above200 kwh/Month | 80 | 5.9 | 90 | 6.80 |
| 4 | Public Lighting | 65 | 5.5 | 75 | 6.35 |
| 5 | Public Water Works | 100 | 5.5 | 115 | 6.35 |
| 6 | Irrigation & agriculture | 60 | 3.25 | 60 | 3.25 |
| 7 | Small Industry | 65 | 3.25 | 70 | 3.65 |
|  | HT SUPPLY |  |  |  |  |
| 1 | Commercial | 100 | 5.7 | 120 | 6.55 |
| 2 | Public Water Works | 100 | 5 | 115 | 5.75 |
| 3 | Irrigation & Agriculture | 100 | 3 | 105 | 3.15 |
| 4 | Medium Industry | 100 | 4.3 | 115 | 4.95 |
| 5 | Large Industry | 100 | 5 | 115 | 5.75 |
| 6 | Bulk Supply | 100 | 4.6 | 115 | 5.35 |

- Recovery of Transmission ARR :

The MSPDCL being the only long-term transmission user of transmission system of MSPCL, the transmission ARR of Rs. 68.58 crore of MSPCL is proposed to be recovered entirely from MSPDCL as Fixed Monthly Charges. The monthly transmission charges proposed for MSPCL works out to be Rs. 5.72 crores per month.

With the permission of the chair, the Executive Director Technical ,MSPCL, outlined the Tariff increase in MSPCL is mainly due to the increase in Employee strength. Chief (Engg.), JERC stated that MSPCL has proposed for recruitment for 953 employees but it is not clearly reflected in MSPCL – ARR.

Mr. Irengbam Arun, Sr. Journalist stated that increase in staff strength in both the company may please explain whether the increased staffs are actually required or not. In reply to Mr.I Arun, Executive Director MSPDCL, Mr. Ng. Sarat Singh explains the actual necessity of staffs citing one example of Keibi Sub Station mentioning that the subsataion was inaugurated long time back but can’t make functional due to lack of staffs not only this there are many more sub stations laying like this or functional with one staff.

In line with the topic Mr. Ch. Ibohal Meitei added that both the Company should highlight the manpower requirement / existing manpower / proposed manpower & vacancy post. Adding to Mr. Ch. Ibohal, Dr. M. Binota Devi, Associate Professor, Dept. of Economics, Imphal College, Imphal added that considering the cost of production, level of recruitment may be done.

In reply to Mr. Ch. Ibohal Meitei & Dr. M. Binota Devi, ED Tech, MSPCL state that both the Company’s has all the justifications and accordingly recruitment processes are executed. Finally, Mr. I Arun added that if both the Companies are having proper justification there is no objection even in recruiting more also.

Agenda 3:  Review of various works in Manipur under Manipur State Power Distribution Company Ltd & Manipur State Power Company Ltd.

With the permission of the chair, the Executive Director Technical, MSPDCL, outlined the progress of various works in various schemes undergoing in MSPDCL like:

- R-APDRP (Re-Structured Accelerated Power Development & Reform Programme)

- Refurbishment & Enhancement Plan under State Funding :

- Integrated Power Development Scheme (IPDS)

- 12th Plan RGGVY / DDUGJY :

- District wise Pre Paid metering under R-APDRP (Part-B) & State Plan :

With the permission of the chair, the Executive Director Technical, MSPCL, outlined the progress of construction of works on 33/11 KV nearing to completion of work and under construction citing the target of completion.

The Chairman JERC, added that for energy accounting accurate energy meter is required. In line with the Chairman, Executive Director Tech, MSPCL state that MSPDCL is in the process of installing boundary meter, pre-paid meter with the completion target by June,2017 so as in the next tariff petition there should not be unmetered category.

Agenda 4:  T & D Loss

With the permission of the chair, the Executive Director Technical, MSPDCL, outlined & highlighted to the SAC members as :

- Reason of High Loss

Technical losses:

- Inadequate size of conductors for Distribution Network

- Ageing of ACSR conductor (Weasel)

- Electrification through long 11KV HT and LT lines

- Installation of DTR far away from load centre

- Low voltage at the consumer end

Commercial losses:

- Unauthorized consumers

- Bypassing of prepaid meter/ hooking directly from naked line

- Unmetered consumers

Measures taken to reduce losses:

Technical:

- Under centrally sponsored R-APDRP part-B scheme, under 13 towns, infrastructure development of the distribution system is being taken up since 2014-15. MSPDCL also stated the achievement under the scheme.

- Also in remaining areas not covered under R-APDRP Part-B scheme, AB cabling is being undertaken under State funding under Refurbishment & Enhancement Phase-I & Refurbishment & Enhancement Phase-II.

- Furthermore, an integrated Power Development Scheme (IPDS) has been approved and sanctioned for system improvement in remaining town areas all over Manipur to reduce AT&C loss.

Commercial:

- Pre-paid metering is being taken up under both R-APDRP Part-B scheme and State funding as well.

b)	Raids are executed at sub-division level to take necessary action on theft of Electricity as per Electricity Act 2003.

- Suspected High Loss Areas

- Newly electrified rural areas are not being handed over to the concerned division leading to energy being consumed by the areas but not billed. This adds to the energy losses.

- Hilly areas, where installation of pre-paid meters or post-paid meters is not feasible, also account for energy losses.

- Areas having naked LT lines leading to theft of energy or unauthorized connection.

Measures taken:

MSPDCL is in the process of identifying other high loss areas. Currently, boundary meters are being purchased and the installations of boundary meters for all the remaining areas apart from RAPDRP covered towns are expected to be completed in the following financial year FY 2017-18. The energy data from these meters would enable MSPDCL to identify high loss areas after assessing the losses in different areas and help devise targeted measures to lower the losses.

- Whether all consumers (including public lighting) are metered or not. If not, expected date of 100 % metering.

As of 20/1/2017, the number of pre-paid meters installed is 3,21,181, out of which 2,72,240 meters have been activated. MSPDCL is focused to complete the targets by the end of June 2017. Other uncovered areas will be covered by Single Point DT metering. About 1,119 villages are proposed to be covered under Single Point DT Metering. For the first phase, procurement of 794 DT meters is under process.

- Whether all transmission and distribution lines, from 132 KV level down to 11 KV level, are metered or not. If not, expected date of completion. Metering of transmission & Distribution lines is important to ascertain the actual loss at different voltage level.

MSPDCL is currently purchasing the boundary meters meant for installation at 11 KV level in all the areas where they are not present. The installations are expected to be completed in the following financial year FY 2017-18 (June,2017). ED of MSPCL also committed that all system metering will be completed by June,2017.

- Whether MSPDCL will be able to furnish actual losses based on energy meter record by end of March 2018.

MSPDCL is currently purchasing the boundary meters meant for installation at 11 KV level in all the areas where they are not present. The installations are expected to be completed in the following financial year FY 2017-18. MSPDCL shall ensure to furnish actual losses based on energy meter record by end of March 2018.

- Can SAC expect consistency of figures of loss in various reports and tariff petitions

Currently MSPDCL has almost all the consumers in the 11 KV distribution network. While the losses for 33KV network is around 6 % and the distribution losses for 11 KV network is in the range of 37.55 % (as examined and found by JERC vide letter No 20019/4/08-JERC dated 23rd June, 2016), the actual losses can only be accurately found out by the energy meter record after 100 % metering of 11 KV feeders and distribution transformers. This will ensure consistency of figures of loss in various reports and tariff petitions.

- Whether the department required SAC to advise the State for giving more fund by way of getting normal funding or loan for quick and sustainable reduction of losses at different voltage level.

MSPDCL would like to highlight certain points which need to be considered for more funds from the State.

- The energy sales figures projected in the ARR and tariff filing every year often do not materialize. This results in lower revenue realization.

- The tariff hike every year is far from the trajectory as per UDAY MOU signed by the State with the Ministry of Power to achieve operational efficiency targets of reducing the AT&C losses to 15% by FY 2019 from the current levels of AT&C losses at 47.17% for FY 2015-16. As a result, various measures taken for reducing losses often face obstacles due to funding shortfall.

- The disbursements for power procurement cost should be timely and maintained as per the amount approved. Most of the times due to delay in disbursements by the State government, the surcharges on power purchase bill account for additional costs. Timely disbursements could ensure minimizing such additional cost burden on MSPDCL.

Mr. Elangbam Dorendro Singh, Advisor, All Manipur Power Consumer’s Association stated that why MSPDCL is procuring power at higher rate while power is available at cheap rate in the market and fixed asset lying non-functional and the liabilities are loaded to the consumers. In reply to Mr. E. Dorendro, Mr. L. Priyukumar Singh, Executive Director, MSPDCL explains the whole scenario of power purchase done through IEX & power exchange in long term & short term. Lastly, ED Tech, MSPDCL appeals to the Commission to come up with a policy in the theft of energy.

Lastly, members of State Advisory Committee proposed for rate hike in sitting charge of the SAC members.

The Committee recommends the tariff hike based on thorough examination of the Tariff Petitions of MSPDCL and MSPCL for FY 17 – 18.

Answering the question of Chief (Engg.), JERC, the ED (Tech.), MSPDCL confirmed that in FY 2018-19 Tariff Schedule, unmetered tariff can be removed.

The Meeting ends at 14:30 hrs with a vote of thanks from the Chair.

Sd/-R.K. KISHORE SINGH

Chairperson

Memo No. H. 11019/26/13-JERC	 		Dated Aizawl, the 24th February, 2017

Copy to:

1.  Secretary to Hon’ble Chief Minister, i/c Electricity Department, Gov’t of

Manipur for kind information to the Hon’ble Chief Minister.

2.  Secretary, Electricity Department, Gov’t of Manipur for kind information and for taking necessary action on the Minutes of the Meeting.

3.	All Members / Invitees of the State Advisory Committee for kind information and for taking necessary action on the Minutes of the Meeting.

4.	Guard File.

JOINT ELECTRICITY REGULATORY COMMISSION

FOR MANIPUR AND MIZORAM

AIZAWL : MIZORAM

TBL Bhawan 2nd – 5th Floor, E-18, Peter Street, Khatla Aizawl, Mizoram - 796001

Fax: 0389-2336299/ 2335523,  Tel. No. : 0389-2335625/2336555

Website: www.jerc.mizoram.gov.in, Email: jerc.mm@gmail.com

List of Members and Participants who attended the 17th Meeting of State Advisory Committee of Manipur

Date & Time	:	13th February, 2017 (Monday) 11:00 a.m.

Venue		:	Hotel Classic Regency Hall, Imphal, Manipur.

| Sl. No. | Name | Designation |
| --- | --- | --- |
| 1 | Er. R.K.Kishore Singh | Chairperson, JERC (M&M) |
| 2 | Mr. Ng.Chittaranjan Singh | Scientific Officer, for Director, MANIREDA, |
| 3 | Dr. Ch. Ibohal Meitei | Professor, Manipur Institute of Management Studies, Manipur University |
| 4 | D r. L. Sadananda Singh | General Secretary, Senior Citizens for Society, Manipur |
| 5 | Mr. Elangbam Dolendra Singh, | Advisor, All Manipur Power Consumers’ Association |
| 6 | Mr. Irengbam Arun, | Senior Journalist, All Manipur Working Journalists’ Union |
| 7 | Dr. Chongtham Narendra Singh | Former President, District Consumer Redessal Forum (Imphal) |
| 8 | Mr. Basantakumar Wareppa, | Programme Executive, Human Rights Alert |
| 9 | Dr. M. Binota Devi, | Associate Professor, Department of Economics, Imphal College, Imphal |
| 10 | Er. L.Pachuau | Chief (Engineering), JERC (M&M) |
| 11 | Er. H.Thanthianga | Assistant Chief (Engineering), JERC (M&M) |
| 12 | Mr. Richard Zothankima | Assistant Secretary, JERC (M&M) |
| 13 | Mr. L.Joychandra Singh | General Manager, MSPDCL |
| 14 | Mr. N.Dwijen Singh | Executive Director, MSPDCL |
| 15 | Mr. L.Priyokumar | Executive Director, MSPDCL |
| 16 | Mr.Th.Jibankumar Singh | Dy. General Manager, MSPDCL |
| 17 | Mr. N.Kunjeshore Singh | Dy. General Manager, MSPDCL |
| 18 | Mr. I.Sarat Singh | Dy. General Manager (Comm- Tariff) |
| 19 | Mr. Bobby Singh Moirangthem | General Manager (F&A) |
| 20 | Mr. A.Birendra Kumar | Dy. General Manager (Trans.) |
| 21 | Mr. I.Chandradhaja | Gy, General Manager (SLDC) |
| 22 | Mr. H.Shantikumar Singh | General Manager (SLDC) |
| 23 | Mr. K.Jila Singh | General Manager (EC-II), MSPDCL |
| 24 | Mr. B.Lalrinsang Sinate | General Manager (Comm) |
| 25 | Mr. L.Dineshkumar Singh | General Manager (EC-I) |
| 26 | Mr. Th. Aton Singh | General Manager, Planning |
| 27 | Mr. Y.M. Lokendro | Advocate |
| 28 | Ms. M.Aruni Devi | GE, PWD, Manipur |
| 29 | Mr. Piyush Lohia | Consultant, PWC |
| 30 | Mr. Indradeep Das | Consultant, CRISIL |
| 31 | Mr. Shiva Shankar Sera | Consultant, CRISIL |
| 32 | Mrs. N.Purnima | Deputy Manager, MSPDCL |
| 33 | Mr. H.Jiten Singh | Deputy Manager, Comm, MSPDCL |
| 34 | Mr. Shinghajit Kh. | Manager (Project) |
| 35 | Mr. Y Dayantakumar Singh | Manager (Projects) |
| 36 | Mr. Satyajeet Thokchom | Assistant Manager (Power Purchase), MSPDCL |
| 37 | Mr. Sh. Santosh Sharma | Manager (Power Supply), MSPDCL |
| 38 | Mr. Chitraprakash Saikhom | Manager (Project), MSPDCL |
| 39 | Mr. Yoihenba Soibam | Assistant Manager (PMO-III) |
| 40 | Mr. Ronjan Usham | Assistant Manager, MSPDCL |
| 41 | Mr. Ronex Oinam | Assistant Manager, MSPDCL |
| 42 | Mr. George Gangmei | Deputy Manager, MSPDCL |
| 43 | Mr. Heroleuma | Computer Operator |
| 44 | Mr. Usham Rocky Singh | Manager (HT Cell) |
| 45 | Mr. R.K.Robert | Asst. Manager (LT Cell) |
| 46 | Mr. Mutum Satyaabrata | Coordinator (ALS) |
| 47 | Mr. R.K. Prashanta | Clerk, JERC (M&M) |
| 48 | Ms. Samita | Reporter, Sangai Express |
| 49 | Ms. Sonia | Reporter, Poknapkam |

ANNEXURE – II

JOINT ELECTRICITY REGULATORY COMMISSION

FOR MANIPUR AND MIZORAM

AIZAWL : MIZORAM

TBL Bhawan 2nd – 5th Floor, E-18, Peter Street, Khatla Aizawl, Mizoram - 796001

Fax: 0389-2336299/ 2335523,  Tel. No. : 0389-2335625/2336555

Website: www.jerc.mizoram.gov.in, Email: jerc.mm@gmail.com

LIST OF PERSON WHO ATTENDED PUBLIC HEARING ON ARR & TARIFF PROPOSAL FOR FY 2017-18 IN RESPECT OF MSPDCL, MANIPUR.

Venue            :           Hotel Classic, Regency Hall, Imphal, Manipur.

Date & Time  :          14.2.2017 at 10:00 a.m.

| Sl. No. | Name | Designation |
| --- | --- | --- |
| 1 | R.K. Kishore Singh | Chairperson, JERC (M&M) |
| 2 | L. Pachuau | Chief(Engineeering),JERC (M&M) |
| 3 | H. Thanthianga | Asst. Chief (Engineering), JERC (M&M) |
| 4 | Richard Zothankima | Assistant Secretary, JERC (M&M) |
| 5 | Y. Satyanarayana | Consultant ASCI, Hyderabad |
| 6 | L. Priyo Kumar Singh | Executive Director (Tech.), MSPDCL |
| 7 | K. Jila Singh | GM, MSPDCL |
| 8 | Th. Aton Singh | GM, MSPDCL |
| 9 | L. Dinesh Singh | GM, MSPDCL |
| 10 | I. Sarat Singh | DGM, MSPDCL |
| 11 | N. Kunjeshore Singh | DGM, MSPDCL |
| 12 | L. Selungba Singh | DGM, MSPDCL |
| 13 | N. Purnima | Deputy Manager, MSPDCL |
| 14 | Indradeep Das | Consultant, CRISIL |
| 15 | Shiva Jena | Consultant, CRISIL |
| 16 | Th. Satyajit | AM, MSPDCL |
| 17 | Sh. Santosh Sharma | Manager, MSPDCL |
| 18 | Usham Rocky | Manager, MSPDCL |
| 19 | R.K. Robert | AM, MSPDCL |
| 20 | L. badal | DM, MSPDCL |
| 21 | Gangmei George | DM, MSPDCL |
| 22 | Ronex Oinam | AM, MSPDCL |
| 23 | Deminita Konsam | AM, MSPDCL |
| 24 | Hijam Romen | DM, MSPDCL |
| 25 | Deepak Okram | DM, MSPDCL |
| 26 | Laisham Rishikumar | AM, MSPDCL |
| 27 | Ksh. Kheljit Singh | AM, MSPDCL |
| 28 | H. Jiten | DM, MSPDCL |
| 29 | Y. Dayantakumar | Manager, MSPDCL |
| 30 | Ng. Sarat Singh | E.D., MSPCL |
| 31 | K. Sanatomba Singh | General Secretary, AMPCA |
| 32 | I. Botombi Singh | AMPCA |
| 33 | Chaoba Singh | AMPCS |

ANNEXURE – III

Table: Manipur - Expected Revenue from Existing Tariff effective from 01.04.2016

| S. No. | Category | Consumers | Contracted Load (in kW) | Annual energy Sales (in MU) | Sales/Consumer/Month (in kWh) | Existing Tariff | Revenue /month | Annual Revenue (in Rs lakh) | Average realisation (Rs/kWh) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Fixed Charge (Rs/kW) | Energy charge (Rs./kWh) | Total Fixed Charges (in Rs lakh) | Energy charge /Consumer (in Rs) | Total energy charge (in Rs lakh) | Total Revenue (in Rs lakhs) |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 |
| 1 | Domestic LT |  |  |  |  |  |  |  |  |  |  |  |  |
| 1) | KJ |  |  |  |  |  |  |  |  |  |  |  |  |
| i) | First 15 kWh | 25601 |  | 4 | 13.02 |  | 1.40 |  | 18.23 | 4.67 |  |  |  |
| iii) | Balance above 15 kWh | 8534 |  | 3 | 29.29 |  | 2.50 |  | 56.73 | 4.84 |  |  |  |
|  | Sub Total (1) | 34134 | 2008 | 7.00 | 17.09 | 20/connectn |  | 6.83 | 74.96 | 9.51 | 16.34 | 196.08 | 2.80 |
| 2) | Normal Domestic |  |  |  |  |  |  |  |  |  |  |  |  |
| i) | First 100 kWh | 197729 |  | 120.00 | 50.57 |  | 3.20 |  | 161.82 | 319.97 |  |  |  |
| ii) | Next 100 kWh | 76050 |  | 145.00 | 158.89 |  | 3.80 |  | 543.78 | 413.54 |  |  |  |
| iii) | Balance above 200 kWh | 30420 |  | 107.00 | 293.12 |  | 4.70 |  | 1137.66 | 346.08 |  |  |  |
|  | Sub Total (2) | 304198 | 368237 | 372.00 | 101.91 | 60 |  | 220.94 | 1843.26 | 1079.59 | 1300.53 | 15606.36 | 4.20 |
|  | Total Domestic | 338332 | 370245 | 379.00 | 93.35 |  |  | 227.77 | 1918.22 | 1089.10 | 1316.87 | 15802.44 | 4.17 |
| 2 | Commercial |  |  |  |  |  |  |  |  |  |  |  |  |
| a) | LT |  |  |  |  |  |  |  |  |  |  |  |  |
| i) | First 100 kWh | 8548 |  | 6.00 | 58.49 |  | 4.20 |  | 245.66 | 21.00 |  |  |  |
| ii) | Next 100 kWh | 2849 |  | 6.00 | 175.50 |  | 5.00 |  | 797.50 | 22.72 |  |  |  |
| iii) | Balance above 200 kWh | 2849 |  | 30.00 | 877.50 |  | 5.90 |  | 4917.25 | 140.09 |  |  |  |
|  | Sub Total LT | 14247 | 37785 | 42.00 | 245.67 | 80 |  | 30.23 | 5960.41 | 183.81 | 214.04 | 2568.48 | 6.12 |
| b) | Commercial HT | 15 | 1097 | 6.00 | 33333.33 | 100 | 5.70 | 1.10 | 189999.98 | 28.50 | 29.60 | 355.20 | 5.92 |
|  | Total Commercial | 14262 | 38882 | 48.00 | 280.47 |  |  | 31.33 | 195960.4 | 212.31 | 243.64 | 2923.68 | 6.09 |
| 3 | Public Lighting | 435 | 1144 | 5.00 | 957.85 | 65 | 5.50 | 0.74 | 5268.18 | 22.92 | 23.66 | 283.92 | 5.68 |
| 4 | Public Water Works |  |  |  |  |  |  |  |  |  |  |  |  |
| a) | PWW LT | 8 | 190 | 4.00 | 41666.67 | 100 | 5.50 | 0.19 | 229166.69 | 18.33 | 18.52 | 222.24 | 5.56 |
| b) | PWW HT | 170 | 21928 | 15.00 | 7352.94 | 100 | 5.00 | 21.93 | 36764.70 | 62.50 | 84.43 | 1013.16 | 6.75 |
|  | Total PWW | 178 | 22118 | 19.00 | 8895.13 |  |  | 22.12 | 265931.39 | 80.83 | 102.95 | 1235.40 | 6.50 |
| 5 | Irrigation & Agri |  |  |  |  |  |  |  |  |  |  |  |  |
| a) | Irr. & Agl LT | 46 | 268 | 1.00 | 1811.59 | 60 | 3.25 | 0.16 | 5887.67 | 2.71 | 2.87 | 34.44 | 3.44 |
| b) | Irr. & Agl HT | 20 | 993 | 1.00 | 4166.67 | 100 | 3.00 | 0.99 | 12500.01 | 2.50 | 3.49 | 41.88 | 4.19 |
|  | Total Irr. & Agl LT | 66 | 1261 | 2.00 | 2525.25 |  |  | 1.15 | 18387.68 | 5.21 | 6.36 | 76.32 | 3.82 |
| 6 | Industrial |  |  |  |  |  |  |  |  |  |  |  |  |
| a) | Micro & Small LT | 3335 | 18845 | 18.00 | 449.78 | 65 | 3.25 | 12.25 | 1461.79 | 48.75 | 61.00 | 732.00 | 4.07 |
| b) | Medium HT | 91 | 9338 | 4.00 | 3663.00 | 100 | 4.30 | 9.34 | 15750.90 | 14.33 | 23.67 | 284.04 | 7.10 |
| c) | Large HT | 48 | 2586 | 6.00 | 10416.67 | 100 | 5.00 | 2.59 | 52083.35 | 25.00 | 27.59 | 331.08 | 5.52 |
|  | Total Industrial | 3474 | 30769 | 28.00 | 671.66 |  |  | 24.18 | 69296.04 | 88.08 | 112.26 | 1347.12 | 4.81 |
| 7 | Bulk Supply HT | 1003 | 58755 | 95.00 | 7892.99 | 100 | 4.60 | 58.76 | 36307.75 | 364.17 | 422.93 | 5075.16 | 5.34 |
|  | Grand Total | 357750 | 523174 | 576.00 | 134.17 |  |  | 366.05 | 593069.65 | 1862.62 | 2228.67 | 26744.04 | 4.64 |

ANNEXURE - IV

Table: Manipur - Expected Revenue from Revised Tariff effective from 01.04.2017

| Sl. No. | Category | Consumers | Contracted Load (in kW) | Annual energy Sales (in MU) | Sales/Consumer/Month (in kWh) | Revised Tariff | Revenue /month | Annual Revenue (in Rs lakh) | Average realisation (Rs/kWh) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Fixed Charge (Rs/kW) | Energy charge (Rs./kWh) | Total Fixed Charges (in Rs lakh) | Energy charge /Consumer (in Rs) | Total energy charge (in Rs lakh) | Total Revenue (in Rs lakhs) |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 |
| 1 | Domestic LT |  |  |  |  |  |  |  |  |  |  |  |  |
| 1) | KJ |  |  |  |  |  |  |  |  |  |  |  |  |
|  | All units | 34134 | 2008 | 7.00 | 17.09 | 20/connectn | 1.60 | 6.83 | 27.34 | 9.33 | 16.16 | 193.92 | 2.77 |
| 2) | Normal Domestic |  |  |  |  |  |  |  |  |  |  |  |  |
| i) | First 100 kWh | 197729 |  | 120.00 | 50.57 |  | 3.30 |  | 166.88 | 329.97 |  |  |  |
| ii) | Next 100 kWh | 76050 |  | 145.00 | 158.89 |  | 4.00 |  | 565.56 | 430.11 |  |  |  |
| iii) | Balance above 200 kWh | 30420 |  | 107.00 | 293.12 |  | 5.10 |  | 1204.91 | 366.53 |  |  |  |
|  | Sub Total (2) | 304198 | 368237 | 372.00 | 101.91 | 60 |  | 220.94 | 1937.35 | 1126.61 | 1347.55 | 16170.60 | 4.35 |
|  | Total Domestic LT | 338332 | 370245 | 379.00 | 93.35 |  |  | 227.77 | 1964.69 | 1135.94 | 1363.71 | 16364.52 | 4.32 |
| 2 | Commercial |  |  |  |  |  |  |  |  |  |  |  |  |
| a) | LT |  |  |  |  |  |  |  |  |  |  |  |  |
| i) | First 100 kWh | 8548 |  | 6.00 | 58.49 |  | 4.50 |  | 263.21 | 22.50 |  |  |  |
| ii) | Next 100 kWh | 2849 |  | 6.00 | 175.50 |  | 5.50 |  | 865.25 | 24.65 |  |  |  |
| iii) | Balance above 200 kWh | 2849 |  | 30.00 | 877.50 |  | 6.60 |  | 5471.50 | 155.88 |  |  |  |
|  | Sub Total LT | 14247 | 37785 | 42.00 | 245.67 | 80 |  | 30.23 | 6599.96 | 203.03 | 233.26 | 2799.12 | 6.66 |
| b) | Commercial HT | 15 | 1097 | 6.00 | 33333.33 | 100 | 6.50 | 1.10 | 216666.65 | 32.50 | 33.60 | 403.20 | 6.72 |
|  | Total Commercial | 14262 | 38882 | 48.00 | 280.47 |  |  | 31.33 | 223266.61 | 235.53 | 266.86 | 3202.32 | 6.67 |
| 3 | Public Lighting | 435 | 1144 | 5.00 | 957.85 | 65 | 6.00 | 0.74 | 5747.10 | 25.00 | 25.74 | 308.88 | 6.18 |
| 4 | Public Water Works |  |  |  |  |  |  |  |  |  |  |  |  |
| a) | PWW LT | 8 | 190 | 4.00 | 41666.67 | 100 | 6.35 | 0.19 | 264583.35 | 21.17 | 21.36 | 256.32 | 6.41 |
| b) | PWW HT | 170 | 21928 | 15.00 | 7352.94 | 100 | 5.75 | 21.93 | 42279.41 | 71.87 | 93.80 | 1125.60 | 7.50 |
|  | Total PWW | 178 | 22118 | 19.00 | 8895.13 |  |  | 22.12 | 306862.76 | 93.04 | 115.16 | 1381.92 | 7.27 |
| 5 | Irrigation & Agri |  |  |  |  |  |  |  |  |  |  |  |  |
| a) | Irr. & Agl LT | 46 | 268 | 1.00 | 1811.59 | 60 | 3.25 | 0.16 | 5887.67 | 2.71 | 2.87 | 34.44 | 3.44 |
| b) | Irr. & Agl HT | 20 | 993 | 1.00 | 4166.67 | 100 | 3.15 | 0.99 | 13125.01 | 2.63 | 3.62 | 43.44 | 4.34 |
|  | Total Irr. & Agl LT | 66 | 1261 | 2.00 | 2525.25 |  |  | 1.15 | 19012.68 | 5.34 | 6.49 | 77.88 | 3.89 |
| 6 | Industrial |  |  |  |  |  |  |  |  |  |  |  |  |
| a) | Micro & Small LT | 3335 | 18845 | 18.00 | 449.78 | 65 | 3.50 | 12.25 | 1574.23 | 52.50 | 64.75 | 777.00 | 4.32 |
| b) | Medium HT | 91 | 9338 | 4.00 | 3663.00 | 100 | 4.50 | 9.34 | 16483.50 | 15.00 | 24.34 | 292.08 | 7.30 |
| c) | Large HT | 48 | 2586 | 6.00 | 10416.67 | 100 | 5.60 | 2.59 | 58333.35 | 28.00 | 30.59 | 367.08 | 6.12 |
|  | Total Industrial | 3474 | 30769 | 28.00 | 671.66 |  |  | 24.18 | 76391.08 | 95.50 | 119.68 | 1436.16 | 5.13 |
| 7 | Bulk Supply HT | 1003 | 58755 | 95.00 | 7892.99 | 100 | 5.00 | 58.76 | 39464.95 | 395.83 | 454.59 | 5455.08 | 5.74 |
|  | Grand Total | 357750 | 523174 | 576.00 | 134.17 |  |  | 366.05 | 672709.87 | 1986.18 | 2352.23 | 28226.76 | 4.90 |

# Text boxes

TARIFF ORDER

True up for FY 2014-15 and FY 2015-16, Review for FY 2016-17, Determination of Aggregate Revenue Requirement

&

Retail Tariff for FY 2017-18

FOR

MANIPUR STATE POWER Distribution COMPANY LIMITED

Petition (ARR & Tariff) No.2 of 2016

28th February, 2017

Joint electricity regulatory commission

For Manipur and Mizoram