CONTENTS

ORDER	1

1.	Introduction	6

1.1	JERC for Manipur and Mizoram (JERC, M&M)	6

1.2	Manipur State Power Company Ltd	8

2.	Summary of the ARR & Tariff Petition	9

2.1	Aggregate Revenue Requirement (ARR)	9

2.2	Target availability	9

2.3	Transmission Loss	10

2.4	Transmission ARR for MYT 2nd Control period from 2018-19 to FY 2022-2023 and transmission tariff proposal for FY 2018-19.	11

2.5	Rebate	11

2.6	Late Payment Surcharges	11

2.7	Prayer	12

3.	Brief outline of objections raised, response from MSPCL and Commission’s observation	13

3.1	Introduction:	13

3.2	Public Hearing:	13

3.3	Public Hearing Process	13

4.	MSPCL – An Overview	14

4.1	Background	14

5.	Provisional True up of ARR for FY 2016-17	16

5.1	Introduction	16

5.2	Transmission Loss	17

5.3	Energy to be Transmitted within the state	17

5.4	Operation and Maintenance Expenses	18

5.5	Capital Investment Plan	21

5.6	Depreciation	26

5.7	Interest and Finance Charges	28

5.8	Interest on Working Capital	29

5.9	Return on Equity (including Tax)	30

5.10	Non Tariff Income	31

5.11	Revenue from Operation	32

5.12	Aggregate Revenue Requirement	32

6.	Annual Performance Review of FY 2017-2018	34

6.1	Background	34

6.2	Transmission system availability	34

6.3	Transmission Losses	34

6.4	Energy to be Transmitted within the state	35

6.5	Operation and Maintenance Expenses	35

6.5.1	Employee Cost	35

6.5.2	Repair & Maintenance Expenses	36

6.5.3	Administration and General Expenses	38

6.5.4	Summary of O&M expenses	39

6.6	Capital Expenditure Plan for FY 2017-18	40

6.7	Depreciation	51

6.7.1	Gross Fixed Assets	51

6.7.2	Depreciation	52

6.8	Interest and Finance charges	53

6.9	Interest on working capital	54

6.10	Return on Equity	55

6.11	Non Tariff Income	56

6.12	Aggregate Revenue Requirement	56

7.	Determination of Transmission MYT ARR for Control Period  FY 2018-19 to 2022-2023	58

7.1	Introduction	58

7.2	Contracted Capacity in Manipur	59

7.3	Performance of Transmission System	61

7.3.1	Transmission Loss	61

7.4	Operation & Maintenance Expenses	62

7.4.1	Employee Cost	63

7.4.2	Repairs & Maintenance Expenses	68

7.4.3	Administration & General Expense	70

7.5	Summary of O&M expenses	72

7.6	Capital Investment Plan	73

7.7	Gross Fixed Assets (GFA)	89

7.8	Depreciation	92

7.9	Interest and Finance Charges	95

7.10	Interest on Working Capital	96

7.11	Return of Equity	97

7.12	Non tariff Income	99

7.13	Aggregate Revenue Requirement (ARR)	99

7.14	Transmission Tariff	101

7.15	Rebate	102

7.16	Late Payment Surcharges	102

7.17	Incentive	102

8.	Directives	104

Annexure - I	109

Annexure - II	123

LIST OF TABLES

Table 2.1: Aggregate Revenue Requirement for MYT 2nd Control Period FY 2018-19 to 2022-23 projected by the Petitioner	9

Table 2.2: Transmission Tariff proposed by MSPCL for FY 2018-19	11

Table 4.1: Transmission network as on 31.03.2017	15

Table 5.1: Energy transmitted for FY 2016-17	17

Table 5.2: Actual Employee Expenses for FY 2016-17	18

Table 5.3: Actual R&M Expenses for FY 2016-17	20

Table 5.4  R&M Expenses for FY 2016-17	20

Table 5.5: Actual A&G Expenses for FY 2016-17 as per Actual Figures	21

Table 5.6: O&M Expenses provisionally approved by the Commission for FY 2016-17 after True up	21

Table 5.7: Capital investment plan during FY 2016-17	22

Table 5.8: Capitalised Assets in FY 2016-17 furnished by MSPDCL as per actuals	24

Table 5.9: Capital Expenditure and Capitalisation for FY 2016-17 furnished by MSPCL as per actuals	25

Table 5.10: Capital Work in Progress for FY 2016-17 furnished by MSPCL as per actuals	26

Table 5.11: CWIP considered by Commission for FY 2016-17 after true up	26

Table 5.12: Depreciation approved by Commission for FY 2016-17 in Tariff Order dated 29.02.2018	27

Table 5.13: Actual Depreciation for FY 2016-17 furnished by MSPCL	27

Table 5.14: Depreciation approved by the Commission for FY 2016-17	28

Table 5.15: Interest on Working Capital for FY 2016-17	29

Table 5.16: Interest on Working Capital approved by the Commission for FY 2016-17	30

Table 5.17: RoE for FY 2016-17 furnished by MSPCL	30

Table 5.18: Non-Tariff Income for FY 2016-17 furnished by MSPCL	31

Table 5.19:  Annual Revenue Requirement for FY 2016-17 furnished by MSPCL	32

Table 5.20: Aggregate Revenue Requirement approved by the Commission for FY 2016-17 after true-up	33

Table 6. 1: Energy Requirement and Availability estimated by MSPCL for FY 2017-18	35

Table 6. 2: Employee cost for FY 2017-18 estimated by MSPCL	36

Table 6. 3: K factor for computation of R&M expense	37

Table 6. 4: R&M expense approved by the Commission for FY 2017-18	38

Table 6. 5: Proposed A&G Expenses of MSPCL for FY 2017-18	39

Table 6. 6: Proposed O&M Expenses of MSPCL for FY 2017-18	39

Table 6. 7: Summary of O&M Expenses approved by the Commission for FY 2017-18	39

Table 6. 8: Capital Expenditure for FY 2017-18estimated by MSPCL	41

Table 6. 9: CWIP, Capital Expenditure and Capitalisation in FY 2017-18 estimated by MSPCL	50

Table 6. 10: Gross Fixed Assets estimated by MSPCL	51

Table 6. 11: GFA approved by the Commission for FY 2017-2018 after review	52

Table 6. 12: Depreciation for FY 2017-18  estimated by MSPCL	52

Table 6. 13: Depreciation to be considered as estimated by MSPCL for FY 2017-18	53

Table 6. 14: Depreciation for FY 2017-2018  approved by the Commission after review	53

Table 6. 15: Interest and Finance Charges for FY 2017-18 estimated by MSPCL	54

Table 6. 16: Interest on Working Capital estimated by MSPCL for the FY 2017-18	54

Table 6. 17: Interest on working capital approved by the Commission for FY 2017-2018	55

Table 6. 18: Return on Equity estimated by MSPCL for FY 2017-2018	55

Table 6. 19: Non-Tariff Income for FY 2017-18	56

Table 6. 20: Aggregate Revenue Requirement approved by the Commission for FY 2017-18	57

Table 7.1:  Capacity Allocation to MSPDCL (in MW) from Generating Stations	59

Table7.2: Energy Allocation from Central Generating Stations approved by the Commission	60

Table7.3: Status of Metering projected by MSPCL	61

Table 7.4: Transmission loss trajectory for Second Control Period projected by MSPCL	61

Table7.5: Employee Cost projected by MSPCL for Control Period FY 2018-19 to FY 2022-23	65

Table 7.6: Cost of new employees proposed to be recruited in FY 2018-19	66

Table 7.7: Employee Cost projected by MSPCL during control period FY 2018-19 to FY2022-23	67

Table 7.8: Employee cost approved by the Commission for FY 2018-19 to FY 2022-23	68

Table 7.9: K factor for computation of R&M expenses	69

Table 7.10: Repairs & Maintenance Expense projected by MSPCL for FY 2018-19 to FY 2022-23	69

Table 7.11: Administrative & General Expenses projected by MSPCL for control period FY 2018-19 to FY 2022-23	71

Table 7.12: Summary of O&M expenses projected by MSPCL for Control period  FY 2018-19 to  FY 2022-23	72

Table 7.13: O&M expenses approved by the Commission for Control period FY 2018-19 to FY 2022-23	73

Table 7.14: MSPCL Transmission infrastructure snapshot	73

Table  7.15: Manipur State Peak Load details	73

Table 7.16: Proposed new projects for the Second Control Period FY 2018-19 to FY2022-23	75

Table 7.17: Current ongoing projects expected to be completed during the Second Control Period FY 2018-19 to FY 2022-23	80

Table 7.18: Year-wise on-going and new projects Capital Expenditure	87

Table 7.19: Year-wise Proposed Funding of Capital Expenditure	88

Table 7.20: Capital Expenditure & Proposed Capitalization projected by MSPCL	89

Table 7.21: Capital Expenditure Capitalization approved by the Commission during control period FY 2018-19 to FY 2022-23	89

Table 7.22: Gross Fixed Assets Projected by MSPCL for Control Period FY 2018-19 to FY 2022-23	91

Table 7.23: Gross Fixed Assets approved by the Commission for  Control period FY 2018-19 to FY 2022-23	92

Table 7.24: Depreciation for Second Control Period	94

Table 7.25: Proposed Depreciation for Second Control Period	94

Table 7.26: Depreciation approved by the Commission for Control Period FY  2018-19 To FY 2022-23	95

Table 7.27: Interest on Working capital projected by MSPCL for control period FY 2018-19 to FY 2022-23	96

Table 7.28: Interest on Working capital approved by the Commission for Control period FY 2018-19 to FY 2022-23	97

Table 7.29: Return on Equity Projected by MSPCL for control period FY 2018-19 to FY2022-23	98

Table 7.30: Return on Equity approved by the Commission for Control period FY 201819 to FY 2022-23	98

Table 7.31: Non-tariff Income Projected by MSPCL for Control Period FY 2018-19 to FY 2022-23	99

Table  7.32: Aggregate revenue Requirement projected by MSPCL Control period  FY 2018-19 to FY 2022-23	100

Table 7.33: ARR approved by the Commission for control period FY 2018-19 to FY 2022-23.	100

Table 7.34: Transmission Tariff projected by MSPCL for FY 2018-19	101

Table 7.35: Transmission Tariff approved by the Commission for FY 2018-19	102

ABBREVIATIONS

| Abbreviation | Description |
| --- | --- |
| A&G | Administrative and General |
| AAD | Advance Against Depreciation |
| ARR | Aggregate Revenue Requirement |
| CEA | Central Electricity Authority |
| CERC | Central Electricity Regulatory Commission |
| CWIP | Capital Work in Progress |
| DONER | Ministry of Development of North Eastern Region |
| DPS | Delayed Payment Surcharge |
| EA, 2003 | Electricity Act, 2003 |
| EDM | Electricity Department Manipur |
| EHT | Extra High Tension |
| FSA | Fuel Surcharge Adjustment |
| FY | Financial Year |
| GFA | Gross Fixed Assets |
| GOI | Government of India |
| HT | High Tension |
| IEGC | Indian Electricity Grid Code |
| ISGS | Inter State Generating Station |
| IR | Inter Regional |
| JERC | Joint Electricity Regulatory Commission for Manipur and Mizoram |
| kV | Kilovolt |
| kVA | Kilovolt-ampere |
| kW | kilowatt |
| kWh | kilowatt-hour |
| LT | Low Tension |
| MAT | Minimum Alternate Tax |
| MDI | Maximum Demand Indicators |
| MSPCL | Manipur State Power Company Limited |
| MSPDCL | Manipur State Power Distribution Company Limited |
| MUs | Million Units |
| MYT | Multi Year Tariff |
| NEC | North Eastern Council |
| NLCPR | Non Lapsable Central Pool of Resources |
| NLDC | National Load Despatch Centre |
| NTI | Non-Tariff Income |
| O&M | Operation and Maintenance |
| PGCIL | Power Grid Corporation of India Ltd |
| PLF | Plant Load Factor |
| POSOCO | Power System Operation Corporation Limited |
| PPA | Power Purchase Agreement |
| PWW | Public Water Works |
| R&M | Repair and Maintenance |
| RAPDRP | Restructured Accelerated Power Development and Return Programme |
| RoE | Return of Equity |
| SBAR | State Bank Advance Rate |
| SLDC | State Load Despatch Centre |
| T&D | Transmission and Distribution |
| UI | Unscheduled Interchange |
| RE | Revised Estimate |

JOINT ELECTRICITY REGULATORY COMMISSION

FOR MANIPUR AND MIZORAM

TBL Bhawan, 2nd to 5th Floor peter street,

E18, Khatla, Aizwal, Mizoram – 796001

Petition (ARR & Tariff) No. 3 of 2018

In the matter of

True up for FY 2016-2017, Review for FY 2017-18 and determination of Aggregate Revenue Requirement (ARR)  for MYT 2nd Control Period FY 2018-2019 to FY 2022-2023 and Transmission Tariff for FY 2018-19 for transmission of Power by the Manipur State Power Company Limited in the State of Manipur.

AND

Manipur State Power Company Ltd.						Petitioner

Present

Mr. Ngangom Sarat Singh

Chairperson

## ORDER

- The Manipur State Power Company Ltd (herein after referred to as MSPCL) is a deemed licensee in terms of section 14 of the Electricity Act 2003 (herein after referred to as Act), engaged in the business of, transmission and generation of electricity in the state of Manipur.

- Regulation 17 of JERC (M&M) MYT Regulations 2014, specify that the transmission licensee shall file ARR and Tariff Petition in all aspects along with requisite fee as specified in Commission’s fees, fines and charges regulations on or before 30th November of the current financial year. The MSPCL has requested for extension of time upto 15.01.2018 vide Letter No 26/2/ED (TECH)/MSPCL/ 2014/934-40 date 24.11.2017. However, the Commission had accorded extension only upto 20.12.2017. The MSPCL again requested for further extension vide Letter No 26/2/ED(TECH)/MSPCL/ 2014/4819-23 date 19.12.2017, and the Commission had accorded extension upto 15.01.2018. Accordingly the MSPCL has filed the petition for determination of ARR for the Second Control Period from FY 2018-2019 to FY 2022-2023 and transmission tariff for FY 2018-19 along with true up petition for FY 2016-17 and Annual performance review for FY 2017-18 on 16.01.2018 vide letter No.26/2/ED(TECH)/MSPCL/2014/1039-46, dated 16th January, 2018.

- ARR & Tariff Petition

The MSPCL in the petition has estimated ARR of Rs. 92.62 Crore, Rs.98.57 Crore, Rs.111.58 Crore, Rs. 123.99 Crore and Rs.135.45 Crore for FY 2018-19 to FY 2022-2023 respectively. As per Regulations 65.1(ii) of JERC for M&M (MYT) Regulations 2014, the transmission ARR shall be recovered as fixed monthly charges from all long term transmission users based on their share of transmission capacity in the total transmission capacity. Also in case the target availability is below normative availability of 98% then the transmission ARR shall be recovered on pro rata basis. Currently MSPCL has only one long term transmission customer which is distribution licensee, (MSPDCL). As such MSPCL has to recover the entire transmission ARR as fixed monthly charges from MSPDCL.

- Admission of Petition.

In the petition for ARR for MYT 2nd Control Period FY 2018-2019 to FY 2022-2023 and Transmission Tariff for FY 2018-19 filed by the MSPCL the commission observed that some crucial and vital information required as specified in Commission’s JERC (M&M) (MYT) Regulations 2014 is lacking. Therefore, the MSPCL was asked to submit the required information vide Commission’s letter No.H.20013/15/16-JERC, dated 17th January 2018 & 31st January 2018 .Pending receipt of additional information the ARR & Tariff petition was admitted on 19th January, 2018 and marked as Petition (ARR and Tariff) No.3 of 2018 to avoid delay in the process of ARR. The MSPCL has submitted some data/information/clarification, etc. vide its letter No. 26/2/ED(TECH)/MSPCL/2014/1092-4, dated 27th January, 2018 and letter No. 26/2/ED(TECH)/MSPCL/2014/5670-73, dated 6th February, 2018.

- True up of ARR for FY 2016-17

As per Regulation 10(2) and first proviso of JERC (M&M) MYT Regulations, 2014 the Licensee shall file an application for true up of the previous year along with audited annual accounts.  The MSPCL has submitted that since the audited annual accounts are not ready they are unable to file final true up petition and hence filed petition for provisional true up of FY 2016-17. As such the Commission is of the view that the impact of provisional true up will be considered only on submission of audited annual accounts for FY 2016-17.

- Annual performance review for FY 2017-18

Though the JERC for M&M (MYT) Regulations 2014 do not provide annual performance review the commission   has consider it appropriate to review the previous ARR with reference to Revised Estimate (RE), but, without changing the principles.  Accordingly review for FY 2017-18 is carried out.  As per review the ARR is reduced to Rs. 64.54 Cr as against Rs. 68.15 Cr approved in Tariff Order dated 28.02.2017.

- Public hearing process

The Commission directed the MSPCL to publish the summary of the ARR and Tariff proposal in an abridged form and manner as approved in accordance with section 64 of the Act and Regulation 17 of JERC for M&M (MYT) Regulations, 2014 to ensure public participation.

The public notice was published by Managing Director/MSPCL in the following newspapers inviting the public to submit their objections and suggestions on the petition on or before 05.02.2018. The Tariff Petition was also placed on the Website of MSPCL.

| SI. No. | Name of the Newspaper | Language | Date of Publication |
| --- | --- | --- | --- |
| 1 | The Sangai Express | English | 21st & 22nd January, 2018 |
| 2 | Poknapham | Manipuri | 21st & 22nd January, 2018 |

No objection/suggestion is received from the public.

- Notice for public hearing

The Commission to ensure transparency in the process of tariff determination and for providing proper opportunity to all stakeholders and general public for making suggestions/objections on the tariff petition and for convenience of the consumers and general public across the state, decided to hold the public hearing at the head quarters of the state.  Accordingly the commission published a notice in the following leading news papers giving intimation to the general public, interested parties and the consumers about the public hearing to be held at Imphal in Hotel Classic Grande, Imperial Hall on 20-02-2018.

| Sl. No. | Name of the news paper | Language | Data of Publication |
| --- | --- | --- | --- |
| 1 | Poknapham | Manipuri | 9th February, 2018 & 10th February 2018 |
| 2 | Imphal Free Press | English | 15th February, 2018 & 16th February 2018 |

- Public hearing

The public hearing was held as scheduled on 20.02.2018 at Hotel Classic Grande, Imperial Hall, Imphal. During public hearing each objector was provided a time slot for presenting before the Commission his/ her views on the Petition of MSPCL. The main issues raised by the objectors during the public hearing and corresponding response of MSPCL are briefly narrated in Chapter-3.

- Meeting of State Advisory Committee:

The proposal of MSPCL was also placed before the State Advisory Committee of Manipur in its 18th meeting held on 19.02.2018 at Hotel Classic Grande, Dynasty Hall, Imphal at 11.00 AM. The State Advisory Committee discussed the MYT ARR  for Control period FY 2018-19 to FY 2022-23 & Tariff proposal for FY 2018-19  of MSPCL. Minutes of the meeting are given in the Annexure-I.

- The Commission took into the consideration of the facts presented by MSPCL in its    petition and subsequent filings, the suggestions/ objections received from stake-holders, consumer organisations, general public and  state advisory committee and the response of the MSPCL to those suggestions/ objections for approval of ARR for FY 2018-19 to FY 2022-23 and tariff for FY 2018-19.

- Compliance of Directives:

The Commission has reviewed the directives issued earlier to MSPCL in the Tariff Orders for FY 2015-16 to FY 2017-18 and noted that some of the directives have already been complied with and hence dropped  and the directives which are not fully complied with and the remaining directives are consolidated and fresh directives are issued.

- In exercise of the powers vested under section 62 read with section 64 of the    Electricity Act 2003 and Regulation 16 of JERC (M&M) (Multi Year Tariff) Regulations, 2014 (herein after referred to as Tariff Regulations) and other enabling provisions in this behalf, the Commission issues this order approving ARR for MYT Second Control Period FY 2018-2019 to FY 2022-2023 and Transmission Tariff for FY 2018-19 for Transmission of electricity in the state of Manipur.

- This order is in Eight chapters as detailed below:

      - Chapter 1: Introduction

      - Chapter 2: Summary of ARR & Tariff petition for FY 2018-19 to FY 2022-23

      - Chapter 3: Brief outline of objections raised, response from MSPCL and Commission’s observation.

      - Chapter 4: MSPCL – An overview.

      - Chapter 5: Provisional True up for FY 2016-17

      - Chapter 6:Annual Performance Review for FY 2017-18

      - Chapter 7: Analysis and determination of ARR and transmission Tariff for   FY 2018-19 to FY 2022-2023 and transmission tariff for FY 2018-19.

      - Chapter 8: Directives.

- The MSPCL shall ensure implementation of the order from the effective date after issuance of a public notice, in such a font size which is clearly visible in two daily newspapers having wide circulation in the state within a week and compliance of the same shall be submitted to the Commission.

- This order shall be effective from 1st April, 2018 and shall remain in force till the next Tariff Order of the Commission.

(NGANGOM SARAT SINGH)

Chairperson

Place	: Aizawl

Date	: 12.03.2018

## Introduction

## JERC for Manipur and Mizoram (JERC, M&M)

In exercise of the powers conferred by the Electricity Act 2003, (hereinafter referred to as Act) the Government of India constituted Electricity Regulatory Commission for the States of Manipur and Mizoram to be known as “Joint Electricity Regulatory Commission for Manipur and Mizoram” vide Government of India Gazette (Extra Ordinary) Notification No. 23/3/2002 R&R dated 10/01/2005, (hereinafter referred to as Commission) as per the authorization given by the Government of Manipur and the Government of Mizoram vide Memorandum of Agreement dated 23.07.2004. The Commission constituted is a two-member body designated to function as an autonomous authority responsible for regulation of the power sector in States of Manipur and Mizoram. The powers and functions of the Commission are as prescribed in the Act. The head office of the Commission is presently located at Aizawl, the capital town of Mizoram. The Commission became functional w.e.f. 24th January 2008.

- In accordance with the Act, the Commission discharges the following functions:

- Determine the tariff for generation, transmission, distribution and wheeling of electricity, wholesale, bulk or retail, as the case may be, within the State:

Provided that where open access has been permitted to a category of consumers under Section 42 of the Act, the State Commission shall determine only the wheeling charges and surcharge thereon, if any, for the said category of consumers;

- Regulate electricity purchase and procurement process of distribution licensees including the price at which electricity shall be procured from the generating companies or licensees or from other sources through agreements for purchase of power for distribution and supply within the State;

- Facilitate intra-State transmission and wheeling of electricity;

- Issue licenses to persons seeking to act as transmission licensees, distribution licensees and electricity traders with respect to their operations within the State;

- Promote co-generation and generation of electricity from renewable sources of energy by providing suitable measures for connectivity with the grid and sale of electricity to any person, and also specify, for purchase of electricity from such sources, a percentage of the total consumption of electricity in the area of a distribution licensee;

- Adjudicate upon the disputes between the licensees and generating companies; and to refer any dispute for arbitration;

- Levy fee for the purposes of this Act;

- Specify State Grid Code consistent with the Grid Code specified under Clause (h) of sub-section (1) of Section 79 of the Act;

- Specify or enforce standards with respect to quality, continuity and reliability of service by licensees;

- Fix the trading margin in the intra-State trading of electricity, if considered, necessary;

- Discharge such other functions as may be assigned to it under the Act.

- Further, the Commission also advises the State Government on all or any of the following matters namely:

- Promotion of competition, efficiency and economy in activities of the electricity industry;

- Promotion of investment in electricity industry;

- Reorganization and restructuring of electricity industry in the State;

- Matters concerning generation, transmission, distribution and trading of electricity or any other matter referred to the State Commission by the State Government.

- The State Commission ensures transparency while exercising its powers and in discharging its functions.

- In discharge of its functions, the State Commission is guided by the National Tariff Policy (NTP) as brought out by GOI in compliance to Section 3 of the Act. The objectives of the NTP are to:

- Ensure availability of electricity to consumers at reasonable and competitive rates;

- Ensure financial viability of the power sector and attract investments;

- Promote transparency, consistency and predictability in regulatory approaches across jurisdictions and minimize perceptions of regulatory risks;

Promote competition, efficiency in operations and improvement in quality of supply.

## Manipur State Power Company Ltd

In pursuance Electricity Act 2003, herein after referred to as Act, the erstwhile Electricity Department, Manipur was unbundled and corporatized into 2 (two) state owned functionally independent successor entities (viz) (i) Manipur State Power Company Ltd (herein 	after referred has MSPCL) a deemed transmission licensee and (ii)  Manipur State Power Distribution Company Ltd (herein after referred has MSPDCL) a deemed distribution Licensee w.e.f 1st of Feb 2014, by a Gazette notification of the Government of Manipur vide Manipur state electricity reforms  Transfer Scheme 2013 (or Transfer scheme 2013) dated 31st December 2013.  MSPCL is the holding company and in charge of all transmission assets of 33 KV and above.

The objectives of MSPCL are:

- Transmission of power within the state for further use by the distribution licensee and open access consumers.

- Preparing and carrying out schemes for transmission of power upto 33 kV.

## Summary of the ARR & Tariff Petition

## Aggregate Revenue Requirement (ARR)

Petitioner’s submission

The MSPCL in its MYT petition has submitted the Aggregate Revenue Requirement for FY 2018-19, FY 2019-20, FY 2020-21, FY 2021-22 and FY 2022-23 at Rs 92.62 Crore, Rs. 98.57 Crore, Rs. 111.58 Crore, Rs. 123.99 Crore and Rs. 135.45 Crore respectively. The proposed ARR is shown in Table below:

Table 2.1: Aggregate Revenue Requirement for MYT 2nd Control Period FY 2018-19 to 2022-23 projected by the Petitioner

(Rs. Crore)

| Sl. No. | Particulars | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | R &M Expense | 15.37 | 19.40 | 24.30 | 27.79 | 29.23 |
| 2 | Employee Expense | 74.37 | 74.58 | 81.31 | 88.71 | 97.55 |
| 3 | A&G Expense | 4.30 | 4.61 | 4.94 | 5.30 | 5.68 |
| 4 | Depreciation | 1.04 | 1.33 | 1.64 | 1.87 | 1.97 |
| 5 | Interest on Loans | - | - | - | - | - |
| 6 | Return on Capital Employed | 1.56 | 1.56 | 1.56 | 1.56 | 1.56 |
| 7 | Interest on working capital | 4.28 | 5.08 | 6.11 | 7.04 | 7.73 |
| 8 | Income Tax | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 |
| 9 | Less: Non Tariff Income | 8.68 | 8.68 | 8.68 | 8.68 | 8.68 |
| 10 | Less: Income from other business | - | - | - | - | - |
| 11 | Less: Expenses Capitalized | - | - | - | - | - |
| 12 | Total | 92.62 | 98.57 | 111.58 | 123.99 | 135.45 |

(Source Table 53 of Petition)

## Target availability

Petitioner’s submission

As per Regulation 61 of JERC for M&M (MYT) Regulations 2014 the target transmission availability proposed for MYT Control period from 2018-19 to FY 2022-2023 for MSPCL is 98% and it is proposed that transmission ARR shall be recovered as fixed monthly charges from all users of long term transmission customers based on the share of transmission capacity in the total transmission capacity. Also in case of the target availability is below normative availability of 98%, then transmission ARR shall be recovered on pro rata basis. The MSPCL has projected the target availability at 98% for MYT second control period FY 2018-19 to FY 2022-23.

## Transmission Loss

Petitioner’s submission

MSPCL would like to submit that currently all the input and output points of transmission system are not metered and all the outgoing 11KV feeders as well as incoming 132KV lines in the state are not metered. As such, the transmission loss in the system cannot be measured for MSPCL at this point of time. MSPCL is making all efforts to complete the metering of all import and export points by the end of this financial year. Status of feeders where meters have already  been installed and the status of balance feeders are provided in the table below.

Table Status of metering in MSPCL

| Voltage level | Total Quantity Required | Quantity installed | Balance Quantity to be installed |
| --- | --- | --- | --- |
| 11KV Energy Meter | 382 | 259 | 123 |
| 33KV Energy Meter | 168 | 119 | 49 |
| 132KV Energy Meter | 76 | 43 | 33 |

However, in the absence of any base level of losses, the Commission had approved intra-state transmission loss of 3.6% on estimated basis for FY 2017-18. MSPCL requests the Commission to approve the transmission loss of 3.6% for FY 2018-19 as revising the same without measuring actual transmission losses would be  inappropriate. Further, MSPCL proposes to reduce losses by 0.1 % each year starting from FY 2019-20. MSPCL request the Commission to consider the following Transmission Loss trajectory for the Second Control Period.

|  | End of FY 2018-19 (Projected) | End of FY 2019-20 (Projected) | End of FY 2020-21 (Projected) | End of FY 2021-22 (Projected) | End of FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
| Transmission Losses | 3.6% | 3.5% | 3.4% | 3.3% | 3.2% |

## Transmission ARR for MYT 2nd Control period from 2018-19 to FY 2022-2023 and transmission tariff proposal for FY 2018-19.

The total ARR for MYT Control period FY 2018-19 to FY 2022-23 is proposed to be Rs. 92.62 Crore, Rs. 98.57 Crore, Rs. 111.58 Crore, Rs. 123.99 Crore and Rs. 135.45 Crore respectively. As per Regulation 65.1(ii) of JERC for M&M (MYT) Regulations 2014, the transmission ARR shall be recovered as fixed monthly charges from all users of long term transmission users based on the transmission capacity in the total transmission capacity.  In case the target availability is below normative availability of 98% then the transmission ARR shall be recovered on pro-rata basis. Currently MSPCL has only one long term customer which is the distribution licensee, i.e., MSPDCL. As such MSPCL has to recover the entire transmission ARR as fixed monthly charges from MSPDCL as detailed in Table below:

Table 2.2: Transmission Tariff proposed by MSPCL for FY 2018-19

(Rs. Crore)

| Sl. No. | Particulars | Unit |  |
| --- | --- | --- | --- |
| 1 | Transmission ARR to be recovered (if availability is equal or more than normative availability) | Rs. Cr | 92.62 |
| 2 | Transmission Tariff as Rs/Cr/Month | Rs. Cr | 7.72 per month |
| 3 | Average Transmission capacity | MW | 309.21 MW |
| 4 | Transmission Tariff for long term transmission users per MW of contracted capacity per month | Rs. Lakh | Rs. 2.50 Lakh per month per MW of contracted capacity |

## Rebate

As per JERC, M&M (MYT) Regulations 2014 on payment of bills of transmission charges through letter of credit on presentation, a rebate of 2% shall be allowed. Where payments are made subsequently through opening of letter of credit or otherwise, but within a period of one month of presentation of bills by the transmission licensee, a rebate of 1% shall be allowed.

## Late Payment Surcharges

As per JERC for M&M (MYT) Regulations, 2014 in case the payment of bills of capacity charges and energy charges by beneficiary (ies) is delayed beyond a period of one month from the data of billing, late payment surcharge at the rate of 1.25% per month shall be levied.

## Prayer

- MSPCL requests the Hon’ble Commission to:

- Admit the Multi Year Aggregate Revenue Requirement for Second Control Period i.e. FY 2018-19 to FY 2022-23 and the Transmission Tariff Proposal for FY 2018-19 as submitted herewith.

- Admit the Annual Performance Review of FY 2017-18 as submitted herewith.

- Admit the provisional true up for FY 2016-17 as submitted herewith.

- Condone any inadvertent omissions/errors/shortcomings and permit the Petitioner to add/ change/ modify/ alter this filing and make further submissions as may be required at a future date.

- Permit submission of any additional information required by the Commission during the processing of this Petition.

- And pass such other and further orders as are deemed fit and proper in the facts and circumstances of the case.

## Brief outline of objections raised, response from MSPCL and Commission’s observation

## Introduction:

On admitting the ARR for MYT Control period FY 2018-19 to FY 2022-23 and Tariff Petition for FY 2018-19, the Commission directed the MSPCL to make available the copies of petition to the general public, post the petition on their website and also publish the same in newspapers in abridged form and invite comments/objections/suggestions from them.

## Public Hearing:

In order to ensure transparency in the process of determination of tariff as envisaged in the Electricity Act, 2003, Public Hearing was held at Hotel Classic Grande Imperial Hall, Imphal on 20.02.2018 from 1:30 P.M. to 3:30 P.M.   List of members from the public and Consumers Association who attended the meeting together with the list of Officers of MSPCL who attended the Public Hearing are given in Annexure-II.

## 3.3	Public Hearing Process

No Objections are received either from the public or from Consumer’s Association.

## MSPCL – An Overview

## Background

Use of electricity in Manipur started in the year 1930 on commissioning of two micro hydel sets having capacity of 100kw and 56kw at Leimakong. Royal Palace and main areas in Imphal Town enjoyed electricity generated. During World War II two more DG sets of 62kw and 46kw capacity were installed.

To evacuate power from captive micro hydel power station, 20 km long 11 kV line between Imphal and Leimakong was constructed in the year 1930. The electricity generation transmission and distribution activity was managed by Manipur State HE Board. Subsequently electricity was kept under the administrative control of the Public Works Department till February, 1970. Owing to increased demand, 132 kV interstate transmission line from Imphal to Dimapur and 6.3MV A, 132/33 kV substation at Yurembam were commissioned in December 1981 to purchase power from Assam. The situation was further alleviated with commissioning of Loktak Hydel Electric Project of capacity 3x35 MW on Dt 4.8.1984.

During 1984 to 1996 number of central sector power projects were commissioned in North Eastern Region and Manipur State has a share of 7 to 8% and the peak demand increased to 200 MW.

After enactment of Electricity Act 2003 various reforms have been initiated in power sector and finally Electricity Department, Manipur (EDM) has been restructured into two separate entities from 1st February, 2014, viz.

- Manipur State Power Distribution Company Limited (MSPDCL)

- Manipur State Power Company Limited (MSPCL)

MSPCL is the transmission licensee of the State and is looking after transmission factor up to the level of 33 kV and also Generation function. It is also the holding company.

The following are the network details of MSPCL

- Leimatak, Imphal, Dimapur 132 kV Line.

- Leimatak, Jiribam 132 kV line.

Manipur, being a hilly state with its population unevenly dispersed and spread over remote corners, it is having large network of transmission and Sub transmission system.

The details of Transmission network as on 31.03.2017 is furnished in table below.

Table 4.1: Transmission network as on 31.03.2017

| Sl. No | Voltage | Transmission line | Substations (No’s) |
| --- | --- | --- | --- |
|  |  | Double (Ckm) | Single (Ckm) | No’s | Capacity (MVA) |
| 1 | 132 kV | 85.352 | 487.748 | 14 | 597 |
| 2 | 33kV | 43.159 | 1419.071 | 81 | 559.65 |

Transmission Loss

All incoming 132 kV feeders and outgoing 11 kV feeders are not fully metered. Hence the transmission loss cannot be measured at present. As such the MSPCL has estimated the transmission loss at 3.6%.

## Provisional True up of ARR for FY 2016-17

## Introduction

As per regulation 10.2 of JERC for Mizoram & Manipur, MYT Regulation  2014, the licensee shall file an application for true up of the previous year ARR together with audited annual accounts of the previous year. But the petitioner has filed true up petition for FY 2015-16 without audited accounts along with ARR & Tariff petition for FY 2017-18 and requested for provisional true up as the annual accounts are not audited accordingly provisional true up for FY 2015-16 was carried out vide Commission’s order dated 28.02.2017.

Petitioner’s submission

The tariff Order for FY 2016-17 for MSPCL was issued by the Commission on 29 February 2016 and subsequently Annual Performance Review (APR) for FY 2016-17 was undertaken by the Commission in its Tariff Order dated 28th February 2017. As MSPCL is filing for determination of ARR for MYT Second Control period, it is important that the actual figures of FY 2016-17 are considered for projecting the various components of ARR for the Second Control period. Therefore MSPCL is submitting for provisional truing-up of FY 2016-17 which is comparison of the actual performance and expenses of MSPCL vis-a vis the approved ARR for FY 2016-17 in the Tariff Order dated 28th February 2017. This exercise examines technical and financial performance of MSPCL in FY 2016-17 with figures approved for FY 2016-17 in the Tariff Order dated 29 February, 2016 and figures approved for FY 2016-17 in Annual performance review in the Order dated 28th February 2017. These aspects are discussed in the section below.

Commission’s Analysis

Under the circumstances explained supra by the MSPCL, the Commission undertakes the exercise of true up of FY 2016-17 provisionally.

## Transmission Loss

Petitioner’s submission

MSPCL  would  like  to  submit  that  currently  all  the  input  and  output  points  of transmission system are not metered and all the out-going 11 kV feeders as well as incoming 132 kV lines in the state are not metered.  As such, the transmission losses in the system cannot be measured for MSPCL at this point of time.  MSPCL is making all efforts to complete the metering of all Import and Export points by the end Financial Year FY 2018-19.

However, in the absence of any base level of losses, the Commission had considered intra-state transmission loss of 3.6% on estimated basis for FY 2016-17, MSPCL requests the Commission to approve the transmission loss of 3.6% for FY 2016-17 for true up.

Commission’s Analysis

In the absence of valid data for transmission loss calculation, the transmission loss at 3.6% as estimated by MSPCL is considered for true up.

## Energy to be Transmitted within the state

Petitioner’s Submission

MSPCL would like to submit that the approved energy quantum at the input of MSPCL network was 1022.66 MUs for the FY 2016-17 as per Tariff Order dated February 29, 2016. As against this, the actual input energy at the state periphery was around 1027.85 MUs.

Table 5.1: Energy transmitted for FY 2016-17

(MU)

| Particulars | Approved vide Tariff Order dated February 29, 2016 | Actual for FY 2016-17 |
| --- | --- | --- |
| Energy at state periphery of Manipur | 1022.26 | 1027.85 |

Commission’s Analysis

As per MSPDCL true up for FY 2016-17, the energy available at state periphery is 1042.27 MU (vide Table No. 5.10 of MSPDCL True-up Order)

The Commission approves energy requirement during FY 2016-17 at 1042.27 MU.

## Operation and Maintenance Expenses

Petitioner’s submission

MSPCL submitted that the Operation and Maintenance (O&M) Expenses comprises of the following elements:

- Employee Expenses

- Repair and Maintenance (R&M) Expenses

- Administrative and General (A&G) Expenses

  - Employee Expenses

The breakup of actual employee cost of MSPCL in FY 2016-17 is provided below:

Table 5.2: Actual Employee Expenses for FY 2016-17

(Rs. Crore)

| Employee Expenses | Actual for FY 2016-17 |
| --- | --- |
| Pay Band | 11.13 |
| Grade Pay | 2.59 |
| D.A. | 14.74 |
| H.R.A. | 1.25 |
| SCA | 1.34 |
| TA | 0.74 |
| Spl. Pay/ Cy All | 0.15 |
| NPS Contribution | 1.27 |
| Work Charge and Muster Roll staff | 3.05 |
| Grand Total | 36.28 |

The actual employee expense incurred during FY 2016-17 is Rs. 36.28 Crore as against the approved employee cost of Rs. 38.74 Crore in the APR for FY 2016-17 vide Order dated 28th February 2017. Though the recruitments proposed in FY 2014- 15 and FY 2015-16 were delayed due to administrative reasons; MSPCL was able to recruit 1043 employees in FY 2016-17 taking the total employee count from 690 in FY 2015-16 to 1688 by the end of FY 2016-17. The actual closing employee number is higher than approved number of employees considered by the Commission in APR dated 28th February 2017. However, the actual employee cost for FY 2016-17 is lower than the approved employee cost as per the Annual Performance Review for FY 2016-17. Considering the actual shortage of manpower faced by the MSPCL as also highlighted in the previous petitions, the Hon’ble Commission is requested to consider the actual employee expenses of Rs. 36.28 Crore  as proposed for truing-up of FY 2016-17.

Accordingly, the Hon’ble Commission may consider the Employee Expenses amounting to Rs 36.28 Crore for truing up of FY 2016-17.

Commission’s Analysis

The Commission provisionally approves employee expenses at Rs. 36.28 Crore for FY  2016-17 after true up.

  - Repair & Maintenance Expenses

These expenses include expense on repair and maintenance of Plant and Machinery, Transformers, Lines, cable network, vehicles, office equipment, etc. It is important for MSPCL to incur the R&M expenses in order to maintain and strengthen the system for quality of power supply in the region in order to ensure consumer satisfaction and also maintain the regulatory norm of system availability of at least 98%.

It is submitted that the asset base of MSPCL has increased multi-fold in the last 2-3 years from the base levels of FY 2013-14. From an opening GFA of Rs. 194.09 Cr. in FY 2014-16, the closing assets for FY 2016-17 is Rs. 834.83 Cr., an addition of approx.. Rs. 640.74 Cr. in the total GFA of MSPCL, which includes capitalization of CWIP as well as assets transferred from MSPDCL to MSPCL in accordance with the transfer scheme.

MSPCL would like to submit that the repair and maintenance expenses are directly related to the quantum of gross fixed assets. In FY 2016-17, MSPCL submits that there has been an addition of Rs. 327.63 Cr. in gross fixed assets which includes commissioning of ongoing works to the tune of Rs. 125.95 Crore and transfer of left over 33kV substations from MSPDCL in line with the transfer scheme. Therefore, considering the large additions in the gross fixed assets, the expenses required to undertake the repairs and maintenance has increased proportionately. It is submitted that MSPCL actual R&M expenses of Rs. 7.60 Cr. for FY 2016-17 has been higher as compared with the approved R&M expense of Rs. 7.04 Cr. in the Annual Performance Review of FY 2016-17. As such, the Commission is requested to approve the R&M expenses based on actual since the same is justified considering the increase in asset base of MSPCL.

Table 5.3: Actual R&M Expenses for FY 2016-17

(Rs. Crore)

| S.N. | Particulars | Actual |
| --- | --- | --- |
| 1 | Plant and Machinery | 2.56 |
| 2 | Building | 5.05 |
| 3 | Total | 7.60 |

Table 5.4  R&M Expenses for FY 2016-17

(Rs. Crore)

| Particular | Approved vide Tariff Order dated 29 Feb, 2016 | Approved vide Annual Performance Review dated 28 Feb, 2017 | Actual as incurred by MSPCL |
| --- | --- | --- | --- |
| R&M Expenses | 4.60 | 7.04 | 7.60 |

Accordingly, the Hon’ble Commission may consider the R&M Expenses amounting to Rs 7.60 Crore for FY 2016-17.

Commission Analysis

The Commission provisionally approves R& M expenses at Rs. 7.60 Crore for

FY 2016-17  after true up

  - Administrative and General Expenses

Administrative and General (A&G) expenses comprise of various sub-heads including the following:

- Travel and conveyance expenses

- Hydel investigation expense

- Electricity and Telephone charges

- Consultancy and regulatory fees

- Office expenses on IT equipments, fittings etc

- Publication expenses

- Other administration expenses

In its order dated 29th February 2016, the Commission approved the Administration & General expenses at Rs. 3.22 Crore for FY 2016-17 as projected by MSPCL which was revised to Rs. 3.57 Cr. in the APR for FY 2016-17. The actual A&G expenditure for FY 2016-17 is Rs. 3.21 Cr.. The details of A&G expense for FY 2016-17 are as below:

Table 5.5: Actual A&G Expenses for FY 2016-17 as per Actual Figures

(Rs. Crore)

| Particulars | Actual as incurred by MSPCL |
| --- | --- |
| Telephone, Postage, Telegram & Telex Charges | 0.01 |
| Vehicle Expenses | 0.72 |
| TA / DA / Travel Expenses | 0.39 |
| Printing and Stationery | 0.08 |
| Advertisement Expenses | 0.10 |
| Electricity Charges to Offices | 0.06 |
| Miscellaneous Expenses, Meetings, Seminars | 0.28 |
| Legal Charges | 0.08 |
| Auditor's Fee, Consultants, License | 0.86 |
| Vehicle Running Expenses Truck/ Delivery Van | 0.40 |
| Fabrication Charges, Furniture, Local Purchase | 0.23 |
| Total | 3.21 |

  - Abstract  of O&M Expenses

Table 5.6: O&M Expenses provisionally approved by the Commission for FY 2016-17 after True up

(Rs. Crore)

| Sl. No | Particulars | Approved by the Commission with T.O dated 27.2.2016 | Actuals furnished by MSPC L | Now provisionally approved by the Commission |
| --- | --- | --- | --- | --- |
| 1 | Employee expenses | 38.74 | 36.28 | 36.28 |
| 2 | R& M expenses | 7.04 | 7.60 | 7.60 |
| 3 | Administration & General Expenses | 3.57 | 3.21 | 3.21 |
| 4 | Total | 49.35 | 47.09 | 47.09 |
| 5 | Expenses capitalised | 3.60 | 3.05 | 3.05 |
| 6 | Net O& M expenses | 45.75 | 44.04 | 44.04 |

Commission’s Analysis

The commission provisionally approves O&M expenses of Rs. 44.04 Crore after true up .

## Capital Investment Plan

Petitioner’s Submission

The actual progress of various capital expenditure schemes in FY 2016-17 are given below.

Table 5.7: Capital investment plan during FY 2016-17

(Rs. Crore)

| S. No | Particulars | Capital Expenditure |
| --- | --- | --- |
| 1 | Installation of 2*12.5 MVA, 132/33 KV Sub substation at Moreh. | 3.00 |
| 2 | Augmentation of Rengpang 132/33 KV SS single phase trf. | 3.94 |
| 3 | Installation of 2*12.5 MVA, 132/33 KV at Hundung. | 5.99 |
| 4 | Installation of 2*20 MVA, 132KV SS along with associated 132 KV LILO and related civil works at Thoubal District on turnkey basis. | 6.00 |
| 5 | Installation of 2*12.5 MVA, 132/33 KV SS at Thanlon. | 1.57 |
| 6 | Installation of 2*12.5 MVA, 132/33 KV Sub Station along its associated 132 KV line and related works at Tipaimukh. | 24.75 |
| 7 | Installation of 2*20 MVA, 132 KV Sub Station along the associated 132 KV line and related civil works at Elangkhangpokpi. | 21.40 |
| 8 | Construction of 400 KV line on DC towers initially charged at 132 KV from Yurembam to Thoubal via Nambol. | 113.66 |
| 9 | Construction of 400/132 KV SS at Thoubal (New) on turnkey basis. | 47.36 |
| 10 | Up gradation of 33/11 KV substation at Khoupum in Tamenlong District by installing 2*2.5 MVA transformer. | 1.80 |
| 11 | Construction of 33/11 KV SS at Thoubal Leishangthem | 0.11 |
| 12 | Erection of 33 KV feeders from Power Grid SS to Yurembam | 9.22 |
| 13 | Installation of 2*5 MVA, 33/11 KV Sub Station along with associated 33 KV line and related works at Power House site of LDS HE project on turnkey basis. | 2.80 |
| 14 | Installation of 33/11 KV SS at Poayi in Ukhrul. | 1.00 |
| 15 | Installation of 2*2.5 MVA, 33 KV SS and related civil works at Mao Senapati district on turnkey basis. | 2.80 |
| 16 | Installation of 2*2.5 MVA, 33 KV SS and related civil works at Mayangkhang Senapati District on turnkey basis. | 2.80 |
| 17 | Installation of 2*2.5 MVA, 33 KV SS and related civil works at Kasom Khullen Ukhrul dist. On turnkey basis. | 4.87 |
| 18 | Installation of 2*2.5 MVA,33 KV SS and related civil works at Phungyar, Ukhrul Dist. On turnkey basis. | 5.37 |
| 19 | Installation of 33/11 KV SS at Thuyeng at Senapati. | 1.00 |
| 20 | Installation of 2*5MVA, 33/11 KV SS along with associated 33 KV line & related works at Gumnom in Ukhrul District. | 3.74 |
| 21 | Installation of 2*2.5 MVA, 33/11KV SS along with the associated 33 KV line & related works at Khongjom in Imphal West Dist. | 0.03 |
| 22 | Construction of 132 KV link transmission line for evacuation of power from 400/132 KV Sub-Station at Thoubal to 132 KV Sub Station at Moreh on the 132 KV line from Kakching to Moreh on Turnkey basis. | 12.62 |
| 23 | Re-stringing and strengthening of 33 KV line from Karong to Tadubi. | 1.01 |
| 24 | Construction of 132 KV link transmission line for evacuation of Power from 400/132 KV Sub-Station at Thoubal to 132 KV Sub Station at Kongba, Yaingangpokpi and Hundung on the existing 132 KV line from Kongba to Kakching on turnkey basis. | 5.16 |
| 25 | Stringing of 132 KV single circuit line (2nd circuit) on double circuit towers from kakching to CC Pur. | 1.50 |
| 26 | Khangabok Moirangpalli Bazar ( purchase of land) | 0.11 |
| 27 | Construction of 33 KV DC line on steel tubular pole from 132/33 KV SS Thoubal to 33/11 KV SS Thoubal(Old). | 3.92 |
| 28 | App. Road Drain 33/11 KV SS Nilakuthi . | 0.17 |
| 29 | Godown 132/33 KV SS Ningthoukhong. | 0.18 |
| 30 | Store Room 33/11KV Nilakuthi. | 0.02 |
| 31 | Construction of 132 KV transmission line from Yurembam to Yaingangpokpi. | 5.20 |
| 32 | Initial Payment of inception report for assessment of Hydro Power Potential & physical marking of the identified Projects. | 0.18 |
| 33 | Payment of Interest on REC Loan. | 5.65 |
| 34 | Construction of 132 KV link transmission line for evacuation of power from 400/132 KV SS at Thoual to 132 KV SS at Kakching and chandel on the existing 132 KV line from Kongba to Kakching. | 5.00 |
| 35 | Re-stringing & strengthening of 33KV line from Kakching to Tengnoupal. | 0.87 |
| 36 | Construction of compound wall for 33/11KV SS Bishnupur (Northern side) 0m. To 85m. | 0.16 |
| 37 | Construction of compound wall for 33/11KV SS Bishnupur (Northern side) 85m. To 172m. | 0.16 |
| 38 | Construction of compound wall for 33/11KV SS Bishnupur (Eastern side 0m.to 92m. | 0.17 |
| 39 | Re-construction of security brick compound fencing for 33/11KV SS, Mongsangei (Eastern side 0m.to 85m. | 0.19 |
| 40 | Re-construction of security brick compound fencing for 33/11KV SS, Mongsangei (Eastern side 85m.to 144m.) | 0.17 |
| 41 | Re-construction of security brick compound fencing for 33/11KV SS,Moirang Khunou (Southern side 0m.to 77m.) | 0.17 |
| 42 | Re-construction of security brick compound fencing for 33/11KV SS, Moirang Khunou (Southern side 77m.to 132m.) | 0.12 |
| 43 | Re-construction of compound Fencing for 33/11KV SS Moirang(western side.) | 0.17 |
| 44 | Construction of security compound wall for 33/11KV SS at Umathel (New Chayang) Western side length 60m. | 0.12 |
| 45 | Renovation of control room building for 33/11KV SS, Namarei | 0.10 |
| 46 | Renovation of control room building for 33/11KV SS, Thinkew | 0.12 |
| 47 | Construction of compound fencing for 33/11KV SS, NewLamka. | 0.15 |
| 48 | Construction of retaining wall below switchyard area Eastern side for 33/11 KV SS control room building at Khengjang. | 0.16 |
| 49 | R & Modernization of 132 KV SS at Yurembam. | 2.58 |
| 50 | Construction of 132KV DC strung on DC tower from 132 KV Yurembam to Yurembam SS (PGCIL) | 2.21 |
| 51 | Augmentation of Jiribam ,132/33 KV SS by installing 1*20 MVA tfr. | 0.80 |
| 52 | R & Modernization of132/33 KV SS located a Karong Phase-II | 1.23 |
| 53 | Construction of 132 KV single circuit line (2nd Ckt) on double CKT towers from Leimatak Power House(NHPC). | 3.92 |
| 54 | Construction of 132 KV single circuit transmission line from Kakching o Chandel. | 3.08 |
| 55 | R & M of 132 KV SS at Yaingangpokpi. | 0.17 |
| 56 | Erection & installation of equipment such as 33 KV CT,SF6 Breakers, Isolators & LA along with civil works & installation of IEI inside the control room building at Kangpokpi. | 0.14 |
| 57 | Installation of Internal electrification inside the control room building of 33/11 KV SS at Tadubi. | 0.08 |
| 58 | Construction of 132 KV looping in looping out and transmission line at Kongba. | 0.75 |
| 59 | Supply of Transformer 9 nos. | 4.97 |
| 60 | Grant for Work Charge & Muster Roll | 3.50 |
| 61 | Less: Agency Charges by MSPCL | 5.24 |
|  | Total Capital Expenditure | 324.96 |

The Commission had approved a total capital investment of Rs. 608.32 Crore for FY 2016-17 in the MYT Order keeping in view the expansion/augmentations and strengthening of the system for handling increased load and also ensuring better quality of supply and network reliability to the consumers. Subsequently, in the Tariff Order for FY 2017-18, the approved capital expenditure for FY 2016-17 was revised to Rs. 485.59 Cr. based on the progress of schemes. Against the approved capital expenditure, MSPCL has incurred actual capital expenditure of Rs. 324.96 Cr. during FY 2016-17.

In case of asset capitalization, the Commission had approved Rs. 460.84 Crores FY 2016-17 which was later revised to Rs. 387.56 Cr. in the APR. MSPCL submits that the actual capitalization is Rs. 327.63 Cr., details of which are provided in the table below:

Table 5.8: Capitalised Assets in FY 2016-17 furnished by MSPDCL as per actuals

(Rs.Crore)

| S.N. | Name of Project | Cost of Project |
| --- | --- | --- |
| I 132 kV System |
| 1 | Constn. of 132 kV S/C line Yurembam to Yaingangpokpi(SPA) | 35.23 |
| 2 | Installation of 132/33 KV S/S at Hundung (Ukhrul) & its associated line(SPA) | 50.21 |
| 3 | Re-stringing of 132 KV line from Leimatak to Jiribam | 2.77 |
| 4 | R & M of 132/33 kV sub-station at Yurembam (SPA/NEC) | 44.04 |
| 5 | Installation of 132/33 kV S/S at Chandel with associated 132 KV line(NLCPR) | 34.50 |
| 6 | Renovation & Modernisation of three nos. of 132/33 kV S/S at Kakching, Karong & Churachandpur(NLCPR) | 54.99 |
| 7 | Construction of 132 kV link T/L from 400/132 kV sub-station, Thoubal to 132 kV sub-stations at Kakching & Chandel on existing Kongba to Kakching 132 kV T/L. | 7.98 |
| 8 | Construction of 132 kV link T/L from 400/132 kV sub-station, Thoubal to 132 kV sub-stations at Moreh on Kakching to Moreh 132 kV T/L | 22.34 |
|  | Sub-Total: | 252.04 |
| II 33 kV System |
| 1 | Installation of 33/11 kV sub-station at Chakpikarong(NLCPR) | 11.49 |
| 2 | Installation of 33/11 kV S/S at Ukhrul Khunjao(NLCPR) | 9.42 |
| 3 | Installation of 33/11 kV S/S at Chandel (NEC ) | 4.78 |
| 4 | Erection of 33 kV feeders from Yurembam POWERGRID sub- station(SCA) | 21.43 |
| 5 | Installation of 33/11 KV (2x1 MVA) S/S at Gelnel(NLCPR) | 7.81 |
| 6 | Installation of 33/11 kV sub-station at Phungyar with associated 33 kV line | 10.45 |
| 7 | Installation of 33/11 kV sub-station at Mao with associated 33 kV line(NEC) | 10.21 |
|  | Sub-Total: | 75.59 |
|  | Total Capitalization: | 327.63 |

A summary of the actual capital expenditure and capitalization as against that approved by the Commission are summarized in table below:

Table 5.9: Capital Expenditure and Capitalisation for FY 2016-17 furnished by MSPCL as per actuals

(Rs. Crore)

| Sl. No | Particulars | Approved vide Tariff Order dated February 29, 2016 | Approved in APR for FY 2016-17 dated 28 February 2017 | Actual as for FY 2016-17 |
| --- | --- | --- | --- | --- |
| 1 | Capital Expenditure | 608.32 | 485.59 | 324.96 |
| 2 | Capitalisation | 460.84 | 387.56 | 327.63 |

Based on the actual capital expenditure and capitalization amount for FY 2016-17, the details of CWIP are as below:

Table 5.10: Capital Work in Progress for FY 2016-17 furnished by MSPCL as per actuals

(Rs. Crore)

| S. No | Particulars | Approved vide tariff Order dated February 29, 2016 | Actual as for FY 2016-17 |
| --- | --- | --- | --- |
| 1 | CWIP Opening Balance | 269.01 | 439.52 |
| 2 | Capital Investment | 608.32 | 324.96 |
| 3 | Total | 877.33 | 764.48 |
| 4 | Investment Capitalized | 460.84 | 324.58 |
| 5 | O&M Expenses Capitalized | 0.91 | 3.05 |
| 6 | CWIP Closing Balance | 415.58 | 436.85 |

Commission’s Analysis

As verified from the annual accounts for FY 2015-16, the closing CWIP is Rs. 329.63 Cr, which is considered as opening CWIP for FY 2016-17. As regards O & M expenses capitalization of Rs. 3.05 Crore, this will not feature in CWIP but should be directly accounted for in GFA.  Accordingly the CWIP is revised as detailed in the table below.

Table 5.11: CWIP approved by Commission for FY 2016-17 after true up

(Rs. Crore)

| SI. No. | Particulars | FY 2016-17 |
| --- | --- | --- |
| 1 | Opening Balance | 329.63 |
| 2 | Capital Investment | 324.96 |
| 3 | Investment capitalised | 324.58 |
| 4 | Closing CWIP | 330.01 |

The Commission provisionally approves capital investment of Rs. 324.96 Crore and capitalisation of Rs. 324.58 for FY 2016-17 after true up.

## Depreciation

As per JERC MYT regulations 2014, the depreciation is charged on the basis of straight-line method, on the GFA in use at the beginning of the year and addition in assets during the financial year. The depreciation is based on the original cost of the Gross Fixed Assets.

Further, as per the guidelines of Institute of Chartered Accountant of India (ICAI), which is Accounting Standard 12, depreciation should not be claimed as net expenditure for assets funded through government grants.  In MSPCL, most of the funding is through government grants and therefore, depreciation shall not be included under ARR on the assets funded through government grants.   This is because MSPCL is not required to repay or recover the amount received as grants from the Government.

The actual depreciation is different from the approved values because of the difference in the actual asset base as against the approved values of the asset base.

Table 5.12: Depreciation approved by Commission for FY 2016-17 in Tariff Order dated 29.02.2018

(Rs. Crore)

| S.N. | Particulars | Approved by Commission during APR for FY 2016-17 |
| --- | --- | --- |
| 1 | Opening GFA | 618.45 |
| 2 | Additions during the year | 391.16 |
| 3 | Closing GFA | 1009.61 |
| 4 | Average GFA | 814.03 |
| 5 | Average rate depreciation | 5.14% |
| 6 | Total Depreciation | 41.84 |
| 7 | Percentage of assets on which depreciation is allowed | 1.50% |
| 8 | Depreciation Allowed | 0.57 |

Table 5.13: Actual Depreciation for FY 2016-17 furnished by MSPCL

(Rs. Crore)

| Particular | FY 2016-17 | Depreciation Rate | Depreciation |
| --- | --- | --- | --- |
|  | Opening | Addition | Closing | Average |  |  |
| Land & Land Development | 9.41 | 6.08 | 15.48 | 12.4 | 0.00% | - |
| Plant & Machinery | 470.89 | 304.17 | 775.06 | 623.0 | 5.28% | 32.89 |
| Building | 25.24 | 16.31 | 41.55 | 33.4 | 3.34% | 1.12 |
| Furniture & Fittings | 0.44 | 0.28 | 0.72 | 0.6 | 6.33% | 0.04 |
| Computer | 0.50 | 0.32 | 0.83 | 0.7 | 15.00% | 0.10 |
| Office Equipments | 0.08 | 0.05 | 0.13 | 0.1 | 6.33% | 0.01 |
| Vehicles | 0.64 | 0.41 | 1.05 | 0.8 | 9.50% | 0.08 |
| Total | 507.20 | 327.63 | 834.83 | 671.0 |  | 34.23 |
| Percentage of assets non-funded through Grants | 1.5% |
| Depreciation claimed for true-up | 0.51 |

Commission’s Analysis

As verified from annual accounts for FY 2015-16, the closing GFA is Rs. 523.41 Cr. Pending furnishing of audited accounts for FY 2016-17, Rs. 523.41 Cr is considered as opening GFA for FY 2016-17 and depreciation worked out as detailed in table below:

Table 5.14: Depreciation approved by the Commission for FY 2016-17

(Rs. Crore)

| SI. No. | Particulars | 2016-17 |
| --- | --- | --- |
| 1 | Opening GFA | 523.41 |
| 2 | Additions during FY 2016-17 | 324.58 |
| 3 | Expenses capitalised | 3.05 |
| 4 | Closing GFA (1+2+3) | 851.04 |
| 5 | Average GFA | 687.23 |
| 6 | Rate of Depreciation | 4.57% |
| 7 | Depreciation | 31.41 |
| 8 | Depreciation allowed at 1.5 % | 0.47 |

The Commission provisionally approved depreciation of Rs. 0.47 Cr for FY 2016-17 after True up.

## Interest and Finance Charges

The entire capital expenditure of MSPCL since its inception has been funded by the State Government through grants from Central Government Ministries and Agencies like Ministry of Power (MoP) through schemes of NEC, NLCPR or through State Plan Scheme. Therefore, the utility does not have any liabilities on account of long term loans.

In the FY 2016-17, MSPCL has taken a loan of Rs. 150 Crores from REC to expedite the projects which would have been delayed because of slow release of funds from the State Government. The principal amount of the loan shall be paid as grants from the State Government in the ensuing years and the interest on the loans shall also be recovered from State Government as capital grants (plan component) being interest during construction. MSPCL has to pay the loan in 3 equal instalments in the next 4 years with a moratorium of 1 year.

Hence, there is no interest and finance charges approved by the Hon’ble Commission during FY 2016-17 and actual interest and finance charges claimed for truing-up of FY 2016-17 is also NIL.

Commission’s Analysis

As there is no loan liability the Commission considers no Interest and Finance charges for FY 2016-17 after true-up.

## Interest on Working Capital

Petitioner’s Submission

- As per the JERC MYT Regulations 2014, MSPCL is entitled to claim interest on working capital as per the norms provided. The norms state that the working capital shall cover the following:

  - Operation and maintenance expenses for one month; plus

  - Maintenance spares at one (1) per cent  of  the  historical  cost escalated at 6% from the date of commercial operation; plus

  - Receivables equivalent to one (1) month of transmission charges calculated on target availability level; minus

  - Amount, if any, held as security deposits except the security deposits held in      the form of Bank Guarantee from Transmission System Users.

Interest shall be allowed at a rate equal to the State Bank Advance Rate (SBAR) as on 1st April of the financial year in which the Petition is filed.

The interest rate has been assumed by MSPCL to be 14.05% based on the Advance Rate of SBI applicable on 1st April 2016, as per Regulations. Based on the regulations, the normative working capital requirement and interest thereon is computed as per the table below:

Table 5.15: Interest on Working Capital for FY 2016-17

(Rs. Crore)

| S. No | Particulars | Approved vide Tariff Order dated February 29, 2016 | Approved vide APR dated Feb 28, 2017 | Actual as proposed by MSPCL |
| --- | --- | --- | --- | --- |
| 1 | O&M Expenses for one month | 3.24 | 4.11 | 3.92 |
| 2 | Maintenance of Spares (1% of GFA) | 7.55 | 8.14 | 7.21 |
| 3 | Receivables of 2 months | 2.89 | 3.30 | 2.90 |
| 4 | Total working capital | 13.68 | 15.55 | 14.03 |
| 5 | Rate of interest | 14.75% | 14.05% | 14.05% |
| 6 | Interest on Working Capital | 2.02 | 2.18 | 1.97 |

Commission’s Analysis

Maintenance of spares is calculated on opening GFA of Rs.523.41 Crore.

Accordingly the interest on Working Capital is calculated as detailed in table below:

Table 5.16: Interest on Working Capital approved by the Commission for FY 2016-17

(Rs. Crore)

| Sl. No | Particulars | Total Cost | One month Cost |
| --- | --- | --- | --- |
| 1 | O&M Expenses | 47.08 | 3.92 |
| 2 | Maintenance of Spares 1% of GFA escalated @6% | 523.41 | 5.55 |
| 3 | Receivables one month | 34.52 | 2.88 |
| 4 | Total |  | 12.35 |
| 5 | Rate of interest |  | 14.05% |
| 6 | Interest on Working Capital |  | 1.74 |

The Commission provisionally approves interest on Working Capital at Rs. 1.74 Crore as against Rs. 1.97 Crore claimed by MSPCL for FY 2016-17 after true up.

## Return on Equity (including Tax)

As per Regulation 98 (1) (a) of JERC, MYT Regulations 2010, return on equity shall be considered on the paid up equity capital. The Regulations also provides for return at 15.5% on post tax basis. Hence, the estimated value of RoE to be claimed on an equity amount of Rs. 10.05 Crore, for FY 2016-17 is 1.56 Crore. After inclusion of tax at 20.389% as per Income Tax Department update, the effective return rate works out to be 19.47%. Hence, the estimated value of RoE claimed on the opening equity balance as on 1st April 2016 of amount Rs. 10.05 Crore, for true-up of FY 2016- 17 is 1.96 Crore.

The actual equity base as per accounts in FY 2016-17 was also Rs. 10.05 Crore which was same as the opening equity of MSPCL. As such RoE (with tax) claimed for truing-up for FY 2016-17 is marginally higher (on account of marginal change in tax rate) to that approved by the Commission in the APR for FY 2016-17:

Table 5.17: RoE for FY 2016-17 furnished by MSPCL

(Rs. Crore)

| Return on Equity | Approved vide Tariff Order dated February 29, 2016 | Approved vide APR dated February 28, 2017 | Actual for MSPCL |
| --- | --- | --- | --- |
| Grand Total (including Tax) | 1.95 | 1.95 | 1.96 |

Accordingly, the Hon’ble Commission may consider the RoE (with tax @ 20.389%) amounting to Rs 1.96 Crore for provisional true-up as proposed by MSPCL for FY 2016-17.

Commission Analysis

The Commission provisionally approves ROE including Tax at Rs. 1.96 Crore for                   FY 2016-17 after True up.

## Non Tariff Income

Non-tariff and Other Income

The non-tariff income for MSPCL is mainly on account of transmission charges realized for short term power purchase or sale by the distribution licensee. These charges are paid to MSPCL for use of intra state transmission system for short term power purchase or sale on the basis of CERC regulations for Short Term Open Access 2008 and subsequent amendments thereof. Apart from this, non-tariff income is also earned as interest from bank accounts used for managing the account of short term open access charges and agency charges earned for supervision of deposit works. Non-tariff income has increased considerably in FY 2016-17 due to increase in SLDC charges due to increase in open access sales, bank interest earned and Agency charges.

Table 5.18: Non-Tariff Income for FY 2016-17 furnished by MSPCL

(Rs. Crore)

| Sl. No | Particulars | Approved vide Tariff Order dated February 29, 2016 | Approved as per Annual Performance Review | Actual for FY 2016-17 |
| --- | --- | --- | --- | --- |
| 1 | SLDC Charges | 2.95 | 3.94 | 3.50 |
| 2 | Agency Charges | 3.22 | 4.81 | 6.95 |
| 3 | Interest from bank & other income | 0.95 | 2.10 | 3.24 |
| 4 | Total | 7.13 | 10.85 | 13.69 |

As against the approved Non-tariff Income of Rs 10.85 Crore in the APR dated February 28, 2017, the Commission is requested to consider the actual Non-tariff income of Rs 13.69 Crore for FY 2016-17.

The Commission provisionally approves Non Tariff Income at Rs. 13.69 Cr for FY 2016-17 after True up.

## Revenue from Operation

In its Order dated February 29, 2016, the Commission had approved an amount of Rs. 36.08 Cr. which was later revised to Rs. 39.60 Cr. in the APR for FY 2016-17. However, it is submitted that in actual MSPCL is not earning any revenue as transmission charges from MSPDCL. Instead, MSPCL is receiving budgetary support from State Government to cover its O&M expenses. The receipt during FY 2016-17 has been Rs. 41.20 Crores. Therefore, the same has been considered towards revenue for the purpose of truing-up for FY 2016-17.

Commission’s Analysis

In the Tariff Order for FY 2016-17 it is clearly ordered to recover the total transmission ARR from MSPDCL (since MSPDCL is the only distribution licensee utilizing state transmission system) on monthly basis by raising pro rata invoices as the MSPCL ARR is loaded in the ARR of MSPDCL. Since MSPCL has received budgetary support from Government of Manipur to a tune of Rs.41. 20 Crore, this will be taken care while final true up of FY 2016-17 of both the utilities i.e. MSPDCL and MSPCL.

## Aggregate Revenue Requirement

The ARR of MSPCL for FY 2016-17 as approved by the Commission vide Tariff Order dated February 29, 2016 and Annual Performance Review dated February 28, 2017 against the actual figures as submitted by MSPCL above is furnished in the table below:

Table 5.19:  Annual Revenue Requirement for FY 2016-17 furnished by MSPCL

(Rs. Crore)

| Sl. No | Particulars | Approved in Order dated 29.02.2016 | Estimated under APR | Actuals for FY 2016-17 | Difference (Actual –APR) |
| --- | --- | --- | --- | --- | --- |
| 1 | Employee costs | 31.95 | 38.74 | 36.28 | -2.46 |
| 2 | Repair & Maintenance expense | 4.6 | 7.04 | 7.6 | 0.56 |
| 3 | Administration & General Expenses | 3.22 | 3.57 | 3.21 | -0.36 |
| 4 | Depreciation | 0.38 | 0.57 | 0.51 | -0.06 |
| 5 | Interest & Finance Charges | 0 | 0 | 0 | 0 |
| 6 | Interest on Working capital | 2.02 | 2.18 | 1.97 | -0.21 |
| 7 | Total Cost | 42.17 | 52.1 | 49.57 | -2.53 |
| 8 | Income tax | 0.39 |  |  |  |
| 9 | Add: Return on Equity / ROE | 1.56 | 1.95 | 1.96 | 0.01 |
| 10 | Less: Non Tariff income | 7.13 | 10.85 | 13.69 | 2.84 |
| 11 | Less: Expenses Capitalized | 0.91 | 3.6 | 3.05 | -0.55 |
| 12 | Aggregate Revenue Requirement | 35.3 | 39.6 | 34.79 | -4.81 |

The variation shown above is not proposed to be carried forward in the tariff of ensuing year as the figures for FY 2016-17 are provisional and MSPCL requests the Commission to make any adjustments only after the availability of audited accounts for FY 2016-17.

Commission’s Analysis

Based on the approved costs the ARR for FY 2016-17 is as detailed below.

Table 5.20: Aggregate Revenue Requirement approved by the Commission for FY 2016-17 after true-up

(Rs. Crore)

| Sl. No | Particulars | Approved in Order dated 29.02.2016 | Estimated under APR | Actuals for FY 2016-17 | Now approved by the Commission |
| --- | --- | --- | --- | --- | --- |
| 1 | Employee costs | 31.95 | 38.74 | 36.28 | 36.28 |
| 2 | Repair& Maintenance expense | 4.60 | 7.04 | 7.60 | 7.60 |
| 3 | Administration & General Expenses | 3.22 | 3.57 | 3.21 | 3.21 |
| 4 | Depreciation | 0.38 | 0.57 | 0.51 | 0.47 |
| 5 | Interest &Finance Charges | 0.00 | 0.00 | 0.00 | - |
| 6 | Interest on Working capital | 2.02 | 2.18 | 1.97 | 1.74 |
| 7 | Total Cost | 42.17 | 52.10 | 49.57 | 49.30 |
| 8 | Income tax | 0.39 |  |  |  |
| 9 | Add: Return on Equity / ROE | 1.56 | 1.95 | 1.96 | 1.96 |
| 10 | Less: Non Tariff income | 7.13 | 10.85 | 13.69 | 13.69 |
| 11 | Less: Expenses Capitalized | 0.91 | 3.60 | 3.05 | 3.05 |
| 12 | Aggregate Revenue Requirement | 36.08 | 39.60 | 34.79 | 34.52 |

The Commission approves ARR for MSPCL for FY 2016-17 at Rs.34.52 as against Rs.34.79 Crore furnished by MSPCL.

## Annual Performance Review of FY 2017-2018

## Background

The Commission had approved the ARR and tariffs for FY 2017-2018 vide Tariff Order dated 29.02.2016 based on the projected data by MSPCL. Now the MSPCL has submitted petition for annual performance review for FY 2017-2018 based on revised estimates. As verified from the petition there are differences in certain items of costs as well as revenue between the approvals granted by the Commission and the revised estimates now furnished.

The Commission considers it appropriate and fair to revise and review the approvals granted by it in the tariff order for FY 2017-2018 with reference to revised estimates now furnished by the MSPCL but without altering the principles and norms adopted earlier. These matters are discussed in the succeeding paragraphs.

## Transmission system availability

As per Regulation 61 of JERC for M&M MYT Regulations, 2014 the target transmission availability for full recovery of annual transmission charges is 98%. The estimated transmission availability for FY 2017-2018 is also 98%.

The Commission approves transmission availability for FY 2017-2018 at 98% as estimated by MSPCL after review.

## Transmission Losses

Petitioner’s submission

MSPCL would like to submit that while it is undertaking all efforts for metering of the feeders, it has not been able to meter all the input and output points of transmission system. As on date MSPCL has already installed 421 meters at 132, 33 and 11kV sides. However, there is a balance of 205 number of meters still pending to be installed. This activity is expected to be completed by FY 2018-19. Therefore, it is submitted that the transmission losses in the transmission system cannot be measured for MSPCL at this point of time.

Therefore, in absence of any values for transmission losses, MSPCL requests the Commission to consider the approved transmission loss of 3.6% for FY 2017-18 in the Tariff Order dated 28th February 2017.

The Commission approves intra-state transmission loss at 3.6% for FY 2017-2018 as estimated by MSPCL after review.

## Energy to be Transmitted within the state

Petitioner’s submission

MSPCL would like to submit that the approved energy quantum at the input of MSPCL network was 732.64 MUs.

Table 6. 1: Energy Requirement and Availability estimated by MSPCL for FY 2017-18

(Rs. Crore)

| Particulars | Approved |
| --- | --- |
| Energy at state periphery of Manipur | 732.64 |

Commission’s analysis

As per MSPDCL ARR for FY 2017-2018 the energy to be transmitted by MSPCL from State periphery is 1012.96 MU (vide Table 6.7 of MSPDCL Annual Performance Review for FY 2017-18).

The Commission approves energy requirement at 1012.96 MU for FY 2017-2018 after review.

## Operation and Maintenance Expenses

## Employee Cost

Petitioner’s submission

- Employee cost

In the Tariff Order dated 28th Feb 2017, the Commission had approved an employee cost of Rs. 62.96 Crore based on the

    - number of employees in FY 2015-16 assuming year on year increase of 15%

    - impact of recruitment of 997 employees planned to be recruited in FY 2016-17

    - impact of 113 employees planned to be recruited in FY 2017-18

    - impact of regularisation of employees under work charged and muster roll categories in FY 2016-17

As against this, the actual expenditure in FY 2017-18 till Sept' 17 is Rs. 26.15 Cr. It is submitted that post addition of approximately 1043 employees during FY 2016-17, the actual employee cost for MSPCL has increased. Therefore, based on the actual six months of employee cost for FY 2017-18, MSPCL has proportionately computed the employee expense for the balance period of FY 2017-18. Based on the methodology, the estimated employee expenditure in FY 2017-18 is Rs. 52.60 Cr. As such, the actual employee strength of 1688 as on 31.03.2017 is expected to be 1638 (1688+0-50) by 31.03.2018. The average employee strength is accordingly estimated to be 1663 for FY 2016-17.

The data of employees cost and the number of employees is given in the table below.

Table 6. 2: Employee cost for FY 2017-18 estimated by MSPCL

(Rs. Crore)

| Particulars | Approved in TO dated 28 Feb 2017 | Actual (till Sept'17) | Estimated FY 2017-18 |
| --- | --- | --- | --- |
| Employee Expense | 62.96 | 26.15 | 52.60 |
| Average number of employees | 1920 | 1680 | 1663 |

Commission’s Analysis

The Commission accordingly approves employee cost at Rs. 52.60 Crore as estimated by the MSPCL for FY 2017-18 after review.

## Repair & Maintenance Expenses

Petitioner’s submission

- Repairs and Maintenance expenses

It is submitted that the R&M expenses during the previous year i.e. FY 2016-17 have been higher owing to the increase in gross fixed assets on account of capitalization and transfer of left over assets from MSPDCL to MSPCL as also explained in previous chapter. In its review petition on the MYT order, MSPCL had requested the Commission to align the approval of R&M expenses in line with the amount of gross fixed assets. In support of the same, MSPCL had already submitted the justification of the FOR model regulations in its review petition which was also considered by the Commission while approving the R&M expense for FY 2017-18 in the Tariff Order dated 28th February 2017. In line with the above, MSPCL proposes to arrive at R&M expense as per the formula provided below:

Repairs and Maintenance expense shall be calculated as percentage (as per the norm defined) of Opening Gross Fixed Assets for the year governed by following formula:

R&Mn = Kb* GFAn Where:

R&Mn: Repairs & Maintenance expense for nth year GFAn: Opening Gross Fixed Assets for the year

Kb: Percentage point as per the norm

MSPCL submits that based on actuals of FY 2016-17, it is observed that the average R&M expenses is 1.13% of average assets base for the financial year.

Table 6. 3: K factor for computation of R&M expense

| Particulars | FY 2016-17 |
| --- | --- |
| R&M Expenses | 7.60 |
| Opening GFA | 507.20 |
| Closing GFA | 834.83 |
| Average GFA | 671.02 |
| R&M Expense as % of Average GFA | 1.13% |

The proposed R&M expense for FY 2017-18 is provided in the table below:

It is submitted that most of the expenses on account of R&M mainly happens in the last quarter as the funds are mostly released at that time. But MSPCL expects the estimated expenses to be higher based on the actual R&M works already done, the payouts for which are pending.

MSPCL requests the Commission to approve the above estimated expenses for FY 2017- 18, as the same is necessary for proper maintenance and strengthening of the system and quality of supply in the region in order to ensure consumer satisfaction and transmission system availability at 98%.

Commission Analysis:

As per calculation given by MSPCL R & M expenses works out to be 11.14 but not 11.17 Crore as detailed in table below

Table 6. 4: R&M expense approved by the Commission for FY 2017-18

| S. No | Particulars | Unit | Approved in TO dated 28 Feb 2017 | Estimated FY 2017-18 |
| --- | --- | --- | --- | --- |
| 1 | Opening GFA | Rs. Cr. | 1009.61 | 834.83 |
| 2 | Closing GFA | Rs. Cr. | 1523.33 | 1137.38 |
| 3 | Average GFA | Rs. Cr. | 1266.47 | 986.10 |
| 4 | K factor | % |  | 1.13% |
| 5 | Proposed R&M Expense | Rs. Cr. | 10.56 | 11.14 |

The Commission approves R&M expenditure at Rs.11.14 Crore for FY 2017-18 as against Rs. 11.17 furnished by  MSPCL after review.

## Administration and General Expenses

Petitioner’s submission

The Commission had approved Rs. 3.78 Crores as A&G expenses for MSPCL based on the item wise projections provided by MSPCL in the Tariff Order for FY 2017-18 dated 28th February 2017. It is submitted that the A&G expense is expected to increase substantially on account of increase operations of MSPCL and increase in number of employees. Considering the increase in gross fixed assets of Rs. 327.4 Crore and based on the addition of 1043 employees in FY 2016-17, it is expected that more than normal increase on account of inflation would be required for covering the actual expenses towards A&G expense for FY 2017-18. Accordingly, MSPCL has considered a onetime increase of 25% for FY 2017-18 over the actual A&G expenses for FY 2016-17 for estimating the A&G expenses for FY 2017-18.

Further, it is submitted that similar to R&M expense the expenditure in this head happens in the last two quarters of the financial year post release of funds from the Government. Therefore, the actual A&G expense during first six months would not be a representation of the full year A&G expense.

As such, MSPCL requests the Commission to consider the estimated A&G expenses for FY 2017-18 as provided in table below:

Table 6. 5: Proposed A&G Expenses of MSPCL for FY 2017-18

(Rs. Crore)

| Particulars | Approved for FY 2017-18 | Estimated for FY 2017-18 |
| --- | --- | --- |
| A&G Cost | 3.78 | 4.01 |

Commission Analysis:

The Commission approves Rs 4.01 Crore towards administration and general expenses for FY 2017-18 as estimated by MSPCL after review.

## Summary of O&M expenses

Petitioner’s Submission

Since employees under work charge and muster roll category have been regularized during FY 2016-17, MSPCL submits that Net O&M costs are equal to summation of employee costs, R&M costs and A&G expenses. As such, the total O&M expenses estimated for FY 2017-18 vis-à-vis approved figures are given below:

Table 6. 6: Proposed O&M Expenses of MSPCL for FY 2017-18

(Rs. Crore)

| S.N. | Particulars | Approved | Estimated for FY 2017-18 |
| --- | --- | --- | --- |
| 1 | Employee Expenses | 62.96 | 52.60 |
| 2 | R&M Expenses | 10.56 | 11.17 |
| 3 | A&G Expenses | 3.78 | 4.01 |
| 4 | Total O&M Expenses | 77.30 | 67.77 |

Commission’s Analysis

Summary of approved O & M expenses are furnished in the table below.

Table 6. 7: Summary of O&M Expenses approved by the Commission for FY 2017-18

(Rs. Crore)

| Sl. No | Particulars | Approved by the Commission |
| --- | --- | --- |
| 1 | Employee Cost | 52.60 |
| 2 | R & M expenses | 11.14 |
| 3 | Administration and General expenses | 4.01 |
| 4 | Total O & M | 67.75 |

## Capital Expenditure Plan for FY 2017-18

Petitioner’s submission

The actual progress of various capital expenditure schemes against the approved figures are given below. MSPCL would like to submit that majority of the expenses in the capital investment schemes happens in the last quarter because of the time taken in clearance of the invoices and release of funds. As such, the actual progress till September'17 submitted below is not a direct indicator of the estimated expenditure for the full year. MSPCL has projected the estimated expenditure based on the progress of the schemes and the actual expenditure of the past years.

Table 6. 8: Capital Expenditure for FY 2017-18estimated by MSPCL

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Grant received so far | Cumulative Expenditure as on Mar. 2017 | Budget Outlay for 2017-18 | Expenditure- ending September 30, 2017 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total |  | State Share | Grant | Total | State Share | Grant |  |
| I | Transmission |  |  |  |  |  |  |  |  |  |  |  |
| A.1 | Ongoing Schemes |  |  |  |  |  |  |  |  |  |  |  |
| A.1.1 | 400 kV System |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Installation of 400 kV Sub-Station at Thoubal(NLCPR) | 221.11 | 105.69 | 115.42 | 221.11 | 92.33 | 92.17 | 46.16 | 138.33 | 1.00 | 46.16 | 23.08 |
| 2 | Construction of 400 kV T/L Yurembam to Thoubal via Nambol(NLCPR) | 239.10 | 128.27 | 110.83 | 239.10 | 88.66 | 76.55 | 88.66 | 165.21 | 4.00 | 0.00 | 0.00 |
| 3 | Installation of 2 nos. 400 kV line bays at Imphal(PG) sub-station | 35.57 | 35.57 | 0.00 | 35.57 | 0.00 | 11.31 | 0.00 | 11.31 | 6.00 | 0.00 | 0.00 |
|  | Total : A.1.1 |  |  |  |  |  |  |  |  | 11.00 | 46.16 | 23.08 |
| A.1.2 | 132 kV System |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Installation of line bay equipment at 132 kV terminals at Churachandpur and Kakching 132/33 kV sub-stations | 3.56 | 3.56 | 0.00 | 3.56 | 0.00 | 1.20 | 0.00 | 1.20 | 0.00 | 0.00 | 0.00 |
| 2 | Augmentation of 132 kV SS at Karong | 6.60 | 1.60 | 5.00 | 6.60 | 5.00 | 1.78 | 5.00 | 6.78 | 0.00 | 0.00 | 0.00 |
| 3 | Augmentation 132/33 KV S/S at Ningthoukhong S/S | 4.99 | 4.99 | 0.00 | 4.99 | 0.00 | 4.59 | 0.00 | 4.59 | 0.00 | 0.00 | 0.00 |
| 4 | Stringing of 2nd Circuit 132 KV line on the existing Double Circuit towers from Ningthoukhong – Ccpur line | 3.16 | 3.16 | 0.00 | 3.16 | 0.00 | 3.49 | 0.00 | 3.49 | 0.50 | 0.00 | 0.00 |
| 5 | Constn. of 132 kV S/C line Yurembam to Yaingangpokpi(SPA) | 35.23 | 7.23 | 28.00 | 35.23 | 28.00 | 12.82 | 28.00 | 40.82 | 0.00 | 0.00 | 0.00 |
| 6 | Installation of 132/33 kV S/S at Kongba(NEC) | 21.53 | 7.44 | 14.09 | 21.53 | 14.06 | 8.17 | 14.06 | 22.22 | 0.00 | 0.00 | 0.00 |
| 7 | Installation of 132/33 KV S/S at Hundung (Ukhrul) & its associated line(SPA) | 50.21 | 14.31 | 35.90 | 50.21 | 35.90 | 13.51 | 35.90 | 49.41 | 0.00 | 0.00 | 0.00 |
| 8 | Re-stringing of 132 KV line from Loktak to Jiribam | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 9 | R & M of 132/33 kV sub-station at Yurembam (SPA/NEC) | 44.04 | 9.54 | 34.50 | 44.04 | 34.50 | 8.62 | 29.62 | 38.24 | 1.00 | 3.17 | 0.00 |
| 10 | Installation of 132/33 kV S/S at Chandel with associated 132 KV line(NLCPR) | 34.50 | 22.57 | 11.93 | 34.50 | 11.75 | 19.85 | 9.81 | 29.66 | 0.00 | 1.64 | 0.00 |

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Grant received so far | Cumulative Expenditure as on Mar. 2017 | Budget Outlay for 2017-18 | Expenditure- ending September 30, 2017 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total |  | State Share | Grant | Total | State Share | Grant |  |
| 11 | Installation of 1x20 MVA transformer at Yaingangpokpi | 5.58 | 5.58 | 0.00 | 5.58 | 0.00 | 0.17 | 0.00 | 0.17 | 0.00 | 0.00 | 0.00 |
| 12 | Renovation & Modernisation of two nos. of 132/33 KV S/S at Yaingangpokpi & Ningthoukhong(NLCPR) | 40.50 | 9.67 | 30.83 | 40.50 | 30.83 | 4.98 | 29.74 | 34.73 | 0.50 | 1.09 | 0.00 |
| 13 | Renovation & Modernisation of three nos. of 132/33 kV S/S at Kakching, Karong & Churachandpur(NLCPR) | 49.69 | 8.10 | 41.58 | 49.69 | 33.27 | 3.23 | 33.26 | 36.49 | 0.00 | 0.00 | 0.00 |
| 14 | Installation of 132/33 kV S/S at Thanlon with associated line(NLCPR) | 118.80 | 64.82 | 53.98 | 118.80 | 53.98 | 43.72 | 43.18 | 86.90 | 6.00 | 10.80 | 0.00 |
| 15 | Installation of 2x20 MVA,132 kV Sub-Station along with associated 132 kV LILO lines & related works at Thoubal(NEC) | 51.02 | 18.97 | 32.05 | 51.02 | 25.00 | 3.70 | 23.00 | 26.70 | 3.00 | 2.00 | 0.00 |
| 16 | Providing of Energy Meter | 3.47 | 3.47 | 0.00 | 3.47 | 0.00 | 3.21 | 0.00 | 3.21 | 0.50 | 0.00 | 0.00 |
| 17 | Augmentation of Rengpang 132/33 kV sub-station by installing(3x4.16+1x4.16)MVA 132/33 kV single phase transformers | 12.65 | 12.65 | 0.00 | 12.65 | 0.00 | 6.96 | 0.00 | 6.96 | 1.00 | 0.00 | 0.00 |
| 18 | IDC | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 13.43 | 0.00 | 3.96 |
| 19 | Diversion of forest land for construction and stringing of 132 kV transmission line from Kakching to Moreh | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.01 | 0.00 | 0.00 |
| 20 | Diversion of forest land for construction and stringing of 132 kV transmission line from Khenjang to Thanlon | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.01 | 0.00 | 0.00 |
| 21 | Installation of 132/33 KV sub-station at Moreh with erection of associated 132 KV line(NLCPR) | 84.35 | 55.90 | 28.45 | 84.35 | 22.76 | 34.36 | 11.38 | 45.74 | 3.00 | 11.38 | 0.00 |
| 22 | Augmentation of 132/33 KV S/S at Jiribam (Installation of additional transformers) | 3.66 | 3.66 | 0.00 | 3.66 | 0.00 | 2.37 | 0.00 | 2.37 | 0.50 | 0.00 | 0.00 |
| 23 | Augmentation of 132/33 KV S/S at Ningthoukhong (Installation of additional transformers) | 4.99 | 4.99 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |
| 24 | Augmentation of 132/33 KV S/S at Kongba (Installation of additional transformers) | 2.61 | 2.61 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 25 | North Eastern Region Power System Improvement Project(NERPSIP) | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 26 | Stringing of 132 kV line (2nd circuit) from Kakching to Churachandpur(NEC) | 17.92 | 8.76 | 9.16 | 17.92 | 5.20 | 5.40 | 5.20 | 10.60 | 1.00 | 0.00 | 0.00 |

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Grant received so far | Cumulative Expdr. as on Mar. 2017 | Budget Outlay for 2017-18 | Expenditure- ending September 30, 2017 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total |  | State Share | Grant | Total | State Share | Grant |  |
| 27 | Construction of 132 kV S/C line(2nd ckt) on D/C towers from Leimatak PH(NHPC) to 132 kV sub-station at Ningthoukhong | 19.44 | 19.44 | 0.00 | 19.44 | 0.00 | 18.91 | 0.00 | 18.91 | 0.50 | 0.00 | 0.00 |
| 28 | Installation of 132 kV sub-station along with associated 132 kV line at Elangkhangpokpi | 45.75 | 45.75 | 0.00 | 45.75 | 0.00 | 40.99 | 0.00 | 40.99 | 1.50 | 0.00 | 0.00 |
| 29 | Construction of 132 kV S/C line(3rd ckt) strung on D/C towers from 132 kV Yurembam sub-station (State) to Yurembam sub-station (PGCIL) | 10.25 | 10.25 | 0.00 | 10.25 | 0.00 | 6.72 | 0.00 | 6.72 | 1.00 | 0.00 | 0.00 |
| 30 | Stringing of 132 kV S/C(second circuit) on DC towers from Yaingangpokpi 132 kV sub-station to Kakching 132 kV sub-station via Kongba | 25.73 | 25.73 | 0.00 | 25.73 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 31 | Construction of 132/33 kV sub-station at Tipaimukh | 49.21 | 49.21 | 0.00 | 49.21 | 0.00 | 38.78 | 0.00 | 38.78 | 1.50 | 0.00 | 0.00 |
| 32 | Construction of 132 kV link T/L from 400/132 kV sub- station, Thoubal to 132 kV sub-stations at Kongba, Yaingangpokpi and Hundung on existing Kongba to Kakching 132 kV T/L. | 15.83 | 15.83 | 0.00 | 15.83 | 0.00 | 6.16 | 0.00 | 6.16 | 2.00 | 0.00 | 0 |
| 33 | Construction of 132 kV link T/L from 400/132 kV sub- station, Thoubal to 132 kV sub-stations at Kakching & Chandel on existing Kongba to Kakching 132 kV T/L. | 7.98 | 7.98 | 0.00 | 0.00 | 0.00 | 6.00 | 0.00 | 6.00 | 0.00 | 0.00 | 0.00 |
| 34 | Construction of 132 kV link T/L from 400/132 kV sub- station, Thoubal to 132 kV sub-stations at Moreh on Kakching to Moreh 132 kV T/L (ongoing). | 22.34 | 22.34 | 0.00 | 0.00 | 0.00 | 13.62 | 0.00 | 13.62 | 2.00 | 0.00 | 0.00 |
|  | Total : A.1.2 |  |  |  |  |  |  |  |  | 39.45 | 30.07 | 3.96 |
| A.1.3 | 33 kV System |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Augmentation of existing 33/11 KV Sub-stations at Yurembam, Mongsangei, Kongba, Keishampat, Lamphel, Iroisemba and Nilakuthi by installing 2x10 MVA (14 nos.) | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 2 | Up gradation of the installed capacities of 33/11 KV S/Ss | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Grant received so far | Cumulative Expdr. as on Mar. 2017 | Budget Outlay for 2017-18 | Expenditure- ending September 30, 2017 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total |  | State Share | Grant | Total | State Share | Grant |  |
| 3 | Construction of 33 kV D/C line from Leimakhong to Iroisemba (NLCPR) | 13.06 | 9.18 | 3.88 | 13.06 | 3.88 | 7.64 | 3.28 | 10.92 | 0.00 | 0.00 | 0.00 |
| 4 | Construction of 33 kV D/C line from Mongsangei to Khumanlampak via Kongba(NLCPR) | 21.18 | 17.05 | 4.13 | 21.18 | 4.13 | 11.86 | 4.13 | 15.99 | 0.00 | 0.00 | 0.00 |
| 5 | Installation of 33 kV S/S at Thanlon(NLCPR) | 12.58 | 7.49 | 5.09 | 12.58 | 5.09 | 5.70 | 5.09 | 10.79 | 0.00 | 0.00 | 0.00 |
| 6 | Installation of 33/11 kV sub-station at Henglep(NLCPR) | 7.05 | 3.35 | 3.70 | 7.05 | 2.75 | 4.03 | 2.45 | 6.48 | 0.00 | 0.00 | 0.00 |
| 7 | Installation of 33/11 kV sub-station at Chakpikarong(NLCPR) | 11.49 | 6.49 | 4.99 | 11.49 | 4.93 | 4.42 | 4.15 | 8.57 | 0.00 | 0.78 | 0.00 |
| 8 | Installation of 33/11 kV (2x10 MVA) S/S at Mantripukhri | 8.21 | 8.21 | 0.00 | 8.21 | 0.00 | 7.89 | 0.00 | 7.89 | 0.00 | 0.00 | 0.00 |
| 9 | Installation of 33/11 kV (2x5 MVA) S/S at Chingaren | 8.33 | 8.33 | 0.00 | 8.33 | 0.00 | 8.82 | 0.00 | 8.82 | 0.00 | 0.00 | 0.00 |
| 10 | Installation of 33 kV S/S at Willong (NLCPR) | 8.98 | 4.08 | 4.90 | 8.98 | 4.90 | 4.47 | 3.66 | 8.13 | 0.00 | 0.00 | 0.00 |
| 11 | Installation of 33/11 kV S/S at Oinamlong | 7.08 | 7.08 | 0.00 | 7.08 | 0.00 | 7.17 | 0.00 | 7.17 | 0.00 | 0.00 | 0.00 |
| 12 | Installation of 33/11 KV S/S at Sagolmang(NLCPR) | 6.66 | 3.64 | 3.02 | 6.66 | 3.02 | 3.50 | 3.02 | 6.52 | 0.00 | 0.00 | 0.00 |
| 13 | Installation of 33/11 kV S/S at Sekmaijin(NLCPR) | 7.28 | 3.89 | 3.40 | 7.28 | 3.35 | 2.29 | 3.18 | 5.47 | 0.00 | 0.17 | 0.00 |
| 14 | Installation of 33/11 kV S/S at Ukhrul Khunjao(NLCPR) | 9.42 | 5.64 | 3.79 | 9.42 | 3.74 | 5.15 | 3.53 | 8.68 | 0.00 | 0.21 | 0.00 |
| 15 | Installation of 33/11 kV S/S at Chandel (NEC ) | 4.78 | 1.99 | 2.79 | 4.78 | 2.79 | 3.17 | 1.23 | 4.40 | 0.00 | 1.55 | 0.00 |
| 16 | Construction of Line bays, equipment foundation and civil works for Machi and Joupi 33/11 KV sub-stations | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 17 | Installation of 33/11 KV S/S at Jessami with associated 33 KV line | 14.56 | 14.56 | 0.00 | 14.56 | 0.00 | 12.08 | 0.00 | 12.08 | 0.00 | 0.00 | 0.00 |
| 18 | Installation of 33/11 KV S/S at Sinzwl with associated 33 KV line | 13.54 | 13.54 | 0.00 | 13.54 | 0.00 | 12.58 | 0.00 | 12.58 | 0.00 | 0.00 | 0.00 |
| 19 | Installation of 33/11 KV (2x5 MVA) S/S at JNIMS with associated 33 KV line | 7.94 | 7.94 | 0.00 | 7.94 | 0.00 | 5.44 | 0.00 | 5.44 | 0.00 | 0.00 | 0.00 |
| 20 | Installation of 33/11 kV S/S at Thoubal Leishangthem with associated 33 KV line(SPA) | 10.87 | 1.25 | 9.62 | 10.87 | 9.62 | 1.32 | 9.62 | 10.94 | 0.00 | 0.00 | 0.00 |

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Grant received so far | Cumulative Expdr. as on Mar. 2017 | Budget Outlay for 2017-18 | Expenditure- ending September 30, 2017 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total |  | State Share | Grant | Total | State Share | Grant |  |
| 21 | Erection of 33 kV feeders from Yurembam POWERGRID sub-station(SCA) | 21.43 | 16.83 | 4.60 | 21.43 | 4.60 | 14.22 | 4.60 | 18.82 | 0.00 | 0.00 | 0.00 |
| 22 | Installation of 2x5 MVA 33/11 kV sub-station with associated 33 KV line at Power House site of Loktak Down Stream HE Project(NEC) | 13.83 | 6.82 | 7.01 | 13.83 | 5.60 | 3.17 | 5.60 | 8.77 | 1.50 | 0.00 | 0.00 |
| 23 | Installation of 33/11 kV sub-station with associated 33 KV line at Sugnu(NLCPR) | 10.30 | 5.45 | 4.85 | 10.30 | 4.85 | 3.66 | 3.88 | 7.54 | 0.00 | 0.97 | 0.00 |
| 24 | Installation of 33/11 KV sub-station with associated 33 KV line at Khongjom(NLCPR) | 9.02 | 4.70 | 4.32 | 9.02 | 4.32 | 3.70 | 3.45 | 7.15 | 0.00 | 0.86 | 0.00 |
| 25 | Installation of 33/11 KV sub-station with associated 33 KV line at Sekmai(NLCPR) | 8.70 | 4.52 | 4.18 | 8.70 | 4.18 | 4.50 | 3.35 | 7.84 | 0.00 | 0.84 | 0.00 |
| 26 | Installation of 33/11 KV (2x1 MVA) S/S at Gelnel(NLCPR) | 7.81 | 4.38 | 3.42 | 7.81 | 3.42 | 2.99 | 2.74 | 5.73 | 0.00 | 0.68 | 0.00 |
| 27 | Installation of 33/11 KV (2x1 MVA) S/S at Nungbi Khullen with associated 33 KV line(NLCPR) | 14.50 | 9.65 | 4.85 | 14.50 | 3.88 | 4.18 | 3.33 | 7.51 | 0.00 | 0.55 | 0.00 |
| 28 | Re-stringing & strengthening of 33 kV line | 3.07 | 3.07 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 1.50 | 0.00 | 0.00 |
| 29 | Installation of 2x1 MVA, 33/11 kV SS at Namarei | 9.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.24 | 0.00 | 0.00 |
| 30 | Installation of 2x1 MVA, 33/11 kV SS at Lakhamai | 8.79 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.22 | 0.00 | 0.00 |
| 31 | Installation of 2x1 MVA, 33/11 kV SS at Thanlon | 13.06 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.15 | 0.00 | 0.00 |
| 32 | Installation of 2x1 MVA, 33/11 kV SS at Thinkew | 9.70 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.24 | 0.00 | 0.00 |
| 33 | Installation of 33/11 KV (2x5 MVA) GIS at Capitol Project with associated 33 kV line | 16.24 | 16.24 | 0.00 | 16.24 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 34 | Installation of 33/11 KV S/S at Pisum | 13.18 | 13.18 | 0.00 | 13.18 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 35 | Installation of 33/11 KV sub-station with associated 33 KV line at Sagolband | 8.03 | 8.03 | 0.00 | 8.03 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 36 | Installation of 33/11 KV (2x1 MVA) S/S at Hiyangangthang | 8.68 | 8.68 | 0.00 | 8.68 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 37 | Installation of 33/11 KV (2x1 MVA) S/S at Gumnom with associated 33 kV line(NLCPR) | 9.53 | 5.17 | 4.36 | 9.53 | 1.74 | 3.74 | 1.66 | 5.40 | 0.50 | 0.08 | 0.00 |
| 38 | Providing of 33 & 11 kV Energy Meter | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Grant received so far | Cumulative Expdr. as on Mar. 2017 | Budget Outlay for 2017-18 | Expenditure- ending September 30, 2017 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total |  | State Share | Grant | Total | State Share | Grant |  |
| 39 | Renovation of 33/11 KV S/S at Khoupum | 5.06 | 5.06 | 0.00 | 5.06 | 0.00 | 1.80 | 0.00 | 1.80 | 1.50 | 0.00 | 0.00 |
| 40 | Installation of 33/11 KV S/S at Moirangpali with associated 33 KV line | 10.45 | 10.45 | 0.00 | 10.45 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 41 | Installation of 33/11 KV S/S at Senapati with associated 33 KV line | 9.98 | 9.98 | 0.00 | 9.98 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 42 | R&M of 33/11 kV sub-stations, Phase-II (Moreh,Karong,Nambol,Bishnupur, Ningthoukhong, Moirang Khunou, Kangpokpi, Leimakhong) | 18.77 | 18.77 | 0.00 | 18.77 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 43 | Installation of 33/11 kV sub-station at Phungyar with associated 33 kV line | 10.45 | 10.45 | 0.00 | 10.45 | 0.00 | 7.46 | 0.00 | 7.46 | 1.00 | 0.00 | 0.00 |
| 44 | Installation of 33/11 kV sub-station at Kasom Khullen with associated 33 kV line | 10.42 | 10.42 | 0.00 | 10.42 | 0.00 | 6.96 | 0.00 | 6.96 | 1.50 | 0.00 | 0.00 |
| 45 | Installation of 33/11 kV sub-station at Gamphazol with associated 33 kV line | 9.19 | 9.19 | 0.00 | 9.19 | 0.00 | 5.92 | 0.00 | 5.92 | 0.00 | 0.00 | 0.00 |
| 46 | Installation of 33/11 kV sub-station at Mayangkhang with associated 33 kV line(NEC) | 9.63 | 2.71 | 6.92 | 9.63 | 5.50 | 1.93 | 4.20 | 6.13 | 1.00 | 1.30 | 0.00 |
| 47 | Installation of 33/11 kV sub-station at Mao with associated 33 kV line(NEC) | 10.21 | 3.17 | 7.04 | 10.21 | 5.60 | 1.96 | 4.20 | 6.16 | 0.50 | 1.40 | 0.00 |
| 48 | installation of 33/11 kV sub-station at Poayi at Ukhrul | 9.50 | 9.50 | 0.00 | 9.50 | 0.00 | 1.00 | 0.00 | 1.00 | 1.50 | 0.00 | 0.00 |
| 49 | installation of 33/11 kV sub-station at Thueyng at Senapati | 14.53 | 14.53 | 0.00 | 14.53 | 0.00 | 1.00 | 0.00 | 1.00 | 1.50 | 0.00 | 0.00 |
| 50 | Construction of 33 kV D/C line on STP from 132/33 kV SS at Thoubal to 33/11 kV SS at Thoubal (old) | 11.83 | 11.83 | 0.00 | 11.83 | 0.00 | 4.42 | 0.00 | 4.42 | 2.50 | 0.00 | 0.00 |
| 51 | Installation of 1x3.15 MVA 33 kV sub-station at along with associated 33 kV line and related works at Yairipok under IPDS | 9.29 | 1.10 | 8.19 | 9.29 | 0.85 | 0.00 | 0.85 | 0.85 | 1.00 | 0.00 | 0.00 |
| 52 | Installation of 1x3.15 MVA 33 kV sub-station at along with associated 33 kV line and related works at Wangoi under IPDS | 9.36 | 1.17 | 8.19 | 9.36 | 1.18 | 0.57 | 1.18 | 1.75 | 1.00 | 0.00 | 0.00 |

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Grant received so far | Cumulative Expdr. as on Mar. 2017 | Budget Outlay for 2017-18 | Expenditure- ending September 30, 2017 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total |  | State Share | Grant | Total | State Share | Grant |  |
| 53 | Installation of 1x3.15 MVA 33 kV sub-station at along with associated 33 kV line and related works at Wangjing under IPDS | 9.29 | 1.10 | 8.19 | 9.29 | 0.99 | 0.00 | 0.99 | 0.99 | 1.00 | 0.00 | 0.00 |
| 54 | Installation of 1x3.15 MVA 33 kV sub-station at along with associated 33 kV line and related works at Heirok under IPDS | 8.81 | 0.95 | 7.87 | 8.81 | 0.95 | 0.00 | 0.95 | 0.95 | 1.00 | 0.00 | .00 |
| 55 | Augmentation of 33/11 kV sub-station at Kangpokpi under IPDS | 1.43 | 0.26 | 1.17 | 1.43 | 0.00 | 0.17 | 0.00 | 0.17 | 0.30 | 0.00 | 0.00 |
| 56 | Augmentation of 33/11 kV sub-station at Karong under IPDS | 1.98 | 0.63 | 1.36 | 1.98 | 0.28 | 0.00 | 0.28 | 0.28 | 0.30 | 0.00 | 0.00 |
|  | Total : A.1.3 |  |  |  |  |  |  |  |  | 20.95 | 9.40 | 0.00 |
| A.2 | New Schemes |  |  |  |  |  |  |  |  |  |  |  |
| A.2.1 | 33 kV System | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 1 | Installation of 33/11 kV sub-station at Longpi with associated 33 kV line | 9.00 | 9.00 | 0.00 | 9.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 2 | Installation of 33/11 kV sub-station at Nungleiband with associated 33 kV line | 9.00 | 9.00 | 0.00 | 9.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.30 | 0.00 | 0.00 |
| 3 | Installation of 33/11 kV sub-station at Mualnuam at Ccpur. | 12.15 | 12.15 | 0.00 | 12.15 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 4 | Laying of 33 kV underground cable from Pisum to Keishampat with extension of bays at Pisum | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 5 | Installation of 2x5 MVA 33/11 KV sub-station along with associated 33 kV line & related civil works at Chingai, Ukhrul district. | 13.18 | 13.18 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |
| 6 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Kachai, Ukhrul district. | 11.65 | 11.65 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |
| 7 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Sanakeithel, Ukhrul district. | 11.80 | 11.80 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Grant received so far | Cumulative Expdr. as on Mar. 2017 | Budget Outlay for 2017-18 | Expenditure- ending September 30, 2017 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total |  | State Share | Grant | Total | State Share | Grant |  |
| 8 | Installation of new 33/11 kV sub-station along with associated 33 kV line at Akampat, Imphal East. | 9.72 | 9.72 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |
| 9 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Liyai Khunou, Senapati district. | 12.11 | 12.11 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |
| 10 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Ibudhou Marjing | 10.12 | 10.12 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |
| 11 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Nambashi, Ukhrul district. | 12.41 | 12.41 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |
| 12 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Khongjaron, Tamenglong district. | 8.24 | 8.24 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |
| 13 | Installation of 2x10 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at sports University, Koutruk, Imphal West District. | 21.52 | 21.52 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 14 | Installation of 2x10 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Sports Complex, Khuman Lampak, Imphal East District. | 11.25 | 11.25 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 15 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Naharup, Imphal East District. | 9.35 | 9.35 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
| 16 | Construction of 33 kV D/C line on double poles with associated line bays from Yaingangpokpi to Khuman Lampak | 14.49 | 14.49 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |
| 17 | Stringing of 33 kV line from Rengpang to Noney along with associated line bays. | 7.42 | 7.42 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |
| 18 | Construction of 33 kV line on STP along with associated line bays from Tamenglong to Tamei | 7.56 | 7.56 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.50 | 0.00 | 0.00 |
|  | Total : A.2.1 |  |  |  |  |  |  |  |  | 5.80 | 0.00 | 0.00 |

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Grant received so far | Cumulative Expdr. as on Mar. 2017 | Budget Outlay for 2017-18 | Expenditure- ending September 30, 2017 |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total |  | State Share | Grant | Total | State Share | Grant |  |
|  | Ongoing & New Projects |  |  |  |  |  |  |  |  | 77.20 | 85.63 | 27.04 |
|  | Misc. Scheme |  |  |  |  |  |  |  |  | 5.40 | 0.00 | 0.00 |
|  | Total Capital Expenditure |  |  |  |  |  |  |  |  | 82.60 | 85.63 | 27.04 |
| Note: | State Share/State Matching Share(SMS) denote Grant from State Government Grant denote Government of India assistance under Non Lapsable Central Pool of Resources (NLCPR), North Eastern Council (NEC) etc. |

The status of various schemes planned for execution in FY 2017-18 are provided in the table above. All the above ongoing scheme are funded from the State budget or Central Government agencies as grants and therefore funding of these schemes are already approved.

In case of ongoing schemes, MSPCL has considered the capitalization in a consolidated manner and has therefore estimated 50% of the opening CWIP along with proposed capital expenditure for the respective year to be capitalized in the same year while the balance has been carried forward to the subsequent year.

It is submitted that all ongoing capital schemes undertaken by MSPCL are being funded by State Government and Central Government agencies which are in form of grants and therefore no equity or debt has been considered by MSPCL for these schemes. Revised capital expenditure and capitalization details for FY 2017-18 as against the approved values are given below.

Table 6. 9: CWIP, Capital Expenditure and Capitalisation in FY 2017-18 estimated by MSPCL

(Rs. Crore)

| Sl. No | Particulars | Approved vide Tariff Order dated Feb 28, 2017 | RE Proposed | Now approved by the Commission |
| --- | --- | --- | --- | --- |
| 1 | Opening CWIP | 389.51 | 436.85 | 330.01 |
| 2 | Capital Expenditure | 560.15 | 168.23 | 168.23 |
| 3 | Less: Capitalisation | 509.75 | 302.54 | 302.54 |
| 4 | Closing CWIP | 439.91 | 302.54 | 305.59 |

Note: The closing CWIP of FY 2016-17 is adopted as opening CWIP for FY 2017-18

Commission’s Analysis:

The Commission in its order dated 28.2.2017 had approved capital expenditure of Rs. 560.15 Crore and capitalization of Rs 509.75 Crore during FY 2017-18. Now, the MSPCL has estimated an expenditure of Rs. 168.23 Crore and capitalization of Rs.302.54 Crore during FY 2017-18 as per revised estimates.

| Sl. No | Particulars | Now approved by the Commission |
| --- | --- | --- |
| 1 | Opening CWIP | 330.01 |
| 2 | Capital Expenditure | 168.23 |
| 3 | Less: Capitalisation | 302.54 |
| 4 | Closing CWIP | 305.59 |

The Commission approves capital expenditure of Rs. 168.23 Crore and capitalization of Rs. 302.54 Crore during FY 2017-18 as estimated by the MSPCL.

## Depreciation

## Gross Fixed Assets

Petitioner’s submission

The approved and estimated values of GFA for FY 2017-18 is shown below. It is estimated that 50% of opening capital works in progress as of 1st April 2017 and 50% of capital expenditure incurred during FY 2017-18 will be completed and commissioned, thereby resulting in capitalization to that extent. Against the approved capitalization of Rs. 509.75 Crores, the estimated capitalization based on the progress of various capital expenditure schemes shown above, is Rs. 302.54 Crores. MSPCL has given the detailed scheme wise progress of capital investment plan and requests the Commission to approve the estimated figures, as shown in table below, for projections under this petition.

Table 6. 10: Gross Fixed Assets estimated by MSPCL

(Rs. Crore)

| Particulars | Approved | Estimated for FY 2017-18 |
| --- | --- | --- |
| Opening value of assets at the start of year | 1009.61 | 834.83 |
| Capitalization during the year | 513.72 | 302.54 |
| Closing value of assets at the end of the year | 1523.33 | 1137.38 |

Commission’s Analysis:

The opening GFA is Rs.851.04 being the closing GFA for FY 2016-17. Accordingly the GFA is revised as detailed in the table below.

Table 6. 11: GFA approved by the Commission for FY 2017-2018 after review

(Rs. Crore)

| Sl. No. | Particulars | FY 2016-17 | FY 2017-2018 |
| --- | --- | --- | --- |
| 1 | Opening GFA | 523.41 | 851.04 |
| 2 | Additions during the year | 324.58 | 302.54 |
| 3 | Expenses capitalized | 3.05 | - |
| 4 | Closing GFA | 851.04 | 1153.58 |

The Commission approves estimated GFA as on 31.03.2018 at Rs. 1153.58 Crore as against  Rs.1137.38 Crore estimated by MSPCL after review.

## Depreciation

Petitioner’s submission

Based on the category wise assets shown above and the depreciation rates provided by the Commission in JERC (MYT Tariff) Regulations 2014, the depreciation is calculated as given below. Depreciation has been worked out on the opening gross fixed assets for FY 2017-18 and estimated additions as proposed during the financial year.

As such, the Commission is requested to review the depreciation figures based on the revised addition of gross fixed assets as shown below:

Table 6. 12: Depreciation for FY 2017-18  estimated by MSPCL

(Rs. Crore)

| Particular | FY 2017-18 | Depreciation Rate | Depreciation |
| --- | --- | --- | --- |
|  | Opening | Addition | Closing | Average |  |  |
| Land & Land Development | 15.48 | 5.61 | 21.09 | 18.3 | 0.00% | - |
| Plant & Machinery | 775.06 | 280.88 | 1055.94 | 915.5 | 5.28% | 48.34 |
| Buildings | 41.55 | 15.06 | 56.61 | 49.1 | 3.34% | 1.64 |
| Furniture & Fittings | 0.72 | 0.26 | 0.99 | 0.9 | 6.33% | 0.05 |
| Computer | 0.83 | 0.30 | 1.13 | 1.0 | 15.00% | 0.15 |
| Office Equipments | 0.13 | 0.05 | 0.18 | 0.2 | 6.33% | 0.01 |
| Vehicles | 1.05 | 0.38 | 1.43 | 1.2 | 9.50% | 0.12 |
| Total | 834.83 | 302.54 | 1,137.38 | 986.1 |  | 50.31 |

The total depreciation in FY 2017-18 is projected to be Rs. 50.31 Crores. However, considering the average asset base in FY 2016-17, only 1.5% of assets are funded by MSPCL and the same percentage is considered for projection of depreciation for FY 2017-18. MSPCL requests the Hon’ble Commission to approve the depreciation of Rs.0.75 Crores as shown below.

Table 6. 13: Depreciation to be considered as estimated by MSPCL for FY 2017-18

(Rs. Crore)

| Depreciation | Approved | Revised estimate |
| --- | --- | --- |
| Average value of assets | 1266.47 | 986.1 |
| Depreciation | 0.89 | 0.75 |

Commission’s Analysis:

Table 6. 14: Depreciation for FY 2017-2018  approved by the Commission after review

(Rs. Crore)

| Sl. No | Particulars | Approved for FY 2017-2018 |
| --- | --- | --- |
| 1 | Opening GFA | 851.04 |
| 2 | Addition during the year | 302.54 |
| 3 | Capitalization of expenses | - |
| 4 | Total GFA at the end | 1153.58 |
| 5 | Average GFA | 1002.31 |
| 6 | Average rate of Depreciation | 4.57% |
| 7 | Depreciation | 45.80 |
| 8 | 1.36% of the Depreciation | 0.69 |

The Commission approves depreciation of Rs 0.69 Crore for FY 2017-2018 after review.

## Interest and Finance charges

Petitioner’s submission

In the Order dated 28th February 2017, there were no interest and financial charges approved since entire capital expenditure of MSPCL has been funded by the State Government through grants from Central Government Ministries and Agencies like Ministry of Power (MoP) through schemes of NEC, NLCPR, DONER or through State Plan Scheme. Therefore, the utility does not have any liabilities on account of long term loans. As such no interest charges are claimed for FY 2017-18.

Table 6. 15: Interest and Finance Charges for FY 2017-18 estimated by MSPCL

(Rs. Crore)

| Particulars | Approved | Actual (till Sept'17) | Estimated FY 2017-18 |
| --- | --- | --- | --- |
| Total Interest and Finance Charges | - | - | - |

Commission’s Analysis:

As there is no loan liability no interest charges are considered by the Commission for FY 2017-2018.

## Interest on working capital

Petitioner’s submission

For APR, MSPCL has calculated the interest on working capital as per the new JERC (Multi Year Tariff) Regulations, 2014, and based on the revised estimated figures as discussed above. The interest rate is taken as the SBI PLR rate as on 1st April 2017 i.e., 13.85%. The calculation is shown below:

Table 6. 16: Interest on Working Capital estimated by MSPCL for the FY 2017-18

(Rs. Crore)

| Sl. No. | Particulars | Approved vide Tariff Order dated 28th Feb 2017 | FY 2017-18 Estimated |
| --- | --- | --- | --- |
| 1 | O&M expenses | 6.44 | 5.65 |
| 2 | Maintenance of Spares (1%) | 12.66 | 10.89 |
| 3 | Receivables | 5.68 | 5.40 |
| 4 | Working Capital Requirement | 24.77 | 21.94 |
| 5 | Rate of interest | 14.05% | 13.85% |
| 6 | Interest on Working Capital | 3.48 | 3.04 |

MSPCL requests the Hon’ble Commission to revise the Interest on Working Capital as shown in the above table.

Commission’s Analysis:

As per Regulation 29.2 of JERC for M&M (MYT) Regulations 2014 working capital shall be computed as follows:

- O&M expenses for one month: plus

- Maintenance of spares at 1% of the historical cost escalated from the date of commercial operation; plus

- Receivables equivalent to one month of transmission charges calculated on target availability level; minus

- Amount if any held as security deposits except the security deposits held in the form of bank guarantee from transmission system users.

Interest shall be calculated at a rate equal to State Bank Advance Rate (SBAR) as on 1st April of the financial year in which the petition is filed.

Accordingly interest on working capital is worked out as detailed in table below:

Table 6. 17: Interest on working capital approved by the Commission for FY 2017-2018

(Rs. Crore)

| Sl. No | Particulars | Total Value | One Month Cost |
| --- | --- | --- | --- |
| 1 | O&M Expenses one month | 67.75 | 5.65 |
| 2 | Maintenance of spares at 1% of opening GFA escalated by 6% | 851.04 | 9.02 |
| 3 | Receivables one month | 64.54 | 5.38 |
| 4 | Total Working Capital |  | 20.05 |
| 5 | Rate of Interest |  | 14.05% |
| 6 | Interest on working Capital |  | 2.82 |

The Commission approves interest on working capital at Rs 2.82 Crore for FY 2017-2018 as against Rs. 3.04 Crore claimed by MSPCL after review.

## Return on Equity

Petitioner’s submission

JERC (Multi Year Tariff) Regulations, 2014 provides for return at 15.5% on post tax basis. After inclusion of tax at 20.389%, the effective return rate works out to be 19.47%. Hence, the estimated value of RoE claimed on an equity amount of Rs. 10.05 Crore, under this APR is 1.96 Crore. It may be noted that the Commission had considered the paid up equity of Rs. 10.00 Crore but the actual paid up equity as per account statements is Rs. 10.05 Crore.

Table 6. 18: Return on Equity estimated by MSPCL for FY 2017-2018

(Rs. Crore)

| Return of Equity | Approved in to dt 28-02-2017 | Estimated FY 2017-2018 |
| --- | --- | --- |
| Grand Total | 1.95 | 1.96 |

Commission’s Analysis:

The Commission approves return on equity at Rs. 1.96 Crore as estimated by MSPCL for FY 2017-2018 after review.

## Non Tariff Income

Petitioner’s submission

For projecting the non-tariff income for FY 2017-18, the average non-tariff income earned in FY 2014-15, 2015-16 and FY 2016-17 has been considered. It is submitted that the interest income during FY 2016-17 has very high due to high balances in the bank accounts during FY 2016-17. However, the same is expected to reduce during FY 2017- 18 considering the reduction in average interest rates as well as lower bank balances. Agency charges are also estimated to be lower as compared to FY 2016-17 as MSPCL had earned agency charges on capital expenditure from projects financed from REC loans. Therefore, in view of lower amount of capital expenditure where MSPCL is entitled for agency charges, the same are expected to be lesser during FY 2017-18. The estimated value for                         FY 2017-18, actual amount till October 2017 and the approved values for non tariff income are shown below:

Table 6. 19: Non-Tariff Income for FY 2017-18

(Rs. Crore)

| Particulars | Approved | Actual (till Oct ’17) | Revised Estimate |
| --- | --- | --- | --- |
| Non-Tariff Income | 11.50 | 2.39 | 8.68 |

The Commission is requested to approve the Non-tariff Income of Rs. 8.68 Cr. as estimated for FY 2017-18.

Commission’s Analysis:

The Commission approves non tariff income at Rs. 8.68 Crore for FY 2017-18 as estimated by MSPCL after review.

## Aggregate Revenue Requirement

Based on the above analysis and approvals, the Aggregate Revenue Requirement estimated for APR by MSPCL against the figures approved by the Commission for FY 2015-16 and now approved by the Commission are furnished in Table below:

Table 6. 20: Aggregate Revenue Requirement approved by the Commission for FY 2017-18

(Rs. Crore)

| Sl. No | Particulars | Approved in Order dated 28.02.2017 | Estimated under APR | Now Approved by the Commission |
| --- | --- | --- | --- | --- |
| 1 | Employee costs | 62.96 | 52.60 | 52.60 |
| 2 | Repair & Maintenance expense | 10.56 | 11.17 | 11.14 |
| 3 | Adm & Gen. Expenses | 3.78 | 4.01 | 4.01 |
| 4 | Depreciation | 0.89 | 0.75 | 0.69 |
| 5 | Interest & Finance Charges | 0.00 | - | - |
| 6 | Interest on Working capital | 3.48 | 3.04 | 2.82 |
| 7 | Total Cost |  | 71.57 |  |
| 8 | Income tax | 0.39 | 0.40 | 0.40 |
| 9 | Add: Return on Equity / ROE | 1.56 | 1.56 | 1.56 |
| 10 | Less: Non Tariff income | 11.50 | 8.68 | 8.68 |
| 11 | Less: Expenses Capitalized | 3.97 | - | - |
| 12 | Aggregate Revenue Requirement | 68.15 | 64.84 | 64.54 |

## Determination of Transmission MYT ARR for Control Period  FY 2018-19 to 2022-2023

## Introduction

After the First Control Period i.e. FY 2016-17 and FY 2017-18, the Hon’ble Commission in its Tariff Order for FY 2017-18 directed that the Second Control Period shall be for a period of five years from 1.04.2018 and that the Petitioner is required to submit ARR for the Control Period FY 2018-19 to FY 2022-23. Accordingly, MSPCL has submitted its Multi Year Tariff (MYT) Petition for the determination of ARR for Second Control Period i.e. FY 2018-19 to FY 2022-23 and transmission tariff for FY 2018-19 broadly on the basis of the principles outlined in JERC (Multi Year Tariff) Regulations, 2014. MSPCL has considered the past trends and taken cognizance of other internal and external developments to estimate the likely performance for each year of the Second Control Period.

The following sections explain in detail the basis and forecasts of the following elements for each year from FY 2018-19 to FY 2022-23:

- Capital Investment Plan for the current year and ensuing year

- Determination of Aggregate Revenue Requirement by forecasting the following costs, other income & returns:

    - Employee Cost

    - Repairs & Maintenance Cost

    - Admin & General Cost

    - Interest Cost

    - Interest on Working Capital

    - Depreciation

    - Return on Equity

    - Non-Tariff Income

- Proposed Transmission Tariff for recovery of the proposed ARR for FY 2018-19.

## Contracted Capacity in Manipur

Petitioner’s Submission

Contracted Capacity in Manipur

- Energy requirement at the periphery of Manipur is projected to be 1077.23 MUs in FY 2018-19, 1141.86 MUs in FY 2019-20, 1174.36 MUs in FY 2020-21, 1196.03 MUs in FY 2021-22 and 1217.69 MUs in FY 2022-23.

- Manipur has allocations from Central Sector Generating Stations of NHPC, NEEPCO (Hydro), NEEPCO(Gas), Tripura Baramura gas based Power Plant, OTPC Pallatana unit 1&2 (Gas) and NTPC Bongaigaon plant.

- The own generation of Manipur is very less ,therefore it relies mainly on the allocation of power from Central Generating Stations like NHPC, NEEPCO, OTPC Pallatana Unit I and Tripura based Baramura power plant to meet its energy requirement.

- The existing contracted capacity for Manipur during FY 2016-17 was 204.81 MW which is expected to enhance to 291.71 MW during FY 2017-18 and further with commissioning of Bongaingon thermal plant and available capacities from Subansiri hydro electric project. The details of capacity contracted from various generation sources is summarized in the table below:

Table 7.1:  Capacity Allocation to MSPDCL (in MW) from Generating Stations

| Source | Type | FY 2016-17 (Actual) | FY 2017-18 (Projected) | FY 2018-19 (Projected) |
| --- | --- | --- | --- | --- |
| NEEPCO | CPSU | 90.18 | 117.58 | 117.58 |
| NHPC | CPSU | 44.63 | 86.63 | 86.63 |
| TSECL | State | 10.50 | 10.50 | 10.5 |
| OTPC | CPSU | 42.00 | 42 | 42 |
| NTPC | CPSU | 17.50 | 35 | 52.50 |
| Total |  | 204.81 | 291.71 | 309.21 |

Commission Analysis

Energy allocation to MSPDCL from Central Generating Stations during FY 2018-19 furnished by MSPCL is verified with reference to data furnished by MSPDCL. It is observed that there are differences in allocation of power from some generating stations. As MSPDCL is the signatory of the Power Purchase Agreement, the data furnished by MSPDCL is considered and the average contracted capacity works out to 315.08 MW as detailed in the table below.

Table7.2: Energy Allocation from Central Generating Stations approved by the Commission

| Sl. No | Plant | Plant Capacity (MW) | Licensee’s share in % | Licensee’s share in MW |
| --- | --- | --- | --- | --- |
| A | Own-Generation |  |  |  |
| 1 | Leimakhong- Micro Hydel |  |  |  |
| 2 | Various Diesel Generating plants |  |  |  |
| B | CGS- NEEPCO |  |  |  |
| 1 | Kopili-1 HE | 200.00 | 7.39% | 14.78 |
| 2 | Kopili-II HE | 25 | 6.95% | 1.74 |
| 3 | Khandong HE | 50 | 6.56% | 3.28 |
| 4 | Ranganadi HE Project | 405 | 8.37% | 33.91 |
| 5 | Doyanf HE project | 75 | 7.87% | 5.90 |
| 6 | Assam GBPP | 291 | 8.11% | 23.59 |
| 7 | Agartala GTPP I & II | 130 | 8.23% | 10.69 |
| 8 | Kameng HEP Stage-1 (upcoming on September 2016) |  |  | 0.00 |
| C | CGS-NHPC |  |  |  |
| 1 | Loktak HE | 105 | 42.50% | 44.63 |
| 2 | Loktak Free power |  |  | 0.00 |
| D | Other |  |  | 0.00 |
| 1 | Baramura GBPP Unit Iv AND V | 42.00 | 25.00% | 10.50 |
| 2 | OTPC Palatana Unit I & II | 726.6 | 5.79% | 42.03 |
| E | New Plants |  |  |  |
| 1 | NTPC Bongaigaon Unit I | 250.00 | 7.51% | 18.76 |
| 2 | NTPC Bongaigaon Unit II | 250.00 | 7.51% | 18.76 |
| 3 | NTPC Bongaigaon Unit III | 250.00 | 7.51% | 18.76 |
| 4 | Monarchak Gas Based Power Project NEEPCO | 101.00 | 4.00% | 4.04 |
| 5 | Kameng HEP stage-I | 300.00 | 2.33% | 7.00 |
| 6 | Kameng HEP stage-II | 300.00 | 2.335 | 7.00 |
| 7 | Pare HEP | 110.00 | 2.33% | 4.40 |
| 8 | Tuirial HEP | 60.00 | 4.00% | 2.40 |
| 9 | Lower Subansiri StageI | 1000.00 | 4.00% | 21.50 |
| 10 | Lower subansiri StageII | 1000.00 | 2.15% | 21.50 |
| 11 | Total |  |  | 315.08 |

The Commission considers the transmission capacity at 315.08 MW as against 309.21 projected by MSPCL for MYT Control Period FY 2018-19 to 2022-2023

## Performance of Transmission System

## Transmission Loss

Petitioner’s submission

MSPCL would like to submit that currently all the input and output points of transmission system are not metered and all the out-going 11 kV feeders as well as incoming 132 kV lines in the state are not metered. As such, the transmission losses in the system cannot be measured for MSPCL at this point of time. MSPCL is making all efforts to complete the metering of all Import and Export points by the end this Financial Year. Status of the feeders where meters have already been installed and the status of balance feeders are provided in a table below:

Table7.3: Status of Metering projected by MSPCL

| Voltage Level | Total Quantity Required | Quantity Installed | Balance Qty to be installed |
| --- | --- | --- | --- |
| 11 KV Energy Meter | 382 | 259 | 123 |
| 33 KV Energy Meter | 168 | 119 | 49 |
| 132 KV Energy Meter | 76 | 43 | 33 |

However, in the absence of any base level of losses, the Commission had approved intra-state transmission loss of 3.6% on estimated basis for FY 2017-18. MSPCL requests the Commission to approve the transmission loss of 3.6% for FY 2018-19 as revising the same without measuring actual transmission losses would be inappropriate. Further, MSPCL proposes to reduce losses by 0.1% each year starting from FY 2018-19. MSPCL requests the Commission to consider the following Transmission Loss trajectory for the Second Control Period.

Table 7.4: Transmission loss trajectory for Second Control Period projected by MSPCL

|  | Unit | End of FY 2018-19 (Projected) | End of FY 2019-20 (Projected) | End of FY 2020-21 (Projected) | End of FY 2021-22 (Projected) | End of FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- | --- |
| Transmission Losses | % | 3.6% | 3.5% | 3.4% | 3.3% | 3.2% |

Commission’s Analysis

The MSPCL during Control period FY 2018-19 to FY 2022-23 has projected Intra State transmission loss  at 3.6 %, 3.4 %, 3.3 % and 3.2 % respectively. But as per Tripartite Memorandum of Understanding made on 26th July, 2016 between Ministry of Power, Government of India and Government of Manipur and Manipur State Power Distribution Company Limited inter alia the Government of Manipur will endeavour to reduce the Transmission loss from 3.6 % to 3.2 % by FY 2018-19. Accordingly the Commission consider Intra state Transmission loss during MYT Control period as follows.

| Year | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- |
| Intra State Transmission loss % | 3.2% | 3% | 2.8% | 2.7% | 2.6% |

Thus the Commission approves transmission loss at 3.2 % for FY 2018-19, 3.% for                      FY  2019-20, 2.8% for FY 2020-21, 2.7% for FY 2021-22 and 2.6 % for FY 2022-23.

## Operation & Maintenance Expenses

Operation and Maintenance expenses comprise of the following heads:

- Employees Expenses which includes the basic pay, dearness pay, dearness allowances, house rent allowances, and other allowances, new pension scheme paid to the staff;

- Repair and Maintenance (R&M) Expenses, which include all expenditure incurred on the maintenance and upkeep of transmission assets; and

- Administrative and General Expenses, which include all expenditure incurred in operating a business such as office and IT expenses, consultancy and regulatory fee etc.

- As the utility was facing several operational issues, 1053 employees were recruited during FY 2016-17 to fill up the large quantum of sanctioned posts. It is submitted that the employee cost has increased after the said recruitment during FY 2016-17. However, it is submitted that MSPCL still needs to recruit additional employees over the next five years for meeting the vacancies created due to retirements as well as fill up the number of sanctioned posts in order ensure smooth operations. MSPCL plans to recruit new employees and the plan for the same is submitted in following sections.

- With the addition of manpower and commissioning of new projects, it is observed that the expenditure with respect to various parameters of O&M have been increasing in the past 3-4 years. Therefore, with a database of just 3 completed financial years, it is submitted that the norms based O&M expenses cannot be ascertained, as they would neither be logical nor be able to project the appropriate level of expenditure required in the future years. In view of the same, MSPCL has projected each element of O&M expenses i.e. employee expense, R&M costs and A&G expense separately considering the actual data for FY 2015-16, FY 2016-17 and six months of FY 2017-18 along with adjustments and future plans of the utility.

- The methodology adopted by MSPCL for projecting the values of each component of the O&M expense for the Control Period FY 2018-19 to FY 2022- 23 has been explained in the following section.

## Employee Cost

Petitioner’s submission

Old Employees of EDM

- As per the transfer scheme notified by Government of Manipur under the restructuring exercise, all the employees (including regular employees, work charge staff and muster roll) of erstwhile Electricity Department have been transferred to the new companies on deputation for three years. They have transferred to the new companies on "as-is-where-is" basis". As such, the old employees of EDM working in distribution area have been transferred to MSPDCL while those working in transmission function have been transferred to MSPCL.

- Under the deputation, all the employees of MSPCL shall have the same pay structure as existing in EDM and no deputation allowance is being paid to the employees. Also, the terminal benefits (including pension, gratuity and leave encashment) of the old regular employees shall continue to be borne directly by the State Government. The new companies shall only bear the salary component (including basic, HRA, TA, DA etc.) of the deputed employees.

- The employee expenses for the old employees have been projected based on the actual payouts made in FY 2014-15 after restructuring by MSPCL and assuming 3% increase in basic pay (including grade pay, additional pay) annually and 12% increase in dearness allowance, annually as per the rate of govt policies.  The other components of the pay has been increased based on increase in the basic pay.

- New Employees of MSPCL

- Post the formation, MSPCL was suffering from acute shortage of manpower. During FY 2016-17, MSPCL recruited 1043 employees to fill these vacancies. Also, the work charge and muster roll employees were also regularized during FY 2016-17 and all employees are on rolls of the utility.

- Also, it was felt that the number  of sanctioned posts are very less considering the increasing scale of operations of MSPCL. With the addition of transmission network due to commissioning of substations and transmission lines commissioned during last 2-3 years as well as transfer of 33/11kV substations from MSPDCL to MSPCL, the requirement for additional manpower has been felt. Therefore the sanctioned strength has been revised from 1585 employees to 2451 employees in FY 2016-17.

- During FY 2017-18, no employees have been recruited thus far. However, for the Second Control Period MSPCL plans to recruit 800 employees during the five year period to fill up the vacancies in the sanctioned strength and to strengthen the institutional capability of the company. The cost of the new employees for FY 2018-19 has been estimated separately based on the prevailing salary structure at various levels.

Projection of Salaries and Cost

- For existing employees, the estimated employee cost for FY 2017-18 as detailed in previous Chapter has been considered as the base for projecting the employee cost for each year of the Second Control Period. An increase of 10% per annum has been considered over the average employee cost in FY 2017-18 and employee expenses are projected for FY 2018-19 to FY 2022-23 considering addition of new employees at the beginning of the year.

- The total staff strength of MSPCL is projected to increase over the next five years of Second Control period because of the new recruitments planned in order to increase the strength of employees. The average number of employees in MSPCL is expected to increase from 1663 in FY 2017-18 to 2121 in FY 2022-23, based on the number of retirements and recruitments projected, as given below.

Table7.5: Employee Cost projected by MSPCL for Control Period FY 2018-19 to FY 2022-23

| Projection of MSPCL Employee for Second Control Period |
| --- |
| Particulars | FY 2017-18 | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
|  | (Estimated) | (Projected) | (Projected) | (Projected) | (Projected) | (Projected) |
| Opening Employees | 1688 | 1638 | 1940 | 2024 | 2051 | 2097 |
| Retirements | 50 | 48 | 66 | 73 | 54 | 41 |
| Recruitments | 0 | 350 | 150 | 100 | 100 | 100 |
| Closing Number of Employees | 1638 | 1940 | 2024 | 2051 | 2097 | 2156 |
| Average Number of Employees | 1688 | 1789 | 1982 | 2038 | 2074 | 2127 |

The MSPCL would like to bring into the notice of Hon’ble Commission that certain components of employee cost should be considered as uncontrollable factors, especially factors like DA/Basic hike through Government, revision through VII Pay Commission etc. MSPCL would not be in a position to not allow these increases as any deviation will be against law/policy. The revision in salaries and other incentives are kept at par with the other departments of Government of Manipur and is a legal binding on the department to follow the same. Therefore, MSPCL requests the Commission to adopt a relaxed and realistic approach for employee expenditure, keeping in view the obligation of the organization towards the employees.

MSPCL submits to the Hon’ble commission that an amount of Rs. 2.4 Crores is projected to be incurred in FY 2018-19, towards payment of arrears and pensions for 127 workers regularized.

The estimate for new employee addition for FY 2018-19 is expected to be as detailed in table below:

Table 7.6: Cost of new employees proposed to be recruited in FY 2018-19

| Designation | Gross Monthly Pay (Rs.) | Proposed Recruitment in FY2018-19 | Monthly Salary (Rs.) | Total Salary Cost for 12 months(Rs. Crore) |
| --- | --- | --- | --- | --- |
| Manager | 40869 | 3 | 122607 | 0.15 |
| Deputy Manager | 33725 | 38 | 1281550 | 1.54 |
| Assistant Manager | 28696 | 42 | 1205232 | 1.45 |
| Jr. Esst Asst | 19766 | 36 | 711576 | 0.85 |
| Control Room Assistant | 19766 | 83 | 1640578 | 1.97 |
| Assistant Store Keeper | 19766 | 5 | 98830 | 0.12 |
| Computer Operator | 28696 | 22 | 631312 | 0.76 |
| Jr. System Assistant | 17063 | 95 | 1620985 | 1.95 |
| Office Assistant | 15818 | 12 | 189816 | 0.23 |
| Watchman cum Cleaning Assistant | 15818 | 14 | 221452 | 0.27 |
| Impact of VII Pay Commission-10% |  |  |  | 0.93 |
| Grand Total |  | 350 |  | 10.2 |

(source table 42 of petition)

Further, MSPCL has also proposed a provisional amount (10% of overall salaries) towards implementation of VII Pay Commission recommendations which would lead to increase in employee cost. In absence of any government order with regard to the same, MSPCL has provisionally considered the amount in order to reduce any burden on the consumers at  the later stage (true-up and revision). The Hon’ble Commission is requested to approve the amounts provisionally and allow the actual expenditure on this account at the time of truing-up for the respective years.

Table 7.7: Employee Cost projected by MSPCL during control period FY 2018-19 to FY2022-23

(Rs. Crore)

| Particulars | FY 2017-18 (Estimated) | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- | --- |
| Salaries of existing employees | 52.60 | 56.15 | 65.84 | 72.63 | 79.36 | 87.40 |
| Impact of VII th Pay Commission - Existing Employees |  | 5.615 | 6.55 | 7.22 | 7.89 | 8.69 |
| Payment of arrears and pensions for 127 regularized staff |  | 2.40 |  |  |  |  |
| New Employees Salaries |  | 10.20 | 2.18 | 1.46 | 1.46 | 1.46 |
| Net Employee Expenses | 52.60 | 74.37 | 74.58 | 81.31 | 88.71 | 97.55 |

MSPCL requests the Hon’ble Commission to approve the employee costs as projected above by the Petitioner.

Commission’s Analysis

Actual Employee cost during FY 2016-17 is Rs. 36.28 Crore. The MSPCL has estimated the employee cost during FY 2017-18 at Rs. 52.60 Crore based on first 6 months actuals during FY 2017-18 (01.04.2017 to 30.09.2017) . The increase in employee cost may be due to impact of 113 employers planned to be recruited during FY 2017-18.

While that being the position as on FY 2017-18, the MSPCL has projected employee cost for subsequent years at different percentages 6.75 % for 2018-19, 17.26 % for FY 2019-20, 10.31%  for FY 2020-21, 9.27 % for FY 2021-22 and 10.13 % for FY 2022-23 and added impact of VII pay commission to existing employees every year.

Further MSPCL proposed recruitment of 350 employees in FY 2018-19 for which Rs. 10.20 Crore additional provision is made which includes 0.93 Crore being impact of VII pay commission to 350 new recruiters during FY 2018-19. The Commission observed that no specific order or indication is given when the VII pay commission will be implemented. However as it is a projection the same is considered as requested by MSPCL. Further Rs. 2.40 Crore being the arrear payment to 127 regularised employees is also considered. Regarding YOY escalation, generally in many distribution companies 5.72 % escalation factor is being considered. Since it is a projection pending furnishing details the Commission considers to adopt escalation factor of 5.72 % P.A during the Control period FY 2018-19 to FY 2022-23.

Regarding salary to 350 recruits proposed during 2018-19 as all the recruits may not join at the beginning of the  year,  the Commission considers to allow 50 % of total commitment of Rs. 10.20 Crore, less 0.93 Crore being the impact of VII pay commission to new recruits which will not arise. Thus employee cost during MYT Control period is regulated as detailed below.

Table 7.8: Employee cost approved by the Commission for FY 2018-19 to FY 2022-23

(Rs. Crore)

| Sl. No | Particulars | FY 2017-18 | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Basis | 52.60 | 55.60 |  |  |  |  |
| 2 | Impact of VII pay Commission |  | 5.615 |  |  |  |  |
| 3 | Payment of arrears to 127 regularised employees |  | 2.40 |  |  |  |  |
| 4 | 350 new employees salaries |  | 4.635 |  |  |  |  |
| 5 | Total | 52.60 | 68.25 | 69.30 | 73.27 | 77.46 | 81.89 |

The Commission approves employee cost as  follows during MYT Control period.

| Year | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- |
| Rs. Crore | 68.25 | 69.30 | 73.27 | 77.46 | 81.89 |

## Repairs & Maintenance Expenses

Petitioner’s submission

It is submitted that the amount of repairs and maintenance expenses are directly linked to the gross fixed assets of the transmission network and therefore majority of the Tariff Regulations for transmission licensee / STUs across states including the Forum of Regulators’ Model Regulations provide for R&M expense as a percentage of gross fixed assets. Since the assets of the MSPCL have been increasing in the last 2-3 years with the addition of substations and transmission lines along with transfer of 33kV assets from MSPDCL as per the provisions of transfer scheme, MSPCL proposes to allow the R&M expense as per the formula provided below:

Repairs and Maintenance expense shall be calculated as percentage (as per the norm defined) of Opening Gross Fixed Assets for the year governed by following formula:

R&Mn = Kb* GFAn Where:

R&Mn: Repairs & Maintenance expense for nth year GFAn: Opening Gross Fixed Assets for the year

Kb: Percentage point as per the norm

The value of ‘K factor’ i.e. repair and maintenance expense as percentage of average gross fixed assets have been determined based on actual figure for FY 2016-17 has been computed as below:

Table 7.9: K factor for computation of R&M expenses

(Rs. Crore)

| Particulars | FY 2016-17 |
| --- | --- |
| R&M Expenses | 7.60 |
| Opening GFA | 507.20 |
| Closing GFA | 834.83 |
| Average GFA | 671.02 |
| R&M Expense as % of Average GFA | 1.13% |

Further, MSPCL has applied the above K factor on the average gross fixed assets for the respective years of the Second Control Period. The proposed R&M expense for the Second Control Period i.e. FY 2018-19 to FY 2022-23 is provided in the table below:

Table 7.10: Repairs & Maintenance Expense projected by MSPCL for FY 2018-19 to FY 2022-23

(Rs. Crore)

| Particulars | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
| Opening GFA | 1,137.38 | 1,576.50 | 1,903.34 | 2,389.12 | 2,518.59 |
| Closing GFA | 1,576.50 | 1,903.34 | 2,389.12 | 2,518.59 | 2,644.66 |
| Average GFA | 1,356.94 | 1,739.92 | 2,146.23 | 2,453.85 | 2,581.62 |
| R&M Expense as % of Average GFA | 1.13% | 1.13% | 1.13% | 1.13% | 1.13% |
| R&M Expenses | 15.37 | 19.70 | 24.30 | 27.79 | 29.23 |

MSPCL requests the Commission to approve the R&M expense without any disallowances as the same is necessary for proper maintenance and strengthening of the system and quality of supply in the region in order to ensure consumer satisfaction.

Commission’s Analysis:

The commission in its order dated 29.2.2016 had approved R&M expenses at Rs. 5.29 Cr for FY 2017-18.  However in view of the circumstances explained by the petitioner the R&M expenses are considered for MYT Control period FY 2018-19 to FY 2022-23 as projected by MSPCL.

The Commission approves R&M expenses as projected by MSPCL as detailed below.

| Year | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- |
| Rs. Cr | 15.37 | 19.70 | 24.30 | 27.79 | 29.23 |

## Administration & General Expense

Petitioner’s submission

Administrative and General (A&G) expense comprise of various sub-heads including the following:

- Travel and conveyance expenses

- Hydel investigation expenses

- Consultancy and regulatory fees

- Office expenses

- Publication expenses

- Other administration expenses

It is submitted that the A&G expense for MSPCL increased at a higher rate due to the increase in operations of MSPCL and therefore the expenses incurred in the past years i.e. FY 2014-15, FY 2015-16 and FY 2016-17 cannot be simply utilized for projecting the A&G expense for the Second Control Period. As also submitted in the previous petitions, the actual expenses with respect to A&G and other parameters are primarily done during the second half of the year based on the availability of funds and therefore, the six months actual A&G expense for FY 2017-18 do not provide accurate basis for projecting the reasonable level of expense for future years. Therefore, MSPCL has projected A&G expense for FY 2017-18 based on an increase of 25% over FY 2016-17 considering the growth of transmission assets and 1053 new employees who have been recruited in FY 2016-17. Thereafter, for the Second Control Period, A&G expense has been projected considering the average CPI inflation in the last five years which is equal to 7.23%.

The proposed A&G expense for each year of the Second Control Period are as provided in the table below:

Table 7.11: Administrative & General Expenses projected by MSPCL for control period FY 2018-19 to FY 2022-23

(Rs. Crore)

| A&G Cost | FY 2017-18 (Estimated) | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- | --- |
| Telephone, Postage, Telegram & Telex Charges | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 |
| Vehicle Expenses | 0.9 | 0.97 | 1.04 | 1.11 | 1.2 | 1.28 |
| TA / DA / Travel Expenses | 0.48 | 0.52 | 0.55 | 0.59 | 0.64 | 0.68 |
| Printing and Stationery | 0.10 | 0.1 | 0.11 | 0.12 | 0.13 | 0.14 |
| Advertisement Expenses | 0.13 | 0.14 | 0.15 | 0.16 | 0.17 | 0.18 |
| Electricity Charges to Offices | 0.08 | 0.08 | 0.09 | 0.1 | 0.1 | 0.11 |
| Miscellaneous Expenses, Meetings, Seminars | 0.35 | 0.37 | 0.4 | 0.43 | 0.46 | 0.49 |
| Legal Charges | 0.11 | 0.11 | 0.12 | 0.13 | 0.14 | 0.15 |
| Auditor's Fee, Consultants, License | 1.07 | 1.15 | 1.23 | 1.32 | 1.41 | 1.52 |
| Vehicle Running Expenses Truck/Delivery Van | 0.5 | 0.53 | 0.57 | 0.62 | 0.66 | 0.71 |
| Fabrication Charges, Furniture, Local Purchase | 0.28 | 0.3 | 0.32 | 0.35 | 0.37 | 0.4 |
| Total A&G expenses | 4.02 | 4.30 | 4.61 | 4.94 | 5.30 | 5.68 |

Considering the above aspects, MSPCL submits to the Commission to approve the A&G costs in full without any disallowance, as these costs are essentially required to administer MSPCL’s operation.

Commission’s Analysis

The Commission considers A & G expenses as projected by MSPCL.

The Commission approves Administration & General expenses during control period FY 2018-19 to FY 2022-23 as projected by MSPCL as follows.

| Year | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- |
| Rs. Crore | 4.30 | 4.61 | 4.94 | 5.30 | 5.68 |

## Summary of O&M expenses

Based on the above mentioned expenses for employee cost, A&G expenses and R&M expenses, the total O&M expenses are tabulated below. Around 5.1% of O & M   expenses are capitalized.

Table 7.12: Summary of O&M expenses projected by MSPCL for Control period              FY 2018-19 to  FY 2022-23

(Rs. Crore)

| Particulars | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
| Employee Expense | 74.37 | 74.58 | 81.31 | 88.71 | 97.55 |
| R & M Expenses | 15.37 | 19.70 | 24.30 | 27.79 | 29.23 |
| A&G Expenses | 4.30 | 4.61 | 4.94 | 5.30 | 5.68 |
| Total O&M Expenses | 94.03 | 98.89 | 110.55 | 121.80 | 132.47 |

Commission’s Analysis:

The MSPCL has stated that about 5% of O & M expenses are capitalised.

The Commission approves O&M expenses as summarized in the Table below:

Table 7.13: O&M expenses approved by the Commission for Control period FY 2018-19 to FY 2022-23

(Rs. Crore)

| Particulars | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
| Employee Expense | 68.25 | 69.30 | 73.27 | 77.46 | 81.89 |
| R & M Expenses | 15.37 | 19.70 | 24.30 | 27.79 | 29.23 |
| A&G Expenses | 4.30 | 4.61 | 4.94 | 5.30 | 5.68 |
| Total O&M Expenses | 87.92 | 93.61 | 102.51 | 110.55 | 116.80 |
| Expenses capitalized @ 5.1 % | 4.48 | 4.77 | 5.23 | 5.64 | 5.96 |
| Total O&M expenses | 83.44 | 88.84 | 97.28 | 104.91 | 110.84 |

## Capital Investment Plan

Petitioner’s submission

- Capital Expenditure Plan

As per Regulation 59 of the JERC MYT Regulations, 2014, the Transmission licensee is required to submit the Capital Investment Plan for the Control Period detailing the capital expenditure required for ongoing and new schemes each year along with financing plan and targets for achieving the load growth, improvement in quality of supply, reliability, metering, etc. for approval of the Commission.

The details of existing transmission network of Manipur is as provided in the table below:

Table 7.14: MSPCL Transmission infrastructure snapshot

| Summary sheet for sub-stations and transmission lines |
| --- |
| Voltage | 33 KV | 132 KV |
| No of Substations | 81 | 14 |
| Length of Transmission Line (in kms) | 1462 | 573.1 |

It is submitted that in view of projected increase in power demand in Manipur, additional infrastructure needs to be built for providing quality and reliable power to the consumers in the State. Therefore, significant augmentation and addition of substation and transmission lines are required to not only meet the growing load in the State of Manipur but also to provide reliable and quality power to the consumers in the State.

Table  7.15: Manipur State Peak Load details

| Year | Peak Load (in MW) |
| --- | --- |
| FY 2008-09 | 95 |
| FY 2015-16 | 163 |
| FY 2017-18 (projected as per CEA) | 210 |

The peak load in the State has increased by approx. 72% over the last 7 years (during FY09 to FY16) indicating an average increase of approximately 10% each year. This load is further expected to increase during the period FY 2018-19 to FY 2022-23. To achieve the anticipated load growth and targeted loss reduction, MSPCL has carried out an analysis of capital investment required for the Control Period FY 2018-19 to FY 2022-23.

Historically, MSPCL prepares an Annual Plan for the capital investment towards new schemes and continuing schemes which it plans to incur in the ensuing year.

Considering the increase in demand from the Distribution Company and increased availability for the state, MSPCL would be required to undertake significant capital expenditure for system augmentation and strengthening. System augmentation would not only help MSPCL in handling increased load but would also ensure better quality of supply and network reliability to the consumers.

It is further submitted that the majority of the new substations proposed in the next Control Period i.e. FY 2018-19 to FY 2022-23 are in the hilly districts of the state where there is a low voltage profile. The surrounding villages from the selected/ proposed sub-station sites are normally fed by very long 11kV lines which lead to very poor voltage profile at these villages. Moreover these long lines pass through thick forests making them susceptible to frequent faults. In view of the State’s vision to ensure reliable and quality power supply 24X7 to all the consumers in the State, the proposed sites are selected for installation of new substation.

The planned capital expenditure would help MSPCL in reduction of the transmission loss levels. The deployment of capital investment is primarily aimed at the following benefits:

- New Infrastructure and augmentation of existing infrastructure to meet the load growth.

- Providing reliable power to far off areas by improving voltage profile.

- Replacement and upgradation of depleted transmission infrastructure.

- Improving reliability and quality of power supply.

- Loss reduction.

- System Improvement.

- Creation of Infrastructure Facilities & other miscellaneous works

The details of such new schemes along with their estimated year-wise capital expenditure during the Control Period FY 2018-19 to FY 2022-23 are provided in the table below:

Table 7.16: Proposed new projects for the Second Control Period FY 2018-19 to FY 2022-23

(Rs. Crore)

| Sl. No | Name of Project | Cost of Project | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Installation of 2x3.15 MVA 33/11 kV S/S at Oinam, Senapati District |  | 3.38 | 3.38 | 2.9 |  |  |
| 2 | Installation of 2x3.15 MVA 33/11 kV S/S at Rilam Centre | 9.13 | 3.19 | 3.19 | 2.74 |  |  |
| 3 | Installation of 2x3.15 MVA 33/11 kV S/S at Gwakhal | 6.18 | 2.16 | 2.16 | 1.85 |  |  |
| 4 | Installation of 2x3.15 MVA 33/11 kV S/S at Nampisha | 8.6 | 3.01 | 3.01 | 2.58 |  |  |
| 5 | Installation of 2x3.15 MVA 33/11 kV S/S at Phadang | 8.07 | 2.83 | 2.83 | 2.42 |  |  |
| 6 | Installation of 2x3.15 MVA 33/11 kV S/S at Tuinem | 9.65 | 3.38 | 3.38 | 2.9 |  |  |
| 7 | Installation of 2x3.15 MVA 33/11 kV S/S at Somdal | 7.55 | 2.64 | 2.64 | 2.26 |  |  |
| 8 | Installation of 2x3.15 MVA 33/11 kV S/S at Lambui | 9.65 | 3.38 | 3.38 | 2.9 |  |  |
| 9 | Installation of 2x3.15 MVA 33/11 kV S/S at Sirakhong | 6.6 | 2.31 | 2.31 | 1.98 |  |  |
| 10 | Installation of 2x3.15 MVA 33/11 kV S/S at Wahong | 8.07 | 2.83 | 2.83 | 2.42 |  |  |
| 11 | Installation of 2x3.15 MVA 33/11 kV S/S at Kwatha | 7.55 | 2.64 | 2.64 | 2.26 |  |  |
| 12 | Installation of 2x3.15 MVA 33/11 kV S/S at Sita | 7.86 | 2.75 | 2.75 | 2.36 |  |  |
| 13 | Installation of 2x3.15 MVA 33/11 kV S/S at Kengjoy | 7.23 | 2.53 | 2.53 | 2.17 |  |  |
| 14 | Installation of 2x3.15 MVA 33/11 kV S/S at Patpuihmun | 9.13 | 3.19 | 3.19 | 2.74 |  |  |
| 15 | Construction of 33 kV line from Tamenglong 33 kV S/Sto Tamei 33 kV S/S | 5.74 | 2.01 | 2.01 | 1.72 |  |  |
| 16 | Construction of 33 kV line from Rengpang 132 kV S/S to Noney 33 kV S/S | 5.63 | 1.97 | 1.97 | 1.69 |  |  |
| 17 | Construction of 33 kV line from Chandel 132 kV S/S toJoupi 33 kV S/S | 4.37 | 1.53 | 1.53 | 1.31 |  |  |
| 18 | Construction of 33 kV line from Tousem 33 kV S/S to Oinamlong 33 kV S/S | 6.69 | 2.34 | 2.34 | 2.01 |  |  |
| 19 | Construction of 33 kV line from Yaingangpokpi 132 kV S/S to Khuman Lampak 33kV S/S | 11.47 | 4.01 | 4.01 | 3.44 |  |  |
| 20 | Augmentation, R&M of 33/11kV sub stations | 85.17 | 29.81 | 29.81 | 25.55 |  |  |
|  | Sub-Total Capital Expenditure |  | 81.89 | 81.89 | 70.2 | 0 | 0 |
|  | 2019-20 |  |  |  |  |  |  |
| 1 | Installation of 2x20 MVA 132/33 kV S/S at Khoupumwith associated line | 42.23 |  | 14.78 | 14.78 | 12.67 |  |
| 2 | Installation of 33/11 kV S/S at Senapati (HQ) | 6.3 |  | 2.21 | 2.21 | 1.89 |  |
| 3 | Installation of 33/11 kV S/S at Capitol Project(GIS) | 16.83 |  | 5.89 | 5.89 | 5.05 |  |
| 4 | Installation of 33/11 kV S/S at Sagolband | 5.85 |  | 2.05 | 2.05 | 1.76 |  |
| 5 | Installation of 33/11 kV S/S at Maulnuam | 9.04 |  | 3.16 | 3.16 | 2.71 |  |
|  | Sub-Total Capital |  | 0 | 28.09 | 28.09 | 24.08 | 0 |
|  | Expenditure |  |  |  |  |  |  |
|  | 2020-21 |  |  |  |  |  |  |
| 1 | Installation of 2x12.5 MVA 132/33 kV S/S at Kamjong with associated line | 70.55 |  |  | 24.69 | 24.69 | 21.17 |
| 2 | Augmentation, R&M of 33/11kV S/S | 70 |  |  | 24.5 | 24.5 | 21 |
|  | Sub-Total Capital |  | 0 | 0 | 49.19 | 49.19 | 42.17 |
|  | Expenditure |  |  |  |  |  |  |
|  | 2021-22 |  |  |  |  |  |  |
| 1 | Installation of 33/11 kV S/S at Sajik Tampa | 10.24 |  |  |  | 3.58 | 3.58 |
| 2 | Installation of 33/11 kV S/S at Kanga Khunou | 9.73 |  |  |  | 3.41 | 3.41 |
| 3 | Installation of 33/11 kV S/S at Zoujangtek | 11.25 |  |  |  | 3.94 | 3.94 |
| 4 | Installation of 33/11 kV S/S at Haochong | 10.85 |  |  |  | 3.8 | 3.8 |
| 5 | Augmentation, R&M of 33/11kV S/S | 68.25 |  |  |  | 23.89 | 23.89 |
| 6 | Construction of 132 KV 2nd ckt Stringing from Ningthoukhong -Yurembam | 2.75 |  |  |  | 0.96 | 0.96 |
| 7 | Reconductoring of old 33 KV Lines | 15.55 |  |  |  | 5.44 | 5.44 |
| 8 | Replacement of 132 KV lines by HTLS conductor from Yurembam to Yaingangpokpi | 14.07 |  |  |  | 4.92 | 4.92 |
|  | Sub-Total Capital |  | 0 | 0 | 0 | 49.94 | 49.94 |
|  | Expenditure |  |  |  |  |  |  |
|  | 2022-23 |  |  |  |  |  |  |
| 1 | Installation of 33/11 kV S/S at Nungba | 9.24 |  |  |  |  | 3.23 |
| 2 | Installation of 33/11 kV S/S at Langmei | 8.16 |  |  |  |  | 2.86 |
| 3 | Installation of 33/11 kV S/S at Kaimai | 8.78 |  |  |  |  | 3.07 |
| 4 | Installation of 33/11 kV S/S at Maku | 10.97 |  |  |  |  | 3.84 |
| 3 | Installation of 33/11 kV S/S at Kashung | 10.72 |  |  |  |  | 3.75 |
| 4 | Installation of 33/11 kV S/S at Aishi | 9.87 |  |  |  |  | 3.45 |
| 5 | Augmentation, R&M of 33/11 kV S/S | 50.75 |  |  |  |  | 17.76 |
| 6 | Stringing of 132 KV line from Rengpang - Karong | 59.4 |  |  |  |  | 20.79 |
| 7 | Stringing of 132 KV 2nd ckt from Heikakpokpi(Kakching)-Chandel | 2.75 |  |  |  |  | 0.96 |
| 8 | Stringing of 132 KV 2nd ckt from Kakching -Moreh | 5.5 |  |  |  |  | 1.93 |
| 9 | Reconductoring of old 33 KV Lines | 8.36 |  |  |  |  | 2.93 |
| 10 | Replacement of 132 KV lines by HTLS conductor from Ningthoukhong to Churachandpur | 15.65 |  |  |  |  | 5.48 |
| 11 | Replacement of 132 KV lines by HTLS conductor from Yurembam (State) to Yurembam (PG) | 0.34 |  |  |  |  | 0.12 |
|  | Sub-Total Capital |  | 0 | 0 | 0 | 0 | 70.17 |
|  | Expenditure |  |  |  |  |  |  |
|  | Total Capital Expenditure |  | 81.9 | 109.98 | 147.48 | 123.21 | 162.28 |

The Commission is requested to provide approval for the above proposed new schemes during the Control Period. It is submitted that these schemes shall help the utility in delivering quality and reliable power in the State. Further, it is submitted that the proposed schemes are based on the overall perspective plan and may undergo changes at later stage.

Ongoing Capital Expenditure Schemes undertaken by MSPCL

Also, it is submitted that there are a number of transmission projects which are currently ongoing and expected to complete during the Second Control Period FY 2018-19 to FY 2022-23. These projects are being undertaken by MSPCL and details of which are provided in the table below:

Table 7.17: Current ongoing projects expected to be completed during the Second Control Period FY 2018-19 to FY 2022-23

(Rs. Crore)

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Projection(2018-19) | Projection(2019-20) |
| --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total | Plan | Grant | Total | Plan | Grant | Total |
| A.1 | Ongoing Schemes |  |  |  |  |  |  |  |  |  |  |
| A.1.1 | 400 kV System |  |  |  |  |  |  |  |  |  |  |
| 1 | Installation of 400 kV Sub-Station at Thoubal(NLCPR) | 221.11 | 105.69 | 115.42 | 221.11 | 11.40 | 23.08 | 34.48 |  |  |  |
| 2 | Construction of 400 kV T/L Yurembam to Thoubal via Nambol(NLCPR) | 239.10 | 128.27 | 110.83 | 239.10 | 47.27 | 22.17 | 69.44 |  |  |  |
| 3 | Installation of 2 nos. 400 kV line bays at Imphal(PG) sub- station | 35.57 | 35.57 |  | 35.57 | 15.57 | 0.00 | 15.57 |  |  |  |
|  | Total : A.1.1 |  |  |  |  | 74.23 | 45.25 | 119.49 | 0.00 | 0.00 | 0.00 |
| A.1.2 | 132 kV System |  |  |  |  |  |  |  |  |  |  |
| 1 | Installation of line bay equipment at 132 kV terminals at Churachandpur and Kakching 132/33 kV sub-stations | 3.56 | 3.56 | 0.00 | 3.56 |  |  |  |  |  |  |
| 2 | Augmentation of 132 kV SS at Karong | 6.60 | 1.60 | 5.00 | 6.60 | 0.00 | 0.00 | 0.00 |  |  |  |
| 3 | Augmentation 132/33 KV S/S at Ningthoukhong S/S | 4.99 | 4.99 | 0.00 | 4.99 | 0.40 | 0.00 | 0.40 |  |  |  |
| 4 | Stringing of 2nd Circuit 132 KV line on the existing Double Circuit towers from Ningthoukhong - CCpur line | 3.16 | 3.16 | 0.00 | 3.16 | 0.00 | 0.00 | 0.00 |  |  |  |
| 5 | Constn. of 132 kV S/C line Yurembam to Yaingangpokpi(SPA) | 35.23 | 7.23 | 28.00 | 35.23 | 0.00 | 0.00 | 0.00 |  |  |  |
| 6 | Installation of 132/33 kV S/S at Kongba(NEC) | 21.53 | 7.44 | 14.09 | 21.53 | 0.00 | 0.00 | 0.00 |  |  |  |
| 7 | Installation of 132/33 KV S/S at Hundung (Ukhrul) & its associated line(SPA) | 50.21 | 14.31 | 35.90 | 50.21 | 0.81 | 0.00 | 0.81 |  |  |  |
| 8 | R & M of 132/33 kV sub-station at Yurembam (SPA/NEC) | 44.04 | 9.54 | 34.50 | 44.04 | 1.63 | 0.00 | 1.63 |  |  |  |
| 9 | Installation of 132/33 kV S/S at Chandel with associated 132 KV line(NLCPR) | 34.50 | 22.57 | 11.93 | 34.50 | 3.20 | 0.00 | 3.20 |  |  |  |
| 10 | Installation of 1x20 MVA transformer at Yaingangpokpi | 5.58 | 5.58 | 0.00 | 5.58 | 5.41 | 0.00 | 5.41 |  |  |  |
| 11 | Renovation & Modernisation of two nos. of 132/33 KV S/S at Yaingangpokpi & Ningthoukhong(NLCPR) | 40.50 | 9.67 | 30.83 | 40.50 | 2.92 | 0.00 | 2.92 |  |  |  |
| 12 | Renovation & Modernisation of three nos. of 132/33 kV S/S at Kakching, Karong & Churachandpur(NLCPR) | 49.69 | 8.10 | 41.58 | 49.69 | 4.87 | 8.32 | 13.19 |  |  |  |
| 13 | Installation of 132/33 kV S/S at Thanlon with associated line(NLCPR) | 118.80 | 64.82 | 53.98 | 118.80 | 15.10 | 0.00 | 15.10 |  |  |  |

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Projection(2018-19) | Projection(2019-20) |
| --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total | Plan | Grant | Total | Plan | Grant | Total |
| 14 | Installation of 2x20 MVA,132 kV Sub-Station along with associated 132 kV LILO lines & related works at Thoubal(NEC) | 51.02 | 18.97 | 32.05 | 51.02 | 12.27 | 7.05 | 19.32 |  |  |  |
| 15 | Providing of Energy Meter | 3.47 | 3.47 | 0.00 | 3.47 | 0.00 | 0.00 | 0.00 |  |  |  |
| 16 | Augmentation of Rengpang 132/33 kV sub-station by installing(3x4.16+1x4.16)MVA 132/33 kV single phase transformers | 12.65 | 12.65 |  | 12.65 | 4.69 | 0.00 | 4.69 |  |  |  |
| 17 | IDC on REC loan |  |  |  |  | 10.75 | 0.00 | 10.75 | 537.50 |  | 537.50 |
| 18 | Diversion of forest land for construction and stringing of 132 kV transmission line from Kakching to Moreh |  |  |  |  | 20.65 | 0.00 | 20.65 |  |  |  |
| 19 | Diversion of forest land for construction and stringing of 132 kV transmission line from Khenjang to Thanlon |  |  |  |  | 23.78 | 0.00 | 23.78 |  |  |  |
| 20 | Installation of 132/33 KV sub-station at Moreh with erection of associated 132 KV line(NLCPR) | 84.35 | 55.90 | 28.45 | 84.35 | 18.27 | 5.69 | 23.96 |  |  |  |
| 21 | Augmentation of 132/33 KV S/S at Jiribam (Installation of additional transformers) | 3.66 | 3.66 |  | 3.66 | 0.79 | 0.00 | 0.79 |  |  |  |
| 22 | Augmentation of 132/33 KV S/S at Ningthoukhong (Installation of additional transformers) | 4.99 | 4.99 |  |  | 4.49 | 0.00 | 4.49 |  |  |  |
| 23 | Augmentation of 132/33 KV S/S at Kongba (Installation of additional transformers) | 2.61 | 2.61 |  |  | 2.61 | 0.00 | 2.61 |  |  |  |
| 24 | Stringing of 132 kV line (2nd circuit) from Kakching to Churachandpur(NEC) | 17.92 | 8.76 | 9.16 | 17.92 | 2.36 | 3.96 | 6.32 |  |  |  |
| 25 | Construction of 132 kV S/C line(2nd ckt) on D/C towers from Leimatak PH(NHPC) to 132 kV sub-station at Ningthoukhong | 19.44 | 19.44 | 0.00 | 19.44 | 0.00 | 0.00 | 0.00 |  |  |  |
| 26 | Installation of 132 kV sub-station along with associated 132 kV line at Elangkhangpokpi | 45.75 | 45.75 | 0.00 | 45.75 | 3.26 | 0.00 | 3.26 |  |  |  |
| 27 | Construction of 132 kV S/C line(3rd ckt) strung on D/C towers from 132 kV Yurembam sub-station (State) to Yurembam sub-station (PGCIL) | 10.25 | 10.25 | 0.00 | 10.25 | 2.53 | 0.00 | 2.53 |  |  |  |
| 28 | Stringing of 132 kV S/C(second circuit) on DC towers from Yaingangpokpi 132 kV sub-station to Kakching 132 kV sub- station via Kongba | 25.73 | 25.73 | 0.00 | 25.73 | 0.00 | 0.00 | 0.00 |  |  |  |
| 29 | Construction of 132/33 kV sub-station at Tipaimukh | 49.21 | 49.21 | 0.00 | 49.21 | 8.93 |  | 8.93 |  |  |  |

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Projection(2018-19) | Projection(2019-20) |
| --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total | Plan | Grant | Total | Plan | Grant | Total |
| 30 | Construction of 132 kV link T/L from 400/132 kV sub- station, Thoubal to 132 kV sub-stations at Kongba, Yaingangpokpi and Hundung on existing Kongba to Kakching 132 kV T/L. | 15.83 | 15.83 | 0.00 | 15.83 | 7.67 | 0.00 | 7.67 |  |  |  |
| 31 | Construction of 132 kV link T/L from 400/132 kV sub- station, Thoubal to 132 kV sub-stations at Kakching & Chandel on existing Kongba to Kakching 132 kV T/L. | 7.98 | 7.98 |  |  | 1.98 | 0.00 | 1.98 |  |  |  |
| 32 | Construction of 132 kV link T/L from 400/132 kV sub- station, Thoubal to 132 kV sub-stations at Moreh on Kakching to Moreh 132 kV T/L (ongoing). | 22.34 | 22.34 |  |  | 6.72 | 0.00 | 6.72 |  |  |  |
|  | Total : A.1.2 |  |  |  |  | 166.06 | 25.02 | 191.08 | 537.50 | 0.00 | 537.50 |
| A.1.3 | 33 kV System |  |  |  |  |  |  |  |  |  |  |
| 1 | Construction of 33 kV D/C line from Leimakhong to Iroisemba (NLCPR) | 13.06 | 9.18 | 3.88 | 13.06 | 2.14 |  | 2.14 |  |  |  |
| 2 | Construction of 33 kV D/C line from Mongsangei to Khumanlampak via Kongba(NLCPR) | 21.18 | 17.05 | 4.13 | 21.18 | 5.18 |  | 5.18 |  |  |  |
| 3 | Installation of 33 kV S/S at Thanlon(NLCPR) | 12.58 | 7.49 | 5.09 | 12.58 | 0.00 |  | 0.00 |  |  |  |
| 4 | Installation of 33/11 kV sub-station at Henglep(NLCPR) | 7.05 | 3.35 | 3.70 | 7.05 | 0.27 |  | 0.27 |  |  |  |
| 5 | Installation of 33/11 kV sub-station at Chakpikarong(NLCPR) | 11.49 | 6.49 | 4.99 | 11.49 | 2.14 |  | 2.14 |  |  |  |
| 6 | Installation of 33/11 kV (2x10 MVA) S/S at Mantripukhri | 8.21 | 8.21 | 0.00 | 8.21 | 0.00 |  | 0.00 |  |  |  |
| 7 | Installation of 33/11 kV (2x5 MVA) S/S at Chingaren | 8.33 | 8.33 | 0.00 | 8.33 | 0.00 |  | 0.00 |  |  |  |
| 8 | Installation of 33 kV S/S at Willong (NLCPR) | 8.98 | 4.08 | 4.90 | 8.98 | 0.00 |  | 0.00 |  |  |  |
| 9 | Installation of 33/11 kV S/S at Oinamlong | 7.08 | 7.08 | 0.00 | 7.08 | 0.00 |  | 0.00 |  |  |  |
| 10 | Installation of 33/11 KV S/S at Sagolmang(NLCPR) | 6.66 | 3.64 | 3.02 | 6.66 | 0.00 |  | 0.00 |  |  |  |
| 11 | Installation of 33/11 kV S/S at Sekmaijin(NLCPR) | 7.28 | 3.89 | 3.40 | 7.28 | 1.64 |  | 1.64 |  |  |  |
| 12 | Installation of 33/11 kV S/S at Ukhrul Khunjao(NLCPR) | 9.42 | 5.64 | 3.79 | 9.42 | 0.54 |  | 0.54 |  |  |  |
| 13 | Installation of 33/11 kV S/S at Chandel (NEC ) | 4.78 | 1.99 | 2.79 | 4.78 | 0.00 |  | 0.00 |  |  |  |
| 14 | Installation of 33/11 KV S/S at Jessami with associated 33 KV line | 14.56 | 14.56 | 0.00 | 14.56 | 0.00 |  | 0.00 |  |  |  |
| 15 | Installation of 33/11 KV S/S at Sinzwl with associated 33 KV line | 13.54 | 13.54 | 0.00 | 13.54 | 0.96 |  | 0.96 |  |  |  |

| Sl. No. | Name of Project | Cost of Project | Source of Funding | Projection(2018-19) | Projection(2019-20) |
| --- | --- | --- | --- | --- | --- |
|  |  |  | State Share | Grant | Total | Plan | Grant | Total | Plan | Grant | Total |
| 16 | Installation of 33/11 KV (2x5 MVA) S/S at JNIMS with associated 33 KV line | 7.94 | 7.94 |  | 7.94 | 0.00 |  | 0.00 |  |  |  |
| 17 | Installation of 33/11 kV S/S at Thoubal Leishangthem with associated 33 KV line(SPA) | 10.87 | 1.25 | 962.21 | 10.87 | 0.00 |  | 0.00 |  |  |  |
| 18 | Erection of 33 kV feeders from Yurembam POWERGRID sub- station(SCA) | 21.43 | 16.83 | 460.00 | 21.43 | 2.61 |  | 2.61 |  |  |  |
| 19 | Installation of 2x5 MVA 33/11 kV sub-station with associated 33 KV line at Power House site of Loktak Down Stream HE Project(NEC) | 13.83 | 6.82 | 701.10 | 13.83 | 2.15 |  | 2.15 |  |  |  |
| 20 | Installation of 33/11 kV sub-station with associated 33 KV line at Sugnu(NLCPR) | 10.30 | 5.45 | 484.99 | 10.30 | 1.79 |  | 1.79 |  |  |  |
| 21 | Installation of 33/11 KV sub-station with associated 33 KV line at Khongjom(NLCPR) | 9.02 | 4.70 | 431.54 | 9.02 | 1.00 |  | 1.00 |  |  |  |
| 22 | Installation of 33/11 KV sub-station with associated 33 KV line at Sekmai(NLCPR) | 8.70 | 4.52 | 418.18 | 8.70 | 0.00 |  | 0.00 |  |  |  |
| 23 | Installation of 33/11 KV (2x1 MVA) S/S at Gelnel(NLCPR) | 7.81 | 4.38 | 342.12 | 7.81 | 1.39 |  | 1.39 |  |  |  |
| 24 | Installation of 33/11 KV (2x1 MVA) S/S at Nungbi Khullen with associated 33 KV line(NLCPR) | 14.50 | 9.65 | 484.99 | 14.50 | 5.47 |  | 5.47 |  |  |  |
| 25 | Re-stringing & strengthening of 33 kV line | 3.07 | 3.07 |  | 0.00 | 1.57 |  | 1.57 |  |  |  |
| 26 | Installation of 2x1 MVA, 33/11 kV SS at Namarei | 9.00 |  |  | 0.00 | 0.00 |  | 0.00 |  |  |  |
| 27 | Installation of 2x1 MVA, 33/11 kV SS at Lakhamai | 8.79 |  |  | 0.00 | 0.00 |  | 0.00 |  |  |  |
| 28 | Installation of 2x1 MVA, 33/11 kV SS at Thanlon | 13.06 |  |  | 0.00 | 0.00 |  | 0.00 |  |  |  |
| 29 | Installation of 2x1 MVA, 33/11 kV SS at Thinkew | 9.70 |  |  | 0.00 | 0.00 |  | 0.00 |  |  |  |
| 30 | Installation of 33/11 KV (2x5 MVA) GIS at Capitol Project with associated 33 kV line | 16.24 | 16.24 |  | 16.24 | 0.00 |  | 0.00 |  |  |  |
| 31 | Installation of 33/11 KV S/S at Pisum | 13.18 | 13.18 |  | 13.18 | 0.00 |  | 0.00 |  |  |  |
| 32 | Installation of 33/11 KV sub-station with associated 33 KV line at Sagolband | 8.03 | 8.03 |  | 8.03 | 0.00 |  | 0.00 |  |  |  |
| 33 | Installation of 33/11 KV (2x1 MVA) S/S at Hiyangangthang | 8.68 | 8.68 |  | 8.68 | 0.00 |  | 0.00 |  |  |  |
| 34 | Installation of 33/11 KV (2x1 MVA) S/S at Gumnom with associated 33 kV line(NLCPR) | 9.53 | 5.17 | 435.60 | 9.53 | 0.00 | 3.43 | 3.43 |  |  |  |
| 35 | Renovation of 33/11 KV S/S at Khoupum | 5.06 | 5.06 |  | 5.06 | 1.76 |  | 1.76 |  |  |  |
| Sl. No. | Name of Project | Cost of Project | Source of Funding | Projection(2018-19) | Projection(2019-20) |
|  |  |  | State Share | Grant | Total | Plan | Grant | Total | Plan | Grant | Total |
| 36 | Installation of 33/11 KV S/S at Moirangpali with associated 33 KV line | 10.45 | 10.45 |  | 10.45 | 0.00 |  | 0.00 |  |  |  |
| 37 | Installation of 33/11 KV S/S at Senapati with associated 33 KV line | 9.98 | 9.98 |  | 9.98 | 0.00 |  | 0.00 |  |  |  |
| 38 | R&M of 33/11 kV sub-stations, Phase-II (Moreh,Karong,Nambol,Bishnupur, Ningthoukhong, Moirang Khunou, Kangpokpi, Leimakhong) | 18.77 | 18.77 |  | 18.77 | 18.77 |  | 18.77 |  |  |  |
| 39 | Installation of 33/11 kV sub-station at Phungyar with associated 33 kV line | 10.45 | 10.45 |  | 10.45 | 1.99 |  | 1.99 |  |  |  |
| 40 | Installation of 33/11 kV sub-station at Kasom Khullen with associated 33 kV line | 10.42 | 10.42 |  | 10.42 | 1.97 |  | 1.97 |  |  |  |
| 41 | Installation of 33/11 kV sub-station at Gamphazol with associated 33 kV line | 9.19 | 9.19 |  | 9.19 | 3.27 |  | 3.27 |  |  |  |
| 42 | Installation of 33/11 kV sub-station at Mayangkhang with associated 33 kV line(NEC) | 9.63 | 2.71 | 6.92 | 9.63 | 1.20 | 1.42 | 2.62 |  |  |  |
| 43 | Installation of 33/11 kV sub-station at Mao with associated 33 kV line(NEC) | 10.21 | 3.17 | 7.04 | 10.21 | 2.15 | 1.44 | 3.59 |  |  |  |
| 44 | installation of 33/11 kV sub-station at Poayi at Ukhrul | 9.50 | 9.50 |  | 9.50 | 7.00 |  | 7.00 |  |  |  |
| 45 | installation of 33/11 kV sub-station at Thueyng at Senapati | 14.53 | 14.53 |  | 14.53 | 12.03 |  | 12.03 |  |  |  |
| 46 | Construction of 33 kV D/C line on STP from 132/33 kV SS at Thoubal to 33/11 kV SS at Thoubal (old) | 11.83 | 11.83 |  | 11.83 | 4.91 |  | 4.91 |  |  |  |
| 47 | Installation of 1x3.15 MVA 33 kV sub-station at along with associated 33 kV line and related works at Yairipok under IPDS | 9.29 | 1.10 | 8.19 | 9.29 | 0.00 | 7.34 | 7.34 |  |  |  |
| 48 | Installation of 1x3.15 MVA 33 kV sub-station at along with associated 33 kV line and related works at Wangoi under IPDS | 9.36 | 1.17 | 8.19 | 9.36 | 0.60 | 7.01 | 7.61 |  |  |  |
| 49 | Installation of 1x3.15 MVA 33 kV sub-station at along with associated 33 kV line and related works at Wangjing under IPDS | 9.29 | 1.10 | 8.19 | 9.29 | 1.10 | 7.20 | 8.30 |  |  |  |
| 50 | Installation of 1x3.15 MVA 33 kV sub-station at along with associated 33 kV line and related works at Heirok under IPDS | 8.81 | 0.95 | 7.87 | 8.81 | 0.95 | 6.92 | 7.86 |  |  |  |
| 51 | Augmentation of 33/11 kV sub-station at Kangpokpi under IPDS | 1.43 | 0.26 | 1.17 | 1.43 | 0.09 | 1.17 | 1.26 |  |  |  |
| 52 | Augmentation of 33/11 kV sub-station at Karong under IPDS | 1.98 | 0.63 | 1.36 | 1.98 | 0.63 | 1.07 | 1.70 |  |  |  |
|  | Total : A.1.3 |  |  |  |  | 87.26 | 37.00 | 124.26 | 0.00 | 0.00 | 0.00 |
| A.2 | New Schemes |  |  |  |  |  |  |  |  |  |  |
| A.2.1 | 33 kV System |  |  |  |  |  |  |  |  |  |  |
| 1 | Installation of 33/11 kV sub-station at Longpi with associated 33 kV line | 9.00 | 9.00 |  | 9.00 | 3.60 |  | 3.60 | 5.40 |  | 5.40 |
| 2 | Installation of 33/11 kV sub-station at Nungleiband with associated 33 kV line | 9.00 | 9.00 |  | 9.00 | 3.48 |  | 3.48 | 5.22 |  | 5.22 |
| 3 | Installation of 33/11 kV sub-station at Mualnuam at Ccpur. | 12.15 | 12.15 |  | 12.15 | 4.86 |  | 4.86 | 7.29 |  | 7.29 |
| 4 | Laying of 33 kV underground cable from Pisum to Keishampat with extension of bays at Pisum |  |  |  |  | 0.00 |  | 0.00 | 0.00 |  | 0.00 |
| 5 | Installation of 2x5 MVA 33/11 KV sub-station along with associated 33 kV line & related civil works at Chingai, Ukhrul district. | 13.18 | 13.18 |  |  | 5.07 |  | 5.07 | 7.61 |  | 7.61 |
| 6 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Kachai, Ukhrul district. | 11.65 | 11.65 |  |  | 4.46 |  | 4.46 | 6.69 |  | 6.69 |
| 7 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Sanakeithel, Ukhrul district. | 11.80 | 11.80 |  |  | 4.52 |  | 4.52 | 6.78 |  | 6.78 |
| 8 | Installation of new 33/11 kV sub-station along with associated 33 kV line at Akampat, Imphal East. | 9.72 | 9.72 |  |  | 3.69 |  | 3.69 | 5.53 |  | 5.53 |
| 9 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Liyai Khunou, Senapati district. | 12.11 | 12.11 |  |  | 4.64 |  | 4.64 | 6.97 |  | 6.97 |
| 10 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Ibudhou Marjing | 10.12 | 10.12 |  |  | 3.85 |  | 3.85 | 5.77 |  | 5.77 |
| 11 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Nambashi, Ukhrul district. | 12.41 | 12.41 |  |  | 4.76 |  | 4.76 | 7.15 |  | 7.15 |
| 12 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Khongjaron, Tamenglong district. | 8.24 | 8.24 |  |  | 3.10 |  | 3.10 | 4.64 |  | 4.64 |
| 13 | Installation of 2x10 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at sports University, Koutruk, Imphal West District. | 21.52 | 21.52 |  |  | 8.61 |  | 8.61 | 12.91 |  | 12.91 |
| 14 | Installation of 2x10 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Sports Complex, Khuman Lampak, Imphal East District. | 11.25 | 11.25 |  |  | 4.50 |  | 4.50 | 6.75 |  | 6.75 |
| 15 | Installation of 2x5 MVA, 33/11 kV sub-station along with associated 33 kV line & related civil works at Naharup, Imphal East District. | 9.35 | 9.35 |  |  | 3.74 |  | 3.74 | 5.61 |  | 5.61 |
| 16 | Construction of 33 kV D/C line on double poles with associated line bays from Yaingangpokpi to Khuman Lampak | 14.49 | 14.49 |  |  | 5.60 |  | 5.60 | 8.39 |  | 8.39 |
| 17 | Stringing of 33 kV line from Rengpang to Noney along with associated line bays. | 7.42 | 7.42 |  |  | 2.77 |  | 2.77 | 4.15 |  | 4.15 |
| 18 | Construction of 33 kV line on STP along with associated line bays from Tamenglong to Tamei | 7.56 | 7.56 |  |  | 2.82 |  | 2.82 | 4.24 |  | 4.24 |
|  | Total : A.2.1 |  |  |  |  | 74.07 | 0.00 | 74.07 | 111.10 | 0.00 | 111.10 |
|  | Sub-Total (I): |  |  |  |  | 401.62 | 107.28 | 508.90 | 648.60 | 0.00 | 648.60 |
| III | Misc. Scheme |  | 0.00 |  |  |  |  |  |  |  |  |
| 1 | Establishment of wireless commntn(SLDC) / Information Technology (IT) | 81.40 | 81.40 | 0.00 | 81.40 | 30.71 |  | 30.71 | 46.06 |  | 46.06 |
| 2 | Construction of Administrative Building |  |  |  |  | 3.00 |  | 3.00 | 3.50 |  | 3.50 |
| 3 | Construction of Divisional & Sub-Divisional office buildings, quarters, complain rooms, etc. |  |  |  |  | 3.00 |  | 3.00 | 3.50 |  | 3.50 |
| 4 | Purchase of vehicle |  |  |  |  | 0.30 |  | 0.30 | 0.30 |  | 0.30 |
|  | Total : II |  |  |  |  | 37.01 | 0.00 | 37.01 | 53.36 | 0.00 | 53.36 |
|  | Total (I+II): |  |  |  |  | 438.62 | 107.28 | 545.90 | 701.96 | 0.00 | 701.96 |
| Note | 1. State Share/State Matching Share(SMS) denote Grant from State Government |
|  | 2. Grant denote Government of India assistance under Non Lapsable Central Pool of Resourses (NLCPR), North Eastern Council (NEC) etc. |

Further, it is also submitted that certain transmission works (construction of substations and transmission lines) are being carried out by PGCIL on behalf of the State. These works are funded by the Central Government and World Bank and therefore it is expected that there is no liability of loan for MSPCL on account of these projects. The transmission infrastructure shall be handed over to MSPCL post completion of these projects.

A summary of the year –wise on-going and new capital expenditure proposed for the Second Control Period is provided in table below:

Table 7.18: Year-wise on-going and new projects Capital Expenditure

(Rs. Crore)

|  | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- |
| Existing Schemes | 168.23 | 545.90 | 169.84 |  |  |
| New Schemes | 81.90 | 109.98 | 147.48 | 123.21 | 162.28 |

Funding of Capital Investment Plan

It may be noted that funding for most of the schemes except that of Loktak Downstream project, are covered by grants from State Government or grants from Central Government bodies like NLCPR and NEC. As such, there are no loans or equity for funding of such schemes. For all these schemes, 100% of the funding is covered by grants from State Government or Central Government. These schemes include Normal State Government plan schemes, NLCPR funding and NEC funding.

For the ongoing schemes the funding is primarily through State Government and Central Government grants and therefore no equity or grant is envisaged for these schemes. However, it is submitted that MSPCL had taken a loan of Rs. 150 Crores from REC (which has been disbursed in Sept’ 16) to expedite the projects which would have been delayed because of slow release of funds from the State Government. The principal amount of the loan shall be paid as grants from the State Government in the ensuing years and the interest of the loans shall also be recovered from State Government as capital grants (plan component) being interest during construction. Therefore, this loan has also been considered as a grant and no interest has been claimed corresponding to the loan.

Further, it is submitted that MSPCL is still to tie-up the funding of the new schemes proposed during the Control Period FY 2018-19 to FY 2022-23. MSPCL has already approached various agencies like State Government, Central Government agencies and REC for the proposed works and is in discussions for funding of the proposed works. In view of the past practice where MSPCL has been receiving the funds from the State and Central Government or its agencies as grants, it is proposed that the funding of new works proposed for the Control Period FY 2018-19 to FY 2022-23 shall be in form of grants from the State / Central Government and their agencies. However, the Commission is requested to consider the funding pattern of these works based on the actual funding in case of any change in funding pattern with respect to the proposed under.

Table 7.19: Year-wise Proposed Funding of Capital Expenditure

(Rs. Crore)

| Year | Equity | Debt | Grant (Central Govt Bodies/ State Govt) |
| --- | --- | --- | --- |
| FY 2018-19 | 0 | 0 | 627.80 |
| FY 2019-20 | 0 | 0 | 279.82 |
| FY 2020-21 | 0 | 0 | 147.48 |
| FY 2021-22 | 0 | 0 | 123.21 |
| FY 2022-23 | 0 | 0 | 162.28 |
| Total | 0 | 0 | 1,340.59 |

Capitalization

The capitalization of the above mentioned schemes has been done in following manner:

For ongoing schemes: In case of ongoing schemes, MSPCL has considered the capitalization in a consolidated manner and has therefore estimated 50% of the opening CWIP along with proposed capital expenditure for the respective year to be capitalized in the same year while the balance has been carried forward to the subsequent year. Therefore, all balance CWIP with respect to ongoing schemes has been capitalized by FY 2020-21.

For new schemes: The capitalization for the new schemes has been proposed in the financial year where the scheme is expected to be completed. However, in case of augmentation and R&M works relating to the 33/11kV substation, 50% of the works are capitalized in the year

where the capital expenditure is proposed while balance 50% is capitalized in the subsequent year.

Table 7.20: Capital Expenditure & Proposed Capitalization projected by MSPCL

(Rs. Crore)

|  | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- |
| Opening CWIP | 302.54 | 491.21 | 444.19 | 105.89 | 99.63 |
| Capital Expenditure | 627.80 | 279.82 | 147.48 | 123.21 | 162.28 |
| Capitalization during the Year | 439.13 | 326.84 | 485.78 | 129.47 | 126.07 |
| Closing CWIP | 491.21 | 444.19 | 105.89 | 99.63 | 135.85 |

Commission’s Analysis

A brief summary of Capital expenditure and Capitalization for Control period is summarised below.

Capital expenditure and Capitalization as projected by MSPCL are considered, The opening CWIP is Rs. 305.59 Crore but not Rs. 302.54 Crore. Accordingly the table is corrected as detailed below.

Table 7.21: Capital Expenditure Capitalization approved by the Commission during control period FY 2018-19 to FY 2022-23

(Rs. Crore)

|  | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- |
| Opening CWIP | 305.59 | 498.74 | 456.49 | 123.42 | 122.80 |
| Capital Expenditure | 627.80 | 279.82 | 147.48 | 123.21 | 162.28 |
| Capitalization during the Year | 434.65 | 322.07 | 480.55 | 123.83 | 120.11 |
| Closing CWIP | 498.74 | 456.49 | 123.42 | 122.80 | 164.97 |

## Gross Fixed Assets (GFA)

Petitioner’s submission

- Based on the estimated opening balance sheet as on 31 March '2018 and the projected capitalization shown below, the value for gross fixed assets have been considered to project GFA from FY 2018-19 to FY 2022-23.

- The opening value of GFA for MSPCL has been increased by the above mentioned capitalization for each financial year from FY 2018-19 to FY 2022-23. The year wise proposed GFA based on the addition in assets is tabulated in the table below:

- Based on the estimated opening balance sheet as on 31 March '2018 and the projected capitalization shown below, the value for gross fixed assets have been considered to project GFA from FY 2018-19 to FY 2022-23.

- The opening value of GFA for MSPCL has been increased by the above mentioned capitalization for each financial year from FY 2018-19 to FY 2022-23. The year wise proposed GFA based on the addition in assets is tabulated in the table below:

Table 7.22: Gross Fixed Assets Projected by MSPCL for Control Period FY 2018-19 to FY 2022-23

(Rs. Crore)

| Particular | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- |
|  | Opening | Addition | Closing | Opening | Addition | Closing | Opening | Addition | Closing | Opening | Addition | Closing | Opening | Addition | Closing |
| Land & Land Development | 21.09 | 8.14 | 29.24 | 29.24 | 6.06 | 35.30 | 35.30 | 9.01 | 44.31 | 44.31 | 2.40 | 46.71 | 46.71 | 2.34 | 49.05 |
| Plant & Machinery | 1055.94 | 407.69 | 1463.63 | 1463.63 | 303.44 | 1767.07 | 1767.07 | 451.00 | 2218.07 | 2218.07 | 120.20 | 2338.27 | 2338.27 | 117.04 | 2455.31 |
| Building | 56.61 | 21.86 | 78.47 | 78.47 | 16.27 | 94.73 | 94.73 | 24.18 | 118.91 | 118.91 | 6.44 | 125.36 | 125.36 | 6.27 | 131.63 |
| Furniture & Fittings | 0.99 | 0.38 | 1.37 | 1.37 | 0.28 | 1.65 | 1.65 | 0.42 | 2.07 | 2.07 | 0.11 | 2.19 | 2.19 | 0.11 | 2.30 |
| Computer | 1.13 | 0.43 | 1.56 | 1.56 | 0.32 | 1.88 | 1.88 | 0.48 | 2.37 | 2.37 | 0.13 | 2.49 | 2.49 | 0.12 | 2.62 |
| Office Equipments | 0.18 | 0.07 | 0.25 | 0.25 | 0.05 | 0.31 | 0.31 | 0.08 | 0.39 | 0.39 | 0.02 | 0.41 | 0.41 | 0.02 | 0.43 |
| Vehicles | 1.43 | 0.55 | 1.98 | 1.98 | 0.41 | 2.39 | 2.39 | 0.61 | 3.00 | 3.00 | 0.16 | 3.16 | 3.16 | 0.16 | 3.32 |
| Total | 1,137.38 | 439.13 | 1,576.50 | 1,576.50 | 326.84 | 1,903.34 | 1,903.34 | 485.78 | 2,389.12 | 2,389.12 | 129.47 | 2,518.59 | 2,518.59 | 126.07 | 2,644.66 |

Commission’s Analysis:

The opening GFA furnished by the MSPCL for FY 2018-19 is not matching with the closing balance of FY 2017-18. The actual closing balance as on 31.03.2018 is Rs. 1153.58 .Accordingly growth of GFA from 2018-19 to FY 2022-23 are revised as detailed in the table below,

Table 7.23: Gross Fixed Assets approved by the Commission for  Control period FY 2018-19 to FY 2022-23

(Rs. Crore)

| Sl. No. | Particulars | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Opening GFA | 1153.58 | 1592.71 | 1919.55 | 2405.33 | 2534.80 |
| 2 | Additions during the year | 434.65 | 322.07 | 480.55 | 123.83 | 120.11 |
| 3 | O&M Expenses Capitalisation | 4.48 | 4.77 | 5.23 | 5.64 | 5.96 |
| 4 | Closing GFA (1+2) | 1592.71 | 1919.55 | 2405.33 | 2534.80 | 2660.87 |

## Depreciation

Petitioner’s submission

- Depreciation is charged on the basis of straight-line method, on the GFA in use at the beginning of the year and addition in assets during the financial year. The depreciation is based on the category wise assets shown above in Table 40 and the depreciation rates provided by the Commission in JERC (MYT Tariff) Regulations 2014.

- Further, as per the guidelines of Institute of Chartered Accountant of India (ICAI) which is Accounting Standard 12, depreciation should not be claimed as net expenditure for assets funded through government grants. In MSPCL, as mentioned earlier, most of the funding is through government grants, depreciation shall not be included under ARR on the assets funded through government grants. This is because MSPCL is not required to repay or recover the amount received as grants from the Government.

- It may be noted here that the State of Manipur has been granted a special status similar to that of other North-Eastern States. Government of India provides special assistance for the development of infrastructure facilities in these States. Accordingly, the infrastructure projects of the State of Manipur, including those of MSPCL are being supported by issue of Grants through various Central Government Ministries and Agencies like NLCPR, Ministry of Development of North Eastern Region (DONER) and North Eastern Council (NEC).

- However considering the average asset base in FY 2016-17, only 1.5% of assets are funded by MSPCL and the same percentage is considered for projections in Second Control Period i.e., FY 2018-19 to FY 2022-23.

- MSPCL, therefore requests the Hon’ble commission to consider the depreciation for Second Control Period as shown below in the table:

Table 7.24: Depreciation for Second Control Period

|  | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
|  | Average Assets | Depreciation | Average Assets | Depreciation | Average Assets | Depreciation | Average Assets | Depreciation | Average Assets | Depreciation |
| Land & Land Development | 25.2 | - | 32.3 | - | 39.8 | - | 45.5 | - | 47.9 | - |
| Plant & Machinery | 1,259.8 | 66.52 | 1,615.4 | 85.29 | 1,992.6 | 105.21 | 2,278.2 | 120.29 | 2,396.8 | 126.55 |
| Building | 67.5 | 2.26 | 86.6 | 2.89 | 106.8 | 3.57 | 122.1 | 4.08 | 128.5 | 4.29 |
| Furniture & Fittings | 1.2 | 0.07 | 1.5 | 0.10 | 1.9 | 0.12 | 2.1 | 0.13 | 2.2 | 0.14 |
| Computer | 1.3 | 0.20 | 1.7 | 0.26 | 2.1 | 0.32 | 2.4 | 0.36 | 2.6 | 0.38 |
| Office Equipments | 0.2 | 0.01 | 0.3 | 0.02 | 0.3 | 0.02 | 0.4 | 0.03 | 0.4 | 0.03 |
| Vehicles | 1.7 | 0.16 | 2.2 | 0.21 | 2.7 | 0.26 | 3.1 | 0.29 | 3.2 | 0.31 |
| Total | 1,356.9 | 69.22 | 1,739.9 | 88.76 | 2,146.2 | 109.49 | 2,453.9 | 125.18 | 2,581.6 | 131.70 |

(Rs. Crore)

Table 7.25: Proposed Depreciation for Second Control Period

(Rs. Crore)

|  | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
| Total Depreciation | 69.22 | 88.76 | 109.49 | 125.18 | 131.70 |
| Percentage of assets not funded through grants | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% |
| Depreciation to be considered | 1.04 | 1.33 | 1.64 | 1.87 | 1.97 |

Commission’s Analysis:

As per JERC for Mizoram and Manipur (M&M) Regulations 2014 depreciation has to be worked out on average GFA on straight line method as the average rate of depreciation. As per annual accounts for FY 2015-16 the average rate of depreciation is 4.57 %. Accordingly depreciation worked out as detailed in the table below.

Table 7.26: Depreciation approved by the Commission for Control Period FY  2018-19 To FY 2022-23

(Rs. Crore)

| Sl. No | Particulars | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Opening GFA | 1153.58 | 1592.71 | 1919.55 | 2405.33 | 2534.80 |
| 2 | Additions during the year | 434.65 | 322.07 | 480.55 | 123.83 | 120.11 |
| 3 | O & M expenses Capitalization | 4.48 | 4.77 | 5.23 | 5.64 | 5.96 |
| 4 | Closing GFA (1+2+3) | 1592.71 | 1919.55 | 2405.33 | 2534.80 | 2660.87 |
| 5 | Average | 1373.15 | 1756.13 | 2162.44 | 2470.07 | 2597.78 |
| 6 | Rate of Depreciation | 4.57% | 4.57% | 4.57% | 4.57% | 4.57% |
| 7 | Total Depreciation | 62.75 | 80.26 | 98.82 | 112.88 | 118.72 |
| 8 | 1.5 % of the Depreciation | 0.94 | 1.20 | 1.48 | 1.69 | 1.78 |

The Commission approves depreciation for Control period as follows.

| Years | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- |
| Rs. Crore | 0.94 | 1.20 | 1.48 | 1.69 | 1.78 |

## Interest and Finance Charges

Petitioner’s submission

a. Interest on Long-term/Capital Loans

The entire capital expenditure of MSPCL since its inception has been funded by the State Government through grants from Central Government Ministries and Agencies like Ministry of Power (MoP) through schemes of NEC, NLCPR, DONER or through State Plan Scheme. Therefore, the utility does not have any liabilities on account of long term loans.

Commission’s Analysis

Under the circumstances explained by the petitioner the Commission considers no Interest expenses to the MSPCL during MYT Control period FY 2018-19 to FY 2022-23.

Thus the Commission approves No Interest expenses to MSPCL during the Control period FY 2018-19 to FY 2022-23

## Interest on Working Capital

Petitioner’s submission

As per Regulation 29 of the JERC (MYT) Regulations 2014, MSPCL is entitled to claim interest on working capital as per the norms provided. The norms state that the working capital shall cover the following:

- Operation and Maintenance expenses for one month; Plus

- Maintenance spares @ 1% of the historical cost escalated @ 6% per annum from the date of commercial operation; Plus

- Receivables equivalent to one month of transmission charges, calculated on target availability level; minus

- Amount if any held as security deposit except the security deposit held in the form of bank guarantee from transmission users.

The interest shall be allowed at a rate equal to the state bank advance rate (SBAR) on 1st April of the financial year in which petition is filed.

Table 7.27: Interest on Working capital projected by MSPCL for control period FY 2018-19 to FY 2022-23

(Rs. Crore)

| Particulars | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
| O&M expenses | 7.84 | 8.24 | 9.21 | 10.15 | 11.04 |
| Maintenance of Spares (1%) | 15.35 | 20.23 | 25.60 | 30.36 | 33.50 |
| Receivables | 7.72 | 8.21 | 9.30 | 10.33 | 11.29 |
| Working Capital Requirement | 30.90 | 36.68 | 44.11 | 50.84 | 55.83 |
| Rate of interest* | 13.85% | 13.85% | 13.85% | 13.85% | 13.85% |
| Interest on Working Capital | 4.28 | 5.08 | 6.11 | 7.04 | 7.73 |

*As on 1st April of the financial year in which the Petition is filed i.e. 1st April 2017

Commission’s Analysis:

Based on approved costs interest on working capital is computed at 14.05% being the SBAR as on 01.04.2017 as detailed in Table below:

Table 7.28: Interest on Working capital approved by the Commission for Control period FY 2018-19 to FY 2022-23

(Rs. Crore)

| Particulars | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- |
| O&M expenses | 7.33 | 7.80 | 8.54 | 9.21 | 9.73 |
| Maintenance of Spares (1%) | 12.23 | 16.88 | 20.35 | 25.50 | 26.86 |
| Receivables | 7.76 | 7.72 | 8.55 | 9.32 | 9.88 |
| Working Capital Requirement | 26.72 | 32.40 | 37.44 | 44.03 | 46.47 |
| Rate of interest* | 14.05 | 14.05 | 14.05 | 14.05 | 14.05 |
| Interest on Working Capital | 3.75 | 4.55 | 5.26 | 6.79 | 6.53 |

*As on 1st April of the financial year in which the Petition is filed i.e. 1st April 2017

The Commission approves interest on working capital for Control period as detailed below.

| Years | FY 2018-19 | FY 2019-20 | FY 2020-21 | FY 2021-22 | FY 2022-23 |
| --- | --- | --- | --- | --- | --- |
| Rs. Crore | 3.75 | 4.55 | 5.26 | 6.79 | 6.53 |

## Return of Equity

Petitioner’s submission

As per the JERC MYT Regulations 2014, MSPCL is entitled for a Return on Equity (RoE) of 15.50% before grossing up with prevailing tax rate. As per Income Tax rates for Assessment year FY 2017-18, applicable tax rate for domestic companies with profit in the range of Rs. 1 Crore to Rs. 10 Crore is 20.389%. As such, the average paid up equity for  each financial year in Second Control Period FY 2018- 19 to FY 2022-23 are taken as around Rs. 10.05 Crores. On average paid up equity, total return on equity is claimed at the rate of 19.47% as shown below.

Table 7.29: Return on Equity Projected by MSPCL for control period FY 2018-19 to FY2022-23

(Rs. Crore)

| Particulars | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
| Opening Equity | 10.05 | 10.05 | 10.05 | 10.05 | 10.05 |
| Closing Equity | 10.05 | 10.05 | 10.05 | 10.05 | 10.05 |
| Average Equity | 10.05 | 10.05 | 10.05 | 10.05 | 10.05 |
| Rate of Return on Equity | 15.50% | 15.50% | 15.50% | 15.50% | 15.50% |
| Return on Equity | 1.56 | 1.56 | 1.56 | 1.56 | 1.56 |
| MAT Rate | 20.39% | 20.39% | 20.39% | 20.39% | 20.39% |
| MAT | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 |
| Grossed up by 20.01% | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 |
| Total Return on Equity | 1.96 | 1.96 | 1.96 | 1.96 | 1.96 |

Commission’s Analysis:

As per Regulation 26 of JERC for M&M (MYT) Regulation 2014, return on equity shall be considered on the paid up equity capital. The MSPCL has stated that the paid up equity as per opening balance sheet as on 1.2.2014 is Rs. 10.05 Crore. As such the same is considered to allow return on equity at 15.5% and Income Tax allowed respectively. This is subject to true up. Thus return on equity for Control period FY2018-19 to FY 2022-23.

Table 7.30: Return on Equity approved by the Commission for Control period FY 201819 to FY 2022-23

(Rs. Crore)

| Particulars | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
| Opening Equity | 10.05 | 10.05 | 10.05 | 10.05 | 10.05 |
| Closing Equity | 10.05 | 10.05 | 10.05 | 10.05 | 10.05 |
| Average Equity | 10.05 | 10.05 | 10.05 | 10.05 | 10.05 |
| Rate of Return on Equity | 15.50% | 15.50% | 15.50% | 15.50% | 15.50% |
| Return on Equity | 1.56 | 1.56 | 1.56 | 1.56 | 1.56 |
| MAT Rate | 20.39% | 20.39% | 20.39% | 20.39% | 20.39% |
| MAT | 0.32 | 0.32 | 0.32 | 0.32 | 0.32 |
| Grossed up by 20.01% | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 |
| Total Return on Equity | 1.96 | 1.96 | 1.96 | 1.96 | 1.96 |

The Commission approves return on equity as detailed Supra.

## Non tariff Income

Petitioner’s submission

The non tariff income for MSPCL is mainly on account of transmission charges realized for short term power purchase or sale by the distribution licensee. These charges are paid to MSPCL for use of intra state transmission system for short term power purchase or sale on the basis of CERC regulations for Short Term Open Access 2008 and subsequent amendments thereof.

Apart from the above, small income is also earned as interest from bank accounts used for managing the account of short term open access charges and also an account of agency charges.

- For projecting the non-tariff income for Second Control Period FY 2018-19 to FY 2022-23, sum of the average non-tariff income earned in each of the categories shown below for FY 2014-15, 2015-16 and FY 2016-17 is projected as non-tariff income for FY 2018-19 to FY 2022-23.

- MSPCL requests the commission to approve Rs. 8.68 Crores as the non-tariff income for FY 2018-19.

Table 7.31: Non-tariff Income Projected by MSPCL for Control Period FY 2018-19 to FY 2022-23

(Rs. Crore)

| Particulars | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
| SLDC Income | 3.66 | 3.66 | 3.66 | 3.66 | 3.66 |
| Agency Charges | 3.19 | 3.19 | 3.19 | 3.19 | 3.19 |
| Bank Interest | 1.27 | 1.27 | 1.27 | 1.27 | 1.27 |
| Other Income | 0.56 | 0.56 | 0.56 | 0.56 | 0.56 |
| Total Non-Tariff Income | 8.68 | 8.68 | 8.68 | 8.68 | 8.68 |

Commission’s Analysis:

The Commission approves Non-Tariff income at  Rs 8.68 Crore per annum during Control Period FY 2018-19 to FY 2022-23 as projected by MSPCL.

## Aggregate Revenue Requirement (ARR)

Petitions Submission

Aggregate Revenue Requirement for Control period FY 2018-19 to FY 2022-23 projected by the MPSCL are furnished in Table below:

Table  7.32: Aggregate revenue Requirement projected by MSPCL Control period  FY 2018-19 to FY 2022-23

(Rs. Crore)

| Particulars | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
| R &M Expense | 15.37 | 19.70 | 24.30 | 27.79 | 29.23 |
| Employee Expense | 74.37 | 74.58 | 81.31 | 88.71 | 97.55 |
| A&G Expense | 4.30 | 4.61 | 4.94 | 5.30 | 5.68 |
| Depreciation | 1.04 | 1.33 | 1.64 | 1.87 | 1.97 |
| Interest on Loans | - | - | - | - | - |
| Return on Capital Employed | 1.56 | 1.56 | 1.56 | 1.56 | 1.56 |
| Interest on working capital | 4.28 | 5.08 | 6.11 | 7.04 | 7.73 |
| Income Tax | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 |
| Less: Non Tariff Income | 8.68 | 8.68 | 8.68 | 8.68 | 8.68 |
| Less: Income from other business | - | - | - | - | - |
| Net ARR | 92.62 | 98.57 | 111.58 | 123.99 | 135.45 |

Commission Analysis

Based on approved costs the ARR of MSPCL for Control period FY 2018-19 to FY 2022-23 is complied as detailed below:

Table 7.33: ARR approved by the Commission for control period FY 2018-19 to FY 2022-23.

(Rs. Crore)

| Particulars | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- |
| R &M Expense | 15.37 | 19.70 | 24.30 | 27.79 | 29.23 |
| Employee Expense | 68.25 | 69.30 | 73.27 | 77.46 | 81.89 |
| A&G Expense | 4.30 | 4.61 | 4.94 | 5.30 | 5.68 |
| Depreciation | 0.94 | 1.20 | 1.48 | 1.69 | 1.78 |
| Interest on Loans | - | - | - | - | - |
| Return on Capital Employed | 1.56 | 1.56 | 1.56 | 1.56 | 1.56 |
| Interest on working capital | 3.83 | 4.55 | 5.26 | 6.79 | 6.53 |
| Income Tax | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 |
| Less: Non Tariff Income | 8.68 | 8.68 | 8.68 | 8.68 | 8.68 |
| Less: Expenses capitalised | 4.48 | 4.77 | 5.23 | 5.64 | 5.96 |
| Net ARR | 81.49 | 87.87 | 97.30 | 106.67 | 112.43 |

The Commission approves ARR for MYT Second Control Period FY 2018-19 to FY 2022-23 as detailed supra

## Transmission Tariff

Petitioner’s submission

Norms of Operation

- Target availability: As per JERC MYT regulations' 2014, the target availability proposed for, FY 2017-18 for MSPCL is 98%. It is proposed that transmission ARR shall be recovered on pro-rata basis if target availability is below 98%.

Recovery of transmission ARR and transmission tariff proposal for FY 2018-19

- The total ARR for the FY 2018-19 is proposed to be Rs. 92.62 Crore. As per  Regulation 61.1 of JERC for Mizoram and Manipur (Multi Year Tariff) Regulations, 2014, the transmission ARR shall be recovered as fixed monthly charges from all users of long term transmission customer based on the share of average contracted transmission capacity in the total transmission capacity. Also, in case the target availability is below normative availability of 98%, then the transmission ARR shall be recovered on pro-rata basis.

- Currently, MSPCL has only one long term transmission customer which is the distribution licensee i.e., MSPDCL. AS such, MSPCL has to recover the entire transmission ARR as fixed monthly charges from MSPDCL.

The transmission charges projected by MSPCL are furnished in the table below:

Table 7.34: Transmission Tariff projected by MSPCL for FY 2018-19

| Sl. No. | Particulars | Amount |
| --- | --- | --- |
| 1 | Transmission ARR to be recovered (if availability is equal or more than the normative availability) | RS. 92.62 Crores |
| 2 | Transmission Tariff for MSPDCL as Rs. Lakhs/month in FY 2018-19 | Rs. 7.72 Crores Per Month |
| 3 | Average Contracted Transmission Capacity for MSPDCL in FY 2018-19 | 309.21 MW |
| 4 | Transmission Tariff as per MW of contracted capacity for long term transmission users | Rs. 2.50 Lakhs per Month per MW of contracted capacity |

Commission’s Analysis

Based on approved costs the transmission tariff approved by the Commission is furnished in the table below:

Table 7.35: Transmission Tariff approved by the Commission for FY 2018-19

| Sl. No | Particulars | Unit | Approved by Commission |
| --- | --- | --- | --- |
| 1 | Transmission ARR to be recovered (if availability is equal or more than normative availability) | Rs. Crore | 81.49 |
| 2 | Transmission Tariff at Rs./ Month to be recovered for MSPDCL | Rs. Crore/month | 6.79 |
| 3 | Transmission Capacity | MW | 315.08 |
| 4 | Transmission Tariff Rs/ MW/Month | Rs./MW/Month | 215500 |
| 5 | Transmission Tariff Rs/ MW/Day | Rs./Day | 7183 |
| 6 | Energy to be transmitted | MU | 115.2 |
| 7 | Transmission tariff | Rs/kWh | 0.73 |

Currently MSPCL has only one long term transmission consumer (viz) MSPDCL.  As such MSPCL has to recover the entire transmission cost from MSPDCL as fixed monthly charges as indicated, supra.

## Rebate

As per JERC, M&M (MYT) Regulations 2014 on payment of bills of transmission charges through letter of credit on presentation, a rebate of 2% shall be allowed. Where payments are made subsequently through opening of letter of credit or otherwise, but within a period of one month of presentation of bills by the transmission licensee, a rebate of 1% shall be allowed.

## Late Payment Surcharges

As per JERC for M&M MYT Regulations, 2014 in case the payment of bills of capacity charges and energy charges by beneficiary/ ies is delayed beyond a period of one month from the data of billing, late payment surcharge at the rate of 1.25% per month shall be levied.

## Incentive

As per regulation 66 of JERC for M & m (MYT) Regulations 2014 the transmission licensee shall be entitled to incentive for increase in annual availability beyond the target availability prescribed under Regulation 61, in accordance with the following formula and shall be shared by the long term and short term and medium term customers in the ratio of their average allotted transmission capacity

Incentive  = ATC   X     achieved – target availability

Target availability

Where,

ATC = Annual Transmission charges determined by the Commission for the transmission system of the transmission Licensee for the Concerned year.

## Directives

Directive 3:

MSPCL should ensure timely completion of projects and schemes.

Compliance Status

MSPCL endeavours to complete in time but got delayed due to force majeure conditions like strikes, law and order, untimely monsoons, transportation bottlenecks etc. In spite of all this MSPCL is trying hard to ensure timely completion of projects and schemes. In the current FY 2015-16, MSPCL has been able to complete a number of projects and has been able to capitalize around Rs.330 Crore of assets, the details of which are provided in this petition.

Comment of the Commission

Even after proposed capitalisation of Rs 329.35 Cr during FY 2015-16 still the balance CWIP is Rs 401.07 Cr. Progress on completion of works should be geared up.

Directive 4:

Heavy fuel based power plant at Leimakhong which is stated to be made available for standby generation may be operated during peak hours to minimize load shedding. The department is therefore directed to generate 20 MU from the plant during peak hours

Compliance Status

MSPCL would like to submit that the approved budget for the purchase of heavy fuel for the LHFPP is very meagre, timely approval for purchase of furnace oil is not there and the operational cost is about Rs. 16 per unit. As such, in spite of the best efforts of MSPCL, the plant is made operational only on special occasions.

Comment of the Commission

The MSPCL may examine the feasibility of writing off the plant and utilise the staff elsewhere for better output.

Directive 5:

It is the same with Directive 3 and hence dropped.

Directive 6:

Annual investment plan shall be submitted to the Commission and necessary approval of Commission shall be obtained for all major capital works costing Rs. 5 Crore or more, before execution of the works.

Compliance Status

The annual investment plan is being submitted every year with the ARR and Tariff Petition to the Hon'ble Commission. In the present petition for FY 2016-17 to FY 2017-18, MSPCL is submitting the annual investment plan of FY 2016-17 to FY 2017-18 to the Commission. All the major capital investment schemes are being undertaken by MSPCL with the prior approval of State Government and as per the approved schemes of State Government and Central Government. Most of capital investment schemes are being funded entirely by grants from the State Government and as such are not recovered through tariff from consumers.

Comment of the Commission

Separate proposals shall be submitted by MSPCL for approval of Commission for the investments costing Rs 5.00 Crore and above. MSPCL has so far not submitted any investment proposals costing above Rs. 5.00 Crore for specific approval of the Commission.

Directive 8:

Metering arrangements for loss assessment

Transmission losses are not arrived based on proper meter readings. It is reported that metering arrangement is not complete. Losses are estimated and reported at 3.6%.

Losses at different voltages shall be arrived from meter readings taken at different input points. Meters of appropriate class shall be provided.

MSPCL is in charge of network of 33 kV and above voltages. Meters shall be provided at sending end and receiving end of all feeders of 33 kV and above voltages. From the meter readings losses at different voltages 33 kV and above voltages and total system losses shall be arrived and provided for the next Tariff Order for FY 2016-17. Quarterly reports shall be furnished to the Commission on progress of providing meters.

Compliance Status:

MSPCL is in the process of providing meters for appropriate class and accuracy at all its input and export points, which shall enable accurate calculation of voltage wise transmission losses. The scheme of providing meters at 132 kV and 33 kV has been incorporated in the capital investment plan submitted above. However, MSPCL requests the Commission to provide more time i.e. till FY 2018-19 to complete all metering as per scheme.

Comment of the Commission

Time sought by the MSPCL up to FY 2018-19 is too long. Providing meters to 132kV and 33kV and 11kV feeders was already included in investment plan. Capital expenditure of Rs. 3.21 Crore out of the projected cost of Rs. 3.47 Crore was already made by MSPCL as on 31.03.2017 as submitted in page No. 36 of the Tariff Petition. This project should have been  completed on priority within FY 2016-17. Energy Audit of FY 2018-19 should be done and energy audit report shall be submitted to the Commission w.e.f May, 2018.

Directive 9:

Improvement of 33 kV system.

As verified from capital investment plan, huge amount is contemplated for improvement of 33 kV systems. The MSPCL is directed to plan for completion of all works well within the targeted dates. Quarterly report on progress achievement may be submitted.

Compliance Status:

MSPCL endeavours to complete in time but got delayed due to force majeure conditions like strikes, law and order, untimely monsoons, transportation bottlenecks etc. In spite of all this MSPCL is trying hard to ensure timely completion of projects and schemes. In the current FY 2015-16, MSPCL has been able to complete a number of projects and has been able to capitalize around Rs.330 Crore of assets, the details of which are provided in this petition.

Comment of the Commission

Quarterly progress achieved may be reported to the Commission.

Directive 11: Furnishing of cost benefit analysis of proposed 400/132 kV sub-station at Thoubal.

The MSPCL is directed to submit cost benefit analysis and other aspects that may have bearing on the transmission charges in respect of proposed 400/132 kV sub-station at Thoubal along with details of number of days, configuration and location of grid sub-stations, sub-station capacity (MVA), transmission line length (c.km) showing the need for the proposed investments alternatives considered. The MSPCL is also directed to submit detailed capital investment plan, financial plan for each year of the control period for meeting requirement of load growth, improvement of quality of supply and reliability etc. to the Commission for approval.

Directive 12: Outsourcing of O&M of sub-stations and lines.

The MSPCL is directed to examine the feasibility of outsourcing the O&M of sub-stations and lines as is being adapted by most of the electricity utilities across the country in order to reduce the employee cost. A detailed report be submitted by 30.09.2016.

Compliance Status

The Management of the Company took the decision to recruit personnel for O&M of sub-stations and lines since manpower for the above job is scanty in the State and at the same time this Company was reluctant for outsourcing these highly technical jobs. This Company had recruited enough manpower for the job during last FY 2016-17 with the objective to train these new recruits and entrust the job which will be beneficial to this company in the long run.

Directive 13

As per Regulations 2 (19) of JERC (M&M) (MYT) Regulations, 2014 the Second Control Period shall be five years from 01.04.2018. The MSPCL is directed to submit the next ARR for Control Period from FY 2018-19 to FY 2022-23 and Tariff Petition for FY 2018-19 and true up petitions for FY 2015-16 and FY 2016-17 along with audited annual accounts invariably.

Compliance status

MSPCL is submitting the Petition for a Control Period of five years as directed by the Commission. In absence of audited accounts for FY 2015-16 and FY 2016-17, MSPCL has proposed for provisional true- up for FY 2016-17 in this petition.

Directive 14

The MSPCL is directed to fill up judiciously all Forms relevant to MYT Regulations, viz Appendix A,B,C while submitting Tariff Petition for control period FY 2018-19 to 2022-23 to avoid additional information queries after submission of petition.

Compliance status

MSPCL has made all efforts to provide the complete data in the Forms relevant to MYT Regulations.

Directive 15

The MSPCL is directed to collect data with respect to energy to be transmitted/handled from MSPDCL and furnish the same in the ARR Petition.

Compliance Status

The information with respect to estimated/ projected capacity and units transmitted/ handled by MSPCL has been included in the Petition.

NEW DIRECTIVES FOR FY 2018-19

Directive 16

MSPCL is directed to complete installation and energisation of meters at all points at various voltage level to know the actual energy loss in

- Transmission at 132 kV system

- Sub-Transmission at 33 kV system

MSPCL should provide with energy meters invariably without any further delay to all 11 kV outgoing feeders being the inter-company boundary and the energy injection point to MSPDCL system, for proper energy audit and accounting in order to segregate the transmission and distribution losses in Manipur power supply system.

Monthly joint meter readings should be conducted by MSPCL and MSPDCL.

Directive 17

MSPCL is directed to submit the details of meter installation status of all feeders at all voltage levels in all sub-stations along with a single line diagram within 2 (two) months for proper monitoring.

# Annexure - I

MINUTES OF THE 18TH MEETING OF THE STATE ADVISORY COMMITTEE OF MANIPUR

Venue : Dynasty Hall, Classic Grande, Imphal, Manipur

Date & Time :  19th February 2018, 11:00 AM

The Chairman of the Committee, Mr. Ngangom Sarat Singh and Chairperson of the JERC for Manipur & Mizoram chaired the meeting. He started the programme by welcoming new members and all other members of the State Advisory Committee and the invitees.

The list of members and participants attending the meeting is appended.

The Chairman initiated the agenda-wise discussion as below:

Agenda No.1.	Confirmation on the Minutes of the 17th Meeting of the SAC, Manipur held on 13th February, 2017.

The Chairman stated that the minutes of the 17th Meeting of the SAC was circulated earlier and requested for their comments on the minutes. After obtaining nods from the members, the minutes were declared confirmed.

Agenda No. 2. Determination of Multi Year ARR for the Second Control Period for FY 2018-19 to FY 2022-23 and Retail Tariff for FY 2018-19 for MSPDCL and Transmission Tariff for FY 2018-19 for MSPCL.

The Chairman informed the members of the Committee that the main agenda for the meeting was to obtain the views and comments on the above agenda. On his request to MSPDCL to highlight their Petition to enable the members to give their views and suggestions, Mr. L. Priokumar Singh, Managing Director, MSPDCL briefly highlighted the main points of their ARR & Tariff Petition as below:

Based on the principles enumerated by the JERC Multi Year Tariff Regulations, 2014, notified by the Hon’ble Commission on 9th January, 2014 as well as the present CERC regulations, the  Manipur State Power Distribution Company Limited (MSPDCL) has filed the ARR & Tariff Petition for FY 2018-19 with the Commission on 15th January, 2018.

The MYT petition of MSPDCL includes the ARR (Annual Revenue Requirement) and the tariff petition for FY 2018-19. The projections for FY 2018-19 to FY 2022-23 are based on the actual data of FY 2014-15, FY 2015-16 of FY 2016-17 and FY 2017-18  (first half year) and the estimation for FY 2017-18.

The projected ARR for FY 2018-19 works out to Rs. 739.50 crores. Further, the total revenue from sale of power at existing tariff works out to Rs. 324.83 crores. As such, the uncovered gap for FY 2018-19 works out to Rs. 414.67 crores.

The MYT petition includes the tariff proposal for FY 2018-19 and as such the proposal for covering  the  above  mentioned  gap  for  FY  2018-19  is  included  in  the  MYT  petition.  The uncovered gap is proposed to  be covered through increase in tariff and subsidy support from State Government. The summary of ARR and proposed tariff schedule are reproduced below for perusal and comments by members of SAC Manipur:

Table 1: The energy balance for FY 2018-19 to FY 2022-23

| S. No. | Particular | Unit | FY 2016- 17 | FY 2017- 18 | FY 2018- 19 | FY 2019- 20 | FY 2020- 21 | FY 2021- 22 | FY 2022- 23 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A | Energy Requirement | MU |  |  |  |  |  |  |  |
| 1 | Energy Sales | MU | 511.92 | 524.34 | 532.44 | 543.03 | 552.65 | 563.05 | 573.36 |
| 2 | Distribution loss | % | 30.42% | 30.28% | 28.00% | 26.00% | 23.00% | 20.00% | 17.00% |
| 3 | Distribution loss quantum | MU | 223.85 | 227.77 | 207.10 | 190.84 | 165.12 | 140.80 | 117.47 |
| 4 | Energy Requirement at Distribution Periphery | MU | 735.77 | 752.11 | 739.54 | 733.87 | 717.76 | 703.86 | 690.83 |
| 5 | Transmission Network Loss | % | 10.00% | 10.00% | 10.00% | 10.00% | 10.00% | 10.00% | 10.00% |
| 6 | Transmission and Transformation loss quantum | MU | 81.75 | 83.57 | 82.17 | 81.54 | 79.75 | 78.21 | 76.76 |
| 7 | Energy Requirement at State Periphery | MU | 817.53 | 835.68 | 821.71 | 815.41 | 797.52 | 782.06 | 767.58 |
| B | Energy Availability |  |  |  |  |  |  |  |  |
| 8 | Own Generation (Net) | MU | 0.68 | 0 | 0 | 0 | 0 | 0 | 0 |
| 9 | Power Purchase | MU | 1065.53 | 1040.00 | 1065.25 | 1131.36 | 1163.86 | 1185.52 | 1207.19 |
| 10 | Less: External Losses (3.60%) | % | 3.60% | 2.65% | 2.65% | 2.65% | 2.65% | 2.65% | 2.65% |
| 11 | Less: External Losses | MU | 38.36 | 27.56 | 28.23 | 29.98 | 30.84 | 31.42 | 31.99 |
| 12 | Net energy available at state periphery (8+9-11) | MU | 1027.85 | 1012.44 | 1037.02 | 1101.38 | 1133.02 | 1154.11 | 1175.20 |
| 13 | Surplus (12-7) | MU | 210.32 | 176.76 | 215.31 | 285.96 | 335.50 | 372.04 | 407.61 |

2.   	Based  on  the  energy  balance  shown  above,  the  expected  expenditure  and  revenue  are projected along with the revenue gap  for MYT Second Control Period FY 2018-19 to FY 2022-23 as shown in Table below:

Table 2: Aggregate Revenue Requirement for FY 2018-19 to FY 2022-23

| S. No. | Particulars | FY 17-18 | FY 18-19 | FY 19-20 | FY 20-21 | FY 21-22 | FY 22-23 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| A | Expenditure |  |  |  |  |  |  |
|  | Cost of power purchase | 374.10 | 435.49 | 469.80 | 506.51 | 538.47 | 571.14 |
|  | Inter-State Transmission charges | 49.35 | 58.21 | 61.12 | 64.18 | 67.39 | 70.76 |
|  | Intra-state Transmission charges | 68.15 | 92.62 | 98.57 | 111.58 | 123.49 | 135.45 |
|  | Wheeling charges payable to other distribution licensee | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
|  | O&M Expenses | 97.76 | 125.00 | 132.15 | 139.71 | 147.70 | 156.15 |
|  | Depreciation | 0.21 | 5.91 | 7.44 | 8.91 | 10.42 | 11.74 |
|  | Advance against depreciation | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
|  | Interest on Loan | 5.43 | 5.94 | 5.17 | 4.24 | 3.13 | 1.86 |
|  | Interest on Working Capital | 5.22 | 11.38 | 12.33 | 13.44 | 14.54 | 15.54 |
|  | Provision for bad debt | 3.00 | 3.00 | 3.00 | 3.00 | 3.00 | 3.00 |
|  | Total Cost | 603.22 | 737.55 | 789.58 | 851.57 | 908.14 | 965.64 |
| B | Add: RoE | 1.56 | 1.95 | 1.95 | 1.95 | 1.95 | 1.95 |
|  | Add: Income Tax | 0.39 |  |  |  |  |  |
|  | B: Total | 1.95 | 1.95 | 1.95 | 1.95 | 1.95 | 1.95 |
|  | Total ARR: A+B | 605.17 | 739.50 | 791.53 | 853.52 | 910.09 | 967.59 |
| C | Less (Non-Tariff Income) |  |  |  |  |  |  |
|  | Other Income (Including income from trading) | 32.58 | 39.62 | 52.51 | 61.56 | 68.24 | 74.74 |
|  | Income from other business allocated to Licensed business | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 |
|  | Subtotal (C) | 32.58 | 39.62 | 52.51 | 61.56 | 68.24 | 74.74 |
|  | Net Aggregate Revenue Requirement (A-B) | 572.59 | 699.88 | 739.02 | 791.96 | 841.85 | 892.85 |

3.	Revenue Gap and Budgetary Support for FY 2018-19

| ARR, Revenue @ Existing Tariff, Revenue Gap (Rs Cr) | FY 2018-19 Projected |
| --- | --- |
| Annual Revenue Requirement | 739.50 |
| Covered by |
| Revenue @ Existing Tariff | 285.60 |
| UI/ trading Receivable | 39.23 |
| Total Revenue from sale of energy | 324.83 |
| Revenue Gap/(Surplus) | 414.67 |
| Add: Additional support as per JERC order on Review Petition | 14.83 |
| Add: Carrying Cost | 0.00 |
| Total claimed for R.P dated 3.11.2017 | 14.83 |
| Total revenue gap | 429.50 |
| Covered by |
| Budgetary Support From Govt. | Employee expense (A) | 108.78 |
|  | MSPCL expense (B) | 92.62 |
|  | Power Purchase subsidy (C) | 191.59 |
| Total Budgetary Support from Govt. (D) = (A+B+C) | 392.99 |
| Additional Revenue @ Proposed Tariff | 36.51 |
| Total | 429.50 |

MSPDCL has been receiving budgetary support from the Government of Manipur for Plan and Non –Plan Funds. The same support will also be provided during ensuing year. Accordingly, out of the gap of Rs. 429.50 crores, Rs.  392.99 crores is proposed to be covered by budgetary support  from  Government  of  Manipur.  The net   gap  is  increasing  because  of  increased availability from new sources and increased power purchase cost considering impact of increase of thermal in thermal-hydro mix.

4.  Average Cost of Supply & Revenue Realization

| Average Realization & Cost of Supply | FY 2018-19 |
| --- | --- |
| (Rs. Per Unit) |  |
| Average Cost of Supply of MSPDCL | 9.36 |
| Average realization from sale of power | 3.82 |
| Revenue Gap at existing Tariff | 5.54 |

5.   The existing and proposed tariff structures (Telescopic) are given below.

| S. No | Category & Consumption Slab | Fixed Charges per month (Rs.) Existing | Variable Charges (Rs./kwh) Existing | Fixed Charges per month (Rs.) Proposed | Variable Charges (Rs./kwh) Proposed |
| --- | --- | --- | --- | --- | --- |
|  | LT SUPPLY |
| 1 | Kutir Jyoti |  |  |  |  |
|  | First - 45 kWh/month | 20.00 | 1.60 | 20 | 1.80 |
| 2 | Domestic | 60.00 | 4.13 | 65 | 4.70 |
|  | First - 100 kwh/Month | 60.00 | 3.30 | 65 | 4.00 |
|  | Next 100 kwh/Month | 60.00 | 4.00 | 65 | 4.50 |
|  | Above 200 kwh/Month | 60.00 | 5.10 | 65 | 5.60 |
| 3 | Non- Domestic/Commercial | 80.00 | 5.53 | 90 | 6.27 |
|  | First - 100 kwh/Month | 80.00 | 4.50 | 90 | 5.20 |
|  | Next 100 kwh/Month | 80.00 | 5.50 | 90 | 6.30 |
|  | Above 200 kwh/Month | 80.00 | 6.60 | 90 | 7.30 |
| 4 | Public Lighting | 65.00 | 6.00 | 75 | 6.70 |
| 5 | Public Water Works | 100.00 | 6.35 | 115 | 7.10 |
| 6 | Irrigation & Agriculture | 60.00 | 3.25 | 65 | 3.60 |
| 7 | Small Industry | 65.00 | 3.50 | 75 | 4.20 |
| HT SUPPLY |
| 1 | Commercial | 100.00 | 6.50 | 110 | 7.25 |
| 2 | Public Water Works | 100.00 | 5.75 | 110 | 6.50 |
| 3 | Irrigation & Agriculture | 100.00 | 3.15 | 105 | 3.50 |
| 4 | Medium Industry | 100.00 | 4.50 | 110 | 5.20 |
| 5 | Large Industry | 100.00 | 5.60 | 110 | 6.45 |
| 6 | Bulk Supply | 100.00 | 5.00 | 115 | 5.70 |

Again, the Chairman requested MSPCL to highlight their ARR & Tariff Petition and Mr. N. Sarat Singh, Managing Director, MSPCL  briefly presented their Petition and highlighted the projected ARR requirement and Transmission Tariff proposal as below:

Aggregate Revenue Requirement for FY 2018-19 to FY 2022-23

(Rs. Crore)

| Particulars | FY 2017-18 Approved by Commission | FY 2018-19 (Projected) | FY 2019-20 (Projected) | FY 2020-21 (Projected) | FY 2021-22 (Projected) | FY 2022-23 (Projected) |
| --- | --- | --- | --- | --- | --- | --- |
| R &M Expense | 10.56 | 15.37 | 19.70 | 24.30 | 27.79 | 29.23 |
| Employee Expense | 62.96 | 74.37 | 74.58 | 81.31 | 88.71 | 97.55 |
| A&G Expense | 3.78 | 4.30 | 4.61 | 4.94 | 5.30 | 5.68 |
| Depreciation | 0.89 | 1.04 | 1.33 | 1.64 | 1.87 | 1.97 |
| Interest on Loans | 0 | - | - | - | - | - |
| Return on Capital Employed | 1.56 | 1.56 | 1.56 | 1.56 | 1.56 | 1.56 |
| Interest on working capital | 3.48 | 4.28 | 5.08 | 6.11 | 7.04 | 7.73 |
| Income Tax | 0.39 | 0.40 | 0.40 | 0.40 | 0.40 | 0.40 |
| Less: Non Tariff Income | 11.50 | 8.68 | 8.68 | 8.68 | 8.68 | 8.68 |
| Less: Income from other business | 0 | - | - | - | - | - |
| Less : Expenses capitalized | 3.97 |  |  |  |  |  |
| Net ARR | 68.15 | 92.62 | 98.57 | 111.58 | 123.99 | 135.45 |

| Sl.No | Particulars | Approved by the Commission for FY 2017-18 | Proposed for FY 2018-19 |
| --- | --- | --- | --- |
| 1 | Transmission ARR to be recovered | 68.15 Cr | 92.62 Cr |
| 2 | Transmission Tariff as Rs/month | 5.68 Cr/month | 7.72 Cr/month |
| 3 | Transmission capacity | 222.38 MW | 309.21 MW |

After both MSPDCL and MSPCL had presented the highlights of their Tariff Petitions, the Chairman invited the members to express their views and comments on the ARR and Tariff proposals. Mr. S. Rishikumar Singh stated his desire not to hike the tariff higher than tariff in the neighbouring states. Mr. Elangbam Dorendro Singh stated that the tariff in Mizoram was comparatively lower than that of in Manipur in general and in domestic in particular and requested the Commission to look into this matter as both the states have tariffs fixed by the JERC. Mr. L. Pachuau, Chief (Engg.), JERC clarified that the fixed charge in Mizoram was calculated based on connected load as the contracted load was taken equal to connected load by the P&E Department whereas in Manipur, it was calculated based on contracted load which was less than connected load. This was the reason why the fixed charge was put higher in Manipur. The Chairman supplemented that the difference was only due to the difference in the operating factors being taken into consideration. The Chairman further stated that revision of tariff was necessary every year as per Regulation and this is to avoid burden on the consumers even though an incremental tariff hike may take place. All concerned should make  much effort to reduce AT & C losses at all levels which should ultimately result in moderate tariff acceptable to all categories of consumers. The Committee recommended the tariff hike based on thorough examination of the Tariff Petitions of MSPDCL and MSPCL for FY 2018-19.

Agenda No.3.     To ascertain actual intra-state Transmission loss, system metering in all vital points thereof.

On the request by the Chairman, MD, MSPDCL presented the up-to-date status of 11 kV system metering as tabulated below:

| Feeder Type | Non R-APDRP | R-PDRP | Grand Total |
| --- | --- | --- | --- |
| INCOMING | 103 |  | 103 |
| Meter No Meter Replacement Required | 82 15 6 |  | 82 15 6 |
| OUTGOING | 116 | 67 | 183 |
| Meter No Meter Replacement Required | 80 33 3 | 67 | 147 33 3 |
| SPARE | 8 |  | 8 |
| Meter Replacement Required | 4 4 |  | 4 4 |
| STATION | 39 |  | 39 |
| Meter No Meter Replacement Required | 33 5 1 |  | 33 5 1 |
| Grand Total | 266 | 67 | 333 |

The MD, MSPCL stated that at present the energy injected into the state periphery is being accounted by RLDC. To ascertain actual intra-state transmission loss MSPCL has taken up installation of energy meters at 132 kV and 33 kV voltage levels. Till date, 119 nos. of 33kV meters out of 168 nos. of 33kV meters required and 47 nos. of 132kV meters out of 76 nos. of 132kV meters required have been installed.

The installation of remaining 49 nos. of 33 kV meters and 29 nos. of 132kV meters is expected to be completed within March, 2018. Unless the installation of 33kV and 132kV energy meters is completed the actual intra-state transmission loss cannot be ascertained. He further stated that MSPCL proposed to take up issue of remaining requisite installation of meters when meter with new specification was finalized by CEA as there will be some change in its manufacturing technology. On a query raised by Mr. Elangbam Dorendro Singh regarding high investment for construction of 400kV line which is not required for Manipur at present, MD,MSPCL  replied that MSPCL had a vision to meet Manipur’s increasing power demand in the coming years to avoid high expenditure for replacement and renovation of transmission lines besides providing quality and reliable power supply to all consumers in Manipur. General Manager, SLDC also supplemented regarding new meters yet to be decided by CEA due to which installations are delayed. On a query raised by Mr. S. Rishikumar regarding benefit of boundary meters and the delay issue pointed out by MSPDCL and SLDC, Mr. L. Pachuau, Chief (Engg.), JERC pointed out the need to immediately install boundary meters, whatever type it may be, to ascertain actual losses prevailing in both MSPCL and MSPDCL and necessary replacement in future has to be taken up  as and when the compelling need comes only. Energy accounting and energy audit is not possible without boundary meter having accurate readings in both MSPCL and MSPDCL. Figures available with them are fictitious and assumption only. We will never see actual improvement and progress without proper energy accounting and energy audit. The Committee recommended that 11 kV feeder meters at all injecting points of MSPDCL should be installed by MSPCL immediately and meter readings to be inspected jointly by MSPCL and MSPDCL. The Committee further recommended that reliable meter should be installed in all 11kV feeders which are not installed as yet by MSPDCL immediately as check meters so that energy injected by MSPCL into MSPDCL system can be properly accounted for.

Agenda No.4.     Reduction of loss & bad debt.

The Chairman requested MD, MSPDCL to highlight the action taken for reduction of loss and bad debt. MD, MSPDCL informed the Meeting that in order to improve the billing and collection efficiency in rural and far flung areas of Manipur, MSPDCL will implement the system of Single Point DT Metering and Billing System by signing an MoU (memorandum of Understanding) with the concerned village chief/chairman. The system will be implemented in those remote areas where prepaid metering is not feasible in near future. Under this system, a DT energy meter will be installed at the village DT(s) and a single energy bill based on the readings of the DT meter will be served to the village chief/chairman for collection and subsequent payment to MSPDCL. A 10% rebate on the collected amount will be given to the village chief/chairman as incentive by the MSPDCL.

ii) For collection and recovery of outstanding dues the following action plans have been taken up so far :

- Deduction  of  20%  of  Recharge  amount  against  Outstanding  dues  for

Prepaid Consumers.

2.  Disconnection and lodging of FIR against consumers for energy theft and continued offences.

3.  Disconnection notice are being served to all state govt. departments at the end of every financial year, followed up by intensive drive to collect the amount   sanctioned   by   the   govt.   to   each   of   them.   In   particular, disconnection notice  were served followed up by necessary actions in March, July & November, 2017.  The outstanding dues as on 30th  Sept, 2017 for all state govt. departments amounts to Rs. 78,18,97,782/- and the anticipated outstanding dues as on 31st  March 2018 is Rs. 1,09,20,82,443/-.

4.  HT new connections are being encouraged for better revenue collection.12 new HT consumers are under process at present for connection. 9 HT consumers are newly connected in the month of January, 2018

On a query raised by some Members regarding VIP residences without prepaid energy meter, Chief (Engg.) suggested to install pre-paid meter in Government offices and residences and request Planning and Finance Departments to allocate fund for payment of outstanding dues of different departments clearly mentioning in their respective budgetary allocation. Mr. Nobert Khayi raised deficiency in staff strength for maintenance of power supply, revenue billing and collection in Ukhrul District. Consumers were served high energy bills from MSPDCL Offices without activating the pre-paid meters installed in the residences. He felt that people shall be co-operative only after pre-paid meters are activated. The Chairman requested MD, MSPDCL to take note of the points raised by Mr. Nobert. The Committee recommended that the State Cabinet be requested to take concrete decision for recovery of outstanding dues or writing off outstanding debt of different Departments and installation of pre-paid meters in all Government offices and residents.

Agenda No.5. Category-wise consumers, no. consumers with pre-paid and post-paid meters.

On the request of Chairman, MD, MSPDCL submitted Category-wise HT consumers and Category-wise LT consumers as on 30.09.2017.  He further stated that there are 4,02,895 numbers of total consumers in the state out of which 3,04,812 are pre-paid and 97,003 are post-paid.

The Committee was of the opinion that with activation of about 75.6% of the consumers (i.e. 3,04,312 out of 4,02,895) with pre-paid meter, the commercial operation would be much improved and AT&C loss would come down substantially. The Meeting requested MSPDCL to encourage for more HT consumers to reduce line loss.

Agenda No.6.

- Installation and activation of (i) pre-paid meters and (ii) Postpaid meter as on 30/09/2017 Circle-wise / Division-wise / Town-wise and District-wise.

- Installation of AB cable LT lines and new 11 kV lines / reconductoring under
 R-APDRP, State Plan, DDUGJY, State Plan etc; area-wise/ Circle-wise           /Division-wise and HT and LT works thereof.

- Status of installation and activation of DT meters Area/ Town-wise and energy  Audit Report.

- Status of feeder metering in RAPDRP towns and energy audit report thereof.

The above information were furnished by the MD,MSPDCL. The Committee observed that energy audit should be done in RAPDRP towns and reports should be submitted to JERC for Manipur and Mizoram by July, 2018.

Agenda No.7: Action proposed for reduction of theft of power by means of hooking/bypassing. Audit report and measures taken in this regard.

The MD, MSPDCL stated that Power theft is one of the major issues which not only cause irregular supply of electricity but also affect the commercial health. With a view to preventing the power theft by consumers, the Deputy Manager and Sub division Manager are instructed to conduct regular raids. It should be such that if consumers are found bypassing the meter, thus practicing Power theft, they shall be arrested along with filling of FIR. These sub-divisional level raids are keep mandatory. The detail of FIRs and arrested consumer are published at local newspaper in order to discourage the consumers not to indulge in power theft. Penalties are enforced for stealing Electricity. He further submitted detailed action taken report (April,2017 to December, 2018) as below :

| Sl. No. | Particulars | Total |
| --- | --- | --- |
| 1 | No. of cases where inspection was carried out | 24,190 |
| 2 | No. of cases where theft was detected | 1,568 |
| 3 | No. of FIR cases lodge | 164 |
| 4 | No. of cases where penalties were imposed | 1,404 |
| 5 | Estimated quantity of electricity energy considered as theft(kwh) | 4,09,595 |
| 6 | Estimated cost of such energy (Rs) | 28,97,430 |
| 7 | Amount realized (Rs) | 37,02,008 |

Agenda No.8.    Status of ongoing works and their completion time schedule.

MD, MSPDCL and MD,MSPCL submitted detail reports. The Members thanked the MDs for their presentation and wanted the works to be completed in time.

Agenda No.9.    MSPCL's status of meter installation at all voltage levels and all 11 kV feeders to be metered to segregate energy loss with MSPDCL.

As per report submitted by MD, MSPCL, MSPCL is planning to install all 132kV, 33kV              and 11 kV energy meters to facilitate energy accounting and auditing at 132kV, 33kV and 11 kV level. Till date 273 nos. of 11kV meters out of 382 nos. of 11 kV meters required, 119 nos. of 33kV meters out of 168 nos. of 33kV meters required and 43 nos. of 132kV meters out of 76 nos. of 132kV meters required have been installed.

The remaining 109 nos. of 11 kV meters, 49 nos. of 33 kV meters and 29 nos. of 132kV meters will be installed within a short time and targeted to be completed within March, 2018. The following table shows the present status of energy metering at 11 kV, 33kV and 132kV level.

Feeder Meter Status

| Sl. No. | Voltage Level | No. of meters to be installed | No. of meters installed | Balance meters to be installed |
| --- | --- | --- | --- | --- |
| 1 | 11 KV Energy Meter | 382 | 273 | 109 |
| 2 | 33 KV Energy Meter | 168 | 119 | 49 |
| 3 | 132 KV Energy Meter | 76 | 47 | 29 |

The segregation of actual transmission and distribution loss is not possible unless the installation of 11 kV, 33kV and 132kV energy meters is completed.

The Committee felt that the information submitted by MD, MSPDCL on system metering by installation of 11 kV feeder meter under Agenda no.3 is different from the Feeder Meter status as given by MSPCL and felt that a reconciliation is required in this matter.

The Chairman requested MD, MSPCL to furnish single line diagram of the sub-stations showing incoming/outgoing feeders of all voltage levels and with meter installation status to sort out the problem. Further MD, MSPDCL was also requested to furnish details of sub-station wise incoming 11 kV feeders from MSPCL into the MSPDCL system showing the 11 kV system meters installed so far as reported. The Chairman requested both MDs to submit the information by May, 2018.

Agenda No.10. Status of on-going works & Completion time schedule

The Members noted with thanks the submission of MSPCL and MSPDCL and requested that the works be completed in time.

Agenda No.11. Requisite data submission to JERC as per MYT Regulations,2014

The Committee observed that the requisite data were furnished as reported by MD,MSPDCL.

Agenda No.12. Miscellaneous agenda with the permission of Chair.

As per request made by the Chairman, Director, MANIREDA  gave a Powerpoint presentation on the Status of Renewable Energy Sector and Contribution in RPO by MANIREDA (Copy enclosed). The Members thanked for the presentation and requested MANIREDA to put more efforts for Solar rooftop power generation in cooperation with MSPDCL. This initiative will mitigate to some extent the RPO obligation of MSPDCL.

The Meeting ended at 14:30 hrs with a vote of thanks from the Chair.

Sd/-NGANGOM SARAT SINGH

CHAIRMAN

Memo No. H. 11019/26/18-JERC	      	    Dated Aizawl, the 27th February, 2018

Copy to:

- The Secretary to Hon’ble Chief Minister, Govt. of  Manipur for kind information to the Hon’ble Chief Minister.

- The Chief Secretary, Govt. of Manipur for kind information and for taking necessary action on the Minutes of the Meeting.

- All Members / Invitees of the State Advisory Committee for kind information and for taking necessary action on the Minutes of the Meeting.

- Guard File.

ATTENDANCE LIST ON

THE 18th MEETING OF STATE ADVISORY COMMITTEE OF MANIPUR

Date & Time	:	19th February, 2018 (Monday), 11:00 a.m.

Venue	:	Hotel Classic Grande, Dynasty Hall, Imphal, Manipur

| Sl. No. | Name | Designation |
| --- | --- | --- |
| 1 | Er. Ng. Sarat Singh | Chairperson, JERC (M&M) |
| 2 | L. Manglem Singh | Director, MANIREDA, Imphal, Manipur |
| 3 | L. Bijoy Singh | Director, Agriculture Department |
| 4 | L. Sadananda Singh | General Secretary, Senior Citizens for Society, Manipur |
| 5 | Elangbam Dolendra Singh | Advisor, All Manipur Power Consumers’ Association |
| 6 | Nobert Khayi | Social Worker, West Phungreitang, Ukhrul |
| 7 | S. Rishikumar Singh | President, All Manipur Entrepreneurs’ Association |
| 8 | M. Brojen Singh | Kakching Wairi, Thongam Leikai, Manipur |
| 9 | S.K. Sunny Lamkang | Social Worker, Daapi Village, Chandel District, B.P.O. Chandel, Manipur |
| 10 | Shijaguruayum Sadhana Singh | Member, District Consumer Redressal Forum |
| 11 | H. Lalthomawi | Advocate, Tipaimukh Road, Hiangtam lamka |
| 12 | R.S. Daikho | Reikhumai Taphou, Manipur |
| 13 | K. Chuneithang Chiru | Nungshai Chiru Village, Manipur |
| 14 | L. Priokumar Singh | Managing Director, MSPDCL (Special Invitee) |
| 15 | Lalchharliana Pachuau | Chief (Engg.), JERC (M&M) |
| 16 | H. Thanthianga | Asst. Chief (Engg.), JERC (M&M) |
| 17 | Y. Satyanarayana | Consultant, ASCI, Hyderabad |
| 18 | Richard Zothankima | Asst. Secretary, JERC (M&M) |
| 19 | Ng. Birjit Singh | OSD (Plg), MSPCL |
| 20 | Ng. Chittaranjan Singh | S.O., MANIREDA |
| 21 | Dr. Rangitabali Waikhom | Joint Secy., Power, Govt. of Manipur |
| 22 | N. Dwijen Singh | E.D. (G & Civil), MSPCL |
| 23 | H. Shantikumar | GM (SLDC), MSPCL |
| 24 | L. Dinesh Kumar Singh | GM (EC-I), MSPDCL |
| 25 | N. Jasobanta Singh | DGM/SSD-I, MSPCL |
| 26 | M. Budha Chandra Sharma | GM/SS, MSPCL |
| 27 | Th. Kaminimohon Singh | GM (Purchase), MSPCL |
| 28 | Th. Jibankumar Singh | GM (Project), MSPDCL |
| 29 | N. Purnima | Deputy Manager, MSPDCL |
| 30 | Ronex Oinam | Asst. Manager, MSPDCL |
| 31 | Usham Rocky Singh | Manager, MSPDCL |
| 32 | H. Binodon Singh | Manager, MSPDCL |
| 33 | Ng. Subhachandra Singh | GM (T), MSPCL |
| 34 | S. Kripacharya Singh | Manager, MSPDCL |
| 35 | G. Tapankumar Sharma | Manager, MSPCL |
| 36 | Khunkholal Lupho | Manager, MSPCL |
| 37 | Nongthanban Arun Singh | Deputy Manager, MSPCL |
| 38 | Ranjan Wahengbam | Dy. Manager, MSPCL |
| 39 | R.K. Prashantha | JERC (M&M) |
| 40 | Chandramani Mangsatabam | i/c DGM (Ent. & PP), MSPDCL |

## Annexure - II

LIST OF PERSONS WHO ATTENDED PUBLIC HEARING ON MULTI YEAR ARR & TARIFF PETITION FOR FY 2018-19 IN RESPECT OF MSPCL, MANIPUR

Venue:Hotel Classic Grande, Imperial Hall, Imphal, Manipur.

Date & Time:20th February, 2018 (Tuesday) from 1:30 p.m to 3:30 p.m.

| Sl. No. | NAME | DESIGNATION / PROFESSION |
| --- | --- | --- |
| 1 | Ng. Sarat Singh | Chairperson, JERC (M&M) |
| 2 | H. Thanthianga | Asst. Chief (Engg.), JERC (M&M) |
| 3 | Lalchharliana Pachuau | Chief (Engg.), JERC (M&M) |
| 4 | N. Sarat Singh | M.D., MSPCL |
| 5 | Y. Satyanarayana | Consultant, ASCI |
| 6 | H. Shantikumar Singh | G.M. (SLDC), MSPCL |
| 7 | M. Budha Chandra Sharma | G.M. (Sub-Sta), MSPCL |
| 8 | S. Chandradhaja | D.G.M. (SLDC), MSPCL |
| 9 | Th. Gralchandra Singh | D.G.M. (TD-II) |
| 10 | A. Rajendra Sharma | D.G.M. (TD-III) |
| 11 | Lhunkholal Lupho | Manager, MSPCL |
| 12 | H. Manimukta Singh | Manager (TD-I), MSPCL |
| 13 | N. Jasobanta Singh | D.G.M. (SSD), MSPCL |
| 14 | S. Priyananda Singh | D.G.M. (TD-I), MSPCL |
| 15 | A.Birendra Kumar | D.G.M. (Plg), MSPCL |
| 16 | Ng. Birjit Singh | O.S.D. (Plg), MSPCL |
| 17 | Ranendra Nandeibam | G.M. (F&A), MSPCL |
| 18 | Hijam Chittan | Dy. Manager (Elect) Planning, MSPCL |
| 19 | G. Tapankumar Sharma | Manager (SSD-III), MSPCL |
| 20 | A.Prasanta Sharma | Dy. Manager (SSD-III), MSPCL |
| 21 | H. Vishwaranjan Sharma | Asst. Manager (SSD-III), MSPCL |
| 22 | R.K. Prasantha | JERC (M&M) |
| 23 | Richard Zothankima | Asst. Secretary, JERC (M&M) |
| 24 | Sanasam Chaoba Singh | President, All Manipur Power Consumers Association |
| 25 | Konthoujam Sanatomba | Gen. Secy., All Manipur Power Consumers Association |
| 26 | E. Dolendra Singh | Advisor, All Manipur Power Consumers Association |
| 27 | Ksh. Ibochou Singh | Entrepreneurs Association, Talayelpat |

Joint electricity regulatory commission

For Manipur and Mizoram

###### TBL Bhawan, 2nd to 5th Floor,

peter street, E-18, Khatla, Aizawl, Mizoram, 796001

Website: www.jerc.mizoram.gov.in

e-mail: jerc.mm@gmail.com

Ph: 0389 2336555/2335625 Fax: 0389-2336299/2335523

# Text boxes

TARIFF ORDER

TRUE UP FOR FY 2016-17,  REVIEW FOR FY 2017-18 AND DETERMINATION OF AGGREGATE REVENUE REQUIREMENT FOR MYT PERIOD FY 2018-2019 TO FY 2022-2023

&

TRANSMISSION TARIFF FOR FY 2018-19

FOR

MANIPUR STATE POWER COMPANY LIMITED

Petition (ARR & Tariff) No. 3 of 2018

Joint electricity regulatory commission

For Manipur and Mizoram